CHAPTER 334
TOWN AND COUNTRY PLANNING ACT

• Act • Subsidiary Legislation •

ACT

Act No. 45 of 1992

Amended by

|  | Act No. 18 of 1993 |  |
| --- | --- | --- |
|  | Act No. 19 of 1993 |  |
|  | Act No. 2 of 2005 |  |
|  | Act No. 17 of 2006 |  |
|  | Act No. 26 of 2008 |  |

Arrangement of sections

| 1. | Short title and commencement. |
| --- | --- |
| 2. | Interpretation. |
| 3. | Establishment of Physical Planning and Development Board. |
| 4. | Meetings and procedures of the Board. |
| 5. | Disclosure of interest. |
| 6. | Protection of Board and members. |
| 7. | Functions of the Board. |
| 8. | Matters to be considered. |
| 9. | Composition of development plans. |
| 10. | Designation of areas for acquisition and development. |
| 11. | Register. |
| 12. | Policy statements. |
| 13. | Approval of national, regional and local plans. |
| 14. | Zoned area declaration. |
| 15. | Compulsory acquisition of land. |
| 16. | Application for development. |
| 16A. | Building permits required. |
| 16B. | Occupancy certificate required. |
| 17. | Permission for development. |
| 18. | Enforcement notice. |
| 19. | Stop notice. |
| 20. | Waste orders. |
| 21. | Power of Board to require discontinuance of use, etc. |
| 22. | Tree preservation order. |
| 23. | Building preservation order. |
| 24. | List of buildings of special architectural or historic interest. |
| 25. | Effect of inclusion of building in list under section 24. |
| 26. | Amendment of grants or orders. |
| 27. | Establishment and functions of Appeals Tribunal. |
| 28. | Documents and information required. |
| 29. | Environmental impact assessment. |
| 30. | Orders to protect environment. |
| 31. | Offences. |
| 32. | Power to enter premises. |
| 33. | Service of documents. |
| 34. | Power of Board to request information. |
| 35. | Minutes. |
| 36. | Regulations. |
| 36A. | Building regulations to be made. |
| 36B. | Appointment of building inspectors. |
| 36C. | Approval and rejection of plans. |
| 36D. | Deposit of plans to be ineffective after two years. |
| 37. | Repeal and amendments. |
| 38. | Application of Act to Housing Corporation. |
| 39. | Transitional. |
| 40. | Savings. |

CHAPTER 334
TOWN AND COUNTRY PLANNING

An Act to enable the orderly and progressive development of land and the proper planning of town and country areas, to make provision for the control of development, and for matters incidental to the foregoing and connected therewith.

Be it enacted by the Queen’s Most Excellent Majesty, by and with the advice and consent of the House of Assembly of Saint Vincent and the Grenadines and by the authority of the same, as follows.

[Act No. 45 of 1992 amended by Act No. 18 of 1993, Act No. 19 of 1993, Act No. 2 of 2005, Act No. 17 of 2006, Act No. 26 of 2008.]

[Date of commencement: 1st July, 1993.]
[Sections 1, 2, 4, 5, 6 and 7: 29th July, 2008.]

1.   Short title and commencement

This Act may be cited as the Town and Country Planning Act, 1992, and shall come into operation on such date as the Governor-General may by Proclamation in the Gazette, appoint.

2.   Interpretation

In this Act, unless the context otherwise requires—

“advertisement” means any sign, placard, board, notice, hoarding, word, letter, model or device, displayed on or outside any building or on land or water and situated in or within sight of any public place and used or adapted or intended for use for the purpose of advertising to the public;

“Board” means the Physical Planning and Development Board established under section 3;

“building” includes any erection, structure or any part of a building erected on or made on or in or under any lands whether temporary or permanent, and where the contexts so permits, includes the land on, in or under which the building is situated but does not include plant or machinery contained in a building;

[Definition of “building” substituted by Act No. 2 of 2005.]

“building preservation orders” has the meaning assigned to it by section 23;

“building regulations” means regulations made under section 36A;

[Definition of “building regulations” inserted by Act No. 2 of 2005.]

“Chairman” means the Chairman of the Board;

“change of use” means any use of a building or land for a purpose other than that for which that building or land was previously used;

“construction” means to do anything with respect to the erection, installation, extension, material alteration or repair of a building;

[Definition of “construction” substituted by Act No. 2 of 2005.]

“demolition” means the pulling down or removal of a building or any material part thereof;

[Definition of “demolition” substituted by Act No. 2 of 2005.]

“development” means the carrying out of building, demolition, rebuilding, engineering, mining or other operations in, on, over or under land, the making of any material change in the use of any building or other land, the subdivision of land and the display of any advertisement; the construction of garden huts (other than garages) gates, fences and walls not exceeding 3 feet in height does not constitute development;

[Definition of “development” substituted by Act No. 2 of 2005.]

“land” includes land covered by water, incorporeal hereditaments of every tenure or description, and any interest therein and any undivided share in land;

“minerals” includes oil and all minerals and substances in or under land or water of a kind ordinarily worked for removal by underground or surface working;

“mining” includes—

(i)	quarrying or winning of any kind, or the preparation of a site for development whether by levelling, filling or excavating;

(ii)	search or bores for minerals;

“Minister” means the Minister responsible for town and country planning;

“occupancy certificate” means a certificate issued pursuant to section 16B;

[Definition of “occupancy certificate” inserted by Act No. 2 of 2005.]

“outline planning permission” means permission for the erection of a building or the use of land, granted subject to a condition that approval be given by the Board at some later time for the sitting, design, density, or external appearance of any such building or the means of access thereto or any other planning consideration;

“permit” means a permit issued pursuant to section 16A authorising development, construction or demolition and shall be used, interchangeably with the term “building permit”;

[Definition of “permit” inserted by Act No. 2 of 2005.]

“Physical Planner” means the head of the Government’s Physical Planning Department and shall be used interchangeably with the term “Town Planner”;

“statutory undertaker” means any person or body authorised by law to carry on any undertaking for the supply of electricity, gas, hydraulic power or water, telephonic, telegraphic, or sewerage services;

“structure” shall include anything floating on water or submerged under water or partly floating and partly submerged;

“subdivision” means the division of any building or piece of land into two or more parts for the purpose of sale, transfer, gift, lease, the creation of a trust, or any other transaction whether or not similar to the foregoing;

“tree preservation order” has the meaning assigned to it by section 22;

“Tribunal” means the Appeal Tribunal appointed under section 27;

“waste order” means an order issued under section 20.

3.   Establishment of Physical Planning and Development Board

(1)  There is hereby established a body to be known as the Physical Planning and Development Board which shall consist of fifteen members of whom—

(a)	the following twelve members shall be—

(i)	the Director of Planning or his nominee,

(ii)	the Manager of National Properties Limited or his nominee,

[Subparagraph (ii) substituted by Act No. 26 of 2008.]

(iii)	the Chief Engineer or his nominee,

(iv)	the Chief Agricultural Officer or his nominee,

(v)	the Chief Surveyor or his nominee,

(vi)	the Chief Environmental Health Officer or his nominee,

(vii)	the General Manager of the Housing and Land Development Corporation or his nominee,

(viii)	the Manager of the Central Water and Sewerage Authority or his nominee,

(ix)	the General Manager of Saint Vincent Electricity Services Limited or his nominee,

(x)	the Commissioner of Police or his nominee,

(xi)	the Warden of the Kingstown Town Board or his nominee,

[Subparagraph (xi) inserted by Act No. 18 of 1993.]

(xii)	the Permanent Secretary of the Ministry responsible for town and country planning or his nominee,

[Subparagraph (xii) inserted by Act No. 17 of 2006.]

who shall be ex officio members;

(b)	three persons who shall be appointed by the Cabinet by instrument in writing.

[Subsection (1) amended by Act No. 18 of 1993 and Act No. 17 of 2006.]

(2)  Cabinet shall by instrument in writing appoint a Chairman and a Deputy Chairman of the Board from amongst the members and the Deputy Chairman shall in the absence for any reason of the Chairman, perform the functions of the Chairman.

(3)  A member appointed under subsection (1)(b) shall serve on the Board for a period of two years or such lesser period as may be specified in the instrument of his appointment, but shall be eligible for re-appointment upon the expiry of his period of office but no member shall hold office for more than three consecutive periods of two years:

Provided that Cabinet may at any time by instrument in writing remove any such member and may appoint in his place any other person to serve for the remaining term of office of the person removed as may be specified in the instrument of his appointment which period shall not exceed two years in any instance.

[Proviso in subsection (3) inserted by Act No. 18 of 1993.]

(4)  Every appointment made under subsections (1) and (2) shall be notified in the Gazette.

(5)  The Head of the Physical Planning Unit shall be the Secretary to the Board and the Chief Executive Officer.

(6)  In the event of the temporary incapacity of a member other than an ex officio member, whether by reason of illness or other sufficient cause, or the temporary absence from Saint Vincent and the Grenadines of any member, the Cabinet may appoint some other person to act as a temporary member for so long as the incapacity or absence continues.

(7)  The Board may sue and be sued in its own name and no suit, prosecution or other proceeding by the Board shall be liable to be questioned on the ground of competence.

4.   Meetings and procedures of the Board

(1)  The Board shall meet at such times as may be necessary for the transaction of business, at such places and times and on such days as the Board may determine.

(2)  The Chairman shall convene a special meeting of the Board within seven days of receipt of a requisition for that purpose addressed to him in writing and signed by any two members of the Board, and on any other occasion when he is directed in writing by the Minister to do so.

(3)  The Chairman shall preside at meetings of the Board.

(4)  The Chairman and four other members shall form a quorum:

Provided that where any member is disqualified by virtue of section 5 from taking part in any deliberation or decision at any meeting of the Board, that fact shall be disregarded for the purpose of constituting a quorum for such deliberation or decision.

(5)  The decision of the Board with regard to any question shall be determined by vote of the majority of the members present and voting at a meeting of the Board, and in the event of equality of votes the Chairman shall, in addition to his own vote, have a casting vote.

(6)  Minutes of the proceedings at every meeting of the Board shall be kept in such manner as the Board shall determine, and shall be confirmed by the signature of the Chairman at the next subsequent meeting after they have been recorded.

(7)  Subject to the foregoing provisions of this section the Board may regulate its own proceedings.

5.   Disclosure of interest

Every member of the Board who is or becomes aware that he has an interest directly or indirectly in any matter before the Board shall declare his interest therein at the first practicable opportunity before or during the meeting of the Board at which such matter is discussed, and he shall thereupon be disqualified from taking part in any discussion concerning, and from voting in respect of, such matter.

6.   Protection of Board and members

(1)  The validity of anything done under this Act shall not be affected solely by reason of—

(a)	the existence of any vacancy in the membership, or any defect in the constitution of the Board;

(b)	an omission or irregularity in respect of a meeting or any proceedings of the Board under section 4;

(c)	the contravention by a member of the provisions of section 5.

(2)  No civil proceedings shall lie or be instituted against any member of the Board, in respect of any act or omission occurring in good faith in pursuance, or purported pursuance of any of the provisions of this Act, and in the event of such proceedings against the Board no member thereof shall be held to be personally liable.

7.   Functions of the Board

(1)  The functions of the Board shall be—

(a)	to institute and maintain a study of town and country development;

(b)	to prepare in accordance with sections 8 and 9, a national plan, and regional and local plans for submission to the Minister for approval by Cabinet and to keep the plans under review;

(c)	to prepare, in accordance with section 12, for submission to the Minister for transmission to Cabinet, such subject reports as the Board or the Minister may from time to time consider necessary or desirable to assist the proper planning of the use or development of land;

(d)	to ensure the orderly and progressive development of land and the proper planning of town and country areas;

(e)	to control development by such means as are provided by this Act;

(f)	to do all other things necessary for carrying out the purposes and provisions of this Act as may be authorised.

(2)  The Board shall remain at all times responsible for the due and proper performance of its functions under this section, but subject to subsection (1) may, for the purpose of such performance, as it thinks fit—

(a)	consult with or obtain advice from other persons;

(b)	engage the assistance of other persons for any general or particular purpose;

(c)	delegate any of its functions under section 8 to any of the persons referred to at paragraph (a) or (b).

(3)  Without prejudice to the generality of subsection (2) hereof the Board may in writing delegate any of its duties under section 8 or any other provisions of this Act to the Physical Planner.

8.   Matters to be considered

(1)  For the purposes of the study of town and country development mentioned in section 7(1)(a) the Board, both in relation to Saint Vincent and the Grenadines as a whole, and in relation to any areas thereof which, in the opinion of the Board or of the Minister, requires particular attention, shall examine and keep under constant review—

(a)	the numerical size, the composition and the distribution of the population;

(b)	the principal physical environmental and economic characteristics;

(c)	the availability of public utilities, social services traffic and communications;

(d)	such other matters as the Board considers it desirable to be, or as the Minister may direct should be examined and reviewed, and shall have regard to current trends and policies relating to the matters referred to in this subsection which are or may be relevant to development.

(2)  For the purposes of the preparation of the national plan mentioned in section 7(1)(b) the Board shall consider the following matters—

(a)	the distribution and foreseeable variation of the distribution of the population;

(b)	the progress of, and current trends and policies relating to economic and social development;

(c)	prevailing physical and environmental conditions;

(d)	current trends and policies relating to the systems of communication within, and connecting with, Saint Vincent and the Grenadines;

(e)	the foreseeable need and availability of land for natural agricultural and forestry reserves, national parks, public open spaces, and other areas which appear to the Board to be in the national interest to retain or provide;

(f)	the provisions of any coastal zone management plan.

(3)  For the purposes of the preparation of regional plans the Board shall consider, in relation to a particular region, the following matters—

(a)	the most advantageous development and use of land within the region;

(b)	the numerical size and distribution of the population;

(c)	prevailing economic, physical and environmental conditions;

(d)	the availability of public utilities, social services, traffic and communications;

(e)	the availability of resources likely to be required for the purpose of carrying into effect the proposals of the regional plan concerned;

(f)	the relationship between those proposals and the current national plan and all other regional plans hitherto prepared;

(g)	the environmental impact of any proposal;

(h)	such other matters as may be prescribed or as the Minister may direct.

(4)  For the purposes of the preparation of local plans the Board shall consider, in relation to a particular locality, the following matters—

(a)	the principal functions of the locality concerned and any systems of traffic and communication therein;

(b)	the precise location of all proposed roads, buildings and open spaces and of any land to be set aside as a residential, industrial or agricultural area, and the relationship between each of the foregoing and the other;

(c)	the foreseeable effect of the establishment of locations under paragraph (b) on adjacent areas outside the locality concerned and in relation to any already existing plans for such areas;

(d)	any other measures which, in the opinion of the Board, are or may be required to ensure the provisions of a satisfactory environment in the locality concerned;

(e)	the stages by which the development of the locality concerned should be undertaken;

(f)	the availability of resources likely to be required for the purpose of carrying into effect the proposals of the local plan concerned.

(5)  In the preparation of the plans referred to in subsections (2), (3) and (4) the Board shall also have regard to the following matters—

(a)	the allocation of lands for forest reserves, national parks, agricultural, residential, industrial, commercial or other purposes as may be indicated in the plan;

(b)	the designation and demarcation of any land that may be allocated for any public purpose;

(c)	the designation and demarcation of any land required for comprehensive development of an area including areas adjacent to the area required for the purpose of paragraph (a);

(d)	the designation and demarcation of any other land that, in the opinion of the Board, should be reserved for compulsory acquisition for any public purpose.

9.   Composition of development plans

(1)  The national plan and every regional and local plan prepared under section 7 shall comprise—

(a)	a written statement containing the policies and proposals of the Board in relation to the planning of the use and development of the area with which the plan is concerned; and

(b)	any maps, diagrams, or other illustrative or descriptive matter as to the Board may seem appropriate for the purpose of explaining those policies and proposals,

which shall be published in the manner prescribed by regulations made under this Act.

(2)  A national plan or regional or local plan shall not designate any land as land subject to compulsory acquisition on the recommendation of the Board if it appears that the acquisition is not likely to take place within three years from the date on which the plan is approved.

(3)  Where any land is designated in a development plan as subject to acquisition, then if at the expiration of two years from the date on which the plan came into operation, any part of that land has not been acquired pursuant to the provisions of the Land Acquisition Act, the owner of interest in that part may serve on the Board a notice requiring the interest to be acquired and if within twelve months after the service of that notice, or such longer period as may be agreed, the interest has not been acquired, the development plan shall have effect as if that part of the land was not designated as subject to acquisition but subject to such alternate restrictions as to user as shall be specified in the development plan.

(4)  At least once in every five years after the date on which a development plan for any area is approved by Cabinet, the Board shall carry out a fresh survey of that area, and submit to the Minister a report of the survey, together with proposals for any alternative plan or addition to that plan, that appears to be required.

(5)  Notwithstanding the provisions of subsection (4), the Board—

(a)	shall, if any time so required by the Minister; and

(b)	may, whenever it appears expedient,

submit to the Minister proposals for alterations or additions to any development plan.

10.   Designation of areas for acquisition and development

Where the Board is of the opinion that any area should be designated for comprehensive development for the purpose of—

(a)	dealing satisfactorily with conditions of bad layout or obsolete development;

(b)	providing for the relocation of population or industry or for the replacement of open space of any other area;

(c)	for any other purpose which may be specified,

the Board may define, designate and include the area in the national, regional or local plans as land subject to compulsory acquisition and comprehensive development.

11.   Register

The Board shall maintain a register of all applications, appeals, decisions and other allied matters, and the register shall be open for inspection by the public at the office of the Board during its normal working hours together with all maps and plans submitted with any application.

12.   Policy statements

For the purposes of the subject reports mentioned in section 7(1)(c) the Board shall prepare and submit to the Minister for submission to Cabinet written statements containing the policies and proposals of the Board in relation to the subject with which the report deals, and may explain those policies and proposals by means of any map, diagram, or other illustrative or descriptive matter as to the Board may seem appropriate.

13.   Approval of national, regional and local plans

(1)  All national, regional and local plans submitted to Cabinet for approval shall, unless Cabinet otherwise requires, be considered by the Minister who, subject to subsection (3), may approve the plan, make modifications thereto or return the plan to the Board for reconsideration.

(2)  Where in relation to any plan a modification is sought to designate any land as subject to compulsory acquisition even though it was not so designated in the plan submitted for approval, the Minister shall grant the request only if satisfied that the modification is necessary.

(3)  Before according approval of or making modifications to any plan submitted for approval, the Minister shall cause to be published in two issues of the Gazette a notice—

(a)	indicating that a plan has been prepared by the Board;

(b)	stating the place where the plan may be inspected; and

(c)	fixing a period of not less than twenty-eight days, within which objections or representations may be made to the Minister with respect to the plan or the proposals contained therein.

(4)  Any objections or representations in relation to a plan made in response to a notice under subsection (3) shall be in writing and on receipt thereof, the Minister shall designate any competent person to make a report to him after due enquiry.

(5)  The Minister shall consider the objections or representations, if any, made to a plan and the report thereof obtained in pursuance of subsection (4), before making final orders regarding a plan under this section.

(6)  Where the Minister has approved a plan or made any modifications thereto he shall cause notice of the approval, or of the modifications, to be published in two issues of the Gazette stating the place where the public may make an inspection of the relevant papers.

14.   Zoned area declaration

(1)  The Minister may, by order published in the Gazette, declare any specified area to be a zoned area reserved for a public purpose to be specified, and where any such order has been made the Board shall not be competent to consider any application for permission for development in respect of any land or building included in the zoned area.

(2)  Any declaration made pursuant to subsection (1) may specify the activity or activities or use prohibited in or about such specified areas.

(3)  Any owner of land within a specified area referred to in subsection (1), may appeal in the manner prescribed under section 27 of this Act.

(4)  Any person found trading or engaging in any commercial activity in contravention of an order made under subsection (1) prohibiting such activity, commits an offence and is liable—

(a)	to have his goods immediately seized and detained for such time as may be necessary by any officer duly authorised in writing by the Board;

(b)	on summary conviction to a fine not exceeding one thousand dollars or to imprisonment for a term not exceeding six months.

[Subsection (4) inserted by Act No. 19 of 1993.]

(5)  Where a person is convicted of an offence under this section, the Court may—

(a)	order the forfeiture of the goods in relation to which the offence was committed and may order that the goods be disposed of as the Court may direct;

(b)	order the person to desist from engaging in any trading or commercial activity in relation to which the offence was committed until such time as the Court may direct.

[Subsection (5) inserted by Act No. 19 of 1993.]

15.   Compulsory acquisition of land

(1)  Where in accordance with the provisions of this Act, any land or building has been designated in a national, regional or local plan as subject to compulsory acquisition, such land or building may be acquired under the law for the time being in force relating to land acquisition and for the purpose it shall, notwithstanding anything contained in any other law, be presumed that such land or building is required for a public purpose.

(2)  Nothing contained in subsection (1) shall be construed as restricting the Government from acquiring the land or building by agreement.

16.   Application for development

(1)  Subject to subsection (3) and notwithstanding any provisions in any other law, no person shall carry out, or cause to be carried out, any development except under and in accordance with the conditions of a grant of permission for development given in writing by the Board.

(2)  Every person applying for a grant of permission for development shall submit an application to the Board in the prescribed form.

(3)  Notice of application for planning permission for categories prescribed in the Regulations shall be published in the Gazette giving—

(a)	the particulars of the application; and

(b)	inviting observations from interested persons,

and copies of the publications shall be submitted to the Board which shall not consider an application in the absence of such notice.

(4)  Permission for development is not required in respect of—

(a)	any development which affects only the interior of a building or which does not materially alter the external appearance of a building except those buildings in respect of which there is in force a building preservation order;

(b)	any work carried out by or on behalf of a statutory undertaking in pursuance of its statutory powers or duties;

(c)	any development authorised before the coming into operation of this Act under and executed in accordance with the Housing and Land Development Corporation Act, 1976;

(d)	any use, confined within the curtilage of a dwelling house, which is incidental to the enjoyment of the dwelling house as such;

(e)	buildings or land to be used for a purpose specified in an order made by the Minister, which is used for any other similar purpose;

(f)	the erection, alteration, extension or reconstruction of a gate, fence or wall which in height—

(i)	does not exceed 3 feet 6 inches where such gate, fence or wall abuts upon any road capable of carrying motor traffic,

(ii)	does not exceed 6 feet in any other case, if, after the completion of the work necessary for such erection, alteration, extension or reconstruction, the gate, fence or wall does not exceed the height specified when measured from the ground;

(g)	any development or class of development which the Minister may specify by order published in the Gazette (hereinafter referred to as a Development Order) as being exempted from the requirement of permission under this section.

[Chapter 98.]

(5)  A person may apply for a grant of permission in principle for the proposed development and obtain an outline approval in respect thereof and such outline approval shall be valid for two years, within which time application for final permission for development shall be submitted to the Board.

(6)  Any person who carries out or has carried out a development and is desirous of ascertaining the requirement for permission for so doing may make an application to the Board for the approval of that development and the Board shall consider the application, as if it were an application for the grant of permission for development.

16A.   Building permits required

(1)  No person shall proceed with construction or demolition of a building, unless a permit has been issued therefore by or under the authority of the Board.

(2)  The Board shall issue a permit for construction or demolition of a building except—

(a)	where the construction or demolition would not be in accordance with the terms and conditions of any permission for the development of land or the building regulations, or would contravene any other applicable law;

(b)	where the application of the permit is incomplete; or

(c)	where any fees due are unpaid.

(3)  No person shall make a material change or cause a material change to be made to a plan, specification, document or other information on the basis of which a permit was issued without first filing details of such change and obtaining authorisation therefore from the Board.

(4)  The Board may revoke a permit—

(a)	where the permit was issued on the basis of incorrect or false information;

(b)	where one year after the issue of the permit, the construction or demolition in respect of which the permit was issued has not, in the opinion of the Board been substantially commenced;

(c)	where the construction or demolition is, in the opinion of the Board, substantially suspended or discontinued for a period of more than two years.

(5)  Nothing in subsection (4) prevents the issue of a new permit following the revocation of a permit under subsection (4), provided that all of the conditions of subsection (2) are met.

(6)  No person shall develop land, construct, cause to be constructed or demolish a building except in accordance with the plans, specifications, documents and any other information on the basis of which a permit was issued or any changes thereto were authorised.

(7)  Where the Board issues a building permit, there shall be returned to the applicant one set of the plans, specifications, surveys and other documents filed with the application for the permit, clearly marked with the particulars of the permit issued, and the applicant shall keep at all times all such documents and other prescribed records at the construction site.

[Section 16A inserted by Act No. 2 of 2005.]

16B.   Occupancy certificate required

(1)  Upon the completion of any building or land development in substantial compliance with the terms of a permit, and upon payment of any prescribed fee, the Board shall forthwith issue an occupancy certificate.

(2)  Subject to the provisions of subsection (5), no person shall occupy or permit any new building to be occupied unless and until an occupancy certificate has been issued.

(3)  Where part of a building undergoing construction can be occupied without endangering public safety, the Board may issue a temporary certificate of occupancy for such part before all work covered by the building permit has been completed.

(4)  A temporary certificate of occupancy may contain such terms and conditions and shall be subject to such limitations as the Board considers appropriate and, where no period is specified, shall be valid for ninety days from its date of issue and may be renewed if necessary.

(5)  Notwithstanding the provisions of subsection (2), it shall be lawful—

(a)	to occupy a part of a building in respect of which a temporary certificate has been issued so long as such occupancy complies with the terms of the temporary certificate of occupancy therefore; and

(b)	to occupy a new building by not more than two caretakers.

[Section 16B inserted by Act No. 2 of 2005.]

17.   Permission for development

(1)  In dealing with an application for the grant of permission for development, the Board shall, so far as it is practicable to do so, give primary consideration to—

(a)	the approved national, regional and local plans, if any, prepared in accordance with the provision of this Act;

(b)	an approved development plan applicable to the land to which the application relates;

(c)	an approved environmental impact statement made pursuant to section 29 in respect of the application.

(2)  In addition to the considerations referred to in subsection (1) the Board shall, in considering any application under subsection (1) take into account such of the following considerations as are in its opinion relevant to the application before it—

(a)	any statement of policy issued by the Minister which is relevant to the application;

(b)	any representation made by any department of Government, or statutory board;

(c)	any representations made by any member of the public;

(d)	any other material considerations.

(3)  Without restricting the generality of subsection (2)(d), amongst the considerations that may be regarded as material are—

(a)	the use or uses to which the land to which the application relates is being put at the time of the application;

(b)	the pattern of development of the area of which the land to which the application relates is a part;

(c)	the likely impact on the environment of the area where the proposed development is to take place;

(d)	possible alternative sites for the proposed development;

(e)	whether any pollution, including pollution of the marine environment, is likely to be caused by the proposed development;

(f)	any social costs and benefits to the community which are likely to be generated by the proposed development;

(g)	where the application is for permission to subdivide land—

(i)	whether the plan of subdivision conforms to the development plan for the area,

(ii)	the suitability of the land for the purpose for which the subdivision is intended,

(iii)	the number, width, location, proposed grades, and elevation of roads and the adequacy thereof and the linking roads in the proposed subdivision with the established road system and the adequacy thereof,

(iv)	the dimension and shape of the lots;

(h)	the availability of water, electricity and waste disposal services.

(4)  The Board after consideration of the matters referred to in subsections (1), (2) and (3) may either grant or refuse permission or in its discretion postpone its decision for the reasons set out in subsection (7).

(5)  A decision of the Board under subsection (4) may relate to the whole or to any distinct part of the development in respect of which the application is made, and may be given subject to such reasonable conditions or limitations as the Board sees fit to impose for the purpose of ensuring that the development is carried out in accordance with the provisions of this Act.

(6)  Without prejudice to the generality of its powers under subsection (4), the Board may grant permission for development either unconditionally or subject to such conditions as it thinks fit.

(7)  Without prejudice to the generality of subsection (4) the Board may impose conditions—

(a)	regulating the development or the use of any land under the control of the applicant (whether or not it is a land in respect of which an application was made) or requiring the carrying out of work on any such land, so far as it appears to the Board to be expedient for the purposes of, or in connection with, the development or use authorised by the permission;

(b)	requiring the removal of any building or works authorised by the permission, or the discontinuance of any use of land so authorised at the end of a specified period and the carrying out of any works for the re-instatement of any land at the expiration of that period;

(c)	requiring the commencement or completion of any development before a specified date or before the completion of any development being carried out by the same applicant;

(d)	requiring the provision of proper services including water, electricity and roads before the sale, lease or other disposition of any land for which permission has been granted for subdivision for housing or commercial or industrial purposes.

(8)  Permission for development granted subject to the condition that it shall be valid for a limited period only, shall be referred to as a “limited period grant”.

(9)  Every decision of the Board under subsection (4) shall be in writing, in the prescribed form and, unless served on the applicant within a period of twelve weeks from the date of receipt by the Board of all the necessary documentation relating to the application, the applicant may treat the application, or that part in respect of which a decision has not been given, as having been refused and may appeal as provided in section 27.

(10)  Where under subsection (4) the Board refuses or postpones permission for development, the Board shall state the reasons therefor, and in any case where the Board postpones its decision it shall be to enable the applicant, within a specified period to furnish maps, plans or studies to the satisfaction of the Board showing the nature, extent or manner of the development desired, or any other information in writing which, in the opinion of the Board, is relevant to the application.

(11)  Every grant of permission for development shall be subject to the condition that the development is to be completed in accordance with the grant within two years immediately following the date of the grant unless a different period is specified therein:

Provided that the Board may, at any time before the expiry of any such period, extend the period to a date to be specified if satisfied by the applicant that the extension is necessary to enable the development to be completed.

(12)  A grant of permission for development in respect of any development which has not been completed or substantially completed in accordance with the grant within the period specified under subsection (11) shall, unless extended, lapse upon the expiry of that period.

18.   Enforcement notice

(1)  In lieu of or addition to proceedings for an offence punishable under section 31, and whether or not such proceedings have been instituted, where any development appears to the Board to have been carried out—

(a)	in contravention of any of the provisions of this Act or of regulations made thereunder; or

(b)	in non-compliance with any conditions or limitations subject to which planning permission was granted,

the Board may serve an enforcement notice in the prescribed form upon the owner or occupier of any land or building in relation to which such development appears to have been carried out and upon any other person who, in the opinion of the Board, may be affected by the notice.

[Subsection (1) amended by Act No. 2 of 2005.]

(2)  Where the enforcement notice relates to a development which has been carried out, notice shall be served within a period of five years from the date on which it was carried out and where the notice relates to the violation of any condition or limitation or restriction, notice shall be served within five years of the date of the violation.

(3)  Every enforcement notice shall specify the matters which it is alleged constitute a contravention of the provisions of this Act or of regulations made thereunder and the steps which the Board requires to be taken to ensure compliance therewith, and shall further specify a date by or before which all such steps shall be taken.

[Subsection (3) amended by Act No. 2 of 2005.]

(4)  The steps to be taken in relation to subsection (3) may include the demolition or alteration of any building or works or the discontinuance of any use of land, or the carrying out on land of any building or other operations.

(5)  Any person upon whom an enforcement notice has been served who without reasonable excuse, fails or neglects to comply with any requirement thereof commits an offence and is liable on summary conviction to a fine not exceeding twenty thousand dollars and to a further fine not exceeding three hundred dollars in respect of each day during which the offence continues.

(6)  Where after an enforcement notice has been served in accordance with subsection (1) and within the time specified in the notice or within such extended period as the Board may, on application allow, there is default in the taking of the steps required to comply with the notice, an agent of the Board authorised in writing may take such action as may be necessary to enforce compliance, and any expenditure incurred by the Board in this behalf, shall be recoverable as a civil debt from the owner or occupier of the land on whom the enforcement notice was served.

(7)  Any action taken by the Board in pursuance of subsection (6) shall be without prejudice to the application of subsection (5).

(8)  Any person, who is aggrieved by an enforcement notice made under subsection (1) may appeal against the notice on one or more of the following grounds—

(a)	that planning permission was granted for the development to which the enforcement notice relates;

(b)	that no planning permission was required in respect of the development;

(c)	that the conditions or limitations subject to which planning permission was granted have been complied with;

(d)	that the notice was not served in accordance with any specified provision or provisions of this section.

(9)  On an appeal under this section the Tribunal may correct any informality, defect or error in the enforcement notice if satisfied that the informality, defect or error is not a material one.

(10)  Notwithstanding the provisions of subsection (8) any person who is aggrieved by an enforcement notice may apply to the Board within seven days of the service of the notice for its withdrawal by the Board and the Board shall within twenty-one days of receipt of such application confirm or withdraw the notice.

(11)  When an enforcement notice relates to a development in the process of being carried out (whether by way of change or use or by way of non-compliance of the conditions subject to which planning permission was granted or in any other way) all activities which constitute a violation of the enforcement notice shall cease forthwith pending the decision of the matter on appeal and continuance of any such activity, save with the specific permission of the Tribunal appointed under section 27(3) accorded after giving the Board an opportunity to be heard, shall be an offence punishable under subsection (5).

19.   Stop notice

(1)  Where in respect of any land the Board has served an enforcement notice, the Board may, at any time before the notice takes effect, serve a further notice (in this Act referred to as a “stop notice”) referring to, and having annexed to it, a copy of the enforcement notice and prohibiting any person on whom the stop notice is served from carrying out or continuing any specified operation on the land, being an operation either alleged in the enforcement notice to constitute a breach of planning control or so closely associated therewith as to constitute substantially the same operation.

(2)  The operations which may be the subject of a stop notice are the deposit of refuse or waste materials on land or beaches causing environmental damage, or acts affecting the health or safety of persons or property or disrupting the essential services, where such action is a breach of planning control alleged in the enforcement notice.

(3)  A stop notice may be served by the Board on any person who appears to them to have an interest in the land or to be concerned with the carrying out or continuance of any operation thereon.

(4)  A stop notice—

(a)	shall specify the date (not earlier than three nor later than fourteen days from the day on which the notice is first served on any person) when it is to take effect;

(b)	in relation to any person served with it, shall have effect as from that date or the third day after the date of service on him, whichever is later; and

(c)	shall, without prejudice to subsection (7) cease to have effect when the enforcement notice takes effect or is withdrawn or quashed.

(5)  If a person on whom a stop notice is served carries out, or causes or permits to be carried out, any operation prohibited by the notice, he commits an offence and is liable on summary conviction to a fine not exceeding sixty thousand dollars and if the offence is continued after conviction he shall be liable to a further fine not exceeding five hundred dollars for each day during which the offence continues.

(6)  A stop notice shall not be invalid by reason that the enforcement notice to which it relates was not served as required by section 18 of this Act if it is shown that the Board took all such steps as were reasonably practicable to effect proper service.

(7)  The Board may at any time withdraw a stop notice (without prejudice to their power to serve another) by serving notice to that effect on the person on whom notice was served and the stop notice shall cease to have effect as from the date of service of the notice of withdrawal.

20.   Waste orders

(1)  If the Board is satisfied that any area of land or any building is derelict, neglected or wasted or a public nuisance or hazard so as to constitute a substantial detraction from any amenity or from the enjoyment thereof, the Board may serve a waste order in the prescribed form upon the owner or the occupier of the land or building and upon any other person who, in the opinion of the Board may be affected by the order.

(2)  Every waste order shall specify the matters which it is alleged constitute a substantial detraction from an amenity or from the enjoyment thereof, and the steps which the Board requires to be taken to restore the land or building to fit condition, and shall further specify a date by or before which all such steps shall be taken.

(3)  Any person upon whom a waste order has been served who, without reasonable excuse, fails or neglects to comply with any requirement thereof, or by an act or omission contravenes subsection (7), commits an offence and is liable on summary conviction to a fine not exceeding ten thousand dollars and to a further fine not exceeding three hundred dollars in respect of each day during which the offence continues.

(4)  Where a waste order made by the Board has not been complied with within any extended period allowed for the purpose, the Board may, without prejudice to any action that may be taken under subsection (3), authorise its agents in writing to enter upon the land or take such steps as may be necessary to enforce compliance, and any expenditure incurred by the Board in this behalf may be recovered from the owner or occupier of the land against whom a waste order was made, as if it were a civil debt.

(5)  In any proceeding under subsection (4), it shall not be open to any person to dispute the validity of the waste order.

(6)  Any person against whom a waste order has been served may appeal against the same on one or more of the following grounds—

(a)	that the condition of the building or land to which the order relates does not seriously injure the amenity and is not likely to do so;

(b)	that the condition of the building or land is such that in the normal course of events the building or land cannot be put to use without detracting from the amenity;

(c)	that the building does not constitute a public nuisance or a hazard to the public;

(d)	that the directions of the order exceed what is necessary for preserving any public amenity;

(e)	that the period specified in the order for carrying out its directions falls short of the time reasonably required for the purpose.

(7)  Where a waste order has been made, every act or omission which could constitute a violation of the order or contribute to such violation shall cease forthwith pending the decision of the matter on appeal and any failure to remedy such act or omission save with the specific permission of the Tribunal accorded after giving the Board an opportunity to be heard, shall be an offence punishable under subsection (3).

21.   Power of Board to require discontinuance of use, etc.

(1)  Where the Board is satisfied, having regard to the national, regional, or local plan or to any other material or information in its possession, that in the public interest—

(a)	any use of land should be discontinued, or that any conditions should be imposed on the continued use of land; or

(b)	any building or works should be altered or removed,

the Board may, with the previous approval of the Minister, require by order published in the Gazette, the discontinuance of the use or the compliance with such conditions as may be specified in the order.

(2)  Any order made under subsection (1) may include permission for development of any land specified in the order, and every such permission shall have effect as if the same were granted on application, and the provisions of the Act shall apply accordingly.

(3)  The Board shall, prior to submitting an order made under subsection (1) for the approval of the Minister, serve notice of its intention to do so on the owner, occupier, or any other person who, in its opinion is interested in the matter, requesting them to submit their objections if any, to the Board within a specified period.

(4)  Where an objection has been submitted under subsection (3) the Board shall transmit the objection along with the order and the comments of the Board, if any, to the Minister who may appoint any competent person or authority to consider the same and report after giving a reasonable opportunity to the objector to present his case.

(5)  Every order approved by the Minister shall be forwarded to the Board and a copy thereof shall be served on any owner, occupier, or other person on whom notice was served in the earlier stage of the proceedings.

22.   Tree preservation order

(1)  If the Board is satisfied that it is necessary—

(a)	in order to provide any amenity to the public; or

(b)	for the purpose of soil conservation or tree preservation or water conservation; or

(c)	for any other public purpose,

to prohibit the destruction of any tree, forest, or woodland, the Board after consultation with the Chief Forestry Officer may serve a tree preservation order upon the owner or occupier of any land and on any other person who, in the opinion of the Board, may be affected by the order.

(2)  An order under this section shall not apply in relation to—

(a)	the destruction of trees which are dead or dying, or which by reason thereof have fallen or are in danger of falling; or

(b)	any measures which it is necessary to take for the purpose of abating a public or private nuisance; or

(c)	anything done in pursuance of an obligation or authorisation imposed or conferred by any written law for the time being in force; or

(d)	the destruction of trees, or woodland to such extent as the Board may in the order specifically authorise,

but subject to this subsection such order may impose any prohibition, restriction or requirement for any of the purposes specified in subsection (1).

(3)  Any person upon whom a tree preservation order has been served who, without reasonable excuse, fails or neglects to comply with any prohibition, restriction or requirement thereof commits an offence and is liable on summary conviction to a fine not exceeding ten thousand dollars and to a further fine not exceeding two hundred dollars in respect of each day during which the offence continues.

(4)  Where a tree preservation order has been made every act or omission which could contribute to such violation, shall cease forthwith pending the decision of the matter on appeal and any failure to desist from such act or to rectify the omission, save with the specific permission of the Tribunal accorded after giving the Board an opportunity to be heard shall be an offence punishable under subsection (3).

23.   Building preservation order

(1)  The Minister may, upon the recommendation of the Board where it appears that it is expedient to make provision for the preservation of any building of special architectural or historic interest in Saint Vincent and the Grenadines, make an order (in this Act referred to as a “building preservation order”) restricting the demolition, alteration or extension of the building.

(2)  The Minister shall not make a building preservation order if satisfied that the execution of the works specified in the order would not seriously affect the character of the building.

(3)  Provision may be made by a building preservation order—

(a)	for requiring that the consent of the Board be obtained for the execution of works of any description specified in the order and for enabling that Board to give its consent subject to conditions;

(b)	for applying in relation to such consent and to application for such consent, any of the provisions of this Act relating to permission to develop land and to applications for such permission subject to such adaptations and modifications as may be specified in the order;

(c)	for enabling the Board where any works have been executed in contravention of the order, to require the restoration of the building to its former state, and for that purpose for applying any of the provisions of sections 18 and 19 with respect to enforcement of planning control, subject to such adaptations and modifications as may be specified in the order.

(4)  Nothing in any building preservation order shall render unlawful the execution of any works which are urgently necessary in the interest of safety or health or for the preservation of the building or of neighbouring property, so long as notice in writing of the proposed execution of the works is given to the Board as soon as may be after the necessity for the works arises.

(5)  Any person, being the owner or occupier of a building in relation to which a building preservation order is in force, who executes or causes or permits the execution of any works in contravention of the order commits an offence and is liable on summary conviction to a term of imprisonment of one year or to a fine not exceeding twenty-five thousand dollars, or to both such fine and imprisonment.

24.   List of buildings of special architectural or historic interest

(1)  For the purpose of performing his functions under this Act in relation to buildings of special architectural or historic interest, the Minister shall approve, with or without modifications, lists of such buildings compiled by the Saint Vincent National Trust or other similar persons or bodies and may amend any list so compiled or approved.

(2)  As soon as may be after any list has been approved or amended under this section, the list as approved or amended shall be published in two issues of the Gazette.

(3)  As soon as may be after the inclusion of any building in a list under this section, or as soon as may be after the exclusion of any building therefrom, the Minister shall serve a notice on every owner and occupier of the building, stating that the building has been included in, or excluded from the list, as the case may be.

(4)  Before approving, with or without modifications, any list under this section, the Minister may consult with such persons or bodies of persons as appear to him appropriate as having special knowledge of, or interest in buildings of architectural and historic interest.

25.   Effect of inclusion of building in list under section 24

(1)  Subject to this section, so long as a building (being a building to which a building preservation order applies) is included in a list compiled or approved under section 24, no person shall execute or cause or permit to be executed any works for the demolition of the building, or for its alteration or extension in any manner which would seriously affect its character, unless at least two months before the works are executed notice in writing of the proposed works has been given to the Board.

(2)  Nothing in subsection (1) shall render unlawful the execution of any works which are urgently necessary in the interest of safety or health or for the preservation of the building or of neighbouring property, so long as notice in writing thereof has been given to the Board as soon as may be after the necessity for the works arises.

(3)  Where the Board receives notice of any proposed works under subsection (2), it shall as soon as may be send a copy of the notice to the Minister, the Saint Vincent National Trust and to such other persons or bodies of persons as may be specified by directions of the Minister either generally or in respect of the building in question.

26.   Amendment of grants or orders

(1)  If it appears to the Board to be necessary to amend any grant of permission for development, as a result of any false or inaccurate information supplied to the Board, the Board may by notice in writing served upon the person to which such permission is granted, amend the grant.

(2)  If it appears to the Board to be necessary to amend any notice or order made under section 18, 20, 22 or 23 the Board may by notice in writing served upon the owner or occupier or any other person upon whom such notice or order was served, amend the notice or order.

27.   Establishment and functions of Appeals Tribunal

(1)  Any person who is aggrieved by a decision of the Board made under section 17 or any other provisions of this Act, or whose application for permission for development has not been decided upon by the Board within four weeks of the expiration of the twelve weeks period required under section 17(9), may appeal to the Minister against the decision.

(2)  Every appeal under subsection (1) shall be made to the Minister, within fourteen days of the date of service of the decision appealed against, and shall set out the ground for appeal, and where applicable, be submitted along with the copy of the decision appealed against.

(3)  The Minister shall request the records relating to the matter from the Board, which shall submit them to the Minister within seven days and within fourteen days of the receipt of such records, the Minister shall transmit them to an Appeals Tribunal appointed by him for adjudication.

(4)  A Tribunal shall consist of one or more persons, but not more than three, as the Minister may think fit:

Provided that the Minister may appoint one or more tribunals generally or in relation to any case or any class or category of cases.

(5)  The qualifications and terms and conditions of service of any member of a Tribunal appointed under subsection (3) shall be such as the Cabinet may by order determine.

(6)  Subject to any other statutory provision, the Tribunal shall have power to regulate its own proceedings.

(7)  The Tribunal may after making such enquiry as it may think fit and after giving the appellant a reasonable opportunity to present his case—

(a)	allow or dismiss the appeal;

(b)	uphold the decision of the Board;

(c)	reserve or vary the decision of the Board,

and without prejudice to the right of an aggrieved party to the appeal to apply to the High Court for appropriate relief, every such decision shall be final.

(8)  Every decision of a Tribunal shall contain the reasons for the decision and a copy thereof shall be sent to the appellant and the Board.

28.   Documents and information required

Any person who in a prescribed area, proposes to undertake any enterprise, construction or development of a description or category as may be prescribed shall, before commencing, notify the Board of his proposals and furnish to the Board such documents and information as it may require.

29.   Environmental impact assessment

(1)  The Board may by notice require an environmental impact assessment to be submitted to it within such time as may be specified in the notice—

(a)	where it is aware that any person proposes to undertake in a prescribed area any enterprise, construction or development of a prescribed description or category; or

(b)	where it is of the opinion that the activities of any enterprise, construction or development which has already been established or operational within such prescribed area is causing or is likely to cause pollution or is otherwise having or is likely to have an adverse effect on the environment,

and the person responsible for the undertaking shall comply with the requirements of such notice.

(2)  An environmental impact assessment shall be in such form and contain information as may be prescribed.

(3)  Any person who refuses or fails to submit an environmental impact assessment as required by the Board pursuant to subsection (1) commits an offence and is liable on summary conviction before a magistrate to a fine not exceeding thirty thousand dollars.

(4)  Where a notice has been sent to any person pursuant to subsection (1), any licence, permit, approval or consent required in respect of the development under any law in respect of any enterprise, construction or development referred to in subsection (1) shall not be issued or granted to that person unless he has complied with the notice and the Board has given approval for the enterprise, undertaking or construction to proceed.

(5)  In this section, “person responsible” includes any person at whose order or on whose behalf the enterprise, construction or development will be or is being undertaken, as may be appropriate in any particular case.

30.   Orders to protect environment

(1)  Where the Minister is satisfied, on information received from the Board, that it is in the public interest to do so, he may by order published in the Gazette direct the Board to take such steps as are necessary to remove, mitigate or prevent any condition that poses or is likely to pose a threat to the environment and the Board shall act in accordance with such order.

(2)  An order made under subsection (1) may be made to extend to the whole of Saint Vincent and the Grenadines or to any part thereof and may contain such ancillary and supplementary matters as the Minister thinks fit.

(3)  The Board shall cause a copy of every order made under this section to be posted in a conspicuous place at every police station and post office in this Island.

(4)  Any person who—

(a)	obstructs any person in carrying out any measure authorised by an order under subsection (1); or

(b)	contravenes any provision of such order,

commits an offence, and is liable on summary conviction before a Magistrate to a fine not exceeding twenty thousand dollars.

31.   Offences

(1)  Any person who, without having first obtained permission as required by this Act, carries out or causes to be carried out any development other than as specified in section 16(3), commits an offence and is liable on summary conviction to a fine not exceeding twenty thousand dollars or to imprisonment for a term not exceeding two years, or to both such fine and imprisonment.

(2)  Any person who, having been granted permission for development, without reasonable excuse, fails to comply or neglects to ensure compliance with any condition or limitation imposed by virtue of section 17(6), or who carries out or causes to be carried out any development after such permission has lapsed under subsection (7) of that section, commits an offence and is liable on summary conviction to a fine not exceeding twenty thousand dollars and to a further fine not exceeding one thousand dollars in respect of each day during which the offence continues.

[Subsection (2) amended by Act No. 2 of 2005.]

(3)  Any party to an appeal under section 27 who fails to comply with, or who neglects to ensure compliance with, the decision, or with any condition or limitation contained in the decision of the Tribunal on such appeal, being a decision with which he has a duty to comply, commits an offence and is liable on summary conviction to a fine not exceeding ten thousand dollars and to a further fine not exceeding three hundred dollars in respect of each day during which the offence continues.

(4)  Any person who contravenes any provision of this Act or of Regulations made thereunder for which no penalty has been specifically prescribed, commits an offence and is liable on summary conviction thereof to a fine not exceeding three thousand dollars or to imprisonment for one year, or to both such fine and imprisonment.

(5)  In the case of a continuing offence where the penalty is not specifically prescribed there shall be an additional fine of two hundred and fifty dollars for each day the offence continues after the date of conviction without lawful excuse whether or not an appeal is pending but if acquitted on such appeal the additional payment shall be refunded.

(6)  Where any body corporate commits an offence under this Act or of regulations made thereunder, and the offence is proved to have been committed with the consent or connivance of any director, manager, secretary or other officer of the body corporate, the officer responsible as well shall be liable to be prosecuted and on summary conviction punished accordingly for such offence.

[Subsection (6) amended by Act No. 2 of 2005.]

(7)  The Board or the State may initiate prosecutions for any offence under this Act.

32.   Power to enter premises

(1)  Any person duly authorised in writing by the secretary to the Board may at any reasonable time enter any premises—

(a)	to ascertain whether the provisions of this Act are being or have been complied with;

(b)	to inspect any such premises;

(c)	to obtain any information which he has reasonable grounds to believe may assist the Board to determine whether or not an offence under this Act is being or has been committed and to identify the person responsible for the commission of the offence;

(d)	to require any person who the Board has reasonable ground for suspecting to have committed or to be about to commit an offence under this Act to answer any question or to produce any document which may be relevant to establish this fact.

(2)  Any person authorised under this section to enter upon any premises shall, if so required, produce evidence of his authority before so entering, and shall not demand admission as of right to any premises that is occupied unless where possible reasonable notice of the intended entry has been given to the occupier.

(3)  Anyone who wilfully obstructs or hinders a person duly authorised under subsection (1), or who, when required under that subsection to give any information, answer any question or produce any document, refuses to comply or knowingly gives any information, answer or document which is false or misleading, commits an offence and is liable on summary conviction to a fine not exceeding ten thousand dollars or to imprisonment for one year, or both such fine and imprisonment.

(4)  If the Board is satisfied that for any reason, anyone upon whom an order under section 18, 20 or 22 has been served has failed to carry out, or to cause to be carried out, any requirement of such order, the secretary to the Board may in writing authorise its agents to enter the premises in question and to do or cause to be done all things necessary to ensure compliance with the requirement, and the expenses incurred thereby shall be recoverable summarily as a civil debt from the person upon whom the order was served.

33.   Service of documents

(1)  Any document required to be served upon the Board under this Act shall be deemed to be duly served upon its delivery to the office of the secretary to the Board.

(2)  Every document required by this Act to be served on the Board shall, on delivery at the office of the secretary to the Board, be marked or stamped so as to show clearly the date upon which it was delivered.

(3)  Every document required by this Act to be served upon any person other than the Board shall be deemed to be duly served if—

(a)	delivered personally; or

(b)	addressed to the person and left at his usual or last known place of abode or at any address for service notified by him or on his behalf; or

(c)	sent by registered post, addressed to the person, to his usual or last known place of abode or to any address for service notified by him or on his behalf; or

(d)	in the case of a company, delivered personally or sent by registered post addressed to the secretary of the company at the registered office of the company or its principal place of business; or

(e)	affixed conspicuously to some object on land owned or occupied by the person and addressed to him by name or as “the owner” or “the occupier” as the case may be:

Provided that service in the manner specified in this paragraph shall not be effective unless service by other means under this subsection has failed or is known to be likely to fail.

34.   Power of Board to request information

(1)  The Board may require any person, who is reasonably believed to be carrying out a development without having obtained permission to develop, to submit to the Board any information relative to that development.

(2)  Any person who neglects, fails or refuses to comply with a request made under subsection (1) commits an offence and is liable on summary conviction to a fine not exceeding three thousand dollars and to a further fine not exceeding one hundred dollars for every day during which the offence continues.

35.   Minutes

Minutes of any meeting of the Board which is purported to have been kept and confirmed in accordance with section 4(6) shall be receivable as prima facie evidence in all legal proceedings without further proof of the keeping or contents thereof.

36.   Regulations

The Minister may make regulations generally for the proper carrying out of the provisions and purposes of this Act, and in particular but without prejudice to the generality of the foregoing may make regulations in relation to—

(a)	the manner of preparation by the Board of subject reports;

(b)	the conditions under which developments may be exempted from the requirement of permission under section 16(4)(g);

(c)	the form of any application, decision, notice or other document authorised or required by this Act to be prescribed;

(d)	approvals for subdivisions;

(e)	the form of an enforcement notice, stop notice, waste and tree preservation order;

(f)	the making of applications for permission to develop land;

(g)	the fees to be paid in respect of applications for grants of permission for development and in respect of appeals;

(h)	the manner of preparation, content and publication of the national plan, and of regional and local plans, and for the involvement of the public in the preparation of such plans;

(i)	the description or category of enterprise, construction or development in respect of an environmental impact assessment or an environmental assessment statement as required by the Board;

(j)	the preparation, content and consideration of an environmental impact assessment or an environmental assessment statement;

(k)	the proper control of the height, density and set back of buildings, lands for various uses, parking, roads, road junctions, road reserves, water supply, electricity, sewerage, garbage disposal, and any other matter that may have a relationship to development;

(l)	the proper control of the construction of buildings or structures;

(m)	regulating change of use applications;

(n)	the circumstances and conditions under which property may be forfeited by order of court for non-compliance with planning or zoning regulations.

(2)  Any regulations made under this Act may provide for the imposition of a fine not exceeding ten thousand dollars for any contravention of the regulations.

36A.   Building regulations to be made

(1)  The Minister may make regulations as to the following matters—

(a)	as to new buildings—

(i)	the preparations and foundations of the site,

(ii)	the method of construction, structural strength and stability,

(iii)	the materials, including materials of short life and their preservation from decay and infestation,

(iv)	the space of buildings,

(v)	the insulation, lighting and ventilation of rooms,

(vi)	the dimensions of rooms and spaces,

(vii)	planning standards,

(viii)	fire precautions and safety,

(ix)	plumbing and water supply,

(x)	sanitation,

(xi)	electrical installations and wiring, gas installations and piping, and telecommunications services,

(xii)	lifts and other mechanical means of conveyance for access,

(xiii)	refuse disposal and emission of noxious or offensive substances,

(xiv)	hurricane and earthquake precautions and protection,

(xv)	means of access to and egress from buildings,

(xvi)	low cost housing,

(xvii)	the use of buildings or parts of buildings,

(xviii)	matters connected with, or ancillary to any of the foregoing matters;

(b)	as to existing buildings—

(i)	structural alterations or extensions to buildings, and buildings so far as affected by alterations or extensions,

(ii)	buildings are part of buildings in cases where there is any material change within the meaning of this section, the purposes for which a building, or as the case may be, a part of a building is used,

and, so far as they relate to the matters mentioned in this paragraph, regulations made under paragraph (a), may be made to apply to buildings erected before the date on which the building regulations came into force.

(2)  There shall be a material change in the purposes for which a building or part of a building is used if—

(a)	a building, or part of a building being a building or part which was not originally constructed for occupation as a house, or which though so constructed has been appropriated to other purposes, becomes used as a house;

(b)	a building, or part of a building being a building or part which was originally constructed for occupation as a house by one family only, becomes occupied as separate establishments by two or more families; or

(c)	building regulations contain special provisions with respect to buildings used for any particular purpose and a building not previously used for that purpose, becomes so used.

(3)  Building regulations may—

(a)	exempt any building, part of a building or class of building from any of the requirements of the regulations;

(b)	provide for different regulations to apply to different buildings, parts of buildings or classes of buildings; or

(c)	provide for the imposition of or impose conditions on any permit to construct a building.

(4)  Regulations made under this section may include provisions as to—

(a)	the depositing of plans, sections, specifications and written particulars;

(b)	the giving of notices and certificates;

(c)	the inspection of development (including the power to require the uncovering of development which has been covered prior to inspection);

(d)	the testing of drains and sewers and the taking by the Board or a building inspector of samples of materials to be used in the construction of buildings or in the execution of other developments; or

(e)	the prescribing and payment of fees.

(5)  Regulations made under this section may apply, adopt or incorporate, with or without modification, any standard contained in any written instrument or other document.

(6)  Regulations made under this Act incorporating by reference a classification, standard, procedure or specification may incorporate the classification, standard, procedure or specification as amended from time to time and in such case the reference shall be read accordingly.

[Section 36A inserted by Act No. 2 of 2005.]

36B.   Appointment of building inspectors

The Public Service Commission shall appoint building inspectors to assist the Physical Planner to enforce the building regulations.

[Section 36B inserted by Act No. 2 of 2005.]

36C.   Approval and rejection of plans

(1)  Where plans of any proposed development are, in accordance with building regulations, deposited with the Physical Planner, the Physical Planner shall approve the plans, unless—

(a)	they are defective;

(b)	they contravene any provision of the building regulations; or

(c)	there is a failure to comply with this Act,

when he shall refer those plans to the Board together with his written advice thereon.

(2)  In referring plans to the Board under subsection (1), the Physical Planner may recommend that the Board relax or dispense with any requirement contained in the building regulations where the Physical Planner considers that the operation of any such requirement would be unreasonable in relation to that particular case.

(3)  Building regulations may provide, as regards any requirement contained in the regulations, that subsection (2) shall not apply.

(4)  On receipt of any plans on a referral by the Physical Planner under subsection (1), the Board may reject those plans or pass them subject to either or both of the conditions set out in subsection (6).

(5)  If the Board accepts the recommendations made by the Physical Planner under subsection (2), the Board may relax or dispense with the requirements of the building regulations mentioned in that recommendation and approve those plans.

(6)  The conditions mentioned in subsection (4) are—

(a)	that such modifications as the Board may specify shall be made in the deposited plans; and

(b)	that such farther plans as the Board may specify shall be deposited,

to bring the plans into conformity with building regulations.

(7)  The Physical Planner shall notify the person on whose behalf the plans have been deposited, within sixty days or such extended time as agreed by that person, whether those plans have been passed or rejected.

(8)  A notice of rejection of plans shall state the defects on account of which or the building regulation or section of this Act for non-conformity with which or under the authority of which, the plans have been rejected.

(9)  A notice that plans have been approved shall—

(a)	if the plans have been approved by the Board in exercise of any power to relax or dispense with any requirement of building regulations or this Act, state the requirements of the building regulations or this Act, relaxed or dispensed with;

(b)	in any case state that the notice of approval operates as an approval thereof only for the purposes of the requirements of building regulations and does not constitute development permission.

(10)  (a)  A person on whose behalf plans are deposited may apply to the Minister, before that person substantially commences any proposed development, to have any question arising between the Board or the Physical Planner and that person as to whether—

(i)	the plans are defective,

(ii)	the development would contravene the building regulations or this Act, or

(iii)	a relaxation of or dispensing with the requirements of the building regulations ought to have been granted under subsection (5),

determined.

(b)	If the question arising under this subsection is a failure on the part of the Physical Planner or the Board to decide whether the deposited plans are defective, the Minister may order the Board to approve or reject the plans within a time to be specified by the Minister.

[Section 36C inserted by Act No. 2 of 2005.]

36D.   Deposit of plans to be ineffective after two years

Where plans of any proposed development have been deposited in accordance with building regulations and either the plans have been approved or notice of rejection of them has not been given in accordance with section 36C and the development to which the plans relate has not been completed within two years of the deposit of those plans, the deposit of the plans shall be of no effect.

[Section 36D inserted by Act No. 2 of 2005.]

37.   Repeal and amendments

(1)  The Town and Country Planning Act, 1976, is hereby repealed.

(2)  Section 4 of the Preservation of Historic Buildings and Antiquities Act, 1976, is hereby repealed.

(3)  Section 2(1) of the Noise Control Act, 1988, is amended by deleting the definition of “Minister” and substituting therefor the following—

“Minister” means the Minister responsible for town and country planning.

[Chapter 389.]

38.   Application of Act to Housing Corporation

Notwithstanding anything contained in the Housing and Land Development Corporation Act, 1976, the Housing and Development Corporation shall be subject to the jurisdiction and powers of the Physical Planning and Development Board.

[Chapter 98.]

39.   Transitional

(1)  At the date of commencement of this Act—

(a)	the Board is hereby charged with responsibility for the due completion of any matters outstanding under the Town and Country Planning Act, 1976, (hereinafter referred to as the “former Act”);

(b)	there is transferred to the Board—

(i)	all property and any other assets belonging to the former Board, and

(ii)	all rights, duties, privileges, powers and advantages of the former Board, and all liabilities and obligations to which it was subject;

(c)	references, in any deed, contract, security or other document of a private nature, to the former Board shall be construed as references to the Board as occasion requires;

(d)	any legal proceedings by or against the former Board pending immediately before the commencement of this Act shall be continued as if the Board were a party thereto in lieu of the former Board;

(e)	no limitation of time in respect of proceedings by or against the former Board, whether pending or anticipated, arising out of any cause of action accrued before the commencement of this Act shall be affected by the coming into effect of this Act.

(2)  In this section, “the former Board” means the Board established under the provision of section 3 of the Town and Country Planning Act, 1976.

40.   Savings

(1)  On the commencement of this Act all appeals pending before the Tribunal constituted under the former Act (hereinafter referred to as the “former Tribunal”) shall be continued under and in conformity with the provisions of section 27 as far as is possible but where any matter was in the course of being heard or investigated by the former Tribunal but no order had been given or decision made the former Tribunal shall continue to function for the purpose of completing the hearing or investigation and making an order or rendering a decision.

(2)  For the purpose of completing a hearing or investigation or making an order or decision on a matter heard or part heard under the former Act, the former Tribunal shall act in accordance with the authority vested in it under the former Act.

(3)  Any order or decision made by the former Tribunal pursuant to this section shall be deemed to be an order or decision of the Tribunal and shall have the same force and effect as if it had been made by the Tribunal.

CHAPTER 334
TOWN AND COUNTRY PLANNING ACT

SUBSIDIARY LEGISLATION

List of Subsidiary Legislation

| 1. | Town and Country Planning (Zoned Area Declaration) (Kingstown) Order |
| --- | --- |
| 2. | Town and Country Planning (Zoned Area Declaration) (Port Elizabeth – Bequia) Order |
| 3. | Town and Country Planning (Zoned Area Declaration) (Beaches) Order |
| 4. | Town and Country Planning (Zoned Area Declaration) (Bay Street) Order |
| 5. | Town and Country Planning (Zoned Area Declaration) (Beachmont/Murray Road) Order |
| 6. | Town and Country Planning (Fees) Regulations |
| 7. | Building Regulations |

Town and Country Planning (Zoned Area Declaration) (Kingstown) Order

SRO 14 of 2000

Arrangement of ORDERS

| 1. | Citation. |
| --- | --- |
| 2. | Declaration. |
| Schedule |  |

TOWN AND COUNTRY PLANNING (ZONED AREA DECLARATION) (KINGSTOWN) ORDER

In exercise of the powers conferred by section 14 of the Town and Country Planning Act, 1992, the Minister makes the following Order.

[SRO 14 of 2000.]

[Date of commencement: 24th October, 2000.]

1.   Citation

This Order may be cited as the Town and Country Planning (Zoned Area Declaration) (Kingstown) Order, 2000.

2.   Declaration

(1)  In accordance with section 14 of the Town and Country Planning Act, 1992, the public roads and alley ways, sidewalks and adjacent areas of Kingstown more particularly described in the Schedule hereto are declared a zoned area for public use.

[Chapter 334.]

(2)  The following commercial uses are strictly prohibited—

(a)	retail and vending activities including but not limited to the vending of vegetables, fruits, food and drinks, souvenirs, clothing, dry goods and any other article;

(b)	the preparation and sale of food, drinks and snacks except at designated sites upon the issuance of a prior written non-transferable permit for a period of twelve months by the Physical Planning Development Board and subject to such conditions as the Board may think fit.

(3)  A map of Kingstown delineating the zoned area referred to in this Order is available for inspection by members of the public during normal working hours from the 1st day of November, 2000, and thereafter for a period of six weeks at the following places—

(a)	Central Planning Division, Administrative Centre, Kingstown;

(b)	Registry, Kingstown;

(c)	Kingstown Town Board.

Schedule

ALL THAT area bounded by the Kingstown Harbour Foreshore from the Cruise Ship Facility to the western boundary of Rose Place; continuing along the western boundary of the Kingstown Cemetery to its intersection with Cyrus Street; east along Cyrus Street to its intersection with the Leeward Highway; north along the Leeward Highway to the road junction adjacent to the Housing and Land Development Corporation (HLDC) building; east along the Public Road through Old Montrose and Kingstown Park to the southern end of the Level Gardens road; along the Level Gardens road to its intersection with the Mc Kies Hill Road; eastwards along the Mc Kies Hill road to Murray Road; north along Murray Road to the Sion Hill junction; along the Old London Road through Cane Garden to its intersection with Sharpe Street; south along Sharpe Street to its intersection with Bay Street; east along Bay Street to the Cruise Ship Terminal.

Town and Country Planning (Zoned Area Declaration) (Port Elizabeth – Bequia) Order

SRO 15 of 1994

Amended by

|  | SRO 14 of 1997 |  |
| --- | --- | --- |

Arrangement of ORDERS

| 1. | Citation. |
| --- | --- |
| 2. | Declaration. |
| Schedule | Zoned Area |

TOWN AND COUNTRY PLANNING (ZONED AREA DECLARATION) (PORT ELIZABETH – BEQUIA) ORDER

In exercise of the powers conferred by section 14 of the Town and Country Planning Act, 1992, the Minister makes the following Order.

[SRO 15 of 1994 amended by SRO 14 of 1997.]

[Date of commencement: 15th September, 1994.]

1.   Citation

This Order may be cited as the Town and Country Planning (Zoned Area Declaration) (Port Elizabeth – Bequia) Order, 1994, and shall come into effect on the 15th day of September, 1994.

2.   Declaration

(1)  In accordance with section 14 of the Town and Country Planning Act the portions of land in Port Elizabeth, Bequia more particularly described in the Schedule hereto are declared zoned areas as OPEN SPACE for public recreational use and assembly.

[Chapter 334.]

(2)  The following land uses are strictly prohibited—

(a)	retail activities including the vending of vegetables, fruits, souvenirs, clothing, fish and meat products and dry goods;

(b)	the preparation and sale of food, drinks and snacks except at designated sites upon the issuance of prior written non-transferable permit for a period of twelve months by the Physical Planning and Development Board, and subject to such conditions as the Board may think fit and in conformity with other laws;

(c)	organised sporting activities and games except with prior written permission from the Physical Planning and Development Board which shall be for a period not exceeding seven days;

(d)	the deposit of garbage generated from ships, boats or from any other area outside of the zone defined in the Schedule hereto.

(3)  A map of Port Elizabeth, delineating the zoned areas referred to in this Order is available for inspection by members of the public during normal working hours from the 23rd day of August, 1994, and thereafter for a period of six weeks at the following places—

(a)	Revenue Office, Port Elizabeth Bequia;

(b)	Bequia District Council, Port Elizabeth, Bequia;

(c)	Port Elizabeth Police Station, Bequia;

(d)	Tourism Information Centre, Port Elizabeth, Bequia;

(e)	Central Planning Division, Administrative Centre, Kingstown;

(f)	Registry, Kingstown.

Schedule

[Paragraph 3(1) and (2)(d). Schedule amended by SRO 14 of 1997.]

Zoned Area

(a) ALL THAT area bounded—

EAST: by Front Street;

NORTH: by the Port Elizabeth Jetty and Tourism Information Centre;

WEST: by the sea;

SOUTH: by access road on footpath leading to the Old Fig Tree and including the footpath and all public lands adjoining the said footpath in a southerly direction proceeding as far as the southern boundary of the property known as “The Crab Hole”.

(b) ALL THAT public area bounded—

EAST: by Front Street;

NORTH: by the headland;

SOUTH: by the Harbour Centre;

WEST: by the Sea.

(c) ALL THAT public area bounded—

EAST: by Front Street and the Revenue Office;

NORTH: by the Intersection of Front Street and the road leading to Back Street;

WEST: by the Canal and the sea;

SOUTH: by the Jetty and the Tourist Information Centre.

Town and Country Planning (Zoned Area Declaration) (Beaches) Order

SRO 16 of 1994

Arrangement of ORDERS

| 1. | Citation. |
| --- | --- |
| 2. | Interpretation. |
| 3. | Declaration. |

TOWN AND COUNTRY PLANNING (ZONED AREA DECLARATION) (BEACHES) ORDER

In exercise of the powers conferred by section 14 of the Town and Country Planning Act, 1992, the Minister makes the following Order.

[SRO 16 of 1994.]

[Date of commencement: 15th September, 1994.]

1.   Citation

This Order may be cited as the Town and Country Planning (Zoned Area Declaration) (Beaches) Order, 1994, and shall come into effect on the 15th day of September, 1994.

2.   Interpretation

In this Order—

“beach” means that portion of the foreshore which consists of unconsolidated material, typically sand and gravel publicly owned and lying between the low mark of the sea and extending landward to the vegetation line found thereon or in the absence of vegetation, the high water mark;

“retail and vending activities” does not include the sale of fresh fish or other marine products sold by fishermen immediately on being landed.

3.   Declaration

(1)  In accordance with section 14 of the Town and Country Planning Act, all beaches in Saint Vincent and the Grenadines are declared zoned areas as OPEN SPACE for public recreational use.

[Chapter 334.]

(2)  The following land uses are strictly prohibited—

(a)	retail and vending activities including but not limited to the vending of vegetables, fruits, food and drinks, souvenirs, clothing, dry goods and any other article;

(b)	the deposition of garbage generated from ships, boats or other land-based source;

(c)	the moving of sand, gravel, coral and other materials;

(d)	the use of amplified music without written permission from the Commissioner of Police.

Town and Country Planning (Zoned Area Declaration) (Bay Street) Order

SRO 18 of 1999

Arrangement of ORDERS

| 1. | Citation. |
| --- | --- |
| 2. | Declaration. |

TOWN AND COUNTRY PLANNING (ZONED AREA DECLARATION) (BAY STREET) ORDER

In exercise of the powers conferred by section 14 of the Town and Country Planning Act, 1992, the Minister makes the following Order.

[SRO 18 of 1999.]

[Date of commencement: 7th December, 1999.]

1.   Citation

This Order may be cited as Town and Country Planning (Zoned Area Declaration) (Bay Street) Order, 1999.

2.   Declaration

(1)  In accordance with section 14 of the Town and Country Planning Act that portion of Bay Street, Kingstown, Saint Vincent—

(a)	between Melville Street and the Administrative Centre, the side walks and adjacent area; and

(b)	around the Cruise Ship Berth Facility and the Grenadines Jetty,

are hereby declared zoned areas.

[Chapter 334.]

(2)  The following land uses are strictly prohibited—

(a)	retail and vending activities including but not limited to the vending of vegetables, fruits, food and drinks, souvenirs, clothing, dry goods and any other article;

(b)	any other commercial use.

Town and Country Planning (Zoned Area Declaration) (Beachmont/Murray Road) Order

SRO 25 of 2002

Arrangement of ORDERS

| 1. | Citation. |
| --- | --- |
| 2. | Declaration. |
| Schedule |  |

TOWN AND COUNTRY PLANNING (ZONED AREA DECLARATION) (BEACHMONT/MURRAY ROAD) ORDER

In exercise of the powers conferred by section 14 of the Town and Country Planning Act, No. 45 of 1992, the Minister makes the following Order.

[SRO 25 of 2002.]

[Date of commencement: 27th March, 2002.]

1.   Citation

This Order may be cited as the Town and Country Planning (Zoned Area Declaration) (Beachmont/Murray Road) Order, 2002.

2.   Declaration

(1)  In accordance with section 14 of the Town and Country Planning Act, the areas of Kingstown east of the Murray Road and Windward Highway more particularly described in the Schedule hereto are declared a zoned area for a public purpose, namely for the development of educational, cultural and such associated institutions.

[Chapter 334.]

(2)  The following uses are strictly prohibited—

(a)	commercial uses of any type or class;

(b)	industrial uses of any type or class;

(c)	agricultural uses of any type or class.

(3)  A map of Kingstown delineating the zoned area referred to in this Order is available for inspection by members of the public during normal working hours from 28th March, 2002, and thereafter for a period of six weeks at the following places—

(a)	Central Planning Division, Administrative Centre, Kingstown;

(b)	Registry, Kingstown;

(c)	Kingstown Town Board;

(d)	Kingstown Public Library.

Schedule

[Section 2.]

ALL THAT portion of Kingstown south along the Murray Road/Windward Highway and all lots abutting the Murray Road/Windward Highway from the northern boundary of the lot where Trans Caribbean Traders Limited warehouse is located to the southern boundary of the property of the UWI Centre where it abuts the Frenches Road to include the Trans Caribbean Property, the Connell’s Property, Fred Dare’s Property, the Y-Hut, the Technical Centre, the VINSAVE building and the UWI Centre.

Town and Country Planning (Fees) Regulations

SRO 37 of 1996

Amended by

|  | SRO 53 of 2002 |  |
| --- | --- | --- |
|  | SRO 17 of 2007 |  |
|  | SRO 20 of 2007 |  |

Arrangement of REGULATIONS

| 1. | Citation. |
| --- | --- |
| 2. | Fees. |
| Schedule | Planning Application Fees |

TOWN AND COUNTRY PLANNING (FEES) REGULATIONS

In exercise of the powers conferred by section 36(g) of the Town and Country Planning Act, 1992, the Minister makes the following Regulations.

[SRO 37 of 1996 amended by SRO 53 of 2002, SRO 17 of 2007, SRO 20 of 2007.]

[Date of commencement: 1st January, 1997.]

1.   Citation

These Regulations may be cited as the Town and Country Planning (Fees) Regulations, 1996, and shall come into operation on the 1st day of January, 1997.

2.   Fees

The fees prescribed in the Schedule are the fees in respect of applications for building and development submitted to the Physical Planning and Development Board.

Schedule

[Regulation 2. Schedule deleted and replaced by SRO 53 of 2002 and amended by SRO 17 of 2007 and SRO 20 of 2007.]

Planning Application Fees

| BUILDING WORKS | New, additions and alterations which affect the external appearance of the building. |
| --- | --- |
| Categories | Land/Building Use | Fees |
| Category A | Residential Single Family— |  |
| A1 | Total floor area under 600 sq. ft | $ 10.00 |
| A2 | Total Floor Area between 600 – 1,200 sq. ft. | $ 50.00 |
| A3 | Total Floor Area 1,201 – 2,500 sq. ft. | $ 75.00 |
| A4 | Total Floor area 2,501 – 5,000 sq. ft. | $ 200.00 |
| A5 | Over 5,000 sq. ft. | $ 300.00 |
| Category B | Multiple Family – Residential— |  |
| B1 | Under 2,000 sq. ft. | $ 100.00 |
| B2 | 2,000 – 5,000 sq. ft | $ 200.00 |
| B3 | Over 5,000 sq. ft. | $ 300.00 |
| Category C | Lodgings, Boarding Homes— |  |
|  | EXCLUDING Hotels, etc. | $ 150.00 |
| Category D | Hotels/Guest Houses— |  |
| Dl | 5 Room Hotels | $ 150.00 |
| D2 | 6 Rooms – 10 Rooms | $ 200.00 |
| D3 | 11 Rooms – 20 Rooms | $ 300.00 |
| D4 | Over 20 Rooms | $ 500.00 |
| Category E | Kingstown Central Business District – Commercial or Mixed Commercial Uses including; Retail Goods; Retail Service; Wholesale; Financial; Industry; Office; Professional— |  |
| El | Under 1,000 sq. ft. | $ 150.00 |
| E2 | 1,000 – 4,000 | $ 300.00 |
| E3 | 4,001 – 10,000 | $ 400.00 |
| E4 | Over 10,000 | $ 600.00 |
| Category F | Commercial – Outside of Kingstown Central Business District– Commercial Mixed Commercial Uses including: Retail Good; Retail Service; Wholesale; Financial; Industry; Office; Professional— |  |
| Fl | Under 1,000 sq. ft. | $ 75.00 |
| F2 | 1,000 – 4,000 sq. ft. | $ 150.00 |
| F3 | 4,001 – 10,000 sq. ft. | $ 200.00 |
| F4 | Over 10,000 sq. ft. | $ 300.00 |
| Category G | Institutional— |  |
| Gl | Churches | $ 60.00 |
| G2 | Community Centres | $ 60.00 |
| G3 | Other Community Facilities | $ 60.00 |
| Category H | Rural and Bad Neighbour Development— |  |
| H1 | Agriculture Farm Buildings | $ 30.00 |
| H2 | Mechanic Workshop/Garages | $ 250.00 |
| H3 | Petrol Stations | $ 350.00 |
| H4 | Cottage Industries | $ 30.00 |
| H5 | Entertainment Halls | $ 350.00 |
|  | N.B. Application for extension to buildings – Fees would only be charged for the proposed extensions, in accordance with the rates per the above categories. |
| Category I | Demolition Mining and Engineering Work— |  |
| I1 | Jetties/Groynes | $ 200.00 |
| I2 | Marina | $ 750.00 |
| I3 | Quarrying Activities | $ 300.00 |
| I4 | Demolition of Single Family House | $ 20.00 |
| I5 | Other Demolition | $ 50.00 |
| I6 | Removal of Existing House | $ 10.00 |
| I7 | Retaining Walls/fences | $ 20.00 |
| Category J | Change of use – Change of use of land to non-agricultural uses outside the Kingstown Central Business District together with existing buildings thereon including relevant alterations, additions and other works— |  |
| J1 | Under 4,000 sq. ft. of land | $ 50.00 |
| J2 | 4,000 – 10,000 of sq. ft. of land | $ 60.00 |
| J3 | 10,001 – 40,000 sq. ft. of land | $ 100.00 |
| J4 | Over 40,000 sq. ft. of land | $ 150.00 |
|  | Change of use of land/building in the Kingstown Central Business District— |  |
|  | 1. Land up to 5,000 sq. ft. with no building | $ 20.00 |
|  | 2. Land over 5,000 sq. ft. with no building | $ 100.00 |
|  | 3. Land with building with total floor area to be charged— |  |
|  | – Less than 1,000 sq. ft | $ 75.00 |
|  | – 1,000 – 3,000 sq. ft. | $ 120.00 |
|  | – 3,001 – 10,000 sq. ft. | $ 200.00 |
|  | – Over l0,000 sq. ft | $ 250.00 |
| Category K | Land Subdivision— |  |
| (a) | Residential— |  |
|  | Where the area of land to be cut off or subdivided is for residential purposes— |  |
|  | Does not exceed 0.5 acres | $ 150.00 |
|  | Is over 0.5 acres but less than 5 acres | $ 250.00 |
|  | 5 – 10 acres | $ 400.00 |
|  | Over 10 acres | $ 500.00 |
| (b) | Agriculture |  |
|  | Where the area of land to be cut off or subdivided is to be retained for agriculture use— |  |
|  | Does not exceed 2 acres | $ 20.00 |
|  | Is over 2 acres but less than 10 acres | $ 40.00 |
|  | Is over 10 acres | $ 100.00 |
| (c) | Other— |  |
|  | Where the area of land to be cut off and subdivided for non–residential and non–agricultural uses— |  |
|  | Does not exceed 0.5 acres | $ 150.00 |
|  | Is over 0.5 acres but less than 5 acres | $ 250.00 |
|  | Is 5 acres but less than 10 acres | $ 4000.00 |
|  | Over 10 acres | $ 750.00 |
| Category L | Advertisement— |  |
| L1 | Charitable, Religious and Community Based Purposes | $ 10.00 |
| L2 | Sole Proprietor Business | $ 50.00 |
| L3 | Companies | $ 150.00 |
| Category M | Telecommunications Facilities— |  |
| M1 | Sole Antennae | $ 50.00 |
| M2 | Signal Bases | $ 150.00 |

Building Regulations

SRO 43 of 2008

PART I

Administration of the Regulations

| 1. | Citation. |
| --- | --- |
| 2. | Interpretation. |
| 3. | General. |
| 4. | Rights of appeal. |
| 5. | Breach of these Regulations. |
| 6. | Maintenance of these Regulations. |
| 7. | Applicable legislation. |
| 8. | Permits and fees. |
| 9. | Existing buildings. |
| 10. | Historic buildings. |
| 11. | Hurricane precautions. |
| 12. | Alternative materials and types of construction. |
| 13. | Unsafe buildings. |
| 14. | Application to build. |
| 15. | Plans. |
| 16. | Approval in part. |
| 17. | Use of other codes and standards. |
| 18. | Inspections. |
| 19. | Special inspector. |
| 20. | Certificate of Occupancy. |
| 21. | Compliance. |

PART II

General Requirements

| 22. | Group classification by use and occupancy. |
| --- | --- |
| 23. | Occupancy, content of a building. |
| 24. | Type classification by construction. |
| 25. | Permissible areas and height. |
| 26. | Fire resistance rating for buildings. |
| 27. | Special provisions. |

PART III

Materials and Construction Standards

| 28. | Scope of Part III. |
| --- | --- |
| 29. | Material standards. |
| 30. | Construction standards. |
| 31. | Fire resistance ratings for materials. |
| 32. | Fire-resistive assemblies for protection of openings. |
| 33. | Required separation of construction. |
| 34. | Fire barriers in ceiling and roof spokes. |

PART IV

Public Health and Safety

| 35. | Scope of Part IV. |
| --- | --- |
| 36. | Minimum standards. |
| 37. | Fire and safety requirements. |
| 38. | Means of escape and exits. |
| 39. | Staircases and ramps. |
| 40. | Fire suppression systems. |

PART V

Precautions During Building Construction

| 41. | Scope of Part V. |
| --- | --- |
| 42. | Erection of scaffolds and safeguards. |
| 43. | Electricity lines and other hazards. |
| 44. | Underground utilities. |
| 45. | Duty of care. |
| 46. | Demolition. |
| 47. | Excavation. |
| 48. | Sidewalks, sheds and fences. |
| 49. | Storage of material. |
| 50. | Hoisting machinery. |
| 51. | Derricks and cranes. |
| 52. | Cables, ropes, chains and blocks. |
| 53. | Platform hoists. |
| 54. | Hoist towers. |
| 55. | Temporary flooring. |
| 56. | Floor openings. |
| 57. | Runways and ramps. |
| 58. | Temporary stairways. |
| 59. | Ladders. |
| 60. | Scaffolds. |
| 61. | Safeguards. |
| 62. | Temporary light and power. |
| 63. | First aid. |
| 64. | Sanitation. |
| 65. | Welding and cutting. |
| 66. | Open fires. |
| 67. | Fire protection. |
| 68. | Special hurricane precautions. |

PART VI

Water Supply Service

| 69. | Scope of Part VI. |
| --- | --- |
| 70. | General. |
| 71. | Adequacy of water system. |
| 72. | Installation of water supplies. |
| 73. | Pipeline system. |
| 74. | Utilisation of portable ground water. |
| 75. | Domestic water pumps. |
| 76. | Safety devices. |

PART VII

Sewerage and Waste Disposal

| 77. | Provision of sewerage facilities. |
| --- | --- |
| 78. | Needs of total development. |
| 79. | Developers to meet total cost of work. |
| 80. | Environmental factors. |
| 81. | Percolation tests. |
| 82. | Consultation prior to submission. |
| 83. | Emergency power facilities. |
| 84. | Effluent quality. |
| 85. | Re-use of the effluent. |
| 86. | Choice of the treatment system. |
| 87. | Sewerage treatment plants. |

PART VIII

Plumbing

| 88. | Scope of Part VIII. |
| --- | --- |
| 89. | General requirements. |
| 90. | Soil and waste pipes. |
| 91. | Plumbing fixtures. |
| 92. | Pipes under floors and walls. |

PART IX

Solid Waste Disposal

| 93. | Scope of Part IX. |
| --- | --- |
| 94. | General. |
| 95. | Collection system. |
| 96. | Storage. |
| 97. | Disposal. |
| 98. | Hazardous waste. |
| 99. | Granting the permit. |

PART X

Electrical and Mechanical Installations

| 100. | General. |
| --- | --- |
| 101. | Installation of equipment. |
| 102. | Elevators and escalators. |
| 103. | Equipment identification and installation. |
| 104. | Ducts. |
| 105. | Artificial lighting. |

PART XI

Loads

| 106. | Definitions. |
| --- | --- |
| 107. | Basis of design. |
| 108. | Unit dead loads. |
| 109. | Unit live loads. |
| 110. | Special loads. |
| 111. | Parapets, balcony, hand rails and balustrades. |
| 112. | Roof live loads. |
| 113. | Live and dead load reductions. |
| 114. | Posting of live load notices. |
| 115. | Wind loads. |
| 116. | Earthquake loads. |
| 117. | Load tests. |
| 118. | Differences between wind and earthquakes. |

PART XII

Excavations and Foundations

| 119. | Excavations. |
| --- | --- |
| 120. | Bearing capacity of soil. |
| 121. | Soil bearing foundations. |
| 122. | Concrete slabs on fill. |
| 123. | Piled foundations. |
| 124. | Foundation beams. |
| 125. | Sea walls and bulkheads. |
| 126. | Caissons. |

PART XIII

Timber Construction

| 127. | General. |
| --- | --- |
| 128. | Standards. |
| 129. | Quality of timber products. |
| 130. | Sizes of lumber. |
| 131. | Allowable unit stresses. |
| 132. | Construction details. |
| 133. | Ventilation. |

PART XIV

Concrete Block and Masonry Construction

| 134. | Scope of Part XIV. |
| --- | --- |
| 135. | Quality, tests and approval. |
| 136. | Working stresses. |
| 137. | Construction details. |
| 138. | Change in wall thickness. |
| 139. | Chases. |
| 140. | Supported structural members. |
| 141. | Support on wood. |
| 142. | Arches and lintels. |
| 143. | Construction precautions. |
| 144. | Grouted and filled masonry. |
| 145. | Mortar and grout. |

PART XV

Plain and Re-inforced Concrete

| 146. | General. |
| --- | --- |
| 147. | Concrete quality. |
| 148. | Trials and tests. |
| 149. | Allowable unit stresses. |
| 150. | Mixing and placing. |
| 151. | Forms and details of construction. |
| 152. | Pre-cast concrete floor and roof units. |
| 153. | Pre-stressed concrete. |
| 154. | Fibre re-inforced concrete. |

PART XVI

Structural Steel

| 155. | Scope of Part XVI. |
| --- | --- |
| 156. | Basis of design. |
| 157. | Application. |
| 158. | Material standards. |
| 159. | Cold formed stainless steel construction. |
| 160. | Cold formed steel structural members. |
| 161. | Open web steel joist construction. |
| 162. | Welding. |
| 163. | High tension bolts. |
| 164. | Tests. |
| 165. | Design loads. |
| 166. | Minimum thickness of material. |
| 167. | Connections. |
| 168. | Pipe columns. |
| 169. | Composite beams. |
| 170. | Light gauge steel construction. |
| 171. | Structural sheets. |

PART XVII

Small Buildings

| 172. | Scope of Part XVII. |
| --- | --- |
| 173. | Wood-frame construction. |
| 174. | Post, beam and plank construction. |
| 175. | Sheet steel stud wall framing. |
| Appendix A | British Standards and Codes Applicable |
| Appendix B | U.S. Agencies |
| Appendix C | Steel Sheet Metal Gauges |
| Appendix D | Hazard Materials |
| Appendix E | Weights of Building Material |
| Appendix F | Accessibility Guidelines for Persons with Disability |
| Appendix G | General Guidelines for Fire Resistive Construction |
| Appendix H | Requirements of Group Occupancies |
| Appendix I | Classification of Types of Construction |

BUILDING REGULATIONS

In exercise of the powers conferred by section 36A of the Town and Country Planning Act 1992, No. 45 of 1992, the Minister makes the following Regulations.

[SRO 43 of 2008.]

[Date of commencement: 5th August, 2008.]

PART I

Administration of the Regulations

1.   Citation

These Regulations may be cited as the Building Regulations, 2008.

2.   Interpretation

In these Regulations—

“access” means entrance or opening;

“accessible” means adequate clearance for inspection, service, repair, replacement and within physical reach;

“accessory use” means a building or structure, the use of which is incidental to the main building structure;

“Act” means the Town and Country Planning Act, 1992;

[Chapter 334.]

“addition” means any extension or increase in floor area or height of a building or structure;

“alley” means any public space, or thoroughfare, 20 feet or less in width, with public right of way;

“alteration” means any change or modification of construction, arrangement of space, or occupancy of a building, or change in the area of cubic contents, a change in equipment;

“apartment” means one or more rooms occupied as a home or residence for an individual or a family or a household. The existence of, or the installation of sink accommodations or cooking facilities within a room or suite of rooms shall be deemed sufficient to classify such room or suite of rooms as an apartment;

“apartment building” means a building which is used or intended to be used for human habitation as a residence for two or more families living in separate quarters;

“applicant” means the person or firm in whose name an application to undertake development is made to the Planning Board;

“application” means an application to the Planning Board for permission to carry out development or for any approval required by the Town and Country Planning Act and any subsidiary legislation made thereunder including these Regulations;

[Chapter 334.]

“approval” means approved by the Planning Board under the requirements of these Regulations, including persons authorised by the Planning Board or other designated persons given jurisdiction by these Regulations;

“architect” means a person licensed to practise architecture in Saint Vincent and the Grenadines and who is technically qualified to design and supervise the construction of buildings in accordance with these Regulations and other applicable laws or regulations;

“area of building” means the total of the areas of the storeys comprising that building, measured from inside the face of the external walls;

“area of storey” means the gross area of such storey measured from the internal faces of external walls or, where there are no walls, to the outside edge of floors;

“attic” means any space immediately under the roof rafters and above the ceiling joists of the storey nearest the roof;

“automatic” means applied to a door, window or other opening not requiring manual operation;

“awning” means a projecting canopy;

“balcony” means that proportion of a seating space of an assembly room, the lowest part of which is raised 4 feet or more above the level of the main floor;

“balcony exterior” means a landing or porch projecting from the wall of a building. Where serving as a required means of egress the long side shall be at least fifty per cent open and the open area above the guard rail shall be so distributed as to prevent the accumulation of smoke or toxic gases;

“basement” means any storey or part of a storey where more than half of the height from the finished floor to the finished ceiling is below the average of associated finished ground levels at external walls;

“boundary line” means a line dividing one site from another or from a street reservation or other publicly owned space;

“building” includes any erection, structure or any part of a building erected on or made on or in or under any lands, and where the context so permits, includes the land on, in or under which the building is situated but does not include plant or machinery contained in a building. Where a building is separated into two or more parts by fire division walls each part may be deemed a separate building for the purpose of these Regulations;

“building line” means imaginary line or lines at a specified distance from and parallel to, the centre line of a road within which no building, other than fences, walls or gates as may be permitted, may be erected;

“building operations” includes rebuilding operations, structural alterations of or additions to buildings and any other operations normally undertaken by a person carrying on business as a builder;

“bulkhead” means a part of a structure enclosing stairs, elevator machinery or ventilating equipment, the part of an external wall immediately below a shop window, a retaining type structure;

“canopy” means a covering to an entrance way or walkway fixed to a building;

“carport” means a covering area for sheltering a motor vehicle, not fully enclosed by walls;

“combustible” means any material that will ignite at or below a temperature of 1,200 degrees Fahrenheit and which ignited will continue to burn or glow;

“condominium” means multi-units with individual ownership of single units;

“construction” means unit building or component assembly additive process and includes reconstruction, alteration or addition to a building or structure;

“corridor” means an access connecting more than one room, a link at each floor level, open or covered;

“court” means an open or occupied space enclosed at any level on two or more sides by the walls of a building or in the case of a rear court enclosed on three sides by the boundaries of the site;

“cubic content of a building” means the total of the cubic content of the storeys comprising that building;

“cubic content of a storey” means the volume of enclosed space measured in a storey from the internal faces of enclosing walls and from finished floor level to ceiling level or where there is no ceiling to the average of the underside of the roof construction;

“curtain wall” means any prefabricated assembly of various components to enclose a building usually supported externally from the structural frame and passing all storeys;

“dangerous building” means any building which constitutes a danger to public safety or to the safety of the occupants or adjacent buildings;

“dead load” means the weight of all walls, floors, roofs, partitions and other permanent construction;

“developer” means a person or firm undertaking development;

“development” means the carrying out of building, engineering, mining or other operations in, on, over or under land, the making of any material change in the use of any building or other land, and the subdivision of land. For the purpose of these Regulations, garden huts, other than garages, gates, fences and walls not exceeding three feet in height shall not constitute development;

“dining room” means any building or part thereof, in which food is dispensed or served;

“dormitory” means a room in which sleeping accommodation is provided for more than four persons;

“duplex building” means a building providing two separate apartments with or without common entrance or exit facilities;

“dwelling” means a building occupied exclusively for residential purposes, for the purposes of these Regulations, “dwelling” also includes any veranda or porch attached permanently to the building;

“elevator” means a lift, hoist or a device for carrying persons or goods up or down;

“enclosed” means bounded by walls, floors, roof or ceilings provided that, where a building is not fully enclosed by walls, the external face of the external frame shall be deemed to be the line of enclosure for the purpose of these Regulations;

“engineer” means a person licensed to practise engineering in Saint Vincent and the Grenadines and who is technically qualified to design and supervise the construction of building and civil engineering structures, electrical, mechanical and sanitary installations and systems in accordance with these Regulations and other applicable laws or regulations;

“equipment” means fixtures, fittings, appliances or apparatus of any sort within or associated with a building whose installation is covered by the requirements of these Regulations;

“erection”, in relation to buildings, includes extension, alteration, re-erection;

“escalator” means a moving inclined stairway for persons or goods;

“existing building” means any building constructed or in the course of construction prior to the effective date of these Regulations;

“exit” means that portion of a means of egress which is separated by walls, floors, doors or other means from the area of the building from which escape is to be made. An interior aisle, corridor, hallway or other means of travel used to reach an exit door is not an exit;

“exit court” means a yard or court providing egress to a further place;

“fire assembly” means the assembly of a fire door, fire window, or fire damper, including all required hardware, anchorage, frames and sills;

“fire assembly or automatic closing” means a fire assembly which may remain in an open position and which will close automatically if subjected to either of the following—

(a)	an increase in temperature;

(b)	products of combustion. Unless otherwise specified, the closing device shall be one that is rated at a maximum temperature of 165 degrees Fahrenheit;

“fire assembly or self-closing” means a fire assembly which is kept in a normally closed position and is equipped with an approved device to ensure closing and latching after having been opened for use;

“fire division” means a portion of a building so separated from the rest by firewalls that it may be erected to the maximum height and area allowed for the governing occupancy and the type of construction, independently of adjoining occupancies or types of construction;

“fire door” means a door and its assembly so constructed and placed as to give protection against the passage of fire;

“fire escape” means a single or series of steel framed balconies attached to the exterior walls at windows or doors and connected to each other and to the ground by flights of steel stairs;

“fire resisting” means ability to resist fire and prevent its spread as regulated in these Regulations;

“fire retardant treated wood” means wood that has been treated to retard spread of flame;

“flameproof ” means the property of a material, usually decorative fabric, whether treated or not treated, to not burst into flames or support combustion when subjected to flames for a period of thirty seconds;

“floor area, gross” means the gross floor area of the floor area within the perimeter of the outside walls of the building with no deduction for corridors, stairs, closets, thickness of wall, columns or other features;

“floor area, net” means net floor area shall be the actual occupied area, not including accessory unoccupied areas or thickness of walls;

“formation level” means finished ground level (see grade);

“foyer” means an area or space within a building located between a lobby and main entrance and the main floor;

“gallery” means that portion of the seating capacity of a theatre or assembly room having a seating capacity of more than ten persons and located above a balcony;

“garage” means a building, shed or enclosure, or part thereof, in which a motor vehicle containing flammable liquid in its fuel tank is housed, stored or repaired;

“grade” means—

(a)	the average elevation of the ground, paved or unpaved, adjoining a building or structure at the centre of each exterior wall line;

(b)	when used in connection with lumber, means a division of sawn lumber into quality classes with respect to its physical and mechanical properties, as defined by the association under whose rules the lumber is controlled;

(c)	when used in connection with structural or reinforcing steel, means the quality and strength of the material as defined by the relevant ASTM or other recognised international standard;

“gross floor area” means that the total area of floors of all storeys of the building including common halls, stairways, porches, overhanging balconies and the thickness of walls;

“ground floor” means the lowest storey or part of a storey of a building of which more than fifty per cent of the floor area is above the average of associated finished ground levels at external walls and no part of the floor area is more than twp feet below such associated ground levels;

“habitable room” means a room in a residential unit used for living, eating, sleeping or cooking, but excluding baths, storage spaces or corridors;

“hazardous operation” means an operation which is liable to give rise to fire and burning with extreme rapidity or from which poisonous fumes or explosions are likely in the event of fire or leakage;

“height building” means the vertical distance from grade to the highest finished roof surface of a flat roof or to the average level to a gable or hip roof;

“height of a wall” means the vertical dimension measured from top of the foundation or beam, to the top of the highest course, with or without tie beam;

“height-storey” means the vertical distance from top to top of two successive floors or floor and roof;

“height-structure” means the height of a structure erected on the ground shall be the vertical distance from grade to the highest point thereof, and for roof structures shall be the vertical distance from the main level of the roof to the highest point of such structure. In general the height of a structure shall be its overall height;

“horizontal exit” means, means of passage from one building into another building occupied by the same tenant, or from one section of a building to another section of the same building occupied by the same tenant through a separation wall having a minimum fire resistance of two hours;

“hotel” means any building or group of buildings (including all structures appurtenant thereto or within the curtilage thereof) used or intended to be used for the accommodation of guests for gain or reward;

“imposed load” means all loads other than dead loads;

“incombustible” means a material which in the form in which it is used meets the following requirements—

(a)	material of which no part will ignite or burn when submitted to fire;

(b)	material having a structural base of incombustible material as defined in paragraph (a) above, with a surfacing not more than one-eighth inch thick having a flame spread rating not greater than fifty when tested in accordance with the appropriate standards;

(c)	incombustible does not apply to surface finish materials or to materials required to be incombustible for reduced clearances to flues, heating appliances or other materials; or

(d)	no material shall be classed as incombustible which is subject to increase of combustibility or flame spreading rating, beyond the limits herein established, through the effect of age, moisture or other atmospheric condition;

“joists” means secondary horizontal supporting members in floors, ceilings, or roof construction;

“jurisdiction” means the Physical Planning and Development Board or any body authorised by legislation to administer these Regulations;

“lintel” means the beam or girder placed over an opening in a wall which supports the construction above;

“live load” means any load imposed or capable of being imposed on a structure other than dead load or wind load;

“load bearing” means any part of a building including foundations bearing a load other than that due to its own weight or to wind pressure;

“lobby” means an enclosed vestibule directly accessible from the main entrance;

“lot” means a portion or parcel of land shown on the land register or in a deed as a piece or parcel of land or an official subdivision;

“lot line” means a line dividing one lot from another or from a street or other public space;

“masonry” means brick, stone, plain concrete, hollow block, solid block or other similar materials or units bonded together with mortar. Reinforced concrete is not classified as masonry;

“means of egress” means continuous path of travel from any point in a building or structure to the open air outside at ground level;

“mezzanine” means an intermediate floor placed in any storey or room. When the total area of any such mezzanine floor exceeds 33⅓ per cent of the total floor area in that room or storey in which the mezzanine floor occurs, it shall be considered as constituting and additional storey. The clear height above or below a mezzanine floor shall not be less than seven feet;

“Minister” means the Minister responsible for town and country planning;

“multiple family”, as in a building, means more than two families or households living independently of each other and cooking within their living quarters and includes apartments, tenements and flats;

“non-combustible” means (see incombustible);

“non-conforming” means any building or structure which does not comply with the requirements set forth in these Regulations or amendments thereto;

“normal dimension” means the dimension or size in which such material, part or unit is usually manufactured or supplied;

“occupancy” means the purpose for which a building is used or intended to be used. Occupancy is not intended to include tenancy or proprietorship;

“occupant load” means the total number of persons that may occupy a building or portion thereof at any one time;

“occupied” shall be construed as though followed by the words “or intended, arranged or designed to be occupied”;

“open plan” means open plan buildings in Group D Occupancy buildings having rooms and corridors delineated by the use of furniture or tow (five feet) partitions;

“owner”, in relation to any building, development or land, means a person, other than a mortgagee not in possession, who for the time being is entitled to dispose of the right of ownership of the building, development or land, whether in possession or reversion, and a person holding or entitled to the rents and profits of the building, development or land under a lease or agreement;

“parapet” means that part of a wall entirely above the roof line;

“parking garage” means garages for passenger vehicles involving only the parking or storing of automobiles and not including automobile repair or service work or the sale of gasoline or oil;

“partition” means a non-loading vertical separation between rooms or spaces. If such separating construction closes less than three-fourths of the area from wall to wall and floor to ceiling, it shall be considered a decorative separation and not a partition;

“path of egress” means the course taken by an occupant to effect egress from a public space;

“penthouse” means an enclosed one-storey structure extending above the roof of a building not exceeding twenty-five per cent of the roof at the level on which such penthouse or penthouses are located;

“permit holder” means the holder of a permit granted for the construction, alteration, repair, installation or demolition of a development;

“permit or building permit” means a written authorisation by the Planning Board to proceed with development, construction, alteration, repair, installation or demolition;

“Physical Planner” means the technical head of the department or division of Government responsible for physical planning and development control;

“Planning Board” means the Physical Planning and Development Board established under the Act or its successor;

[Chapter 334.]

“planning permission” means permission granted to development land pursuant to the Act;

[Chapter 334.]

“platform” means a portion of an assembly room which may be raised above the level of the assembly floor and which may be separated from the assembly space by a wall and proscenium opening provided the ceiling above the platform shall not be more than five feet above the proscenium opening;

“prefabricated” means pre-engineered, fabricated prior to installation or erection;

“primary member” means a structural member, such as a column, beam, girder or truss, that carries dead, live or wind loads to the foundation;

“private stair” means a stairway serving one tenant only and not for general use;

“public space”, for the purpose of determining allowable floor areas or egress from buildings, means such open spaces as public parks, rights-of-way, waterways, public beaches and other permanent unobstructed yards or courts having access to a street and a width of not less than set forth herein for required units of exit width may be considered a public space;

“rafters” means secondary inclined supporting members in roof construction;

“repair” means the making good to or replacement of existing construction in a similar manner to and of similar materials to the original construction;

“required” means required under these Regulations;

“room” means any enclosed part of a building not being a lavatory, corridor, hallway, foyer, staircase, escalator, ramp, service area or store;

“sanitary facilities” means the facilities provided in a lavatory in accordance with the requirements of these Regulations;

“site” means a portion of land registered by title as a unit;

“special inspector” means an experienced professional engineer or architect appointed under regulation 19;

“storey” means that portion of a building between the upper surface of a floor and the upper surface of the floor next above it, and if there is no floor above it, that portion between the top of that floor and ceiling above it;

“value”, when applied to a building or structure, means the estimated cost of construction of such building or structure at the date of valuation.

3.   General

(1)  These Regulations shall apply to the design and construction of new buildings and the alteration, reconstruction, demolition, removal, relocation, maintenance and occupancy of existing buildings or any appurtenances connected or attached to such buildings or structures.

(2)  The appendices included in these Regulations are not intended for enforcement unless specifically referenced in these Regulations. The latest edition of referenced standards and codes shall be used where appropriate. The principal reference code is the Caribbean Uniform Building Code (CUBiC) published by the CARICOM Secretariat, Georgetown, Guyana.

(3)  These Regulations are administered by the Physical Planning and Development Board established under the Act, hereinafter referred to as the “Planning Board”. Unless otherwise authorised by the Planning Board, these Regulations take precedence over any building code or standard.

(4)  New and existing residential and retail commercial buildings having a gross floor area of not more than 2,500 square feet and two storeys high are exempted from the requirements of these Regulations provided that such buildings or development conform to the Building Guidelines.

(5)  These Regulations shall not apply to the following classes of development—

(a)	garden huts, other than garages, not used for human habitation;

(b)	gates fences and walls not exceeding three (3) feet in height.

4.   Rights of appeal

The provisions for appeals against decisions of the Planning Board under the Act or successor legislation shall apply in like manner to decisions of the Planning Board or the Physical Planner under these Regulations.

5.   Breach of these Regulations

(1)  The undertaking of building or development contrary to the terms of a building permit or the provisions of these Regulations or without a building or development permit shall constitute a breach of these Regulations.

(2)  Sections 18 and 19 of the Act shall apply in like manner to breaches of these Regulations.

6.   Maintenance of these Regulations

(1)  For the purpose of ensuring that these Regulations are reviewed regularly in the interest of promoting sound, efficient and safe construction practice in Saint Vincent and the Grenadines, the Minister shall within six months of the date these Regulations comes into effect, appoint a Review Committee.

(2)  The Committee shall consist of persons representing the following—

(a)	the Technical Head of the Department of Government responsible for physical planning and development control, who shall serve as Chairman;

(b)	Saint Vincent and the Grenadines Bureau of Standards;

(c)	Institute of Architects of Saint Vincent and the Grenadines;

(d)	Environmental Health Department;

(e)	Ministry of Communications and Works;

(f)	Electrical Inspectorate;

(g)	Fire Services Department;

(h)	the Construction Association of Saint Vincent and the Grenadines.

(3)  The Committee shall regulate its meeting.

(4)  The Committee shall receive and review comments, submissions and recommendations on the provisions and application of these Regulations from concerned groups and individuals, and make recommendations to the Minister regarding application and updating of the Regulations.

(5)  The Minister shall dispose of recommendations from the Committee as it deems appropriate but shall inform the Committee and the Planning Board of his decision regarding such recommendations.

7.   Applicable legislation

(1)  Where provisions of these Regulations are found to be in conflict with any other law of Saint Vincent and the Grenadines pertaining to the design, construction and occupancy of buildings or developments, the provision mandating the higher standard shall prevail.

(2)  Owners, developers and applicants should be aware of and consult the following—

(a)	Town and Country Planning Act, 1992;

(b)	Electricity Supply Act;

(c)	Public Health Act and Regulations;

(d)	Standards Act, 1992;

(e)	Fire Brigades Act;

(f)	Central Water and Sewerage Authority Act, 1991;

(g)	The Building Guidelines.

[Chapter 164, Chapter 300(O), Chapter 334, Chapter 403, Chapter 404, Chapter 406.]

(3)  Developers, applicants and owners should also consult the Planning and Infrastructure Standards Manual prepared by UNCHS and the Planning Guidelines prepared by the Planning Board for guidance with respect to the layout and infrastructure requirements of a development, as well as other standards affecting the safety and health of workers and occupants of buildings or developments in Saint Vincent and the Grenadines.

8.   Permits and fees

(1)  A permit is required whenever work regulated by these Regulations is to be undertaken. To obtain a permit, the owner shall file an application with the Planning Board as described in regulation 14, “Application to Build”, and pay the applicable fee.

(2)  The Planning Board shall establish a fee structure specific to the processing of applications requiring the services of special inspector as provided for in regulation 19.

(3)  The fees established by the Planning Board for processing development applications requiring the services of a special inspector may be paid in two parts as follows—

(a)	the first part when the application is filed with the Planning Board; and

(b)	the remainder or second part shall be paid before the start of construction work on the approved development.

(4)  After issuance of a permit an application may be made by the developer or owner for a revision of the permit and such application shall be made in the same manner as for the original permit.

(5)  The approval of the Planning Board of proposed development shall be deemed to have lapsed and the right of the owner or developer under the permit to have terminated if—

(a)	the work authorised by the permit is not commenced within twelve months from the date of issuance of the permit; or

(b)	work is suspended for a period of twenty-four months or more.

(6)  Permit fees payable and all procedures and conditions applicable thereto shall be established by the Planning Board in accordance with the Act and these Regulations.

9.   Existing buildings

(1)  Alterations, repair or rehabilitation work may be made to any existing building without requiring the building to comply with all of the requirements of these Regulations provided that all new construction of such alteration, repair or rehabilitation work conforms to the requirements of these Regulations.

(2)  Alterations, repairs or rehabilitation work shall not cause an existing building to become unsafe.

(3)  If the occupancy classification of an existing building is changed, the building shall be made to conform with the occupancy requirements of these Regulations.

(4)  Repairs and alterations, not covered by the preceding paragraphs of this regulation, on restoring a building to its condition previous to damage or deterioration, or altering it in conformity with the provisions of these Regulations or in such manner as will not extend or increase an existing non-conformity or hazard, may be made with the same kind of materials as those of which the building is constructed; but not more than twenty-five per cent of the roof covering of a building shall be replaced in any period of twelve (12) months unless the entire roof covering is made to conform with the requirements of these Regulations for new buildings.

(5)  No building shall be removed or demolished without the written approval of the Planning Board.

10.   Historic buildings

Repairs, alterations and additions necessary for the preservation, restoration, rehabilitation or continued use of a building or structure may be made without conformance to all the requirements of these Regulations when approved by the Planning Board, provided—

(a)	the building or structure has been designated by the Planning Board as having special historical or architectural significance;

(b)	the restored building or structure will be no more hazardous based on consideration of life, occupancy, fire, sanitation and safety, than the original building;

(c)	the owner has submitted for the approval of the Planning Board plans and specifications for the work to be carried out. These plans and specifications must be prepared by or under the general supervision of a professionally qualified architect or engineer in consultation with the body responsible for the designation of historic buildings;

(d)	the Planning Board in the interest of public health, safety and welfare has required all necessary improvements to be made before use and occupancy of such building.

11.   Hurricane precautions

During such periods of time as are designated by the Government as being a hurricane watch, the owner, occupant or user of a property shall take precautions for the securing of buildings and equipment. Fabric, awnings and swing signs shall be lashed to the ground, and such other precautions shall be taken for the securing of buildings, structures, materials or equipment as may be reasonably required.

12.   Alternative materials and types of construction

(1)  These Regulations are not intended to prevent the use of types of construction, materials or methods of designs as alternates to the standards herein set forth. Such alternates may be offered for approval and their consideration shall be as specified in this regulation.

(2)  The types of construction, materials or methods of design referred to in these Regulations shall be considered as standards of quality and strength. New types of construction, materials or methods of design shall be at least equal to these standards for the corresponding use intended.

(3)  (a)  Any person desiring to use types of construction, materials or methods of design not specifically mentioned in these Regulations shall file with the Planning Board proof in support of claims that may be made regarding the safety and sufficiency of such types of construction, materials or methods of design, and request approval and permission for their use.

(b)  The Planning Board shall approve such alternate types of construction, materials or methods of design if it is clear that the standards of these Regulations are at least equalled. If, in the opinion of the Planning Board, the standards of these Regulations will not be satisfied by the requested alternate, it shall refuse approval.

13.   Unsafe buildings

When any building, construction or excavation or part thereof is in an unsafe condition as a result of being open or unguarded, or because of danger from fire or risk of accident because of its ruinous or dilapidated state, faulty construction or otherwise, due notice to correct such condition shall be given by the Physical Planner to the owner, occupier or user thereof, when such notice has not been complied with, the Physical Planner may—

(a)	demolish, remove or make safe such buildings, construction, excavation or part thereof at the expense of the owner;

(b)	take such other measures as he may consider necessary to protect the public.

14.   Application to build

(1)  A person wishing to erect a building or structure, or to carry out a development shall comply with the requirements of the Act and the requirements of these Regulations. All buildings covered by the requirements of Parts I to XVI of these Regulations shall be designed and constructed under the general supervision of a professionally qualified architect or engineer.

(2)  (a)  A person wishing to build may apply in the manner prescribed by the Act and the established procedures of the Planning Board and as herein set forth.

(b)  Each application shall be accompanied by the required number and type of plans and fees appropriate to the particular type of development project for which development permission is sought.

(c)  Three copies of the relevant plans shall be submitted with each application. These plans include the location plan, the site plan, the subdivision plan if applicable, and the building detail plan.

(d)  The information to be contained in a location plan, a site plan, a subdivision plan, a building detail plan and the scales to which these plans are to be drawn shall be as set out in regulation 15 and the Planning Board’s Guidelines.

(e)  Every drawing, specifications and accompanying data which accompanies an application for development permission shall be legibly signed by the maker thereof and shall bear the date of preparation.

(f)  All drawings shall carry the names of the applicant, specify the nature and location of the development and be individually numbered for ease of reference. Revisions shall carry revision numbers and date.

(g)  The Planning Board may require structural and other details, computations, stress diagrams, the basis of the calculations and other data necessary to describe the construction and they shall bear the name, signature and qualifications, telephone number and address of the person or firm responsible for such details, computations diagrams and calculations.

(h)  Where an alteration or extension to an existing building is applied for, any part of the existing building to be demolished must be clearly indicated and distinguishable from the new construction.

(3)  (a)  Unless the Planning Board gives its decision on an application in writing, the application shall be deemed to have been refused and the applicant shall have rights of appeal similar to that provided under the Act.

(b)  Notwithstanding paragraph (a), the Planning Board’s decision on an application shall be issued in writing not more than four (4) months from the date the application was filed or resubmitted as the case may be.

15.   Plans

(1)  The plans to be submitted with an application for development permission are as set out in the publication of the Planning Board, “The Physical Planning and Development Board Guidelines”, and detailed in this regulation.

The plans required are—

(1)	A. Location Plan

A.1	Survey plans which are available for most areas of the island and are obtainable at the Lands and Surveys Department or at the office of the Planning Board, shall be used as the basis for the location plan.

A.2	The location plan must be clear and unambiguous and it must show the name and position of existing roads and fixed and easily identifiable points such as streams, road junctions, bridges and nearby houses.

(2)	B. Site Plan

B.1	At the option of the applicant, site plans may be drawn to a scale of 1:200 (1″ to 20′) or 1:500 (1″ to 40′) or 1:1000 (1″= 100′) as may be appropriate.

B.2	The Site Plan must show—

(a)	the area, boundaries and principal dimensions of the land;

(b)	the location of existing buildings on the land and on the lands immediately adjacent;

(c)	the location and spread of any existing mature trees on the land;

(d)	the location of existing utility, poles and stays;

(e)	the location of any new proposed buildings and the relevant dimensions of appropriate setbacks;

(f)	such contours or spot levels as are necessary for determining the grade of any proposed road and for the proposed drainage;

(g)	location and width of existing and proposed means of access including roads adjacent to the property;

(h)	water and sanitary drainage systems;

(i)	the proposed landscaping plan;

(j)	any land reserved for public access or for public use.

C. Subdivision Plan

C.1	The scale of subdivision plans shall be at least—

(a)	for subdivided areas of ½ acre or more, 1:1250;

(b)	for subdivided areas of less than ½ acre, 1:200.

C.2	The subdivision plan must show—

(a)	all relevant physical features related to the proposed development such as water courses, rock outcrops, trees, swamps, and existing buildings, roads and walks;

(b)	such contours or spot elevations as are necessary for determining the grade of any proposed road and for proposed drainage;

(c)	the boundaries, area and principal dimensions of the land;

(d)	at least one boundary must be connected to the trigonometrical control station or alternatively to identifiable points of detail on the national map sheets (scale 1:5000) available at the Lands and Surveys Department;

(e)	the dimensions and area of each proposed subdivided lot;

(f)	the location of proposed buildings, if any;

(g)	the roads, walks and utility services proposed to be made available to each lot;

(h)	the use to which each lot is proposed to be put, for example residential, commercial or industrial purposes, or for churches, schools or parks. Residential lots shall be designated as high, medium, or low density. (See UNCHS Planning and Infrastructure Standards Manual);

(i)	any land reserved for public access or other public use;

(j)	the proposed location of fire hydrants;

(k)	the location of existing utility line, poles and stays.

D. Building Plans

D.1	Conceptual drawings to include—

(a)	floor Plan generally to Scale ⅛″ or ¼″ to l’0″ or metric equivalent,

to show—

(i)	room sizes,

(ii)	materials used in construction,

(iii)	elevations and sections generally to Scale ¼″ to 1′0″ or metric equivalent,

to show—

•	roof heights (floor to ceiling) and pitch,

•	height of main floor above ground,

•	positioning of doors and windows.

E. Sewerage disposal

General statement of the type of plant or septic tank to be used and its location where the development is not or will not be connected to a public system.

F. Water catchment

If the development is not on a public supply, a statement on the type and location of catchment proposed where the development is not or will not be connected to a public supply.

(2)  The following plans must be supplied for final permission to construct buildings. The metric equivalent of imperial scales shown will be accepted.

Three copies of—

A.	Floor Plan – Scale ¼″ = 1′ 0″, or ⅛″ = 1′ 0″

to show—

(a)	general floor layout;

(b)	dimension of spaces;

(c)	width of openings;

(d)	thickness of walls;

(e)	materials of construction.

B.	Sections ¼″ =1′ 0″ or large

to show—

(a)	roof height and pitch;

(b)	floor heights – ground to floor/floor to ceiling;

(c)	height of openings;

(d)	materials of construction.

C.	Elevations – At least three

to show—

(a)	general architectural style of the building;

(b)	position of openings.

D.	Foundation Plan

to show—

(a)	general foundation type proposed;

(b)	type of soil on which the foundation will rest.

E.	Structural Plan

to show—

(a)	details of beams, columns and slabs;

(b)	details of all walls;

(c)	roof design and construction details;

(d)	foundation details, piling, etc.;

(e)	details of water cisterns and catchments where required;

(f)	all reinforcement details.

F.	Plumbing

to show—

(a)	location of inspection boxes, grease traps, etc.;

(b)	sizes and slopes of the pipes used in the sewer lines;

(c)	location of shut-off valves;

(d)	size and location of pumps.

G.	Water Supply—

(a)	sizes of water lines;

(b)	water storage and catchment details.

H.	Sewerage—

(a)	details of septic tanks and soakaways where needed.

I.	Electricity

to show—

(a)	electrical layout;

(b)	amount of wires in conduit and wire gauges;

(c)	numbers of circuits;

(d)	panel sizes and locations.

J.	For the grant of a building permit, the Planning Board may also require submission of all calculations for the determination of sizes of structural members and walls, water catchments, sewerage treatment and disposal facilities where required.

K.	Depending on the size of the proposed building, the Planning Board may accept the electrical and/or plumbing layout on the floor plan.

16.   Approval in part

(1)  Where approval of a portion of a building or development is desired prior to the issuance of a final permit for the whole project, application shall be made for approval of the complete development in principle in accordance with the Act and regulation 15(2) and detailed plans for that part for which immediate approval is desired shall be filed with the Planning Board.

(2)  The Planning Board shall not grant approval in part in respect of any development before granting approval in principle for the whole of such development.

17.   Use of other codes and standards

(1)  The Planning Board shall require that the laws, rules and regulations of any other regulatory body or Planning Board having jurisdiction, where such laws, rules and regulations are applicable and are known to the Planning Board, to be satisfied before a permit is issued.

(2)  The Planning Board shall require such evidence, as in its opinion is reasonable, to show such other approvals.

(3)  All tests required by the Planning Board to show that materials and methods of construction proposed by the applicant meet the requirements of these Regulations shall be carried out by the applicant at his expense. The testing agency to be used by the applicant must be approved by the Planning Board.

(4)  The Planning Board shall publish annually in the Gazette a list of the codes and standards approved for use with these Regulations and such list shall be available for public information and inspection at the office of the Planning Board during normal working hours.

18.   Inspections

(1)  No person shall commence development authorised under these Regulations without notifying the Physical Planner.

(2)  The Physical Planner, upon receipt of at least seven days notice from the applicant, owner, developer or builder, exclusive of Saturdays, Sundays and declared Public Holidays, is authorised to make the following inspections and either approve the portion of the works completed or shall notify the owner, developer or builder in writing where such work does not meet with his approval—

(a)	setting out;

(b)	foundations before concreting;

(c)	structural frame and roof;

(d)	ring beams casing and reinforcement;

(e)	plumbing and drains;

(f)	electrical works, in association with the Government electrical inspector;

(g)	other inspections to be made as the owner, builder or Physical Planner may reasonably require;

(h)	special inspections of all mechanical installations;

(i)	final inspections (occupancy certificate).

(3)  Work shall not be done on any part of a building or structure beyond the point indicated in each successive inspection without first obtaining the written approval of the Physical Planner. Such written approval shall normally be given only after an inspection is made of each successive step in the construction as indicated by each of the foregoing nine inspections where appropriate. Written approval may be issued on site in a form authorised by the Planning Board.

(4)  Reinforcing steel or structural framework of any kind forming part of any building shall not be covered or concealed in any manner whatsoever without first obtaining the approval of the Physical Planner.

(5)  If the Physical Planner fails to make an inspection within seven days of the receipt of the notice required under regulation 18(2), the builder may proceed to the next stage of construction work without the written approval of the Physical Planner but this does not absolve the applicant, owner, developer or builder from the responsibility of any construction in contravention of the building permit, these Regulations or any other applicable legislation or regulation.

(6)  Notwithstanding regulation 18(4), the Physical Planner in his discretion may waive any of the inspections listed in regulation 18(2) in writing to the applicant, developer or builder, but this does not absolve the applicant, owner, developer or builder from the responsibility of any construction in contravention of the building permit, these Regulations or any other applicable legislation or regulation.

19.   Special inspector

(1)  (a)  Where the proposed construction is complex or falls within the categories listed in paragraph (g), the Planning Board may refer the plans to a special inspector for review. The special inspector shall assess the design or application for compliance with the provisions of these Regulations, as well as inspect the works for compliance with the building permit during construction of the approved development, and generally assist the Planning Board by contributing to the prevention of technical errors which may occur during the design and execution of the works.

(b)  The Planning Board may engage the services of a special inspector for any or all of the required inspections in regulation 18(2).

(c)  The special inspector shall be appointed by the Planning Board in consultation with the applicant and shall report to the Physical Planner on those aspects of the design and work he or she is engaged to review and inspect. All such reports shall be copied to the applicant.

(d)  Payment for the services of the special inspector shall be met by the Planning Board from fees paid by applicants for the processing of such applications. The fees and method of payment shall be agreed to between the special inspector and the Physical Planner. The Planning Board and the applicant shall be informed of such agreement.

(e)  The Planning Board may in consultation with any professional body representing engineers in Saint Vincent and the Grenadines, if any, and the Institute of Architects of Saint Vincent and the Grenadines establish a scale of fees for the purpose of engaging the services of special inspectors.

(f)  The Planning Board may assign more than one special inspector to a building or development provided that each special inspector is assigned a major, important and special component of such building or development works to inspect.

(g)  The special inspector shall be appointed for the following projects—

(i)	buildings or structures (or part thereof) of unusual design or method of construction,

(ii)	foundations and structural engineering work for installation of equipment such as elevators, power plants and water and sewerage treatment plants,

(iii)	public buildings in Groups A, B, C and F (Part II) and other buildings so designated by the Planning Board.

(h)  For certain other projects such as those listed hereunder, the Planning Board may impose the condition requiring the use of a special inspector as follows—

(i)	major foundations or pile driving,

(ii)	major site works,

(iii)	drainage and waste disposal works for buildings.

(2)  (a)  The special inspector shall be selected for appointment from a list of experienced and professionally qualified engineers and architects compiled by the Planning Board in consultation with any professional body representing engineers in Saint Vincent and the Grenadines, if any, and the Institute of Architects of Saint Vincent and the Grenadines.

(b)  The Planning Board shall review the list of special inspectors every six months and cause such list to be published in the Official Gazette.

(3)  (a)  A special inspector must be licensed to practice engineering or architecture in Saint Vincent and the Grenadines and be a member of the professional body representing engineers in Saint Vincent and the Grenadines, if any, or the Institute of Architects of Saint Vincent and the Grenadines or a member of a body or architectural organisation recognised by the professional body representing engineers in Saint Vincent and the Grenadines, if any, or the Institute of Architects of Saint Vincent and the Grenadines.

(b)  A special inspector shall be an experienced and professionally qualified engineer or architect of the relevant discipline for the development he is being appointed to inspect.

(4)  (a)  The special inspector shall—

(i)	review and assess all plans relating to the development in accordance with the building permit, these Regulations or other approved regulations and acceptable building practices,

(ii)	inspect the structures or the part thereof he is authorised to inspect during construction for compliance with the building permit, these Regulations or other applicable standard,

(iii)	report in writing to the Physical Planner and the applicant on compliance of the design and construction with the terms of these Regulations and building permit or other approved regulations as the case may be,

(iv)	recommend steps to be taken to remedy any breach of these Regulations or the permit.

(b)  The applicant shall give the special inspector at least forty-eight hours notice when an inspection is required and such notice shall be copied to the Planning Board.

(c)  Notwithstanding paragraph (b), the special inspector may at any reasonable time enter upon the land to which the development he is appointed to inspect relates, for the purpose of carrying out duties assigned to special inspectors under these Regulations, provided that the contractor is given at least twenty-four hours notice of such intended entry and shall provide evidence of his authority by the Planning Board if required to do so by the owner, developer or contractor.

(d)  The special inspector shall not be held responsible for the failure of the owner, developer or contractor to comply with the terms and conditions of a building permit, or the provisions of these Regulations or obligations under any agreement related to the building or development the special inspector is authorised to inspect.

(e)  At the completion of the construction work, the special inspector shall submit a certificate of compliance to the Physical Planner if he considers that the work was done in compliance with the building permit and these Regulations. The duties of the Special Inspector shall end with the submission of such certificate.

(5)  The special inspector shall not be engaged in any capacity in the development for which he is being appointed special inspector and shall have no ties to the applicant, builder or owner which may affect his independence on the project.

(6)  (a)  The Planning Board shall observe the following procedures for the appointment of the special inspector(s) for a development—

(i)	Within fourteen days from the date of receipt of an application for approval in principle or final approval, the Physical Planner shall inform the applicant as to whether a special inspector(s) will be required for the development and the field of specialisation of such special inspector(s).

(ii)	Upon receipt of such notice the applicant and the Physical Planner shall meet to select the special inspector(s) for appointment from the published list of special inspectors and notify the appointee accordingly.

(iii)	The Planning Board and the appointee(s) shall confirm acceptance of the Physical Planner’s recommendation of appointment in writing.

(iv)	In cases where the special inspector is required for the review of the development application and inspection of construction the Physical Planner shall proceed to refer the plans to the special inspector with instructions.

(v)	Upon receipt of such plans and instructions the special inspector shall advise the Planning Board on the technical adequacy of the proposal relative to these Regulations, other relevant regulations and acceptable building and development practice.

(vi)	Following the grant of the building or development permit but prior to the commencement of the approved building or development works the Physical Planner, special inspector(s) and the applicant shall meet to agree on the method of payment for inspections and to develop terms of reference for inspections. Such agreement and terms of reference shall be to the satisfaction of the Planning Board.

(vii)	The applicant shall inform the Physical Planner and special inspector of the date the building or development will commence and give all notices required under these Regulations, building permit and the terms of reference of the special inspector in a timely manner.

20.   Certificate of Occupancy

(1)  A new building shall not be occupied or a change made in occupancy or the nature of the use of a building or part of a building changed until after the Planning Board shall have issued an occupancy certificate.

(2)  Upon completion of a building erected in accordance with approved plans and after final inspection herein referred to, and upon application therefor, the Planning Board shall issue an occupancy certificate stating the nature of the occupancy permitted.

(3)  A temporary occupancy certificate may be issued for a portion or portions of a building which may safely be occupied prior to final completion of the building.

(4)  Final inspection shall be made by the Physical Planner or special inspector, as the case may be, before an occupancy certificate is issued.

(5)  A certificate of occupancy shall not be issued until the necessary certificates of approval in respect of electrical works have been issued by the Electrical Inspector in accordance with electricity regulations in force.

21.   Compliance

(1)  The issuance and granting of a permit shall not be deemed or construed to be a permit for, or an approval of, any violation of these Regulations.

(2)  The issuance of a permit upon plans and specifications, shall not prevent the Planning Board or Physical Planner, as the case may be, from thereafter requiring the correction of errors on such plans and specifications, or from preventing building operations being carried on thereunder when in violation of these Regulations.

(3)  When during the construction of the development carried out under the permit, the Planning Board or Physical Planner, as the case may be, reasonably believes that approved plans are in violation of these Regulations, the Planning Board or Physical Planner shall notify the permit holder and the permit holder shall correct the drawings or otherwise satisfy the Planning Board or the Physical Planner that the design or working drawings are in compliance with these Regulations.

(4)  The permit granted for the construction of the development shall be available at the construction site during normal working hours for inspection by the Physical Planner or other persons authorised to carry out inspections under these Regulations.

PART II

General Requirements

22.   Group classification by use and occupancy

(1)  Subject to regulation 27, occupancy certificates shall be based on the following group classification except that—

(a)	any building having a use or occupancy not specifically mentioned shall be classified in the group it most nearly resembles;

(b)	different buildings on the same property shall be certified separately for use and occupancy even when constructed under one permit;

(c)	adjoining parts of the same building may be certified separately for different use and occupancy provided the division between them satisfies the fire resistance requirements of these Regulations for the most restrictive use;

(d)	more than one use and occupancy shall be permitted in any building without division provided the building conforms to the requirements of these Regulations for the most restrictive use.

Group A – Public Buildings

(2)  Being buildings in which fifty or more persons regularly congregate for civic, educational, religious, social or recreational purposes and including—

(a)	assembly halls;

(b)	auditoria;

(c)	cinemas;

(d)	city and town halls;

(e)	clubs, excluding residential accommodation;

(f)	court-houses;

(g)	dance halls;

(h)	permanent exhibition buildings;

(i)	games buildings;

(j)	lecture halls;

(k)	passenger assembly buildings;

(l)	public baths;

(m)	public art galleries, libraries and museums;

(n)	restaurants seating fifty or more persons;

(o)	religious buildings of all types;

(p)	teaching facilities of all types;

(q)	theatres.

Group B – Institutional Buildings

(3)  Being buildings in which inmates’ liberties are restricted for civic, medical, charitable or correctional purposes including—

(a)	asylums;

(b)	hospitals;

(c)	infirmaries;

(d)	old and handicapped persons homes;

(e)	sanatoria;

(f)	prisons;

(g)	reformatories.

Group C – Commercial and Industrial Buildings

(4)  Being buildings used for manufacture, assembly, servicing, repair and factory operations or for the storage except for display purposes of materials or finished products where no hazardous processes or materials are involved and including—

(a)	aeroplane hangers;

(b)	cold storage buildings;

(c)	freight depots;

(d)	parking garages;

(e)	warehouses;

(f)	factories;

(g)	commercial laboratories;

(h)	laundries;

(i)	processing plants;

(j)	power stations;

(k)	telephone exchanges;

(l)	workshops.

Group D – Office, Administrative and Retail Service Buildings

(5)  Being buildings used for business or professional transactions or the display or sale of materials or finished products and including—

(a)	banks;

(b)	civic administration buildings;

(c)	radio stations;

(d)	restaurants seating less than fifty persons;

(e)	television stations;

(f)	office buildings;

(g)	markets, supermarkets;

(h)	shops;

(i)	showrooms;

(j)	stores.

Group E – Residential Buildings

(6)  Being all buildings in which sleeping accommodation is a necessary or major provision, except buildings classified under Group B in subregulation (3) and including—

(a)	apartment buildings containing less than ten apartments;

(b)	guest houses accommodating less than twenty-five persons;

(c)	private residences and duplex buildings;

(d)	residential club accommodation for less than twenty-five persons;

(e)	terrace houses;

(f)	apartment buildings containing ten or more apartments;

(g)	guest houses accommodating twenty-five or more persons;

(h)	halls of residence;

(i)	hotels;

(j)	motels;

(k)	residential club accommodation for more than twenty-five persons;

(l)	tenement buildings;

(m)	dormitories.

Group F – Hazardous Occupancy Buildings

(7)  Being buildings or parts of buildings for the storage or handling or use or processing of any of the hazardous materials or for the housing or carrying out of any of the hazardous processes listed and attached to these Regulations as <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix D">Appendix D<EL>, or buildings used for any other purpose which, in the opinion of the Planning Board, creates hazardous or noxious conditions.

23.   Occupancy, content of a building

Basis of calculation—

(a)	Table II-A shall determine the number of persons occupying a building or part of a building subject to regulation 27, and except the building or part of the building be planned for a greater number of persons than that determined from Table II-A then the greater number shall be used, and any enclosed space or room which fifty or more persons regularly congregate shall be considered a place of public assembly regardless of the group classification of the building;

(b)	<JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix H">Appendix H<EL> provides information on the specific requirements of the occupancy groups. This <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 appendix i">appendix i<EL>s included for guidance to designers. However Table II-A must be used to determine the minimum occupancy content of 		buildings. Designers of public buildings should apply to the Planning Board for permission to alter any of the minimum areas given in the Table II-A, where there is mixed occupancy or doubt as to the appropriate area to be used.

24.   Type classification by construction

(1)  (a)  The requirement of types of construction in this regulation are minima for the various types of construction and are intended to represent varying degrees of public safety and resistance to fire. For the purpose of these Regulations, Type 1 shall be deemed to be the most fire-resistive and Type 5 the least fire-resistive type of construction.

(b)  All buildings and structures shall be classified into one of the following types of construction—

Type 1 Buildings:	Fire Resistive

Type 2 Buildings:	Semi-fire Resistive

Type 3 Buildings:	Ordinary Masonry (Protected and Unprotected)

Type 4 Buildings:	Non-combustible

Type 5 Buildings:	Wood Frame.

Appendix I provides more information on the specific requirements for each Type.

(c)  In order that a building or structure may be classified in any specific type of construction, it is necessary that all the requirements for that type shall be at least equalled. No building or portion thereof shall be required to conform to the details of a type of construction higher than that type for which the minimum requirements based on occupancy are met even though certain features of such building actually conform to a higher type of construction.

(d)  Where specific materials, types of construction or fire-resistive protection are required, such requirements shall be the minimum requirements, and any materials types of construction or fire-resistive protection which will afford equal or greater public safety or resistance to fire, as specified in these Regulations, may be used, subject to the requirements of regulations 28 and 29 covering alternate materials and construction standards.

(e)  Where two or more types of construction occur in the same building and are separated by firewalls as required in the chapters of occupancy, each portion so separated may be classified as of the type of construction to which it conforms. If firewalls are not provided as required in regulation 33(3), the whole building shall be classified as the least fire-resistive type of construction used and shall be subject to the restrictions imposed upon that type.

(f)  The structural frame shall be considered to be the columns and the girders, beams, trusses and spandrels having direct connections to the columns and all other members which are essential to the stability of the building as a whole. The members of floor or roof panels which have no connection to the columns shall be considered secondary members and not a part of the structural frame.

(g)  Minor accessory buildings of unprotected non-combustible materials not exceeding ten per cent of the ground floor of the primary building, nor 1,500 square feet, whichever is larger, may subject to the specific approval of the Planning Board, where separated from the primary building as required in these Regulations, be constructed without changing the fire-resistive classification of the primary building based on type of construction.

(2)  An existing building which by its construction cannot be definitely classed as of Type 1, 2, 3, 4 or 5 as defined in these Regulations shall be defined for the purpose of these Regulations, by the Planning Board.

(3)  For the purpose of this regulation and the interpretation of Table II-B the following abbreviations shall have the meanings given to them hereunder—

FRC Fire resistance rated construction containing combustible materials

FRTW Fire resistance rated and fire retardant treated wood

FRW Fire resistance rated wood

N/A Not applicable

NFR Fire resistance rated construction of non-combustible materials

NM Non-combustible materials

PS Fire resistance rated protected structural steel

RC Fire resistance rated reinforced concrete

TW Fire retardant treated wood

W Unrated untreated wood.

(4)  Table II-B shall be used to establish Type classification by construction of a building subject to regulation 27 and provided that where any building does not clearly fall into one of the five types defined it shall be classified under the most restrictive of the type it resembles.

25.   Permissible areas and height

(1)  For the purpose of this regulation and the interpretation of Table II-C the following abbreviations shall have the meaning given them hereunder—

Group: Group classification by use and occupancy under regulation 22.

NL No limit

NP Not permitted

Type Type classification by construction under regulation 24

SS Single storey

MS Multi-storey.

(2)  Table II-C shall determine the maximum permitted area and height of a building subject to the special provisions of these Regulations and provided that where two or more parts of a building are separated from one another by divisions satisfying the fire resistance requirements of these Regulations for the most restrictive use, then the maximum permitted areas may be applied to each part so divided.

26.   Fire resistance rating for buildings

Tables II-D to II-G inclusive shall determine the minimum fire resistance ratings for the component parts of a building subject to regulation 27 and provided that the permitted fire resistance ratings of various materials and combinations of materials shall be established in accordance with these Regulations.

27.   Special provisions

(1)  The requirements of this regulation are to be read and interpreted with regulations 22 to 26 provided that if the requirement of two or more sections should appear contradictory when applied to a particular building, the more restrictive requirements shall apply.

(2)  (a)  Any building with an occupancy content of more than one thousand persons as calculated from Table II-A shall be of Type 1 construction.

(b)  No building of Group A: Table II-A with an occupancy content of more than two hundred and fifty persons as calculated from Table II-A shall be of Type 4 or 5 construction.

(3)  (a)  Buildings used to store highly combustible or highly inflammable materials or liquids shall be of Type 1 or 2 construction, not more than 12 feet in storey height, not closer than 50 feet to a site boundary or to an adjacent building on the same site and divided by fire division walls into separate parts, each part not exceeding 5,000 square feet in floor area.

(b)  Buildings housing processes using combustible or inflammable liquids with a flash point lower than 190 degrees Fahrenheit shall be of Type 1 or 2 single storey construction not closer than 50 feet to a site boundary or to an adjacent building on the same site and shall be separated by fire division walls into separate parts, each part not exceeding 10,000 square feet in floor area.

(4)  (a)  A building of type 1 construction more than 100 feet high may be required to have higher fire resistance rating for any or all of the component parts and the whole or any part of the building shall be equipped with wet or dry risers if required by the Planning Board. These risers and fittings shall be subjected to an acceptance test and be certified by the Planning Board.

(b)  The permissible areas given in Table II-C may be increased by twenty-five per cent for any building having clear access to public streets on two sides.

(c)  The permissible area given in Table II-C may be increased by fifty per cent for any building having clear access to public streets on three or more sides.

(d)  The permissible areas given in Table II-C may be increased by one hundred per cent for any multi-storey building equipped with an approved automatic sprinkler system where such system is not specifically required by these Regulations.

(e)  The permissible areas given in Table II-C may be increased by two hundred per cent for any single storey building equipped with an approved automatic sprinkler system where such system is not specifically required by these Regulations.

(f)  Any building more than 250,000 cubic feet in volume shall, unless equipped with an approved automatic sprinkler system be divided by fire division walls, fire division floors, or ceilings, into parts not exceeding 250,000 cubic feet in volume.

(5)  (a)  In buildings of Groups A, C, D, and E, not more than 50 feet high and not closer than 50 feet to a site boundary or to an adjacent building on the same site, non-load-bearing exterior walls may be of non rated combustible materials.

(b)  Suspended ground floors with less than 3 feet clearance need not be of fire resistance rated construction for Groups A and E. For types 1, 2 and 4, construction shall be of non-combustible materials.

(c)  Roofs, where every part of the structural framework is more than 20 feet above the highest part of any floor, need not be of fire resistance rated construction, but for Groups A and F, and for Types 1, 2 and 4 construction shall be of non-combustible materials.

(d)  Untreated wood or other combustible materials may be used only for wall and floor finishes, skirtings window sills, wall trims, staircase handrails and other minor non-structural decorative purposes.

(e)  Untreated wood shall not be used as wall finishes or handrails on escape routes.

| TABLE II-A |
| --- |
| Occupancy Content of a Building |
| Places of public assembly in any building | 1 person for each seat, (7 sq. ft. required). For the occupancy content of other assembly buildings see Appendix H (1) section 5. |
| Group A | 1 person for each 100 sq. ft. of floor area. |
| Public buildings generally, | 1 person for each 12 sq. ft. (net). |
| Restaurants, night clubs |  |
| Group B | Group B(b): 1 person for each 100 sq. ft. of floor area. |
| Institutional buildings generally | 1 person for each 120 sq. ft. of floor area. |
| Hospital surgical and obstetrical areas |  |
| Group B | 1 person for each 50 sq. ft. of area. |
| Institutional buildings: open wards and dormitories |  |
| Group C | Group C(a): | 1 person for each 200 sq. ft. of floor area for the first 5 persons and 1 person for each 1,000 sq. ft. of floor area thereafter. |
| Commercial and industrial buildings | Group C(b): | 1 person for each 50 sq. ft. of floor area for the first 10 persons. 1 person for each 100 sq. ft. of floor area for the next 10 persons, and 1 person for each 500 sq. ft. of floor area thereafter. |
| Group D | Group D(a): | 1 person for each 100 sq. ft. of floor area. |
| Offices, administrative and retail service buildings | Group D(b): | 1 person for each 50 sq. ft. of sales floor area plus 1 person for each 100 sq. ft. of non sales floor area |
| Group E. Residential | Group E(a): | 1 person for each 300 sq. ft. of floor area. |
|  | Group E(b): | 1 person for each 150 sq. ft. of floor area. |
|  | Group E(c): | 1 person for each 50 sq. ft. of floor area. |
| Group F. Hazardous occupancy | 1 person for each 50 sq. ft. of floor area for the first 10 persons, 1 person for each 500 sq. ft. of floor area thereafter. |

| TABLE II-B |
| --- |
| Type Classification by Construction |
| Item | Type 1 Fire | Type 2 Semi-fire resistant | Type 3 Ordinary masonry | Type 4 Non-combustible | Type 5 Wood |
| Exterior structural | RC or PS | RC or PS | RC or PS | NFR, FRTW | NFR |
| Interior structural frame | RC or PS | RC or PS | NFR or | NM | NM or |
| Exterior load bearing walls | NFR | NFR | NFR | NFR | NFR or |
| Exterior non-load bearing walls | NFR | FRC or NFR | FRW | NFR | FRC or FRW |
| Interior load bearing walls | NFR | NFR | NFR or | NM | NM or FRW |
| Party walls and fire division walls | NFR | NFR | NFR | NFR | NFR or FRW |
| Interior walls enclosing vertical openings in buildings more than 1 storey high | NFR or FRTW | NFR or FRTW | FRC or | NFR | FRC or |
| Interior walls or doors facing on to a means of escape | NFR or FRTW | NFR | FRC or FRTW | NFR or | FRC or FRW |
| Fire division | NFR | NFR | NFR | NFR | NFR or FRW |
| Other floors | NFR | NFR or FRTW | Group C: NFR or FRW Other Groups: NM or TW | NM | NM or W |
| Roofs | NFR or FRTW | NFR or FRTW | NFR or | NM | NFR or |
| Cantilevered projections | NFT | NFR or FRTW | NFR or FRTW | NFR | NFR or |
| Note.—See regulation 24(3) for abbreviations used. |

| TABLE II-C |
| --- |
| Permissible Areas and Heights |
| Group | Areas and Heights | Type 1 Fire resistant | Type 2 Semi-fire resistant | Type 3 Ordinary masonry | Type 4 Non-combustible | Type 5 Wood Frame |
| Group A | Area per storey | NL | 15,000 | 10,000 | 10,000 | 10,000 |
|  | Height (ft) | 100 | 60 | SS | SS | SS |
| Group B | Area per | NL | 10,000 | 7,500 | NP | NP |
|  | storey Height (ft) | 100 | 60 | 35 | NP | NP |
| Group C | Area per storey | NL | NL for SS 20,000 for MS | 15,000 | 15,000 | 10,000 |
|  | Height (ft) | 100 | 60 | 35 | SS | SS |
| Group D | Area per storey | NL | 20,000 | 15,000 | 15,000 | 10,000 |
|  | Height (ft) | 100 | 60 | 35 | SS | SS |
| Group E | Area per storey | NL | 15,000 | 10,000 | 7,5000 | 7,500 |
|  | Height (ft) | 100 | 60 | 35 | 25 | 25 |
| Group F | Area per storey | 15,000 | 10,000 | 7,500 | 5,000 | NP |
|  | Height (ft) | 60 | 25 | SS | SS | NP |
| Note.—Read this with regulation 27. For abbreviations used see regulation 25(1). |

| TABLE II-D |
| --- |
| Fire resistance ratings in hours for buildings within 10 feet of site boundaries or adjacent buildings on the same site |
| Item | Type 1 Fire resistant | Type 2 Semi- fire | Type 3 Ordinary masonry | Type 4 Non-combustible | Type 5 Wood frame |
| Exterior structural frame | 4 | resistant | 2 | 2 | 1 |
| Interior structural frame | 3 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Exterior load bearing walls | 4 | 2 | 2 | 2 | 1 |
| Exterior non-load bearing walls | 3 | 2 | 2 | 1 | 1 |
| Interior load bearing walls | 2 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Party walls | 4 | 3 | 3 | 3 | 2 |
| Fire division | 3 | 2 | 2 | 2 | 1 |
| walls Interior walls enclosing vertical openings in buildings more than 1 storey high | 2 | 1 | 1 | 1 | 1 |
| Interior walls and/ or doors facing on to means of escape | 1 | ½ | ½ | ½ | ½ |
| Interior walls not otherwise described | Groups A and D only: ½ | Groups A and D only: ½ | 0 | 0 | 0 |
| Fire division floors and/or ceilings | 3 | 2 | 2 | 2 | 1 |
| Other suspended floor and/or ceilings | 2 | 1 | 1 | 1 | 1 |
| Roofs | 2 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Cantilevered projections | 3 | 2 | 2 | 1 | 1 |
| Fire check doors | 1 | ½ | ½ | ½ | ½ |
| Note.—See regulation 25(1) for abbreviations used. |

| TABLE II-E |
| --- |
| Fire resistance rating in hours for buildings between 10 feet and 20 feet from site boundaries or adjacent buildings on the same site |
| Items | Type 1 Fire resistant | Type 2 Semi-fire resistant | Type 3 Ordinary masonry | Type 4 Non-combustible | Type 5 Wood frame |
| Exterior structural frame | 3 | 2 | 1 | 1 | 1 |
| Interior structural frame | 2 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Exterior load bearing walls | 3 | 2 | 1 | 1 | 1 |
| Exterior non-load bearing walls | 2 | 1 | 1 | 1 | 1 |
| Interior load bearing walls | 2 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Fire division walls | 3 | 2 | 1 | 1 | 1 |
| Interior walls enclosing vertical opening in buildings more than 1 storey high | 2 | 1 | 1 | 1 | 1 |
| Interior walls facing on to means of escape | 1 | ½ | ½ | ½ | ½ |
| Interior walls not otherwise described | Groups A and D only: 1 | Groups A and D only: ½ | 0 | 0 | 0 |
| Fire division floors and/or ceilings | 3 | 2 | 1 | 1 | 1 |
| Other suspended floors-and/or ceilings | 2 | 1 | 1 | 1 | 1 |
| Roofs | 2 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Cantilevered projections | 2 | 1 | 1 | 1 | 1 |
| Fire check doors | ½ | ½ | ½ | ½ | ½ |

| TABLE II-F |
| --- |
| Fire resistance rating in hours for buildings over 20 feet from site boundaries or adjacent buildings on the same site and more than 35 feet high |
| Items | Type 1 Fire resistant | Type 2 Semi-fire resistant | Type 3 Ordinary masonry | Type 4 Non-combustible | Type 5 Wood Frame |
| Exterior structural frame | 2 | 2 | N/A | N/A | N/A |
| Interior structural frame | 2 | 1 | N/A | N/A | N/A |
| Exterior load bearing walls | 2 | 2 | N/A | N/A | N/A |
| Exterior non-load bearing walls | 2 | 1 | N/A | N/A | N/A |
| Interior load bearing walls | 2 | 1 | N/A | N/A | N/A |
| Fire division walls | 2 | 2 | N/A | N/A | N/A |
| Interior walls enclosing vertical opening in buildings more than 1 storey high | 1 | 1 | N/A | N/A | N/A |
| Interior walls not otherwise described | Groups A&D only: ½ | Groups A&D only: ½ | N/A | N/A | N/A |
| Fire division floors and/or ceilings | 2 | 1 | N/A | N/A | N/A |
| Roofs | 2 | 1 | N/A | N/A | N/A |
| Fire check doors | ½ | ½ | N/A | N/A | N/A |

| TABLE II-G |
| --- |
| Fire resistance ratings in hours for buildings over 20 feet from site boundaries or adjacent buildings on the same site and up to 35 feet high |
| Items | Type 1. Fire resistant | Type 2. Semi-fire resistant | Type 3. Ordinary masonry | Type 4. Non-combustible | Type 5. Wood frame |
| Exterior structural frame | 2 | 1 | 1 | 1 | 1 |
| Interior structural frame | 1 | 1 | 1 | SS: ½ MS: 1 | SS: ½ MS: 1 |
| Fire division walls | 2 | 2 | 1 | 1 | 1 |
| Interior walls enclosing vertical openings in buildings more than 1 storey high | 1 | 1 | 1 | 1 | 1 |
| Interior walls facing on to a means of escape | ½ | ½ | ½ | ½ | ½ |
| Fire division floors and/or ceilings | 2 | 2 | 1 | 1 | 1 |
| Other suspended floors – and/or ceilings | 1 | 1 | 1 | 1 | 1 |
| Roofs | 1 | 1 | 1 | SS: ½ MS: 1 |  |
| Cantilevered projections | 1 | 1 | 0 | 0 | 0 |
| Fire check doors | ½ | ½ | ½ | ½ | ½ |

PART III

Materials and Construction Standards

28.   Scope of Part III

(1)  This Part sets out the requirements for use of materials and construction methods to conform to the minimum standards provided in these Regulations.

(2)  The construction standards are based on the ability of buildings to resist fire hazards and to accommodate safely the imposed dead and live loads including the hurricane and earthquake loads. This Part provides tables of fire resistance of various materials and assemblies and gives the requirements for minimum protection of floor and roof systems.

(3)  This Part must therefore be read with the following—

Part II – General Requirements

Part XI – Loads

<JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix G">Appendix G<EL> – General Guidelines for Fire Resistive Construction

<JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix H">Appendix H<EL> – Requirements of Groups A to Occupancies

Appendix I – Classification by Types of Construction.

29.   Material standards

(1)  The requirements of these Regulations are not intended to exclude the use of any materials not specifically described or recognised herein. Any such material shall be approved provided it can be shown to be satisfactory for the purpose intended and be at least equal to the requirements of these Regulations for quality, strength, effectiveness, fire resistance rating, durability and safety where applicable, and provided that if special knowledge or experience is required in its use it shall only be used by an approved specialist.

(2)  Any person desiring to use a material not recognised in these Regulations shall make application to the Planning Board for permission to use such material. The application shall be adequately supported by evidence that the material is at least equal to the standards required by these Regulations and the Planning Board shall have power to require additional test to be made if in its opinion these are necessary for proper consideration of the application.

(3)  All materials shall be stored on site in such a way as to prevent deterioration or impairment of their quality or strength or effectiveness and no material which has been seriously damaged or permitted to deteriorate shall be used in or for construction.

(4)  The re-use of used materials shall be permitted provided that it can be clearly shown to the satisfaction of the Planning Board that such material is suitable for the purpose intended and meets fully the requirements of these Regulations for quality, strength, effectiveness, fire resistance rating, durability and safety.

(5)  All materials used in construction shall conform to the requirements of these Regulations and shall at least be equal to the requirements of the applicable standards, the list of which is at Appendices A and B.

30.   Construction standards

(1)  The requirements of these Regulations are not intended to exclude the use of any method of construction not specifically described or recognised herein. Any such method of construction shall be approved provided it can be shown to be satisfactory for the purpose intended and at least equal to the requirements of these Regulations for quality, strength, effectiveness, fire resistance ratings, durability and safety and provided that if special knowledge is required in its use, it shall only be used by an approved specialist.

(2)  Any person desiring to use a method of construction not specifically described in or recognised by these Regulations shall make application to the Planning Board for permission to use such a method. The application shall be adequately supported by evidence that the method proposed is at least equal to the standards required by these Regulations and the Planning Board shall have power to require additional tests to be made at the expense of the applicant, if in his opinion it is necessary for proper consideration of the application.

(3)  Standards of construction shall be in accordance with the requirements of these Regulations and shall at least be equal to the requirements of the list of standards attached to these Regulations as Appendices A and B or to any other standard or code approved by the Planning Board.

(4)  A list of codes of practice applicable to standards of construction is attached to these Regulations as Appendices A and B.

31.   Fire resistance ratings for materials

(1)  This Regulation provides information on the fire resistance of materials and construction assemblies. The information provided must be used with the use and occupancy tables in Part II in order to determine the appropriate type of structure and the appropriate materials of construction that should be used.

(2)  (a)  The fire resistance ratings for materials and combinations of materials recognised by these Regulations are based on standard ratings presented by recognised international agencies such as British Standards Institution (BSI), or The American Society for Testing and Materials (ASTM).

(b)  The requirements of this Part constitute the minimum functional performance standards for fire protection purposes and are not intended to indicate the structural strength of materials or assemblies. It is the responsibility of the architect or engineer to ensure that a building is constructed in a manner which would limit the spread of a fire and that exits are adequately designed in accordance with Part IV, and at the same time to ensure that the building is structurally adequate to accommodate safely the imposed loads.

(c)  The following Tables III-A – III-C give fire ratings of various materials and assemblies commonly used in construction in the Organisation of Eastern Caribbean States. Other materials and assemblies may be used provided that tests show that the fire-resistive ratings of the materials are acceptable for the uses intended, and provided the materials or assemblies are used in accordance with the conditions of these Regulations.

32.   Fire-resistive assemblies for protection of openings

(1)  (a)  The design and construction of fire-resistive assemblies and openings shall be carried out in accordance with these Regulations and in accordance with section 6 Part 3 of the CUBiC.

(b)  Where required by these Regulations (Table II-B) for the fire protection of openings, fire-resistive assemblies shall comply with the standards set forth in the relevant ASTM or BSI standard for fire tests of building materials.

(c)  All fire assemblies required to have fire-protection rating of one-half hour or more shall bear a label or other identification showing the rating thereof, issued by an approved testing agency.

(2)  (a)  Approved fire door assemblies shall be constructed of any material or assembly of component materials which meets the test requirements of the ASTM or BSI, and the fire resistance ratings required by these Regulations.

(b)  The identification, testing hardware, frames, glazing and installation of fire doors shall be as set forth in paragraphs 3.617 of section 6, Part 3 of the CUBiC.

(c)  A ¾ hour labelled fire assembly door may be used where a one-hour rating is required provided the door is tested, together with the frame and type of hardware as set forth in these Regulations for a period of ¾ hour in accordance with the standard set forth in regulation 31(2).

(d)  Doors from patient rooms of Group B (a) Occupancy, shall have a minimum one hour fire protection rating. The corridor through which the patients have to exit shall be constructed of materials and assemblies with minimum fire resistant ratings of not less than one hour.

(3)  (a)  Every fire assembly required to have a half hour, ¾ hour, one hour, one and a half hour, or three hour fire protection rating shall be automatic or self-closing type.

(b)  Exit doors shall have closing devices as provided in Part IV.

(c)  Where required to be a rated fire assembly, doors shall be equipped with approved steel frames or such frames shall be of the material as used in the test assembly.

(d)  Heat-activated devices used in automatic fire assemblies shall be installed, one on each side of the wall at the top of the opening or one on each side of the wall at ceiling height where the ceiling is more than 3 feet above the opening.

(e)  Devices detecting products of combustion shall meet the approval of the Planning Board as to installation and location, and shall be subject to such periodic tests as may be required by the Planning Board. The tests must be carried out by an experienced testing laboratory approved by the Planning Board.

(4)  (a)  Glazed openings in a fire assembly shall conform to the following—

(i)	Where the door serves as a horizontal exit, the self-closing swinging doors may be provided with a wired glass vision panel, preferably vertical, made of ¼ inch thick wired glass labelled for fire protection purposes.

(ii)	The panel shall be not more than 100 square inches, without either dimension exceeding 12 inches.

(iii)	The developer shall provide the Planning Board with test results from a recognised testing laboratory or institution showing that the fire assembly would have the fire resistance required.

(b)  Wired glass vision panels may be used in fire doors of 1½ hour fire-resistance rating intended for use in fire separation walls, provided that the glass panels are not greater than 100 square inches in area.

(c)  The area of glazed openings in a fire door required to have 1½ hour or one hour fire resistance ratings shall be limited to 100 square inches with a minimum dimension of 4 inches.

(d)  Where both leaves of a pair of doors have vision panels, the total area of the glazed openings shall not exceed 100 square inches for each leaf.

(e)  Glazed openings shall be limited to 1,200 square inches in wood and plastic faced composite or hollow metal doors, per light, when fire-resistive assemblies are required to have a ¾ hour resistive rating.

(f)  Windows required to have a ¾ hour fire-resistive rating may have an area not greater than 84 square feet with neither width nor height exceeding 12 feet.

(5)  Where windows are provided in openings required by these Regulations to be protected rating by a fire resisting assembly having a ¾ hour fire protection rating, such window shall be labelled or shall be as follows—

(a)	Windows shall have frames and sash of solid steel selection or of hollow steel or iron shapes and be fabricated by pressing, riveting, interlocking, welding or crimping together, but not by the use of solder or other fusible alloy.

(b)	Wire glass and glazing shall comply with acceptable standards for fire-resistive assemblies.

(c)	Maximum height of hollow-metal-frame window shall be 10 feet.

(d)	Maximum width of hollow-metal-frame window shall be 6 feet for double-hung, counterweighted, counterbalanced, and fixed-sash type windows and shall be 5 feet for all other types.

(e)	Solid-section-frame windows shall have a maximum area of 84 square feet with neither width nor height exceeding 12 feet, except that, when used with unprotected steel mullions, the width shall not exceed 7 feet.

(f)	Solid-section mullions, where used in lengths 12 feet, shall be fire-protected.

33.   Required separation of construction

(1)  (a)  Where two or more buildings are joined or adjoin, the combined buildings must comply with the fire-resistive requirements and with the height and floor area requirements of these Regulations; and

(b)  the buildings must be separated by fire walls having the fire resistively specified for adjoining classifications of the higher ratings as per Table II-B.

(2)  With the exception of open deck public garages, openings in the external wall in successive storeys in an unsprinkled building required to be type 1 construction (fire-resistive), must be separated by at least 3 feet with a spandrel or other member having the same fire rating as required for the wall.

(3)  Party walls and fire walls separating buildings and compartments must—

(a)	have sufficient structural stability to allow collapse or burn out of the contents of compartments on the other side of the wall without collapse of the wall;

(b)	be extended as necessary to the underside of a non-combustible roof covering, with the gap between the top of the wall and the roof covering adequately fire stopped;

(c)	be extended a minimum of 20 inches above the roof line, if the covering is combustible (e.g. asphalt or wood shingles);

(d)	have the greater of the fire ratings prescribed in Tables II-D to II-G for the adjoining occupancy classification;

(e)	Where the roofs of adjoining buildings or of fire compartments are at different levels, the wall must be extended at least 3 feet above the lower roof, if any part of the lower roof within 20 feet from the wall does not have a fire resistance rating of at least two hours.

(4)  Doorways and other openings in party walls or fire walls between buildings or fire compartments must—

(a)	not exceed 100 square feet in area at any one opening; and

(b)	not be greater in aggregate width of all openings in any one storey, than twenty-five per cent of the length of the wall in that storey.

34.   Fire barriers in ceiling and roof spokes

(1)  Except where the floor or ceilings or roof or ceiling assembly is of non-combustible construction, enclosed roof and ceiling spaces must have fire barriers to divide the space into areas of not more than 3,000 square feet.

(2)  Fire barriers in roof and ceiling spaces must be of non-combustible construction and located directly above the tenancy separation walls, if the walls do not extend to the floor space above.

| TABLE III-A |
| --- |
| Maximum Protection of Structural Parts based on Time Periods for Various Incombustible Insulating Materials. |
| (Minimum Thickness of Insulating Material Given in Inches) |
| (i) Structural Part to be Protected: Steel Columns and all Members of Primary Trusses | 4 Hr. | 3 Hr. | 2 Hr. | 1 Hr. |
| Grade A concrete, members 6″× 6″ or greater (not including sandstones, granite, and siliceous gravel). | 2½ | 2 | 1½ | 1 |
| Grade A concrete, members 8″×8″ or greater, (not including sandstones, granite and siliceous gravel). | 2 | 2½ | 1 | 1 |
| Grade A concrete, members 12″×12″ or greater (not including sandstones, granite and siliceous gravel). | 1½ | 1 | 1 | 1 |
| Grade B concrete and Grade A concrete excluded above. Members 8″×8″ or greater. | 2½ | 2 | 1 | 1 |
| Grade B concrete and Grade A concrete excluded above. Member 12″×12″ or greater. | 2 | 1 | 1 | 1 |
| Portland cement plaster over metal lath wired to ¾″ cold-rolled vertical channels with No. 18 gauge wire ties spaced 3″ to 6″ on centre. Plaster mixed 1:2½ by volume, cement to sand. | – | – | 2½ | ⅞ |
| Multiple layers of ½″ gypsum wallboard adhesively secured to column flanges. | – | – | 2 | 1 |
| Minimum Protection of Structural Parts |
| (ii) Structural Part to be Protected: Wide Flanges of Steel Beans and Girders | 4 Hr. | 3 Hr. | 2 Hr. | 1 Hr. |
| Grade A concrete (not including sandstones, granite and siliceous gravel) with 3″ or finer metal mesh placed 1″ from the finished surface anchored to the top flange and providing not less than .025 square inch of steel area per foot in each direction. | 2 | 1½ | 1 | 1 |
| Grade B concrete and Grade A concrete excluded above with 3″ or finer metal mesh placed 1″ from the finished surface anchored to the top flange and providing not less than .025 square inch of steel area per foot in each direction. | 2½ | 2 | 1½ | 1 |
| Portland cement plaster on metal lath attached to ¾″ cold rolled channels with No. 18 gauge wire ties spaced 3″ to 6″ on centre. Plaster mixed 1:1½ by volume, cement to sand. | – | – | 2½ | ⅞ |
| (iii) Structural Part to be Protected: Bonded Tendons in Pre-stressed Concrete |  |  |  |  |
| Grade A Concrete: |  |  |  |  |
| Beams or girders. | 4 | 3 | 2½ | 1½ |
| Solid slabs. | 1 | 2 | 1½ | 1 |
| (iv) Structural Part to be Protected: Reinforcing Steel in Re-inforced Columns, Beams, Girders and Trusses |  |  |  |  |
| Grade A concrete, members 12″ or larger, square or round (Size limit does not apply to beams and girders monolithic with floors). | 1½ | 1½ | 1½ | 1½ |
| Grade B concrete, members 12″ or larger, square or round (Size limit does not apply to beams and girders monolithic with floors). | 2 | 1½ | 1½ | 1½ |
| (v) Structural Part to be Protected: Re-inforcing Steel in Reinforced Concrete Joists |  |  |  |  |
| Grade A concrete. | 1¼ | 1¼ | 1 | ¾ |
| Grade B concrete. | 1¾ | 1½ | 1 | ¾ |
| (vi) Structural Parts to be Protected: Re-inforcing Steel and Tie Rods in Floor and Roof Slabs |  |  |  |  |
| Grade A concrete. | 1 | 1 | ¾ | ¾ |
| Grade B concrete. | 1¼ | 1 | 1 | ¾ |
| Notes on Table III-A: |
| Re-entrant parts of protected members to be filled solidly. |
| An approved adhesive qualified under the standards for fire-resistive materials. |
| Cover for end anchorages shall be twice that shown for the respective ratings. Where lightweight Grade A concrete aggregates producing structural concrete having an over-dried weight of 110 pounds per cubic foot or less are used, the tabulated cover may be reduced twenty-five per cent. |
| For Grade B concrete increase tendon cover twenty per cent. |
| Adequate provisions against spalling shall be provided by U-shaped or hooped stirrups spaced not to exceed the depth of the member with a clear cover of 1 inch. |
| Pre-stressed slabs have a thickness not less than required in Table III-C for the respective fire-resistive time periods. |
| Thickness of materials for concrete members applies to bottom steel in slabs and to bottom and side cover over bottom steel in beams and joists. |

| TABLE III-B |
| --- |
| Rated Fire-resistive Periods for Various Walls and Partitions |
| (Thickness of units in inches) |
| A. Concrete Masonry Units | 4 Hr. | 3 Hr. | 2 Hr. | 1 Hr. |
| Expanded slag or pumice. | 4¾ | 4 | 3¼ | 2⅛ |
| Expanded clay or shale. | 5¾ | 4⅞ | 3⅞ | 2⅝ |
| Limestone. | 6 | 5 | 4 | 2¾ |
| Calcareous gravel. | 6¼ | 5⅜ | 4¼ | 2⅞ |
| B. Solid Concrete |  |  |  |  |
| Horizontal reinforcement not 1 less than 0.25 per cent and vertical reinforcements not less than 0.15 per cent. (Three-fourths as much for welded wire fabric). |  |  |  |  |
| Grade A Concrete | 6½ | 6 | 5 | 3½ |
| Grade B Concrete | 7½ | 6½ | 5½ | 4 |
| C. Incombustible Studs-Interior Partition with Plaster each Side |  |  |  |  |
| 3¼ by No. 18 gauge steel studs spaced 24″ on centre ⅝″ gypsum plaster on metal lath each side mixed 1:2 by weight, gypsum to sand aggregate. | – | – | – | 4¾ |
| 3⅝″ No. 16 gauge approved nailable studs spaced 24″ on centre. ⅝″ neat gypsum wood fibred plaster each side over ⅜″ rib metal lath nailed 1¼″ and bent over. | – | – | ⅝ | – |
| 2½″ steel studs 16″ on centre formed with No. 16 gauge wire diagonals, ⅜″ perforated gypsum lath attached to the studs each side with No. 12 gauge wire clips at horizontal and vertical joints. ½″ gypsum plaster applied each side mixed 1:2 by weight, gypsum to sand aggregate. | – | – | – | 4¼ |
| 2½″ steel studs 16″ on centre formed with No. 16 gauge angle flanges and No. 7 gauge wire diagonals. ⅜″ perforated gypsum lath attached to the studs each side with No. 12 gauge approved steel wire clips. End joints of lath held by approved end joints. ¾ perlite or vermiculite gypsum plaster applied each side. | – | – | 4¾ | – |
| D. Incombustible Studs-Interior Partition with Gypsum Wallboard each side. |  |  |  |  |
| No. 25 gauge channel-shaped studs 16″ on centre with one hull-length layer of ⅝″ Type “X” gypsum wallboard applied vertically attached with 1″ long No. 6 dry wall screws to each side. | – | 4⅞ | – | – |
| E. Wood Studs-Interior Partition with Gypsum Wallboard each side. |  |  |  |  |
| 2″×4″ wood studs 16″ on centre with two layers ⅜″ regular gypsum wall board each side. First layers applied full length vertically, second layer applied horizontally or vertically. | – | – | – | 5⅛ |
| 2″×4″ wood studs 16″ on centre with space between filled with mineral wool batts nailed to studs and full-length ½″ regular gypsum wallboard applied vertically. | – | – | – | 5⅝ |
| 2″×4″ woods studs 16″ on centre with two layers ½″ regular gypsum wall board applied vertically or horizontally each side, joints staggered. Nail base layer with 5 cooler nails at 8″ on centre, face layer with 8 cooler nails at 8″ on centre. | – | – | – | ⅝ |
| 2″×4″ wood studs 16″ on centre with ⅝″ Type "X" gypsum wallboard applied vertically or horizontal nailed with 6″ nails 7″ on centre with end joints on nailing members. | – | – | – | 4⅞ |
| 2″×4″ fire-retardant treated wood studs spaced 16″ on centre with one layer of ⅝″ thick "X" gypsum wallboard applied with face paper grain (long dimension) parallel to studs. | – | – | 4⅞ | – |
| F. Exterior or Interior Walls |  |  |  |  |
| 2″×4″ wood studs 16″ on centre with two layers ⅝″ Type "X" gypsum wallboard each side. Base layers applied vertically or horizontally and nailed 7″ on centre. Face layers applied with coating of approved wallboard adhesive and nailed 12″ on centre. | – | – | 6⅛ | – |
| ¾" drop siding or ⅜″ exterior type plywood over ½″ gypsum sheathing on 2″×4″ wood studs at 16″ on centre, or exterior surface with interior surface treatment as required for one-hour rated extension, or interior 2″×4″ wood studs partition. | – | – | – | Varies |
| 2″×4″ wood studs 16″ on centre with ½″ metal lath and ¾″ exterior cement plaster on each side. | – | – | – | 5 |
| 2″×4″ woods studs 16″ on centre with ⅞″ exterior cement plaster (measured from the face of studs) on the exterior surface with interior surface treatment as required for interior wood stud partitions in this Table. Plaster mix 1:2 scratch coat and 1:3 brown coat, by weight, cement to sand. | – | – | – | Varies |
| 3⅝″ No. 16 gauge incombustible studs 16″ on centre with 7.8″ exterior cement plaster (measured from the fact of the studs) on the exterior surface with interior non-bearing, incombustible stud partition. Plaster mix 1:2 for scratch coat and 1:3 for brown coat. | – | – | – | Varies |

| TABLE III-C |
| --- |
| Minimum Protection for Floor and Roof Systems |
| A. Concrete-(Excluding Expanded Clay Shale or Slag). | 4 Hr. | 3 Hr. | 2 Hr. | 1 Hr. |
| Construction and Minimum Thickness of Floors (ins) |  |  |  |  |
| No ceiling required. | 6½ | 5½ | 4½ | 3½ |
| B. Re-inforced Concrete Joists |  |  |  |  |
| Construction and Minimum Thickness of Floors (ins). No Ceiling Required. |  |  |  |  |
| Slab with suspended ceiling of gypsum plaster over metal lath attached to ¾″ cold-rolled channels spaced 12″ on centre. Ceiling located 6″ minimum below joists. | 3 | 2 | – | – |
| C. Steel Joist Construction with a Reinforced Concrete Slab on Top poured on a Metal Lath Form |  |  |  |  |
| Construction and Minimum Thickness of Floor (ins) |  |  |  |  |
| Portland cement plaster over metal lath attached to the bottom chord of joists with single No. 16 gauge or doubled No. 18 gauge wire tire. | 2¼ | 2 | – | – |
| Minimum Thickness of Ceiling |  |  |  |  |
| Ceiling of ⅝″ Type “X” wallboard to ⅞″ deep to ⅞″ by 2⅝″ by No. 25 gauge furring channels 12″ on centre. | – | – | ⅝ | ⅝ |
| D. Plywood Stressed Skin Panels |  |  |  |  |
| Construction and Minimum Thickness of Floor/Ceiling (ins) |  |  |  |  |
| ½” thick wood fibreboard weighing 15 to 18 lbs. per cu. ft. installed with long dimension parallel to stringers. Second layer of ⅝″ Type “X” gypsum wallboard applied with long dimension perpendicular to joints. | – | – | – | – |
| Minimum Thickness of Ceiling | – | – | – | ¾ |
| E. Wood Trusses Spaced a Maximum of 24 inches on Centres, Sheathed with a Minimum of one-half-inch Plywood and Covered with Approved Roofing Materials |  |  |  |  |
| Construction and Minimum Thickness of Floors/Ceiling (ins) |  |  |  |  |
| 1″3″furring 16″o.c.; flat expanded metal lath (3.4 lbs. per sq. yd.) and ¾″ sanded vermiculite or perlite gypsum plaster. | – | – | – | – |
| Maximum Thickness of Ceiling | – | – | – | ¾ |

PART IV

Public Health and Safety

35.   Scope of Part IV

This Part provides information on the design parameters for provision of buildings which will be environmentally acceptable and which if constructed in accordance with these Regulations provide reasonable fire resistance of critical elements and allow persons in the building time to evacuate safely.

36.   Minimum standards

(1)  All buildings intended for human use or occupancy shall conform to the requirements of this Part. Provided that where artificial lighting or ventilation are permitted as alternative to natural lighting, or ventilation they shall also conform with the pertinent requirements of Part X of these Regulations.

(2)  Provisions for the physically disabled must be made in accordance with <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix F">Appendix F<EL> of these Regulations.

(3)  Every building and its several compartments shall be adequately ventilated having regard to the use for which the building and its individual compartments are intended. An adequate amount of open space shall be provided at the front and back of every building and on any side which includes a door, window or other opening.

(4)  For every building used or intended to be used for human occupation, the external walls, the roofs, or roof in conjunction with the ceiling of the topmost storey, and the floor nearest the ground, shall be of such materials and be so constructed as to offer adequate resistance to the transmission of heat from the outside of the building to the inside, and from the inside of the building to the outside.

(5)  Every building shall be sufficiently protected against the transmission of sound from adjoining buildings or from adjoining parts of the same building according to the use for which the building is intended.

(6)  (a)  For the purpose of reducing the danger of outbreak of fire in a building and having regard to the risk inherent in the use to which building or part thereof is intended, the size of the building, and its proximity to other buildings, every building and its several parts shall be so designed and constructed as to—

(i)	reduce sufficiently the risk of ignition of any part of the building and the spread of fire within the building to other buildings,

(ii)	withstand the effects of fire for a sufficient period to avoid such collapse of the building as would increase the risk of the spread of fire.

(b)  Every building shall be so designed and constructed that in the event of an outbreak of fire in the building, every person therein may leave the building and its precincts safely.

(c)  All heat and flame producing appliances in a building together with their necessary accessories, shall be so constructed and installed as to prevent the ignition of any combustible material forming part of the building, or any combustible material which may be placed against the surface of any wall, or other part of the building enclosing, or adjacent to the appliance.

37.   Fire and safety requirements

(1)  Applications for building permits for buildings intended for requirements public use are required to satisfy the requirements of these Regulations. The applicant must demonstrate through the information provided in the application, and included on the appropriate drawings in the plans, elevations and sections, that the design and construction of the building or buildings being the subject of this application conforms in principle to these Regulations and to the latest edition of the National Fire Protection Association Life Safety Code, 1981, NFiPA 101 and amendments.

(2)  (a)  All buildings other than private residences or apartment houses referred to in Group E(a) Residential Buildings, should be provided with approved fire appliances in accordance with the requirements of these Regulations, the provision of, and the installation of, such appliances shall be approved in writing by the Planning Board.

(b)  All buildings of more than 4 storeys and over 50 feet in height shall be provided with one or more wet rising mains, as the Planning Board shall determine; such mains shall be exclusively for fire fighting purposes.

(c)  The requirements of regulation 39 and 40 shall, in particular apply to any part of any building more than 10,000 square feet in area of any type of occupancies as listed in Table II-A, where such part is used for, or intended for the use of, the bulk storage of combustible materials or products. (See <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix D">Appendix D<EL>).

(d)  Where automatic fire extinguishing protection is provided in other than high hazard occupancies, the fire resistance requirements may be reduced by one hour in the area or portion of the buildings so protected, provided that such a building is not more than 50 feet or 4 storeys in height.

(e)  The installation of fire protection systems shall be carried out in accordance with Part 3 section 7 of CUBiC.

(3)  No building shall be erected on a site which—

(a)	consists in whole or part of harmful or offensive animal or vegetable matter until such matter is removed and the site made good to the satisfaction of the Physical Planner;

(b)	cannot be put into such conditions as to prevent any harmful effect to the building or to its occupants by storm or flood waters;

(c)	has an average site elevation of less than 4feet 0 inches above mean sea level.

Adequate provision shall be made for the disposal of storm water so that the effect of increased run-off from the site will not materially affect adjoining sites.

(4)  Every building shall, having regard to its use or intended use, be provided with—

(a)	adequate light and ventilation;

(b)	a sufficient supply of suitable water;

(c)	adequate arrangements for the sanitary storage of solid waste (refuse and garbage). (See Part IX);

(d)	adequate facilities for the removal, and where necessary the treatment and disposal of all waste products in such a way as not to affect public health safety and welfare. (See Part IX);

(e)	Efforts shall be made to equip all public buildings in Group A and institutional buildings in Group B with access ramps and adequately wide entrances and exits for use by persons in wheelchairs. (For other provisions for handicapped persons see <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix F">Appendix F<EL>).

(5)  Table IV-A shall determine the minimum areas, widths and heights of habitable rooms and lavatories provided that—

(a)	The areas given in Table IV-A shall be measured between the structural faces of walls permitted for such individual uses;

(b)	No habitable room used for two or more purposes shall be divided by any wall, partition, screen or fitting into areas less than the minimum areas permitted for such individual uses, unless such division of partition is not more than 4 feet 0 inches high;

(c)	Any open kitchen recess shall have a minimum floor area of 30 square feet;

(d)	Every building or apartment of group E(a) in Part II shall provide living, dining and sleeping accommodation, together with suitable cooking and sanitary facilities, and adequate storage facilities;

(e)	In any building or apartment of group E(a) in Part II providing only one habitable room, the area of such a room shall not be less than 200 square feet;

(f)	Where any building of group E(a) or group E(c) in Part II is used or intended to be used for the letting or renting of individual rooms or apartments with common cooking and/or sanitary facilities, the area of any such shall be determined in accordance with the following—

(i)	if shared by two (2) apartments only, the area of the facility shall be not less than 100 square feet in area,

(ii)	if shared by more than two apartments the area of the facility shall not be less than 65 square feet per unit of accommodation sharing the facility;

(g)	Any room as a place of public assembly for more than fifty persons shall have a minimum height of 10 feet, except that the minimum clear height under a gallery or balcony or mezzanine of less than 500 square feet may be reduced to 8 feet provided that the space under the gallery or mezzanine is not separately enclosed.

(h)	Where ceiling fans are being erected, the minimum height from the floor to the ceiling should not be less than 9 feet 0 inches.

(i)	The minimum areas provided in Table IV-A may be altered by the Planning Board to conform to the normal custom provided that the minimum area of any habitable room is approved by the Ministry responsible for health.

(6)  (a)  Any habitable room not provided with adequate artificial lighting and ventilation shall be provided with one or more window or skylights, having an area or combined area of not less than ten per cent of the floor area of the room. Not less than fifty per cent of the total area of such window of skylights shall open to permit the free unobstructed passage of fresh air.

(b)  In the case of buildings provided with full mechanical ventilation systems, then the area of opening, light may be reduced to not less than one-third of total window area at the discretion of the Planning Board.

(c)  In the case of usable rooms or spaces in buildings without natural light and ventilation, artificial lighting and full mechanical ventilation systems or air conditioning must be provided in accordance with design and installation requirements of Part X of these Regulations.

(7)  (a)  Windows used for the provision of natural light or ventilation shall be located in an external wall and in such a position that light and fresh air are not substantially excluded by adjacent walls of the building or by the walls of adjoining buildings. Windows within toilet facilities shall normally be located 4 feet 0 inches minimum above floor level. The minimum height from the floor to the window head shall be 6 feet 8 inches.

(b)  To ensure resistance to hurricane forces, the design and installation of window assemblies for buildings in Groups A, B, C and F of Part II shall be certified by the structural engineer. This certification shall be based on the requirements of Part XI of these Regulations and in accordance with Part 2 of section 2 of CUBiC.

(8)  Skylights used for provision of natural light or ventilation shall be located in a clear area of roof and shall be designed to prevent the entry of rain water when closed. Where glass is used it shall be safety glass or shall be screened internally with a high tensile steel mesh of area not more than 1 square inch.

(9)  Any court enclosed on three or more sides and serving windows providing natural light and ventilation shall have an area for its full height of not less than 150 square feet for each 10 feet 0 inches of its height, and a width of not less than 10 feet 0 inches of its height up to 60 feet 0 inches, plus 2 feet 6 inches for each 10 feet 0 inches of its height above 60 feet 0 inches.

(10)  Any building of Group E(a) on a site where the rear boundary is a common boundary with an adjoining site shall have a war court of the full length of such boundary and of a width not less than 10 feet 0 inches nor less than 2 feet 6 inches for each 10 feet of building on the line of such court.

(11)  Special precautions are required for restaurants, buildings where food is prepared, food storage premises and slaughter houses. Applicants for building permits are required to contact the Ministry responsible for health for minimum requirements with respect to the type of surfaces of walls, floors and ceilings and the screening necessary.

(12)  (a)  Toilet facilities accessible to the public shall be provided on each floor for each sex for all types of building except that in a building of two floors and occupied by a single tenant, the combined toilet facilities required may be located on either floor.

(b)  Where common sanitary facilities are provided in buildings of Group E(c) used by more than ten persons, then at least, separate facilities shall be provided for males and females, and such facilities shall be so located that they are accessible under cover from all of the habitable rooms they serve.

(c)  A toilet shall not open directly onto a room intended primarily for human habitation, other than a bedroom or dressing room and never onto any area used for the manufacture, preparation or storage of food for human consumption.

(d)  The floor and walls of public toilet facilities, to a height of 5 feet, shall be of tile or other smooth, cleanable, impervious materials.

(e)  Shower compartments shall have floors and walls constructed of smooth, corrosion resistant and non-absorbent water resistant materials to a height of not less than 70 inches above the compartment floor.

(f)  Tables VIII–D to E gives the number of lavatory fixtures required for various occupancies.

(13)  (a)  Buildings constructed for the storage and use of hazardous materials (<JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix D">Appendix D<EL>) must be sited and constructed in accordance with Part 3 section 7 of the CUBiC or in accordance with any code or standard approved by the Planning Board.

(b)  Part 3 section 7 of the CUBiC provides information on the following—

(i)	explosion hazards,

(ii)	volatile flammables,

(iii)	liquefied petroleum gases,

(iv)	pyroxylin plastics,

(v)	use and storage of flammable film,

(vi)	use and storage of combustible fibres,

(vii)	combustible dusts, grain processing and storage,

(viii)	paint spraying and spray booths,

(ix)	dry cleaning establishments,

(x)	private garages,

(xi)	public garages,

(xii)	motor fuel services stations,

(xiii)	motor vehicle repair shops,

(xiv)	places of public assembly,

(xv)	public assembly and other theatres.

38.   Means of escape and exits

(1)  All new buildings, also existing buildings for which an occupancy certificate has been issued, shall be provided with adequate means of escape and exits in accordance with the requirements of these Regulations. Where the change of use and occupancy of an existing building requires additional or improved means of escape or exit, and the exact requirements of these Regulations cannot reasonably be met, the Planning Board shall have power to approve alternative proposals for providing adequate means of escape or exit, so long as such alternative proposals are also submitted to and approved by the Physical Planner.

(2)  For the purposes of these Regulations the following special definitions shall apply—

(a)	“Means of escape” shall include any corridor, hallway, lobby, staircase, escalator or ramp by use of which the occupants of a building may proceed safely from within a building to an exit.

(b)	“Door” shall include any shutter, cover or other form of protection to an opening in any wall of floor of a building or in the structure surrounding a protected shaft, whether the door is comprised of one leaf or several.

(c)	“Exit” shall be a means of egress and shall include—

(i)	Any doorway in the ground storey leading directly to a street or to an open space providing free access to a street.

(ii)	Any doorway in an upper storey fitted with fire resisting doors and leading through a fire resisting lobby directly to an external staircase terminating at ground level in an open space providing free access to a street.

(iii)	Any doorway in an upper storey leading directly to an external balcony or flat roof from which there is further means of escape.

(iv)	Any doorway in an upper storey or basement storey, leading directly to an enclosed internal staircase separated from all the storeys through which it passes by fire resisting doors, provided that such staircase leads directly to a ground storey exit, or a ground storey fire resisting lobby from which there is a further means of escape.

(d)	“Fire resisting door” shall mean any door with a fire resistance rating in accordance with the requirements of an approved agency, and which is fitted in such a way that it cannot reasonably be fixed in an open position, and is provided with an approved automatic closing device.

(e)	“Fire resisting lobby” shall mean a lobby used or intended to be used as a means of escape in which all the doors are either fire resistive doors or exits leading directly to open air.

(3)  The occupancy content of a building or a storey of a building used in determining the number and width of means of escape and exists shall be calculated in accordance with Table II-A of these Regulations and it shall be an offence to occupy any building with a greater number of persons than the means of escape and exits provided for.

(4)  Table IV-B shall determine the minimum number of means of escape and exits required for each storey of a building provided that—

(a)	The requirements for exits in this regulation shall not apply to a single family residence which shall be supplied with at least two doors, preferably on opposite sides of the building.

(b)	Exits shall be located as remotely as practicable from one another and shall be reasonably distributed throughout the building.

(c)	All corridors, halls or foyers used as a means of escape shall lead directly to an exit from the storey.

(d)	Every enclosed space of more than 1,000 square feet with an occupancy content of more than five persons shall have at least two means of escape or exits.

(e)	Two or more means of escape may serve the same or communicating corridors, halls or foyers provided that the capacity of such corridors, halls or foyers is not less than the capacity of the two nearest exits.

(f)	In places of public assembly accommodating more than five hundred persons, means of escape or exits shall be provided on at least three sides and where fixed seating is provided such means of escape or exits shall be served by permanent aisles and cross aisles.

(g)	Half of the required main floor exit widths shall be proportioned to the side exits and when more than one side exit is required, shall be equally divided in full units of unit width to each side.

(h)	The number of side exits shall be not less than that required by distance limitations and as set forth in the following—

| Number of persons | Number of Side Exits |
| --- | --- |
| 0 – 600 | 1 |
| 601 – 999 | 2 |
| 1,000 or more | 4 |

(i)	Where one or two side exits on each side are required, one such exits on each side shall be located at the front of the assembly space, remote from the main-floor exits. And where four or more exits on each side are required, the additional exits shall be proportionally spaced along the length of the side walls.

(j)	No two means of escape from one place of public assembly shall use a common staircase.

(k)	No open staircase from the basement or lower ground floor shall be considered a means of escape unless it leads directly to a ground storey exit or to a ground storey hall or foyer from which there is an exit.

(l)	Stairways from the basement to ground floor should be separated from staircases serving upper floors.

| TABLE IV-A |
| --- |
| Minimum Areas and Dimensions of Habitable Rooms |
| Description of Room | Area (sq. ft.) | Min. Width or Length | Min. Height |
| Living Room | 120 | 10′ 0″ | 8′ 0″ |
| Bedrooms | 90 | 8′ 0″ | 8′ 0″ |
| Dining room | 80 | 8′ 0″ | 8′ 0″ |
| Kitchen | 40 | 5′ 0″ | 8′ 0″ |
| Living/dining/bedroom | 200 | 10′ 0″ | 8′ 0″ |
| Living/dining/kitchen | 180 | 10′ 0″ | 8′ 0″ |
| Living/bedroom | 180 | 10′ 0″ | 8′ 0″ |
| Living/dining room | 160 | 10′ 0″ | 8′ 0″ |
| Dining room/Kitchen | 100 | 8′ 0″ | 8′ 0″ |
| Any other habitable room | 80 | 7′ 0″ | 8′ 0″ |
| Lavatory (W.C. bath & basin) | 35 | 4′ 6″ | 7′ 6″ |
| Lavatory (W.C. & shower & basin) | 30 | 4′ 0″ | 7′ 6″ |
| Lavatory (bath & basin) | 25 | 3′ 4″ | 7′ 6″ |
| Lavatory (W.C. & shower) | 20 | 2′ 8″ | 7′ 6″ |
| Lavatory (Shower & basin) | 20 | 2′ 8″ | 7′ 6″ |
| Lavatory (W.C. & basin) | 20 | 2′ 6″ | 7′ 6″ |
| W.C. compartment | 12.5 | 2′ 8″ | 7′ 6″ |
| Shower compartment | 7.5 | 2′ 6″ | 7′ 6″ |

| TABLE IV-B |
| --- |
| Minimum Number of Means of Escape and Exits Required Per Storey |
| Occupancy content of floor | Means of Escape | Exits |
| 1 – 10 | 1 | 1 |
| 11 – 100 | 1 | 2 |
| 101 – 500 | 2 | 3 |
| 501 – 1000 | 3 | 4 |
| 1000 or more | 4 | 5 |

(5)  Table IV-C(a) shall determine the greatest permitted distance from any point on a storey measured along the line of travel to the nearest exit from the storey provided that—

(a)	Where an area is subdivided into rooms not exceeding 250 square feet in individual area the permitted distance may be measured from any door of such room which opens directly to a corridor, hall or foyer.

(b)	No dead end of a corridor shall be more than 20 feet from an exit or from a means of escape leading to at least two exits.

(6)  Table IV-D shall determine the minimum widths of means of escape and exits provided that in places of public assembly where fixed seats are provided, no means of escape or exit shall be less wide than any aisle leading directly to it.

(7)  (a)  Exit doors shall be kept clear to obstruction at all times.

(b)  Exit doors shall be so located that they open only in the direction of escape a full 90 degrees swing unobstructed by cross traffic, provided that doors regularly used for entry and fitted with glazed observation panels may also open in reverse to a full 180 degree swing.

(c)  Exit doors provided only for emergency use may be fitted with approved internal panic bolts but shall not be fitted with any other locking or closing device.

(d)  Fire check doors including doors to enclose internal staircases, shall be so located that they open in the direction of escape with a full 92 degree swing unobstructed by cross traffic routes and fitted with glazed observation panels; they may also open in reverse to a full 180 degree swing. No fire check door shall be fitted with any kind of latch or automatic locking device. Fire check doors shall be self closing.

(e)  Glazed observation panels in fire check doors shall be ¼ inch wired glass, or toughened safety glass of equal and approved performance.

(f)  To ensure resistance to hurricane forces, the design and installation of exit door assemblies for buildings in Groups A, B, C and F of Part II shall be certified by a structural engineer. This certification shall be based in the requirements of Part XI of these Regulations and in accordance with Part 2 section 2 of the CUBiC.

| TABLE IV-C(a) |
| --- |
| Maximum Permitted Distance of Travel to an Exit (ft.) (Without Fire Suppression System) |
| Building Occupancy Group | Type 1 Fire resistant | Type 2 Semi-fire resistant | Type 3 Ordinary Masonry | Type 4 Non-combustible | Type 5 Wood Frame |
| Groups A,C,D,E(a), E(c) | 150 | 150 | 100 | 75 | 75 |
| Groups B & E(b) | 100 | 100 | 75 | N/A | N/A |
| Group E (except E(b)) | 75 | 75 | 50 | 50 | N/A |
| *Group F | 300 | 300 | N/A | N/A | N/A |
| * With fire suppression system |

| TABLE IV-C(b) |
| --- |
| Exit Capacity: Number of Persons per Unit of Exit Width (22 inches) (Without fire suppression system) |
| Occupancy Group | Level Travel (Corridors, Doors, Ramps etc.) | Stairs |
| Group A: Public Buildings | 100 | 75 |
| Group B: Institutional Buildings (Generally) | 30 | 22 |
| Group C: Commercial and Industrial | 100 | 60 |
| Group D: Offices, Administrative and Retail service Buildings | 100 | 60 |
| Group E: Residential Buildings | 100 | 75 |
| Group F: Hazardous Occupancy* | 100 | 60 |
| * With fire suppression system |
| See also Tables 3.500 and 3.510 of CUBiC Part 3 section 5. |

| TABLE IV-D |
| --- |
| Minimum Required Widths of Means of Escape and Exit Doors |
| Capacity in Number of persons | Corridors, Halls and Foyers | Stair Cases and Ramps Clear Between Hand Rails | Exit Doors and Fire Check Doors between Jambs |
| 1 – 10 | 3′ 4″ | 3′ 0″ | 3′ 0″ |
| 11 – 200 | 4′ 0″ | 4′ 0″ | 3′ 8″ |
| 201 – 500 | 6′ 0″ | 6′ 0″ | 5′ 8″ |
| 501 or more | 8′ 0″ | 8′ 0″ | 7′ 8″ |

(8)  Internal staircases and ramps used as means of escape shall be designed and constructed in accordance with the following requirements—

(a)	They shall be considered as enclosed vertical openings and the enclosing structure shall be of fire resistance rating construction in accordance with the requirements of Part III of these Regulations.

(b)	They shall be designed in accordance with the requirements of Part III of these Regulations and constructed of non-combustible materials.

(c)	Flights shall preferably run straight from landing to landing without winders or tight spiral sections.

(d)	The number of risers in one flight from landing to landing shall not exceed sixteen.

(9)  In places of public assembly with fixed seating arrangements the seating shall be separated into blocks by aisles in accordance with the following requirements—

(a)	The maximum number of seats in a row between two aisles shall be fourteen and in a row served by only one aisle shall be seven.

(b)	Where bench seats without dividing arms are provided they shall not be longer than 21 feet between two aisles or 10 feet 6 inches when served by only one aisles.

(c)	The spacing of seats shall not be less than 2 feet 3 inches back to back nor less than 1 foot clear from the back of one seat to the front of the seat immediately behind it.

(d)	The maximum number of rows of seats in one block shall be twenty-one and blocks shall be separated by cross aisles.

(e)	The number of seats in a row may be increased to 100 where seats are so spaced that there is an unobstructed space of not less than 18 inches horizontal projection between the rows of seats, and doorways leading directly to exit corridors are provided along each side of the place of assembly at the rate of one doorway for every three rows of seats.

(f)	Every aisle shall lead directly to a means of escape or to an exit or to a cross aisle. Aisles serving up to fifty seats shall be not less than 2 feet 6 inches wide.

(g)	Aisle serving more than fifty seats shall be not less than 3 feet 0 inches wide when serving seats on one side only, and not less than 3 feet 6 inches wide when serving seats on both sides.

(h)	Aisles leading directly to a means of escape or an exit shall not be less than 4 feet 0 inches wide.

(i)	Every cross aisle shall lead directly to a means of escape or to an exit.

(j)	Every ramped aisle shall have a non-slip walking surface.

(k)	No ramped aisle shall have an average slope of more than one or ten or a maximum slope of more than one in five. No aisle or cross aisle shall be ramped across its widths.

(l)	In steeped aisles the risers shall extend the full width of the aisle and each riser shall be illuminated. Treads and risers shall conform with the requirements of regulation 38.

39.   Staircases and ramps

(1)  In these Regulations—

(a)	Private stairway shall mean a stairway of steps intended to be used by only one dwelling.

(b)	Common stairway shall mean a stairway of steps which is intended for common use.

(c)	The width of a stairway shall mean—

(i)	the horizontal distance between the centre lines of handrails, in the case of a stairway with handrails on both sides,

(ii)	the horizontal distance between the centre line of handrails and any wall, screen or extremity on the other side of the step, where there is a handrail on one side only,

(iii)	the width of the narrowest part if tapered.

(d)	Pitch line shall mean a notinal line drawn to connect all the nosings of the trade in a particular flight of stairs.

(e)	The going of a step shall mean the distance measured on plan between the nosing of its tread and the nosing of the tread of the step or landing next above it.

(f)	Parallel step shall mean a step of which the nosing is parallel to the nosing of the steps or landing above it.

(g)	Tapered step shall mean a step, the nosing of which, is not parallel to the nosing of the step or landing next above it.

(2)  Staircases and ramps shall be designed and constructed in accordance with the requirements of regulation 38 and when used as a means of escape they shall also conform to the pertinent requirements of regulation 37.

(3)  Any private stairway shall be so constructed that—

(a)	Between consecutive floors there is an equal going for each parallel step and an equal rise for every step and landing.

(b)	Over the whole width of the stairway there is—

(i)	headroom of not less than 6 feet 6 inches, measured vertically above the pitch line,

(ii)	clearance of not less than 5 feet 0 inches measured at right angles to the pitch line.

(c)	The dimensions of treads and risers conform to Table IV-E.

(d)	The pitch of the stairway is not more than 42 degrees.

(e)	Tapered steps conform to the requirements of regulation 38(6).

(4)  Any common stairway shall be so constructed that—

(a)	It complies with Table IV-E for the relevant category of use.

(b)	The pitch of the stairway is not more than 38 degrees.

(c)	The stairway has not more than 16 risers in any flight.

(d)	Tapered steps must conform to the requirements of regulation 38(6).

(e)	The sum of the going plus twice the rise should not be less than 24 inches nor more than 26 inches.

| TABLE IV-E |
| --- |
| Tread and Riser Sizes/Dimensions |
| Occupancy Group | Maximum for Risers-(inches) | Minimum for Treads* (inches) |
| Group A – Public Buildings | 7½ | 10 |
| Group B – Institutional Building | 7½ | 10 |
| Group C – Residential Buildings | 8¼ | 9 |
| All others | 8 | 9 |
| * Excluding nosings |

(5)  (a)  Stairways which have no risers below the tread and landings shall conform in all respects to the requirements of regulation 38(3) and (4) appropriate.

(b)  The nosing of each tread and landing shall overlap on plan, the back edge of the tread of the step below it by not less than ⅝ inch.

(6)  (a)  In the application of the requirements of regulation 38(3), (4) and (5) to tapered steps, the going and pitch of tapered steps shall be measured in the vertical planes of the pitch lines connecting the nosings of consecutive steps at a distance of 10½ inches from the extremities of the width of such steps.

(b)  The sum of the going plus twice the rise shall be—

(i)	not less than 22½ inches,

(ii)	not more than 25 inches where the angle of taper is 10 degrees or less or 28 inches in all other cases.

(7)  (a)  Any private or common stairway shall be guarded on each side by a wall, a securely fixed screen, balustrade or railing extending to a height of not less than 2 feet 9 inches measured vertically above the pitch line.

(b)  The side of any landing or similar space forming part of a stairway or directly overlooking a stairwell shall be guarded by a wall, securely fixed screen, balustrade or railing extending to a height above the floor of such landing or space, in the case of private stairways 3 feet and in the case of common stairways 3 feet 6 inches.

(c)  Any flight of steps with an aggregate rise of more than 2 feet shall have a continuous handrail fixed securely at a height of not less than 2 feet 9 inches nor more than 2 feet 11 inches measured vertically above the pitch line, one on each side if the stairway is more than 3 feet 6 inches wide or on one side only if the width is less.

(d)  Easy to grasp handrails with 1½ inches clearance from a wall shall extend 1 foot 6 inches at top and bottom of stairs with ends turned down to floor or into walls, but not to create a safety hazard.

(e)  All handrailings should have intermediate vertical or longitudinal rails or latticework which would prohibit the passage of a 6 inches diameter sphere, except for industrial buildings where the intermediate rails or latticework should prohibit the passage of a 12 inches sphere.

(8)  (a)  Any balcony, platform, roof or other external area which is 2 feet or more above ground and to which a person habitually has access other than for maintenance and repair shall have a balustrade, parapet or railing not less than 3 feet 6 inches high and of such extent, construction and material as to afford safety to persons using the balcony, platform, roof or external area.

(b)  Balustrade, parapets and railings on balconies and platforms for single family dwellings only shall not be less than 3 feet 0 inches high.

(c)  The structure design of handrails and balustrades shall conform to regulation 111.

(9)  No ramp shall be steeper than 1:10 nor more than 40 inches wide between handrails, nor more than 8 feet 0 inches wide without a centre handrail and the whole of the walking surface shall be finished with a non-slip material. Minimum headroom for a ramp shall be 6 feet 6 inches measured at right angles to the slope of the ramp.

(10)  Landings shall be at least as deep as the widest staircase, flight or ramp served, and such depth shall be clear of any door swing or other obstruction to free passage. However for straight staircase landings shall be a minimum of 3 feet deep.

40.   Fire suppression systems

(1)  When fire suppression systems such as automatic sprinkler systems are installed in accordance with the requirements of these Regulations or on the advice of the Physical Planner they shall be maintained to the satisfaction of the Physical Planner. Reference should be made to CUBiC Part 3 section 7 for the choice of a suitable suppression system for the building.

(2)  Special precautions, and fire protection systems, e.g. halogenated installations, shall be provided if so required by the Planning Board in any building or part of a building.

(3)  All automatic sprinklers or other type of systems shall be of proprietary manufacture. The installation shall be carried out by an experienced specialist contractor and both design and installation shall be in accordance with recognised standards of good practice at least equal to the standard recommended in the latest edition of NFiPA Standards 13, 13A, 13D, 13R and 14 as may be appropriate for the class of building and availability of water supply.

(4)  Upon completion of the installation of any required sprinkler system, the Planning Board shall give its written approval therefore; no occupancy certificate shall be issued by the Planning Board until a copy of such approval has been provided.

PART V

Precautions During Building Construction

41.   Scope of Part V

(1)  This Part shall apply to all work in connection with erection, alteration, repair, removal and demolition of buildings and structures. It is the duty of all builders to make every effort to provide a safe working environment for workers on building sites. On sites on which more than thirty persons are working the use of hard hats may be enforced by the Planning Board.

(2)  The Planning Board will issue an order to stop work if any regulation in this Part is violated. Work will not be allowed to recommence until the owner has complied with this Part to the satisfaction of the Planning Board.

42.   Erection of scaffolds and safeguards

(1)  The construction, erection, alteration and removal of scaffolds and the application, installation and setting up of safeguards and equipment devices shall be done by skilled workmen under the supervision of a person qualified by experience and training for such work.

(2)  A safeguard, device or piece of equipment which is unsafe shall be reported to the superintendent or foreman, who shall take immediate step to remedy such conditions or remove such safeguard, device or equipment.

(3)  Scaffolds, ladders stairs, fuel gas tanks and other devices or equipment regulated by this Part shall be maintained in a good, safe and usable condition as long as they are in use.

(4)  No ladders, scaffold, railing or other devices or equipment required or regulated by this Part, or any part thereof, shall be removed, altered or weakened when required by the work, unless so ordered by the superintendent or foreman in charge.

(5)  Scaffold, temporary floors, ramps, stairway landings, stair treads, and all other walkway surfaces shall be kept free from protruding nails and splinters. They shall be kept free from necessary obstructions so that the workers may move about safely.

(6)  Protruding nails and tie wire ends shall be removed, hammered in or bent in a safe condition.

43.   Electricity lines and other hazards

(1)  Electrical lines, moving ropes and cable gears, or similar hazards with which a worker might come in contact, shall be encased or guarded.

(2)  No person, firm or corporation, either personally or through an employee or agent of another, shall operate or move any machine, equipment, material, scaffolds or assembly closer than 6 feet to any energised high-voltage overhead electrical facilities except with the approval of the electrical inspector.

44.   Underground utilities

Prior to making an excavation, drilling or otherwise distributing the ground, the person doing the work, or causing such work to be done, shall contact all public utility organisations to determine the possible location of underground facilities to avoid the hazard to public safety, health and welfare caused by inadvertent disruption of such facilities.

45.   Duty of care

It is the responsibility of the builder to ensure that all operatives in his employ are appropriately trained and that they can operate the equipment safely. It is also his responsibility to ensure that no member of the public is exposed to a hazardous act.

46.   Demolition

(1)  Before commencing the work of demolition of a building or structure, all gas, electric, water and other meters shall be removed and the supply lines disconnected, except such as are especially provided or required for use in connection with the work of demolition.

(2)  Glazed sashes and glazed doors shall be removed before the start of demolition operations.

(3)  No wall, chimney or other construction shall be allowed to fall in mass, except under competent supervision. Scaffolds or stagings shall be erected for workers if walls or other elements of the structure are too thin or too weak to work on. Heavy structural members, such as beams or columns, shall be carefully lowered and not allowed to fall freely.

(4)  Chutes for the removal of materials and debris shall be provided in all parts of demolition operations which are more than 20 feet above the point from which material is to be removed.

(5)  Chutes shall be completely enclosed and shall be equipped, at intervals of 25 feet or less, with substantial stops to prevent descending materials from attaining dangerous speeds.

(6)  The bottom of each chute shall be equipped with an adjustable gate or stop, for regulating the flow of materials. A danger sign shall be placed at the discharge end of every chute and except for the discharge of materials, the gate or stop shall be kept closed.

(7)  Proper tools shall be provided and kept available to loosen material or debris jammed in the chute. Chutes, floors, stairways and other places shall be effectively wet down, at frequent intervals, when the dust from such operations would cause a menace of hardship to adjoining buildings or premises.

(8)  Stairs and stair railings shall be kept in place and in usable condition as long as is practicable, and steps and landings shall be kept from debris.

(9)  Floor openings, unless covered or otherwise protected, shall be provided with guard rails and toe boards.

(10)  All areas of danger in demolition operations shall be properly enclosed and danger signs posted. Sufficient watchmen shall be provided to warn workers of impending dangers, and all unauthorised persons shall be excluded from places where demolition is in progress.

47.   Excavation

(1)  The sides of every excavation in connection with building operations, including trenches for pipes or for any purposes, shall be sheet-piled, braced or shored when necessary to prevent the soil from caving in on persons engaged in work within such excavation.

(2)  Where workers are employed adjacent to an excavation on work other than that directly connected with the excavation, substantial railings or fences shall be provided to prevent such workers from falling into the excavation.

(3)  Every trench, 5 feet or more in depth, shall have suitable means of exit or escape at least every 25 feet of its length.

(4)  Excavations shall be drained and kept clear of excess water and debris to the satisfaction of the Chief Environmental Health Officer.

(5)  The need for all excavations and the probable depths of the excavations and the time such excavations shall be in place and shall be reported to the Planning Board for approval before the work commences. It is the duty of the permit holder to ensure that the excavations are completed and covered within the time frame reported to the Planning Board.

48.   Sidewalks, sheds and fences

(1)  (a)  Where buildings, which exceed 45 feet in height, are to be erected or demolished closer than 10 feet, or buildings which exceed 25 feet in height are to be erected or demolished closer than 5 feet, to a street line, there shall be erected and maintained, during such work adjacent to the street line, a shed of sufficient strength and stability to sustain safely the weight of materials that may be placed thereon, and to withstand the shocks incident to the handling of such materials or their preparation for use, and accidental jars from trucks passing or delivering materials.

(b)  When the roof of such shed is used for the storage of materials or for the performance of work of any kind, substantial railings not less than 3 feet high and solid toe boards not less than 6 inches high shall be placed along the open sides and ends of such roof.

(c)  Such shed shall be constructed to afford unobstructed walkways, not less than 8 feet high and 5 feet wide. The street side shall be kept open for a height of not less than 7 feet above the curb, and the sheds shall be properly lighted at night with not less than one 100-watt bulb every 20 feet of its length and at each change of grade or elevation of the sidewalk surface.

(d)  Such shed shall remain in place until the building is enclosed, or if being demolished, until the building is reduced to 20 feet in height.

(2)  Buildings which are erected or demolished closer than 5 feet to a street line and which are not required to have a sidewalk shed shall be provided with protection on the street sides in the form of a substantial fence not less than 8 feet high. Such fence shall not restrict the sidewalk to less than 5 feet in width and shall be built solid for its full length, except for such openings as may be necessary for a proper execution of the work.

(3)  The Planning Board may waive, or may vary, any or all of the provisions of this regulation where the safety of the public may otherwise be protected.

49.   Storage of material

(1)  (a)  Materials to be stored at or near locations where workers are employed or on any public property shall be piled or stacked in an orderly manner to avoid toppling over or being otherwise displaced.

(b)  No material shall be piled or stacked to a greater height than 6 feet except in yards or sheds intended especially for storage. When piles exceed 4 feet in height, the material shall be so placed that the sides and ends of the piles taper back.

(c)  The placing of construction materials in a building or structure during building operations shall be done with due consideration of the effect of such loads on the structural members, and such loads shall, in general, be placed as near to the points of support of the structural members as possible. Such loadings shall not cause stresses in any structural member beyond the design stresses.

(d)  Waste material rubbish resulting from building operations shall be removed as rapidly as possible and shall not be allowed to accumulate on the premises or adjacent thereto.

(2)  (a)  When storing hazardous materials (e.g. flammable, explosive or toxic materials) the manufacturer’s recommendations shall be followed. In any event the owner and builder shall construct and maintain safe storage areas in accordance with the requirements given in Part 3 section 3 of CUBiC.

(b)  In general hazardous materials should be stored in well ventilated, shaded areas away from naked flames, water courses and high traffic areas. The plans and drawings for such storage areas must be submitted to the Planning Board.

50.   Hoisting machinery

(1)  Every hoisting engine shall be provided with adequate breaks, capable of holding the maximum load at any point of travel.

(2)  Guards shall be provided for exposed gears and other moving parts and around hoisting cables at all points to prevent workers from tripping or getting clothing caught.

(3)  Ample room shall be provided around hoisting engines, motors or other machinery or apparatus for the free and safe movement of those who operate or otherwise attend such engines, motors or other machinery apparatus.

(4)  Hoisting machinery shall be enclosed to exclude unauthorised persons and if placed outside the building, further protection against falling objects shall be provided.

(5)  When hoisting machinery is set on an elevated platform, such platform shall be of substantial construction, and guard rails and toe boards shall be provided along all open sides platform.

51.   Derricks and cranes

(1)  (a)	    Derricks shall be so designed and assembled that no part shall be stressed beyond the safe-working stress for the material, as specified in these Regulations, under maximum-rated load in any possible position. Such maximum-rated load shall be conspicuously posted on each derrick.

(b)	The foot-block of every derrick shall be firmly secured against motion in any direction.

(c)	Guy derricks shall have the top of the mast held by not less than six steel guy cables secured by firm anchorages and so placed that the angle of the guy with the mast shall be as large as possible.

(d)	The moving parts of derricks and cranes shall be kept well lubricated and all parts shall be inspected at least every other day.

(2)  Masts and booms of derricks and cranes, where higher than 150 feet above ground, shall have installed—

(a)	At the top in a manner to ensure unobstructed visibility of at least one beacon and one flag from any angle, one or more flashing 300 mm beacons, each equipped with two lamps and aviation colour filters and rectangular flag markers of solid colour not less than 2 feet on a side.

(b)	Along the height of the mast or boom, a pair of lamps of at least 100 watts each, enclosed in aviation-red obstruction light globes, on opposite sides or comers at regular intervals not to exceed 50 feet and, rectangular flag markers of solid colour aviation-surface-orange, not less than 2 feet on a side at regular intervals not to exceed 50 feet.

(c)	Where masts and booms are within 50 feet, measured horizontally of existing buildings which exceed the maximum heights of such masts or booms, light and flags may be omitted.

(3)  (a)  Compliance with this Part shall not be construed as satisfying the zoning height requirements or any special provisions needed for safety of flying aircraft, etc.

(b)  Compliance can be achieved by adhering to these Regulations and to the requirements of the Planning Board.

52.   Cables, ropes, chains and blocks

(1)  Cables, ropes, chains and blocks shall be of such size that the maximum load supported by them will not exceed one sixth of their breaking strength.

(2)  Blocks designed for use with manila ropes shall not be used for steel cables. Blocks used at or near floors or in other exposed places to change the direction of cables shall be enclosed or otherwise effectively guarded.

(3)  All ropes and cables used in connection with scaffolds, derricks and hoisting apparatus shall be tested before being put to use and at least once every thirty days while in use, to insure their safety and suitability for the purpose to which they are to be put. Any rope or cable found to be unsafe or unfit shall not be used.

(4)  Chains shall not be used for slings, bridles or other similar purposes, but shall be restricted to only such purposes as require a straight pull.

(5)  Hooks shall not be used for hoisting buckets, cages or skips.

53.   Platform hoists

(1)  No person shall be permitted to ride on any platform hoist unless it has been designed and constructed for passenger service. Elevators used for the transportation of workers during construction shall comply with the requirements of Part X.

(2)  Platform hoists for the handling of materials within buildings under construction shall have the car substantially constructed and provided with covers, either solid or wire mesh. Sections of the cover may be arranged to swing upward for the handling of bulky materials, or the covers may be omitted if suitable overhead protection is provided.

(3)  Hoists shall be equipped with a broken-rope safety device.

(4)  Where wheel barrows or buggies are used for handling material on platform hoists, cleats shall be nailed to the platform to fix the proper position so that handles shall not project beyond platform edges.

(5)  Supports for the overhead sheave shall be designed to carry no more than the hoist and its maximum load.

54.   Hoist towers

(1)  Hoist towers, erected in connection with building construction shall be substantially constructed, and all members shall be so proportioned that the stresses shall not exceed those specified for that material when carrying the dead load of the tower plus two times the weight of the platform or bucket. Hoist towers shall not be used unless the design and construction of the tower is approved by the Planning Board.

(2)  Every hoist tower shall rest on a sufficiently solid foundation to prevent injurious settlement or distortion of its framework.

(3)  Every hoist tower shall be secured in not less than four directions against swaying or tipping, at intervals of not more than 32 feet in its height, by steel cable guys adequately anchored or by other satisfactory means. Such towers which are constructed adjacent to buildings shall be secured to the building frame at each floor as the building progresses.

(4)  Landing platforms in hoist towers or platform connecting a hoist tower to a building or other structure shall be provided with guard rails and toe boards.

(5)  The bottom of every hoist tower shall be screened or otherwise protected on all sides to a height of not less than 6 feet.

(6)  Hoist towers erected within the building, but not occupying the entire opening through which they pass, shall be completely enclosed on all sides and shall be provided with doors at the unloading points unless the platform hoist is solidly enclosed on all sides to the height to which material is to be loaded or unloaded.

55.   Temporary flooring

(1)  In buildings of skeleton construction, the permanent floor, except for necessary hoistway openings, shall, when possible, be constructed as the building progresses. There shall be not more than three unfilled floors above the highest permanent floor.

(2)  In buildings of skeleton construction, the entire working floor shall be planked over, except spaces required for construction work, for raising or lowering materials, and for stairways or ladders. Planks shall be placed so that they cannot tip under the weight of a worker at any point and secured so that they cannot slip out of place.

(3)  In buildings of wood joist construction, the underfloor shall be laid for each floor as the building progresses.

56.   Floor openings

(1)  All floor openings, used as hoistways or elevator shaftways, shall be guarded on all sides, except the side being used for loading or unloading. Guards shall be barricades not less than 4 feet high along or near the edges of such openings, or guard rails not less than 3 feet high, placed not less than 2 feet distant at all points from the edges of such openings. If guard rails are used, toe boards shall be provided along the edges of the openings. Sides left open for loading or unloading shall be guarded by similar solid doors or gates.

(2)  All floor openings used as stairways, or for the accommodations of ladders or runways, shall be guarded by railings and toe boards.

(3)  All other floor openings shall be guarded on all sides by solid barriers not less than 3 feet high or by railings and toe boards or shall be planked over or otherwise covered over by temporary construction capable of sustaining safely such loads as are likely to come thereon.

(4)  Barriers for the guarding of openings used as hoistways or elevators shall be constructed so that workers cannot thrust head, arm or legs through them, and loose material cannot fall or be pushed into the shaftway.

(5)  Barriers and guard rails around floor openings shall remain in place until permanent enclosures or protection are otherwise provided.

57.   Runways and ramps

(1)  Runways and ramps in connection with scaffolds or extending from story to story or otherwise located and maintained for an extended period of time or for the transfer of bulky material shall be constructed of at least three 10 inch planks laid closely side by side and substantially supported and braced to prevent unequal deflection and springing action.

(2)  Runways and ramps shall have a slope not steeper than one in three, and the total rise of a runway or ramp between landings shall not exceed 12 feet.

(3)  When the rise is steeper than one in six, or when the rise is more than 6 feet and steeper than one in eight, runways or ramps shall be provided with cleats spaced not more than 8 inches apart.

(4)  Runways and ramps, having a total rise of more than 6 feet, or passing over or near floor openings, high-tension wires or other dangerous places, shall be provided with guard rails and toe boards.

58.   Temporary stairways

(1)  In all buildings, the permanent stairways shall be installed as soon as conditions will permit. When the work on a building has progressed to a height in excess of 36 feet and it has not been practicable to install the permanent stairways, at least one temporary stairway shall be provided for the full height and continued upward as rapidly as the work progresses.

(2)  Stairs and stairways shall be of sufficient strength to support a load of at least 100 pounds per square foot, and all stairways shall be guarded on all open sides with hand rails and toe boards.

(3)  Temporary stairs shall be constructed so that treads and risers are uniform in width and height in any one flight. The sum of the height of the two risers and the width of one tread shall be not less than 24 nor more than 26 inches. Temporary stairways shall be not less than 36 inches wide. Landings shall be not less than 30 inches long.

(4)  No flight of stairs of a temporary stairway shall have a vertical rise in excess of 12 feet, and when necessary, intermediate landings shall be provided.

(5)  Temporary and permanent stairways shall be adequately lighted as set forth in regulation 62.

(6)  No door shall open directly onto a flight of stairs, but a landing equal to at least the width of the door shall be provided between the door and the stairs. Temporary doors higher than 4 feet 6 inches shall be fitted with wire glass panels.

(7)  Permanent stairs that are to be used during construction and on which treads are to be filled in later shall have wooden treads firmly fitted in place for the full area of the tread. The top surface of the temporary treads shall be maintained above the tops of the risers or nosings.

(8)  The storage of materials on stairs or in stairways or adjacent to stair openings shall not be permitted.

59.   Ladders

(1)  Except where either permanent or temporary stairways or runways are required, ladders shall be provided to give access to all floors, stagings or platforms where work is being done more than five stories above ground or above a permanent or temporary floor.

(2)  Ladders required by these Regulations shall be left in place until the permanent stairways are ready for use or until temporary stairways are installed, and stairways shall be erected as soon as the building exceeds 60 feet in height.

(3)  All ladders, when in use, shall be set up in a secure manner to prevent slipping; and ladders, except stepladders or other self-supporting ladders, shall be securely fastened to a permanent support at the top, and if necessary, at the bottom, and braced to prevent swaying, bending or shaking.

(4)  Ladders, leading to floors, stagings or platforms, shall extend at last 3 feet above the level of such floors, stagings or platforms.

(5)  No single ladder shall exceed 20 feet in length. When greater heights are to be reached, intermediate platforms shall be erected. Ladder landings shall be at least 4 square feet and equipped with handrails and toe boards.

(6)  Ladder rungs shall be spaced uniformly as near to 12 inches as is practicable.

(7)  When used temporarily, in place of stairways or runways, ladders serving traffic in both directions simultaneously shall be at least 40 inches wide. If separate ladders are provided for going up and coming down, they shall be marked “UP” and “DOWN” respectively at each floor and platform level.

(8)  Ladders, other than sectional or extension ladders, shall not be extended by joining two or more together.

(9)  Ladders shall not be placed or used in shafts of operative elevators or hoists except by workers engaged in the erection, construction, alteration or repair or any such shafts, hoistways or equipment.

(10)  Ladders shall not be painted, but may be oiled or otherwise treated with preservative so as to permit the detection of faults. Every ladder shall be inspected by the superintendent or foreman in charge before being put to use on a building operation and thereafter at least once every thirty days while continued in use. Broken or weak ladders with weak or missing rungs, shall not be used or permitted to remain on the site of building operations, but shall be repaired and made safe or destroyed.

(11)  The angle of any access ladder shall be at not less than 60 degrees nor more than 80 degrees to the horizontal.

60.   Scaffolds

(1)  Properly constructed scaffolds shall be provided for all work which cannot be done safely by workmen standing on permanent or solid construction, except when such work can be done safely from ladders. All such scaffolds shall be substantially constructed, to support at least four times the maximum load and shall be secured to prevent swaying.

(2)  Planks used in the construction of stationary scaffolds shall be not less than 2 inches nominal thickness. Where such planks overlap at the ends, the overlap shall be not less than 6 inches.

(3)  Planks shall be so placed that they cannot tip under the weight of the worker at any point. Nails used in the construction of scaffolds shall be of ample size and length to carry the loads they are intended to support, and all nails shall be driven full length. No nails shall be subject to direct pull.

(4)  Ropes, cables and blocks used in the support of swinging scaffolds shall be of sufficient size and strength to sustain at least six times the maximum loads to which they will be subject. Where acids are likely to come into contact with them, ropes shall not be used in the support of scaffolds, but steel cables properly protected by grease or oil or other effective method shall be used instead.

(5)  Every scaffold, the platform level of which is more than 6 feet above the ground or above a permanent or temporary floor, other than iron workers’ scaffolds and carpenters’ bracket scaffolds, shall be provided with guard rails and toe board extending the full length of the scaffold and along the ends except where ramps or runways connect with them, unless otherwise enclosed or guarded. On suspended, swinging and pole scaffolds, the space between guard rails and toe boards shall be fitted with wire mesh screens securely attached.

(6)  Where objects are likely to fall on a scaffold from above, a substantial overhead protection shall be provided. Not more than 10 feet above the scaffold platform, and at doorways, passageways or other points where workers must pass under scaffolds, a substantial overhead protection shall be provided. No materials or equipment other than required by the workers shall be placed on scaffold platforms.

(7)  Roof brackets, roof scantling, crawling boards and similar forms of support shall be substantial in construction and securely fastened in place when in use.

(8)  Barrels, boxes or other similar unstable objects shall not be used as supports for planking intended as scaffolds or places of work.

(9)  When used over public sidewalks or other places of public use, scaffolds used for minor building repairs, alterations, or painting shall be equipped with drop cloths to effectively prevent the falling of paint or debris.

(10)  Scaffolds used for sandblasting and guniting operations shall be entirely and effectively enclosed, and the determination of effective enclosure shall be the complete absence of particles of material of operation in the air at a horizontal distance of 50 feet from the point of operation.

61.   Safeguards

(1)  (a)  Railings, where required during construction, shall comply with the standards of the Occupational Safety and Health Administration (OSHA), Part 1926, or as provided herein.

(b)  The top rail of such railings shall be not less than 42 inches above walking surfaces.

(c)  Such railings shall be provided with an intermediate rail midway between the walking surface and the top rail and shall be constructed to resist a load of 50 pounds per lineal foot at the top rail.

(2)  Toeboards, where required during construction, shall comply with the standards, referred to in subregulation (1)(a), or any approved alternate design.

62.   Temporary light and power

(1)  All parts of buildings under construction, or other operations covered by the general provision of this Part, and all sheds, scaffolds, covered walks, other work or storage areas, and equipment in connection with such operations shall have sufficient light to ensure safety and protection of life and property. In passageways, stairways and corridors, the average light intensity measured at the floor level shall be not less than two foot candles.

(2)  At locations where tools or machinery are used, the average light intensity measured at the floor level shall be not less than five foot candles. Natural or artificial illumination shall be provided in such a manner that glare and shadows will not adversely affect the safety protection of workers and property.

(3)  Temporary wiring for light, heat or power shall be adequately protected against mechanical or overcurrent failures. All conductive materials enclosing fixed or portable electrical equipment, or forming a part of such equipment, shall be grounded by one or more of the methods permitted by Part X.

(4)  Temporary electric service poles shall be self-supporting or adequately braced or guyed at all times.

(5)  The installation of temporary lighting and power must be done in accordance with the electricity supply regulations of Saint Vincent and the Grenadines. The developer must obtain permission for this installation from the electrical inspector before electricity can be supplied to the site.

63.   First aid

(1)  On every building operation, arrangements shall be made for prompt medical attention in case of accidents, and an ample supply of suitable antiseptic solution and sterile gauze bandages shall be provided and maintained in a clean sanitary cabinet, and at all times available under the direction of the superintendent or a person designated by him.

(2)  Unless competent medical attention is otherwise quickly available, where more than two hundred workers are employed, a properly equipped first aid room or field hospital shall be provided, and a physician or nurse shall be available on call.

64.   Sanitation

(1)  Adequate toilet facilities, maintained in a clean, sanitary condition, shall be provided as set forth in Part VIII.

(2)  An adequate supply of pure drinking water shall be provided for workers during hours of employment, and adequate sanitary washing facilities shall be provided for workers within reasonable access.

65.   Welding and cutting

(1)  Gas welding and cutting, arc welding in building construction and demolition operations shall be restricted to experienced workers acceptable to the Planning Board. Suitable goggles or helmets and gloves shall be provided for and worn by workers engaged in gas welding, cutting or welding.

(2)  Incombustible shields shall be provided to the worker when exposed to falling hot metal or oxide.

(3)  Unless unavoidable, gas welding, cutting or arc welding shall not be done above other workers. When unavoidable, an incombustible shield shall be provided between the work and the workers below; or a watchman shall be stationed to give warning at places where workers, in the course of their employment are likely to pass under a gas welding or cutting or an arc welding operation.

(4)  Unless unavoidable, gas welding or cutting shall not be carried on in any place where ample ventilation is not provided, or from which quick escape is difficult. When unavoidable, workers engaged in such work in confined spaces shall be allowed frequent access to fresh air and a relief worker shall be stationed close at hand to assist the worker in case of accident and to shut off the gases.

(5)  Tanks of fuel gas shall not be moved or allowed to stand for any extended period when not in use unless the caps of such tanks are in place. Suitable cradles shall be used for lifting or lowering oxygen or fuel tanks, to reduce to a minimum the possibility of dropping tanks. Ordinary rope slings shall not be used.

(6)  Tanks supplying gases for welding or cutting shall be located at no greater distance from the work than is necessary for safety. Such tanks shall be securely fastened in place and in an upright position. They shall be stored or set in place for use so that they are not exposed to the direct rays of the sun or to high temperature.

(7)  Before steel beams or other structural shapes or elements of construction are cut by means of a gas flame, they shall be secured by cables or chains to prevent dropping or swinging.

66.   Open fires

(1)  Open fires, for the purposes of disposing of waste materials, the heating of roofing or other materials, or for any other purpose whatsoever, shall not be allowed except with the permission of the Chief Fire Officer.

(2)  Wherever any enclosed flame heaters or open fires are used, there shall be a workman in constant attendance, whose duty it shall be to have such heater or fire under proper control at all times.

67.   Fire protection

(1)  Storage of combustible material shall not be permitted under or near welding operations. No part of the building shall be used for the storage of combustible materials until such fireproofing of the part has been installed.

(2)  In every building of reinforced concrete construction, forms of combustible materials shall be stripped from the concrete and removed from the building as soon as practicable. No part of the building shall be used for the storage of combustible materials until such forms have been removed in that part of the building.

(3)  In every building operation wherever a tool house, storeroom or other shanty is placed, or a room or space is used for storage, dressing room or workshop, at least one approved hand pump, tank or portable chemical extinguisher shall be provided and maintained in an accessible location.

(4)  During building operations, free access from the street to fire hydrants where installed and to outside connections for stand pipes, sprinklers or other fire-extinguishing equipment, whether permanent or temporary, shall be provided and maintained at all times.

(5)  No material or construction equipment shall be placed within 10 feet of such hydrant or connection, nor between it and the central line of the street.

68.   Special hurricane precautions

(1)  During such periods of time as are designated by the Government being a hurricane watch, all construction materials or equipment shall be secured against displacement by wind forces; provided that where a full complement of personnel is employed or otherwise in attendance, or engaged for such protection purposes, normal construction procedures or use of materials or equipment may continue allowing such reasonable times as may be necessary to secure such materials or equipment before winds of hurricane force are anticipated.

(2)  Construction materials and equipment shall be secured by guying and shoring, and by tying down loose materials, equipment and construction sheds.

PART VI

Water Supply Service

69.   Scope of Part VI

This Part provides guidance to persons who are submitting development proposals to the Planning Board and outlines the requirements for the provisions of water supply services for these developments. It is recommended that persons wishing to construct developments for buildings used by the public or housing developments of more than ten units contact the Environmental Health Division for advice on the appropriate regulations affecting such developments in addition to the requirement of this Part.

70.   General

(1)  The developer is responsible for providing an adequate and potable water supply to the development. This will include the provision, as may be necessary, of source(s) of supply, treatment facilities, pipeline system and storage facilities.

(2)  Developers shall be fully responsible for the design and construction of water supply and sewerage systems for their developments and shall satisfy the Planning Board that there is adequate provisions for the operation and maintenance of such systems.

(3)  Developers should be aware that rainfall in some of the islands averages less than 30 inches per year and that there may be no public pipe borne water supply in or adjoining the development area.

(4)  In areas where there is a centralised water supply adjacent to or in close proximity to the development, the developer will carry out such work as may be required by the Planning Board and by the water authorities for connection to the development.

(5)  The requirements in these Regulations regarding submissions of plans, payment of fees and approvals shall apply.

71.   Adequacy of water system

(1)  (a)  The applicant shall include in his proposal complete arrangements for providing an adequate quantity and quality of water to fully meet the needs of the development. The per capita consumption rate assumed for design purposes must be approved by the Planning Board.

(b)  Minimum daily potable water consumption rates are as follows—

(i)	Dwelling house	40 gallons/person/day

(ii)	Hotels	150 gallons/room/day

(iii)	Offices	8 gallons/employee/day.

(2)  The source of supply must be established with the approval of the Planning Board as below—

(a)	Every building shall be provided with a water supply system and storage facility to the approval of the Planning Board.

(b)	Where a piped water supply is available, the design must provide for individual storage facilities of a minimum capacity of 40 imperial gallons for each person regularly occupying the building, or in the case of buildings of public occupancy such as churches or theatres or industrial buildings, storage facilities which in the opinion of the Planning Board are adequate.

(c)	The Planning Board may permit private residences in Group E in Part II which are wholly dependent on rain water catchment to install catchment and storage facilities which would provide on average less than the 40 gallons per person per day recommended.

(d)	Where no piped water supply is provided to serve the development, or unless a desalination plant is, or will be installed, the design submitted with the application for buildings in Group B (Institutional Buildings) and E (Residential Buildings) must provide for individual rain water storage to the extent of 10 imperial gallons for each square foot of roof surface, except that for multi-family dwellings the capacity of the tank must be based on a minimum storage of 4,000 gallons per bedroom.

(e)	Subregulation (2)(d) will not apply if—

(i)	the building is to be supplied with potable water by means of desalination of non-potable water or by any other means such as to avoid the occupants of the building needing to rely on water being supplied from any existing public well or borehole, public tank or cistern or to extract potable water from any lens or underground water, and

(ii)	adequate back up system fed from an alternative source or three days storage, whichever is greater, is provided against the possible breakdown of the primary supply. The back up system is required to be in full working order at all times.

(f)	A fault or breakdown in the primary system referred to in paragraph (e) shall be repaired without delay.

(g)	Abstraction from a ground water source requires prior approval of the Planning Board. Full details are to be supplied of the proposed borehole to be established including the intended rate of abstraction and available information on the aquifer.

(h)	Pumping levels in the borehole will not be allowed to fall below 1.0 feet above mean sea level and the rate of abstraction must take into account the water needs of other developments, proximity to potential source of pollution such as a sewerage outfall, and the characteristics of the aquifer in which the borehole is located.

(i)	Desalination plants must be designed and constructed with the approval of the Planning Board and of the Ministry responsible for health. Full details of the proposed plant must accompany the application.

The details must include—

(i)	location of the source of raw water,

(ii)	analysis of the raw water,

(iii)	capacity of the plant,

(iv)	main features of the treatment process,

(v)	method of disposing of the effluent, and

(vi)	future arrangements for operation and maintenance.

(j)	Sea water can be used for flushing of toilets and other such uses, but the water system carrying sea water must be kept separate from the system carrying potable water.

(k)	There shall be no cross connection between a potable supply and a non-potable supply.

(3)  (a)  The water supply must be treated as necessary and disinfected by chlorination or other approved process to ensure that the quality satisfies the Guidelines for Drinking Water Quality as published by the World Health Organisation in 1984, or other acceptable standard guidelines that are approved in writing by the Ministry responsible for health.

(b)  The treatment facilities shall be designed and constructed to the satisfaction of the Planning Board and the Chief Environmental Health Officer.

(4)  (a)  Unless exempted by the Planning Board, buildings in occupancy groups A (Public Buildings) and B (Institutional Buildings) in Part II should be provided with at least three days storage of treated water based on the consumption estimates given in subregulations (1) and (2). This is in addition to any storage provided at the source of a public water supply.

(b)  The location and design of the storage facilities, (tanks or cisterns) must be approved by the Planning Board and the Chief Environmental Health Officer. The applicant should provide the Physical Planner with drawings and calculations showing that the storage facilities are adequate and that the structure can safely support the water in the facility.

72.   Installation of water supplies

(1)  As far as possible all pipelines should be laid underground and in a manner as not to interfere with future development and other services.

(2)  If the water pressure from the water supply source is insufficient to supply all fixtures continuously, the supply shall be supplemented by a gravity tank or a surge tank linked to an auxiliary pumping system.

(3)  (a)  Gravity and surge tanks shall be equipped with over flow pipes not less than 4 inches below the supply point and not less than twice the diameter of the supply and discharging directly to outside the building line.

(b)  Supply pipes from storage tanks may not be connected to any public water mains supply system.

(4)  (a)  The water distribution system shall be fully protected against backflow either by use of air gap fittings or where it is not possible to provide an air gap, by non return valves or other means approved by the Planning Board.

(b)  The Planning Board shall require that the developers of all institutional buildings and other facilities used by the public install and maintain back flow devices complying with recognised standards acceptable to the Ministry responsible for health.

(5)  (a)  A screw stop valve shall be provided within 5 feet 0 inches of the point of entry of the main supply pipe to the building and a drain tap shall be provided within 1 foot 0 inches of this valve on the distribution side. Such valve shall be plainly labelled.

(b)  Stop valves shall be provided on the supply within 1 foot 0 inches of the supply connection to all storage tanks and water heaters and on all branch distribution pipes from such storage tanks and water heaters and to isolate all sanitary fixtures in groups of not more than five fixtures.

(6)  Table VI-A shall determine the minimum size of water supply pipe to a sanitary fixture provided that no supply pipe shall be smaller than the connection to a fixture and this shall determine the minimum size of supply pipe to fixtures not listed in Table VI-A.

(7)  Table VI-B establishes the maximum fixture unit load permitted for a given size of water distribution pipe and shall be used to determine the minimum sizes of water distribution pipe provided that—

(a)	individual fixture unit ratings shall be taken from the Table;

(b)	where the incoming central water supply pressure regularly falls below 50 pounds per square inch, the next large size of pipe shall be used;

(c)	where flush valve operated water closets are installed the minimum size of the main incoming supply shall be 1½ inches;

(d)	no section of distribution pipe shall be smaller than the largest branch pipe taken from it;

(e)	not more than three fixtures shall be supplied by one ½ inches cold water pipe.

| TABLE VI-A |
| --- |
| Minimum Size of Water Supply Pipes to Individual Fixtures |
| Description | Size of Pipe (in) | Description | Size of Pipe (in) |
| Bath tub | ½ | Water closet (cistern operated) | ⅜ |
| Bidet | ½ | Laundry tub | ½ |
| Drinking fountain | ⅜ | Shower | ½ |
| Flushing sink (cistern operated) | ½ | Slop sink | ½ |
| Flushing sink (flush valve operated) | 1 | Urinal (cistern operated) | ⅜ |
| Hose connection (flush valve operated) | ½ | Urinal (flush valve operated) | 1 |
| Kitchen sink (domestic) | ½ | Water closet(flush valve operated) | 1 |
| Kitchen sink (commercial) | ¾ | Water heater | ½ |
| Washing machine | ½ |  |  |

| TABLE VI-B |
| --- |
| Minimum Size of Water Distribution Pipes |
| No. of fixture units served | Size of Pipe (in) | No. of fixture units served | Size of Pipe (in) |
| 1 – 10 | ½ | 76 – 150 | 1½ |
| 11 – 25 | ¾ | 151 – 300 | 2 |
| 26 – 50 | 1 | 301 – 600 | 1½ |
| 51 – 75 | 1¼ | 101 – 1,200 | 3 |

73.   Pipeline system

(1)  The pipeline system must be designed and constructed to the satisfaction of the Planning Board.

(2)  (a)  The centre line of the pipe trench should be within the right of way but not under the road surface. The width of the trench should be 18 inches minimum and otherwise the minimum width required to enable the work to be done but not less than 12 inches greater than the diameter of the pipe. The depth of the trench should be such as to provide the minimum cover over the crown of the pipe under any carriage way measured from finished road surface as shown in Table VI-C.

| TABLE VI-C |
| --- |
| Minimum Depth of Cover to the Crown of the Pipe |
| Pipe Diameter | Depth of Cover (feet - in) |
| Up to 6″ | 2 – 6 |
| Over 6″ and up to 10″ | 2 – 9 |
| Over 10″ and up to 20″ | 3 – 0 |

(b)  The trench should be excavated in straight lines between changes in direction and be carefully graded so that there is a minimum number of substantially high points along its length. Air valves are to be installed at high points in the line subject to prior approval of the location and size of the air valve in each case. Where the trench has been excavated too deep, it shall be filled to grade with thoroughly rammed approved granular material, subject to paragraph (c) below.

(c)  Subject to paragraph (e) below a 4 inch depth of the bottom of the trench should be of selected material having no particle larger than that indicated in Table VI-D for pipelines of the material as shown in the Table.

(d)  In peaty or boggy ground the bottom of the trench should be excavated to an approved depth below grade and refilled with broken stone and a bedding of chips should be laid over the broken stone and thoroughly rammed to grade.

(e)  In rocky ground the bottom of the trench should be filled to a depth of 6 inches with material no larger than that given in Table VI-D.

| TABLE VI-D |
| --- |
| Maximum Particle Size |
| Pipe Material | Maximum particle size of selected material (in) |
| Grey Cast Iron or Ductile Iron | 1 |
| Steel or Copper | ¾ |
| PVC | ¼ |

(3)  (a)  Pipes must be laid in straight lines between changes in direction. The entire length of the barrel of the pipe must be supported on the bottom of the trench. Care must be taken to ensure that the inner surface of each pipe is left clean after laying. When pipe laying is not in progress the ends of the pipeline should be plugged to prevent ingress of foreign matter.

(b)  Pipes laid under high ground water conditions must be plugged and backfilled between joints before testing so as to avoid floating of pipelines. The location of pipes must be marked.

(c)  Pipes laid under drains, water courses, channels, concrete slabs, culverts or other conduits should be laid in a sleeve extending at least 2 feet on each side of the conduit, beyond the side wall of the conduit or toe of embankment supporting the conduit. The sleeve may be of steel or ductile iron pipe or other material approved by the Planning Board and be surrounded in concrete if the cover to the pipe is less than 18 inches or provided with such other protection as may be required by the Planning Board.

(4)  The developer must conform to the manufacturers’ instructions as regards the procedure for proper laying and jointing of the particular type of pipe and joint being used in the development. Other basic requirements for a satisfactory joint are—

(a)	cleanliness of all parts;

(b)	correct location of components;

(c)	centralisation of spigot and socket sleeve;

(d)	true alignment in vertical and horizontal planes.

(5)  (a)  Thrust blocks must be provided at tees, crosses, dead ends and at all bends (except concave vertical bends). In the case of bends, the blocks should be located symmetrically with the pipe fitting which should be symmetrical with the radial centre line. The thrust blocks should be constructed of 2,500 pounds of concrete, reinforced if required and must rest firmly on the solid ground.

(b)  The required area of bearing on the solid earth will vary with the type of soil, and the area of bearing on the pipe fitting must be sufficient to safely transmit the thrust through the block. Information on the soil bearing and shear capacity must be submitted with the request for design approval.

(c)  Pipelines of PVC or other flexible materials must use thrust blocks as required by the manufacturers’ specifications.

(6)  (a)  After all work in connection with the laying of the pipeline system has been completed, the developer shall submit to the Planning Board a certificate of final inspection and testing. The testing shall be carried out by qualified engineers or technicians approved by the Planning Board.

(b)  The developer shall be responsible for meeting the cost and carrying out the testing of the pipeline system as required by the Planning Board and as set out hereunder.

(c)  Air vents must be provided at the upper end of the section of pipeline to be tested and at other locations as required. The line should be slowly filled, preferably from the lower end. The pressure should be increased to one hundred and fifty per cent of the anticipated working pressure and be sustained for two hours.

(d)  The pipeline and joints will be accepted as having satisfied the test if the leakage does not exceed 1 gallon per inch of pipe diameter per mile of pipeline for each 100 feet to test pressure. The measure of leakage is the volume of water required to be pumped into the pipeline so as to re-establish the test pressure.

(7)  (a)  Newly installed pipelines must be flushed and the water tested before being put into use. The developer must provide and fix a valve of the same diameter as the pipeline in a suitable location for the effective flushing of the line.

(b)  After the pipeline has been flushed it shall then be charged with water to which has been added chlorine at the rate of 50 parts per million parts of water. After twenty-four hours the pipeline will be thoroughly flushed after which samples will be collected and tested by a reputable laboratory approved by the Chief Environmental Health Officer. The testing regime shall be to the approval of the Ministry responsible for health.

(c)  If the laboratory examination shows that the pipeline has not been adequately disinfected, pipeline shall be repeatedly disinfected until satisfactory samples have been obtained.

(d)  All tests are to be carried out at the expense of the developer and to the approval of the Chief Environmental Health Officer.

(8)  Selected material should be firmly tamped by hand rammers around and to a height of 12 inches above the top of the pipe. Natural excavated material should then be tamped by hand rammers to a height of 24 inches over the top of the pipe, thereafter the remainder of the backfill composed of natural excavated material may be tamped by mechanical tamper.

(9)  (a)  Methods for connecting water pipes and fittings of dissimilar materials are subject to approval by the Planning Board.

(b)  The methods of connecting to the pipeline such accessories as service or communication pipes, hydrants, sluice valves and air valves are to be approved by the Planning Board. Particular attention should be paid to the material to be used and method to be employed in backfilling the trench or supporting the accessory.

(c)  Service or communication pipes of ½ inch, ¾ inch and 1 inch diameter may be either of copper equivalent to ANSI B 16.22-1980 or PVC Schedule 40 or as approved by the Planning Board. The pipe shall be laid to a minimum depth of 18 inches below the surface of the carriage way and terminate on the pavement (sidewalk), the end of the pipe being securely plugged pending final connection into the premises to be supplied with water. The backfill material should be thoroughly tamped by hand rammers.

(d)  In new developments fire hydrants must be provided at locations as required by the Planning Board. In areas where fire engines cannot reach the building, dry mains must be provided. Cisterns should also be made accessible to fire hoses if necessary by constructing a special basin outside of the cistern for receiving a fire hose.

(e)  Air valves shall be either single or double orifice type as may be required. They shall be fitted with a lock test pressure of 400 feet head of water without leakage.

(10)  Where water supply pipelines and sewers are laid in close proximity to each other a colour code or other means of identification must be adopted with the approval of the Planning Board, to ensure that each can be readily identified.

74.   Utilisation of portable ground water

(1)  Fresh ground water utilisation shall normally be limited to Government approved developments except where the Planning Board considers that a particular case merits special consideration.

(2)  No restriction shall be imposed on fresh ground water use in individual dwelling plots if the method of extraction is limited to hand pumps or buckets. However the wells must be properly sealed to the approval of the Environmental Health Department, to prevent contamination of the well water.

(3)  Unless otherwise approved by the Planning Board, pumping of any well shall not cause depression of the water level.

(4)  A well for potable water supply shall penetrate the fresh water zone only to a maximum of one-third of the depth of the fresh water lens.

(5)  Wells shall be provided with surface aprons to a distance of 5 feet around the well, and the well-tops shall project above the surface apron to a minimum height of 2 feet, and be equipped with a sanitary well seal, all to be constructed of approved materials, to ensure that no direct entry of any surface water can occur through the well.

(6)  Wells shall be located a minimum of the indicated distances away from sources of pollution, as follows—

(a)	pit latrines, septic tank and sewers: 150 feet;

(b)	cesspools: 150 feet.

75.   Domestic water pumps

(1)  Where a water pump is provided as part of a private domestic water supply it shall be sized to maintain a minimum of 20 pounds of pressure under all conditions of water use. A pressure tank of adequate capacity shall be installed. It is recommended that the plumbing within 3 feet of the water pump be of galvanised steel to prevent melting of the plastic pipe fittings if the pump should run dry.

(2)  Paper and charcoal filters placed in the domestic water supply line will help in reducing colour and odour in the water supply. However, no reliance shall be placed on passive filters to remove disease organisms from contaminated water.

76.   Safety devices

(1)  A pressure relief valve shall be installed for all equipment used for heating or storing hot water. Hot water shall be run in copper or CPVC pipe. Regular PVC pipe shall not be used.

(2)  Water hammer is caused by loosely fixed pipes, bends or taps such as self-closing or spring type which shut off too quickly. It is more likely to occur in long branches than when the tap is fixed close to the supply line. An air vessel or dead-end riser pipe shall be fixed as close to the pipe as possible in order to absorb the shock and thus minimise water hammer.

PART VII

Sewerage and Waste Disposal

77.   Provision of sewerage facilities

(1)  (a)  Every building intended for human habitation, or in which human beings are to be employed shall be designed to provide for a sewerage system of drainage to a septic tank or more efficient treatment facility of a design to be approved by the Chief Environmental Health Officer.

(b)  The developer must provide a system or systems to fully satisfy the need for sewerage collection, treatment and disposal of effluent and sludge. The system(s) proposed must direct special attention to the use of topography, the layout of the development, roadways and the location of treatment plants and outfalls. Sewerage flows of eighty per cent of the average daily water consumption rates given in Part VI should be provided for.

(c)  Sewerage and waste disposal facilities shall be designed and constructed in accordance with the Central Water and Sewerage Authority Regulations and with the Public Health Legislation and Regulations.

78.   Needs of total development

Where the development is phased, the system proposed for sewerage and waste water disposal must address the needs of the total development to ensure an orderly solution to those problems.

79.   Developers to meet total cost of work

The total cost of the work associated with the development of the sewerage system shall be payable by the developer.

80.   Environmental factors

(1)  All systems shall be located and constructed so that with proper maintenance the systems will function in a sanitary manner, will not create sanitary nuisance or health hazards and do not endanger the safety and water quality of fresh ground water lens or domestic water supply.

(2)  Arrangements for the management and treatment of sewerage and waste water shall take into account the topographical conditions, environmental factors, the proposed use of the land inside and outside of the development, and the relative locations of the sea, surface waters and ground water sources.

(3)  The use of effluent for any purpose must be approved by the Chief Environmental Health Officer.

81.   Percolation tests

(a)	Percolation tests shall be carried out if required by the Planning Board whenever it is planned to use absorption pits or septic tanks with soakaways or land drains to dispose of the sewerage. The approval of the Planning Board for the use of such systems will depend on the percolation rates found. Percolation criteria for soakaways are given in Table F-3 of section F of the Building Guidelines.

(b)	The percolation criteria to be used in determining whether soakaways can be efficient in a given area must be based on the rate of absorption of liquid waste and the area of the absorption surface. In general, soils with absorption rates of less than 1 inches in 30 minutes are unsuitable for soakaways.

82.   Consultation prior to submission

Plans for the treatment system proposed shall be developed in consultation with the Chief Environmental Health Officer and the Planning Board prior to formal submission of the plans for approval.

83.   Emergency power facilities

Subject to the provision of the Electricity Supply Act and unless specifically exempted by the Planning Board, all treatment plant and pumping stations shall be provided with an alternate source of electricity to allow continuity of operation during power failure.

[Chapter 404.]

84.   Effluent quality

The quality of the effluent after treatment shall satisfy criteria of the Chief Environmental Health Officer.

85.   Re-use of the effluent

(1)  Treatment of the effluent from an activated sludge plant or from an intermittent sand filter with the appropriate chlorine dosage will reduce the B.O.D to reasonably acceptable proportions for disposal into tile drains, for re-use in gardens or water closets or for disposal into a properly designed sea outfall depending the policy of the Government.

(2)  The re-use of effluent offers significant advantages where conservation of water is important. However such effluent must be treated to reduce both suspended solids and the B.Coli bacteria to an acceptable standard.

(3)  The Chief Environmental Health Officer must approve the plans for re-use of effluent.

86.   Choice of the treatment system

(1)  The choice of an appropriate sewerage system for a building or group of buildings depends on the amount of sewerage to be treated and the economics of the treatment process. The Chief Environmental Health Officer and the Central Water and Sewerage Authority must approve the choice of the sewerage system proposed by the applicant.

(2)  It can be seen from Table VII-A that for large systems and where there are no special requirements such as disposal of hazardous substances, nuclear waste and the like, the conventional activated sludge treatment preceded and followed by plain sedimentation will provide a significant reduction in B.O.D., suspended solids and B. coli.

(3)  Intermittent sand filtration will yield slightly better results. About ninety-eight per cent of the B Coli bacteria is removed along with ninety to ninety-five per cent of the suspended solids.

(4)  Chlorination of raw sewerage does not remove suspended solids but removes ninety to ninety-five per cent of B.Coli bacteria.

(5)  The use of chemical precipitation (mixing chemicals such as ferric chloride with the sewerage) removes seventy to ninety per cent of the suspended solids and forty to eighty per cent of the B.Coli bacteria.

(6)  Settling tanks required to accommodate the sewerage from developments with flows of more than one million gallons per day (more than fifteen thousand persons) would have to be about 12,000 cubic feet and about 1,500 square feet for a retention period of two hours and an overflow rate of 800 gallons per square feet per day. Design information for such systems is available in manufacturer’s manuals.

(7)  The capacity of sand filters for treating the discharge of septic tanks which would collect household waste is estimated at 50,000 gallons per acre. For a population of twenty thousand the area of the sand filter would be about 20 – 30 acres depending on the calculated daily sewerage flow.

| TABLE VII-A |
| --- |
| Approximate Efficiencies of Sewerage Systems and Plants* |
| Treatment, Operation or process | Per cent removal |
|  | B.O.D. | Suspended solids | B. Coli, (coliform) |
| Fine screening | 5 – 10 | 2 – 20 | 10 – 20 |
| Chlorination of raw or settled sewerage | 15 – 30 | – | 90 – 95 |
| Plain sedimentation | 25 – 40 | 40 – 70 | 25 – 75 |
| High rate trickling filtration preceded and followed by plain sedimentation | 65 – 95 | 65 – 92 | 80 – 85 |
| Low-rate tricking sedimentation preceded and followed by plain sedimentation | 80 – 95 | 70 – 92 | 90 – 95 |
| Conventional activated sludge treatment preceded and followed by plain sedimentation | 75 – 95 | 85 – 95 | 90 – 98 |
| Intermittent sand filtration | 90 – 95 | 85 – 95 | 95 – 98 |
| Cholrination of biologically treated sewerage | – | – | 98 – 99 |
| * From Data Book for Civil Engineers, Third Edition – Elwyn E. Seelye |

87.   Sewerage treatment plants

(1)  (a)  The design and construction of all treatment plants including package plants and septic tanks and disposal facilities shall be in accordance with the Public Health Regulations and with the Central Water and Sewerage Authority Regulations.

(b)  Complete data on the proposed treatment system must accompany all applications including—

(i)	engineer’s report,

(ii)	prints of drawings,

(iii)	specifications of equipment,

(iv)	data sheet giving full details of design loading i.e.: flows, hydraulic loading and organic loading,

(v)	maintenance schedule,

(vi)	method of disposal of effluent.

(c)  Facilities should be provided for the removal of grit and debris prior to the effluent entering a pumping station or treatment plant. All pumps should be equipped with strainers capable of removing solids greater than provided for in the design of down-stream processes.

(d)  The plant as designed must be capable of treating sewerage to produce an effluent to the standards required by the Ministry responsible for health.

(e)  Sewerage may be discharged into a septic tank linked with a biological filter or with land drains or soakaway pit provided that—

(i)	If the system is connected to a proprietary tank or disposal system discharging an effluent approved by the Ministry of Health such effluent may be discharged directly from such tank or system and recycled for use as approved by the Chief Environmental Health Officer.

(ii)	If the system is connected to a septic tank the effluent must be discharged into land drains or soakaway pits constructed in accordance with the requirements of the Ministry of Health.

(f)  The Chief Environmental Health Officer may not approve the construction of cess pits.

(2)  Detailed plans and technical data will be reviewed by the Ministry of Health. Approval of the Planning Board for the installation of the sewerage treatment system will be given only if all of the technical data supplied by the owner is satisfactory, and if satisfactory arrangements have been made for the maintenance and repair of the system. The Planning Board shall require that standby systems for major components such as power plant be supplied and maintained.

PART VIII

Plumbing

88.   Scope of Part VIII

This Part sets out the requirements for plumbing and drainage in buildings and the disposal of waste to a septic tank or main sewer where this exists.

89.   General requirements

(1)  (a)  No soil or waste pipe shall be fitted with double hubs, double tees or double y’s (without an access door).

(b)  No waste pipe shall discharge into a bend attached to a water closet bowl.

(2)  (a)  Wherever a dead end exists or is proposed for a soil or waste system it shall be laid so as to prevent any accumulation of waste.

(b)  All unconnected openings in a drainage system with the exception or a vent pipe shall be properly capped so as to be both air and water tight.

(3)  (a)  All horizontal changes in direction of soil or waste pipes shall be provided with an accessible inspection chamber or clean out.

(b)  22½ degree bends and sanitary tees should be used for changes in direction of flow in the horizontal plane.

(c)  Bends, tees, y’s and crosses may be used to effect changes in direction in vent and water distribution pipes.

(4)  (a)  All vertical piping shall be supported, anchored and adequately fixed with spacing not exceeding 5 feet.

(b)  All horizontal piping shall be supported, anchored and adequately fixed to prevent sagging at each hub. For cast iron and copper piping, this shall be at 6 foot intervals and for PVC and pitch fibre piping throughout its length.

(c)  Pipe hangers shall be fixed to stone, brick work, block work or concrete by means of expansion type plugs.

(d)  Hangers shall be of the same material as the pipe, or if of different material be insulated at areas of contact with the pipe to prevent electrolysis.

(e)  Drains laid in unstable ground shall be adequately supported so as prevent fracture of the pipe or loosening of the joints in the event of ground movement.

90.   Soil and waste pipes

(1)  Soil and waste pipes shall be located and fixed in accordance with the following requirements—

(a)	Branch pipes shall be located to provide for drainage of sanitary fixtures into vertical stacks or directly into manholes.

(b)	Vertical stacks shall be located to provide for drainage from branch pipes directly to manholes.

(c)	Connections to pipes shall be located to prevent cross flow from one connection to the other.

(d)	Connections to pipes and between pipes shall be made in direction of the flow.

(e)	Open ends shall terminate not less than 1 foot above the building eaves level nor less than 3 feet above the head of any window 10 feet away or less and shall be protected with a wire balloon of durable material.

(f)	Pipes shall be fixed with suitable brackets or straps and at a minimum distance of 6 inches from the wall surface. At least one fixing shall be provided for each unit length of pipe.

(g)	Sufficient cleaning eyes and access points shall be provided to enable all pipe work to be cleaned by rodding. They shall be located to allow proper clearance for the easy entry of cleaning roads and be provided with suitable tight covers.

(2)  (a)  Generally pipe materials shall be of suitable material, hard, smooth, impervious and non-corrosive, such as copper, PVC, cast iron or other materials which may be approved by the Planning Board if there is evidence that the material is suitable.

(b)  Black iron, galvanised iron or concrete pipes are not recommended for use as soil pipes.

(3)  (a)  The diameter of pipes shall be consistent with the maximum load, but soil pipes shall not be less than 3 inches in diameter.

(b)  Waste water pipes shall not be less than 1¼ inches in diameter.

(c)  Table VIII-A establishes the maximum fixture unit load permitted for a given size of waste pipe under various conditions and shall be used to determine the required size of waste or soil pipe provided that—

(i)	the total unit load on the pipe is calculated from Table VIII-B,

(ii)	not more than one WC shall be connected to any one 3 inch diameter soil pipe,

(iii)	no branch pipe shall be smaller than the size of the fixture trap that it serves,

(iv)	no vertical stack shall be smaller than the largest branch pipe that it serves,

(v)	the gradient of a branch pipe shall be not less than 1:48,

(vi)	not more than 4 WCs shall be connected to a branch pipe of diameter less than 4 inches with a gradient less than 1:12,

(vii)	not more than 4 WCs shall be connected to any 3 inch diameter branch pipe or vertical stack,

(viii)	not more than fifty per cent of the maximum discharge unit load permitted for vertical stacks serving more than two storeys shall be discharged into the stack from any one branch pipe or in any one storey height.

(4)  Table VIII-B establishes the relative load value of various fixture units and shall be used in determining the required size of pipes for the fixtures being served.

(5)  (a)  All plumbing shall be installed in a workman like manner.

(b)  After laying, soil and ventilating pipes shall be capable of withstanding smoke or air tests under pressure, have no bends, except where unavoidable, in which case bends shall be as obtuse as possible so as not to reduce the internal diameter of the pipe.

(c)  Soil or waste pipes shall not discharge effluent so as to cause dampness to any foundation or wall of a building.

(6)  (a)  Soil pipes shall be laid at a minimum gradient of 1:48 for 4 inch pipes and 1:60 for 6 inch pipes.

(b)  Waste pipes shall be laid at a minimum gradient of 1:30.

(c)  Self cleaning velocities would be achieved if velocities are approximately 2.5 feet per second with the pipe flowing ¼ full.

(7)  (a)  All joints and connections shall be of the same material as the main pipe and shall be air and water tight. They shall be constructed so as to allow the free flow of waste, and before commissioning, be swabbed and cleaned inside to avoid obstructions of the bore.

(b)  In joining soil pipes the spigot or plain end of the pipe shall be laid in the direction of the flow or downstream.

(c)  Joints to soil pipes shall be as follows—

(i)	for lead – wiped or burned,

(ii)	for cast iron – socket made with hemp or yarn and metallic lead properly caulked,

(iii)	for pitch fibre – tapered couplings,

(iv)	for PVC – with a suitable rubber joint fitting or welded with solvent cement,

(v)	for vitrified clay or salt glazed ware – socket made with tarred hemp or gasket and the remaining space filled with cement or sand mixture.

(d)  No coating or paint shall be applied before testing.

(e)  Where waste pipes are connected to soil pipes, all pipes are to be constructed in the same way as specified for soil pipes.

91.   Plumbing fixtures

(1)  Generally plumbing fixtures shall be of smooth, hard, durable impervious and corrosion resistant materials free from flaws and blemishes.

(2)  (a)  Water closet bowls shall be of vitreous china, vitreous glazed earthen ware or other suitable material.

(b)  Water closet bowls shall be attached to the floor or wall and be fitted with a seat of smooth non-absorbent material.

(c)  The use of a separate well flushing system will reduce the use of fresh water from the cistern. All components of the salt water system shall be plastic or other suitable non-corrosive materials.

(3)  Water closet systems shall have flush valves which are easily accessible for repairs, and flush pipes of not less than 1¼ inches in diameter. When low level cisterns are used, larger flush pipes are necessary.

(4)  (a)  The top edge of every lavatory basin or sink shall be fixed at a height above finished floor level suitable for the persons using the fixtures.

(b)  Fixtures for special use, such as for handicaps and for children, shall be mounted at the appropriate height for the particular application.

(c)  Every lavatory basin shall be provided with an overflow, connected to the building or inlet side of the trap.

(5)  Shower and tub outlets must not be less than 1½ inches in diameter and be fitted with removable strainers. Shower outlets are normally 2 inches. The use of “water saver” shower heads is encouraged.

(6)  Drinking fountains shall have orifices located above the highest overflow level of the receptacle and be shielded so that the drinker cannot put his lips on the orifice.

(7)  (a)  Traps forming an integral part of plumbing fixtures shall be supplied with the fittings to which they are to be attached.

(b)  All fixtures connected to foul drainage shall be trapped as closely as possible to the fixture outlet.

(c)  No trap with partitions shall be used, and crown venting of the upper curve of an “S” trap is not permitted as this results in accumulations in the vent.

(8)  All traps shall have a minimum water seal of 3 inches for soil and 2 inches for waste and shall be not less than 3 inches diameter for soil fixtures and 1¼ inches for waste water.

(9)  Every clean-out shall be equal in wall thickness to that of the pipe, be readily accessible, shall open opposite to the direction of flow or at right angles to it, and shall provide adequate space for cleaning.

(10)  (a)  All water closets shall have a vent pipe of not less than 1½ inches in diameter. Vent pipes shall also be used when two or more waste fittings are connected to a soil or waste pipe.

(b)  Vent pipes shall be installed in accordance with regulation 90(1)(f) or extend to a greater distance as may be prescribed by the Physical Planner for unusual situations such as roof gardens. Vent pipes shall be connected above the flood level rim of the highest fixture served and graded to drip back to the soil or waste pipe.

(c)  Venting systems shall be in accordance with the National Plumbing Code approved by the American Standards Association ASA A40-8-1955 or any other Code approved by the Planning Board.

(d)  Flashings at vent terminals shall be water tight. Vents shall preferably be fitted with a wire cage so as to permit free passage of air.

(e)  Drains shall be ventilated to prevent the accumulation of foul air and to maintain equal pressure inside and outside the system.

(11)  Floor drains connected to sanitary sewers shall be equipped with extra deep traps to prevent the seal from drying out. Drains in seldom used areas shall be equipped with an automatic filling device to keep the trap filled with water.

(12)  Tables VIII-D and VIII-E, shall be used to determine the minimum number of sanitary fitting required in a building provided that—

(a)	where separate facilities are required for employees and public use the total number of persons to be provided for shall be proportioned on the most realistic basis possible;

(b)	the number of public facilities to be provided by drive-in cinemas, drive-in restaurants or similar establishments shall be based on three persons for each parking bay;

(c)	for any residence or apartment the minimum provision shall be one water closet (WC), one lavatory basin and one bath or shower and one sink or tub;

(d)	for any building providing sleeping accommodations the minimum provision shall be one WC, one lavatory basin and one bath or shower and one sink or tub;

(e)	for any building where the use or occupancy involves the employment of staff, facilities shall be provided for employees in accordance with Table VIII-D except that where the total number of employees is less than 	ten the 	minimum provision shall be for one WC and one lavatory basin serving both sexes where facilities are accessible only through private offices and shall be additional to the required minimum provision;

(f)	where facilities for the public are required they shall be additional to and separate from facilities required for employees, and shall be provided and maintained in clean condition in accordance with Table VIII-E for—

(i)	any place of public assembly as defined in these Regulations,

(ii)	any building or part of a building where the major use or occupancy is the regular provision of food or drink for consumption by the public on the premises or on drive-in service system,

(iii)	any shop, store or market with more than 500 square feet of sales area,

(iv)	any building providing more than 500 square feet of public waiting area,

(v)	gas stations with 4 or more service pumps;

(g)	in any building of Group A,B,D,E,(b) and E(c) (Table II-A of Part II) of more than 5,000 square feet in total area, at least one cleaner’s sink shall be provided for each floor of more than 2,500 square feet in area;

(h)	for buildings of Group B in Part II such additional facilities shall be provided as may be required by the Chief Environmental Health Officer;

(i)	for buildings of Group C in Part II such additional facilities shall be provided as may be required by the Chief Environmental Health Officer;

(j)	for schools, colleges or other educational buildings such additional facilities shall be provided as may be required by the Chief Environmental Health Officer;

(k)	except for private residences a minimum of one facility for male and one for female shall be provided for persons with disability.

92.   Pipes under floors and walls

(1)  No part of a drain shall be laid under a building unless approved by the Planning Board.

(2)  Where a drain is laid under a floor, not being a suspended floor, it shall be laid in a straight line for its entire length beneath the building. But in no case shall the drain under the building be longer than 40 feet.

(3)  Where drains are laid on piers, care must be taken to ensure that the piers are on sound foundation and are spaced not more than 8 feet apart.

(4)  Rodding and flushing eyes shall be easily accessible, shall open opposite to the direction of flow, and adequate space for rodding and flushing shall be provided.

| TABLE VIII-A |
| --- |
| Capacity of Pipes in Fixture Units |
| Size of Pipe (diameter in inches) | Each horizontal branch (capacity) | Each vertical stack serving 2 storeys in height | Each vertical stack serving more than 2 storeys in height |
| 1¼ | 1 | 2 | – |
| 1½ | 4 | 4 | – |
| 2 | 8 | 10 | 20 |
| 2½ | 12 | 20 | 40 |
| 3 | 24 | 30 | 60 |
| 4 | 200 | 240 | 500 |
| 5 | 400 | 540 | 1,100 |
| 6 | 800 | 960 | 1,900 |

| TABLE VIII-B |
| --- |
| Fixture Unit Ratings |
| Description of Fixture | Unit Rating | Description of Fixture | Unit Rating |
| Bathtub (with or without shower) | 2 | Lavatory basin (over 1¼″ trap) | 2 |
| Bidet | 2 | Showers (per shower head) | 2 |
| Drinking fountain | 1 | Urinal (flush valve operated) | 6 |
| Flushing sink (cistern operated) | 3 | Water closet (cistern operated) | 4 |
| Floor Drain | 3 | Water closet (flush valve operated) | 6 |
| Kitchen sink (up to 1½″ trap) | 1½ | Washing machine (domestic) | 4 |
| Kitchen sink (commercial) | 2 | Continuous flow fixture for each gal. per min. | 2 |
| Laundry tub | 2 | Unspecified to 2″ trap or drain | 3 |
| Lavatory basin (up to 1 ¼″ trap) | 1 | Un specified to 3″ drain or trap | 5 |

| TABLE VIII-C |
| --- |
| Minimum Sizes of Traps (inches) |
| Bathtub | 1½ | Shower (with accessible trap) | 1½ |
| Bidet | 1½ | Shower (with concealed trap) | 2 |
| Drinking fountain | 1¼ | Shower stall (2 to 4 heads) | 2½ |
| Flushing sink | 3 | Shower stalls (5 to 12 heads) | 3 |
| Floor drain | 3 | Shower stall (over 12 heads) | 4 |
| Kitchen sink | 1½ | Urinal | 2 |
| Kitchen sink (commercial) | 2 | Water closet (siphonic action) | 3 |
| Laundry tub | 1½ | Water closet (wash down bowl) | 3½ |
| Lavatory basin (domestic) | 1½ | Washing machine | 1½ |
| Lavatory basin (commercial) | 1½ |  |  |

| TABLE VIII-D |
| --- |
| Number of Sanitary Fixtures Required for Employees |
| A. Male Employees |
| Number of Employees | WCs | Urinals | Lavatory basins | Showers |
| 1 – 10 | 1 | – | 1 | – |
| 11 – 30 | 1 | 1 | 2 | – |
| 31 – 45 | 2 | 1 | 3 | 1 |
| 46 – 90 | 2 | 2 | 4 | 1 |
| 91 – 120 | 3 | 3 | 6 | 1 |
| 121 –150 | 4 | 3 | 7 | 2 |
| Plus: 1 Urinal for each additional 1 to 60 males |
| Plus: 1 WC for each additional 1 to 60 males |
| Plus: 1 Lavatory basin for each additional 1 to 60 males |
| B. Female Employee |
| Number of employees | Showers | WCs | Lavatory basins |
| 1 – 10 | 1 | 1 | 1 |
| 11 – 30 | 1 | 2 | 2 |
| 31 – 45 | 2 | 3 | 3 |
| 46 – 90 | 2 | 4 | 4 |
| 91 – 120 | 2 | 6 | 6 |
| 121 – 150 | 2 | 7 | 7 |
| Plus: 1 WC for each additional 1 to 30 females |
| Plus: 1 lavatory basin for each additional 1 to 60 females |

| TABLE VIII-E |
| --- |
| Minimum Requirements for Sanitary Facilities |
| A. General use of occupancy (males) |
| Number | WCs | Urinals | Lavatory basins |
| 1 – 30 | 1 | 1 | 1 |
| 31 – 120 | 2 | 2 | 1 |
| 121 – 240 | 3 | 3 | 2 |
| 241 – 360 | 4 | 3 | 3 |
| 361 – 480 | 4 | 4 | 4 |
| Plus: 1 urinal for each additional 1 to 200 males |
| Plus: 1 WC for each additional 1 to 200 males |
| Plus: 1 Lavatory basin for each additional 1 to 300 males |
| B. General use or occupancy (females) |
| Number | WCs | Lavatory basins |
| 1 – 15 | 1 | 1 |
| 16 – 30 | 2 | 2 |
| 31 – 120 | 4 | 3 |
| 121 – 240 | 5 | 3 |
| 241 – 360 | 6 | 3 |
| Plus: 1 WC for each additional 1 to 100 females |
| Plus: 1 lavatory basin for each additional 1 to 200 females |
| C. Service of food or drink (males) |
| Number | WCs | Urinals | Lavatory basins |
| 1 – 30 | 1 | - | 1 |
| 31 – 60 | 1 | 1 | 2 |
| 61 – 90 | 2 | 2 | 2 |
| 91 – 120 | 3 | 3 | 3 |
| 120 – 180 | 3 | 3 | 3 |
| Plus: 1 Urinal for each additional 1 to 240 persons |
| Plus: 1 WC for each additional 121 to 204 persons |
| Plus: 1 Lavatory basin for each additional 1 to 240 persons |
| D. Service of food or drink (females) |
| Number | WCs | Lavatory basins |
| 1 – 15 | 1 | 1 |
| 16 – 30 | 2 | 1 |
| 31 – 60 | 2 | 2 |
| 61 – 90 | 3 | 2 |
| 91 – 120 | 4 | 3 |
| 121 – 180 | 5 | 3 |
| Plus: 1 WC for each additional 1 to 120 females |
| Plus: Lavatory basin for each additional 1 to 240 persons |
| E. Shops, Stores, Markets (males) |
| Area of sales space in square feet | Number of fixtures |
| 1,000 – 10,000 | 1 WC 1 Lavatory basin |
| 10,000 – 15,000 | 1 WC 1 Urinal 1 Lavatory basin |
| 15,000 – 20,000 | 2 WCs 1 Urinal 1 Lavatory basin |
| Over 20,000 | 2 WCs 2 Urinals 2 Lavatory basins |
| F. Shops, Stores, Markets (Female) |
| Area of sales space in square feet | Number of fixtures |
| 1,000 – 10,000 | 1 WC 1 Lavatory basin |
| 10,000 – 15,000 | 2 WC 1 Lavatory basin |
| 15,000 – 20,000 | 3 WCs 2 Lavatory basin |
| Over 20,000 | 4 WCs 2 Lavatory basins |
| G. Gas Stations (males) |
| Equipment | Fixtures |
| 2 or more pumps | 1 WC 1 Lavatory basin |
| H. Gas Stations (females) |
| Equipment | Fixtures |
| 2 or more pumps | 1 WC 1 Lavatory |

PART IX

Solid Waste Disposal

93.   Scope of Part IX

This Part provides general guidelines to developers and builders on the disposal of solid waste (garbage and constructor’s waste material) from building sites and from new developments. This Part is not intended to replace existing Regulations for the handling and disposal of waste.

94.   General

(1)  The developer shall submit proposals for the provision of solid waste collection and disposal. Such proposals shall conform to the environmental health standards established by the Ministry responsible for health and those of the community.

(2)  Every building in which garbage or trash is produced or from which solid, liquid, or gaseous waste is issued which in the opinion of the Planning Board may be detrimental to the environment of the neighbourhood, shall provide a system of disposal satisfactory to the Planning Board.

95.   Collection system

The developer is responsible for providing an adequate system for the collection, transportation and disposal of garbage and other solid wastes from the development. In areas where there are public collection systems the developer should make proper arrangements with the relevant agency for the collection and disposal of solid waste.

96.   Storage

(1)  Adequate facilities must be established to the satisfaction of the Planning Board for the storage of garbage on site prior to collection, Refrigerated storage should be provided where there are large quantities of semi-liquid waste. The facility for garbage storage must be shown on the plans which accompany the application for development permission.

(2)  The storage of all waste, including refrigerated waste must be carried out to the approval of the Chief Environmental Health Officer.

97.   Disposal

(1)  Garbage and solid wastes must be disposed of at locations specified or approved by the Environmental Health Division.

(2)  Waste should be disposed of at a properly established waste disposal facility and not by ordinary dumping.

(3)  Disposal shall be carefully carried out and in a manner which avoids creation of a nuisance through breeding of flies and vermin. The dump should not present an unsightly appearance.

98.   Hazardous waste

(1)  The handling of hazardous waste must be carried out in an environmentally sound manner to the approval of the Planning Board.

(2)  Special attention must be paid to the transport and disposal of hazardous waste. In the application for development permission, the developer should provide details of the equipment that will be used in the collection of hazardous waste and the manner in which such waste will be collected, stored, transported and disposed of.

99.   Granting the permit

No permit for construction of the development will be issued unless the plans show adequate arrangements for the storage of all waste, and unless the developer undertakes to make arrangements satisfactory to the Planning Board for the disposal of waste at sites approved by the Environmental Health Department.

PART X

Electrical and Mechanical Installations

100.   General

(1)  All electrical installations must be carried out in accordance with the electricity regulations in force and in accordance with good practice as required by the latest edition of the standards fixed by the Regulations for the Electrical Equipment in Buildings issued by the Institution of Electrical Engineers of Great Britain.

(2)  All electrical installations must be certified by the electrical inspector in accordance with the relevant regulations in force.

101.   Installation of equipment

(1)  Air conditioning and other mechanical ventilating systems shall be done in accordance with the manufacturers’ instructions and in accordance with the recognised practice. The standard of installation must be equal to that approved by the American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) or other Code approved by the Planning Board.

(2)  The design requirements are—

(a)	At least two complete air changes per hour shall be induced for any normally occupied room or enclosed space.

(b)	At least three complete air changes per hour shall be induced for any internal lavatory or bathroom and at least twelve complete air changes per hour for any kitchen, and in both cases the ventilating systems shall be separate and distinct from any other ventilating system installed in the building.

(c)	Extract systems shall be capable of handling at least seventy-five per cent of the total fresh air supply per hour.

(d)	All equipment shall be installed in such a way that it is readily accessible for inspection and repair, and all refrigerant condensers or receivers installed in association with systems containing more than 10 pounds of refrigerant shall be supplied with relief valves of adequate size ventilating to open air at a suitable protected point.

102.   Elevators and escalators

(1)  All electric lifts, elevators and escalators shall be of proprietary manufacture. The installation shall be carried out by an approved specialist contractor and the construction, installation and maintenance shall be in accordance with recognised standards of good practices and shall conform with the “Standard Safety Code for Elevators, Dumb-waiters, Escalators, and Moving Sidewalks – ANSIA 17.1”, except as may otherwise be approved by the Planning Board.

(2)  Design and construction requirements are—

(a)	Lift well enclosures, pits and machine rooms shall form part of the buildings construction and shall provide for the clearance and other requirements shown on the manufacturers’ drawings.

(b)	No lift well shall form part of a ventilating system or accommodate any service other than those ancillary to the installation and operation of the lift.

(c)	Lift well enclosures shall extend from structural floor to structural ceiling and shall be constructed in accordance with the fire resistance rating requirements of Part II.

(d)	A smoke escape vent shall be provided within 1 foot of the highest point of each lift well enclosure leading directly to open air.

(e)	Where a machine room is located on the roof of a buildings more than 60 feet high, provision shall be made for lighting protection.

(f)	Escalators shall not be less than 2 feet in clear width and shall have horizontal treads. They shall have solid balustrades on both sides, each balustrade being furnished with a handrail moving at the same speed as the escalator. The maximum angle of inclination of the escalator with the horizontal shall be 30 degrees and emergency stop buttons shall be located at the top and bottom landings of each escalator flight.

103.   Equipment identification and installation

(1)  All equipment shall be provided with a legible and securely attached permanent sign giving the names and addresses of the manufacturer and the installing contractor.

(2)  All equipment shall be installed in such a way that it is readily accessible for inspection, servicing and repair.

104.   Ducts

(1)  No void or concealed space within a building shall be used as an integral part of a duct system unless it conforms fully with the requirements of these Regulations.

(2)  (a)  All service ducts passing through floors and walls other than chases and pipe sleeves of not more than 50 square inch in area shall conform with the fire resistance requirements of Part II for such floors and walls unless the whole of the free space within the duct is filled to the thickness of the floor or wall with non-combustible barrier material to give a fire resistance rating not less than that of the floor or wall through which the duct passes.

(b)  Common ducts may be used for the accommodation of different services provided that adequate precautions are taken in the location of services in relation to one another and provided that the spacing and arrangements of pipes and cables is such that one does not interfere with access to another.

(c)  All service ducts shall be large enough to give adequate access to all cleaning eyes, stop cocks and other controls, for the inspection modification or repair of all services accommodated.

(3)  (a)  All air ducts shall be constructed of non-combustible materials with no openings other than those essential to the proper functioning and servicing of the system.

(b)  Any air duct passing through fire division walls or fire division floors or ceilings shall be provided with automatic fire doors or shutters having a fire resistance rating not less than that of the wall or floor through which the duct passes.

105.   Artificial lighting

Artificial lighting where required shall be in accordance with the requirements of the electricity regulations in force.

PART XI

Loads

106.   Definitions

In this Part—

(a)	“Corridor” (a hallway) means a path of egress connecting more than one room or occupied space on any floor.

(b)	“Dead load” means the weight of walls, floors, roofs, partitions and other permanent constructions.

(c)	“Flat roof ” means a roof having no inclination or having an inclination of not more than 10 degrees with the horizontal.

(d)	“Live loads” means all loads other than dead loads, wind loads and earthquake loads.

(e)	“Load bearing” means any part of a building (including the foundation) bearing a load other than that due to its own weight, earthquake forces and to wind pressure on its surface.

(f)	“Pitched roof ” means a roof having an inclination of more than 10 degrees with the horizontal.

(g)	“Class of Load” means the minimum uniformly distributed load to be applied for floors with the occupancy as stated for each particular class.

107.   Basis of design

(a)	Any system or method of design or construction shall admit of a rational analysis in accordance with well established principles of mechanics and sound engineering practices.

(b)	All buildings and structures and all parts thereof shall be designed and constructed to be of sufficient strength to support the estimated or actual imposed dead, live, wind and any other loads both during construction and after completion of the structure, without exceeding the stresses for the various materials specified in these Regulations. The designer shall consider the possibility of extraordinary concentrated loads being applied to the system.

(c)	All floor and roof systems shall be designed and constructed to transfer horizontal forces to such parts of the structural frame as are designed to carry these forces to the foundations.

108.   Unit dead loads

The unit weights of basic materials used in the calculation of dead load shall preferably be based on properly substantiated information. Where this is not available the values given in the latest addition of BS 648 “Schedule of Weights of Building Materials” or an equivalent authoritative standard shall be used. <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix E">Appendix E<EL> provides the approximate weight of building material commonly used in the Caribbean. It should be noted that the weight of concrete block, plain and reinforced concrete varies with the type of aggregate and with the amount of reinforcement used.

109.   Unit live loads

(1)  Table XI-A shall be used to determine the minimum live loads to be imposed on various types of floors. These loads shall be applied in such a manner as to produce the most severe stresses.

(2)  In designing floors of classes 30 and 40, provision shall be made for a concentrated load of 315 pounds placed on any 1 foot square area wherever this load will produce stresses greater than those caused by the uniformily distributed load.

110.   Special loads

(1)  No building or part thereof shall be designed for live loads less than the loads specified in regulation 109.

(2)  The live loads set forth therein shall be assumed to include ordinary impact but where loading involves unusual impact the necessary allowance shall be made by increasing the assumed live loads.

(3)  Provisions shall be made in designing office floors and class fifty garage floors for a load of 20,000 pound placed upon any area 2 feet 6 inches square wherever this load upon an otherwise unloaded floor would produce stresses greater than those caused by a uniformly distributed load of 50 pounds per square feet.

(4)  In designing floors, not less than the actual live load to be imposed shall be used in the design. Special provision shall be made for machine or apparatus loads. Consideration should be given in the design of living rooms where crowded conditions are likely to occur during parties and dances.

(5)  Tanks and their contents should normally be treated as dead load.

(6)  Where partitions are shown on the plans their actual weights should be included in the dead load. To provide for partitions where their positions are not shown on the plans, the beams and the floor slabs where these are capable of effective lateral distribution of the load, should be designed to carry in addition to other loads, a uniformly distributed load per square feet of not less than ten per cent of the weight per foot run of the finished partition, but not less than 20 pounds per square feet if the floor is used for office purposes. Where such effective distribution is not provided (for example in the case of pre-cast slabs without topping concrete) special provisions shall be made.

(7)  Floors in garages or portions of buildings used for the storage of motor vehicles shall be designed for the uniformly distributed live loads shown in Table XI-A or the following concentrated loads (See Table XI-A(ii). From ANSI A 58.1 1982—

(a)	for passenger car accommodating not more than nine passengers, 2,000 pounds acting on an area of 20 square inch;

(b)	mechanical parking structures without slab or deck, passenger cars only, 1,5001bf per wheel;

(c)	for trucks or buses, maximum axle load on an area of 20 square inches.

(8)  Corridors and balconies shall normally be designed for the same class of loading as the floor or other space to which they give access.

(9)  Table XI-B shall be used to determine design live loads on stairs and landings.

111.   Parapets, balcony, hand rails and balustrades

(1)  The minimum specified load applied horizontally and normal to the span at the top of every required guard shall be—

| Use | Horizontal Load lb/feet run |
| --- | --- |
| Light access stairs, gangways and the like not more than 2 ft. wide | 15 |
| Light access stairs, gangways and the like more than 2 ft. wide, stairways, landings and balconies | 40 plus concentrated load of 60 lbs. |
| All other stairways, landings and balconies and all parapets and handrails to roofs. | 40 to 60 (exits and stairs) |
| Grandstands and stadia | 250 |

(2)  For the loading on vehicle barriers for car parks, section 2.109 of CUBiC.

(3)  In all cases, the wind load, if greater in effect, must be allowed for.

112.   Roof live loads

(1)  Table XI-C shall be used to determine roof live loads for design purposes.

(2)  The combined effect of dead and live loads on roofs shall be taken into account.

(3)  To provide for loads incidental to maintenance, all roof covering (other than glass) at a slope less than 45 degrees should be capable of carrying a load of 200 pounds concentrated on any 8 inches square at normal stress.

(4)  Live loads do not include wind and earthquake loads.

113.   Live and dead load reductions

(1)  Table XI-D shall be used to determine the permitted reductions in assumed total live floor loads to be taken in design of columns, piers, walls, their supports and foundations, except as provided for in (b) and (c).

(2)  No reduction should be made for floors of factories and workshops designed for less than 100 pounds per square feet live loading or for any building for storage purposes, warehouses and garages. For factories and workshops designed for 100 pounds per square feet or more, the reductions shown in Table XI-D may be taken provided that the loading assumed for any column, etc., is not less than it would have been if all the floors had been designed for 100 pounds per square foot with no reductions.

(3)  Where a single span of a beam or girder supports not less than 500 square feet of floor at one general level the live load taken in the design on the beam or girder may be reduced by five per cent for each 500 square feet supported subject to a maximum reduction of twenty-five per cent. This reduction or that given in Table XI-C, whichever is greater, may be taken into account in the design of column, etc., supporting such beams but should not be made where the floors are used for storage purposes nor in the weight of any plant or machinery which is specifically allowed for.

114.   Posting of live load notices

In all cases of Group A of Part II buildings, the Physical Planner may require the owner(s) to fix in a conspicuous position on each floor, plaques stating the permitted live load and the permitted occupancy intent of that floor or of that part of that floor.

115.   Wind loads

(1)  (a)  Buildings and structures shall be designed and constructed to resist the forces due to wind pressure. The forces exerted by the wind on a building are the result of a combination of factors such as wind speed, exposure factor, aerodynamic shape of the structure and dynamic response factor.

(b)  Such forces shall be applied with all possible combination of loadings, such combinations shall include the case of dead loads plus wind loads only. In the special case of roofs, in no case shall any roof be designed for live loads less than those specified in Table XI-C but the said live load need not be considered to act simultaneously with the wind load.

(c)  Structural systems shall be designed and constructed to transfer wind forces to the ground.

(2)  (a)  The effect of wind pressure on buildings and structures and parts thereof shall be determined from Part 2, section 2 of CUBiC.

(b)  The design engineer may utilise a design based on other internationally recognised and accepted information on the effects of wind on structures subject to the approval of the Physical Planner.

(3)  (a)  Where the overturning moment on a building or other structure exceeds two-thirds of the moment of stability computed from dead load only, anchorage to resist the excess over two-thirds of the dead load moment of stability shall be provided.

(b)  Where the uplift on a building or other structure, or portion therof, exceeds two-thirds of the dead load only, anchorage to resist the excess uplift over two-thirds of the dead load shall be provided.

(4)  For members carrying wind stresses only, and for combined stresses due to wind and other loads, the allowable unit stresses and the allowable loads on connections may be increased by one-third of the maximum working stress specified in these Regulations for the materials used, except for the provisions of Part XV – Plain and Reinforced Concrete. Such increases shall not apply to towers, cantilevered projections or more sheathing where vibrating or fluttering action could be anticipated. In no case shall the section be less than required if the wind stresses are neglected. The special case of pre-stressed concrete structures is dealt with under Part XV.

116.   Earthquake loads

(1)  (a)  The record of seismic activity within the last one hundred years shows that there have been earthquakes which have created significant damage in some of the islands in the Eastern Caribbean. In the past twenty-five years islands such as Antigua, Saint Kitts and Montserrat have experienced earthquakes which have caused damage to buildings and other properly.

(b)  It is necessary therefore that every building and structure and every portion thereof be designed and constructed in accordance with Part 2, section 3 of CUBiC or in accordance with any other code or standard approved by the Physical Planner.

(c)  For the design of small buildings to resist seismic forces see Part XVII and section A of the Building Guidelines.

(2)  In order to develop earthquake resistant design recommendations more specific to each of the States of the Organisation of Eastern Caribbean States, building response data

must be obtained from future earthquakes. The installation of at least three strong motion accelerographs is recommended in all buildings six storeys or more in height. Where provided, accelerographs are to be distributed between ground and roof.

117.   Load tests

(1)  Whenever there is insufficient evidence of compliance with these Regulations or evidence that any material or any construction does not conform to the requirements of these Regulations, or in order to substantiate claims for alternate materials or methods of construction, tests as proof of compliance shall be made by an agency approved by the Planning Board and at the expense of the owner.

(2)  (a)  Where there is no recognised standard test procedure for the material or assembly in question, the material or assembly under dead load plus live vertical load shall deflect not more than 1/240 of the span, nor more than 1/360 where required to support a plaster ceiling or brittle partitions, and the material or assembly shall sustain dead load plus twice the live load for a period of twenty-four hours, with a recovery of at least eighty per cent.

(b)  Where elements, assemblies or details of structural members are such that calculation of their load-carrying capacity, deformation under load or deflection cannot be made by rational analysis, their structural performance shall be established by tests in accordance with test procedure as developed by the design engineer based on consideration of all probable conditions of loading.

118.   Differences between wind and earthquakes

Table Xl-E shows the main differences between wind and earthquakes on the design of a building. It will be noticed that the predictability of loads from wind pressures is usually good, while the loads from earthquakes cannot be readily assessed.

| Table XI-A(i) |
| --- |
| Floor Loads |
| Loading Class Number | Types of Floors | Minimum Imposed Loads | Alternative Imposed Loads (lb) |
|  |  | Slabs | Beams | Beams |
|  |  | lb. per sq. ft. of floor area | Uniformly distributed over span per ft. width | Uniformly distributed over span |
| 30 | Floors in dwelling houses of not more than two storeys | 30 | 240 | 1,920 |
| 40 | Floors (other than those of class 30) for residential purposes including dwelling houses of more than one occupation: residential flats, hospital wards, hotel bedrooms and sitting rooms, rest rooms institutional establishments of Group B occupancy. | 40 | 320 | 2,560 |
| 50 | Floors of light work rooms without storage; floors of garage for passenger cars with gross weight not exceeding 2½ tons. | 50 | As required by 1201.5(c) | As required by 1201(c) |
| 60 | Floors of school class rooms, office ground floor and office floors below ground floor, floors of banking halls, floors of library reading rooms, marques, hospital operating theatres | 60 | 480 | 3,840 |
| 70 | Office floors | 70 | 560 | 4,480 |
| 80 | Shop floors used for the display and sale of light merchandise, workrooms generally, garages for vehicles exceeding 21 tons gross weight, places of assembly with fixed seating, churches and chapels, restaurants, circulation space in machinery halls, power stations, etc., where not occupied by plant or equipment, theatre balconies with fixed seating, city halls, court houses, art galleries. | 80 | 640 | 5,120 |
| Note.—Fixed seating implies that the removal of the seating and the use of the space for other purposes is impossible. |
| 100 | Floors of warehouse, workshops, factories and other buildings or parts of buildings of similar categories for light-weight loads, places of assembly without fixed seating, public rooms, dance halls, theatre balconies without fixed seating, gymnasiums. Assembly platforms, composing and linotype rooms in printing plans, reviewing stands and bleachers, drill rooms, fire escapes, hospital X-ray rooms, laboratories, cinemas, public auction rooms not used for storage. | 100 | 800 | 6,400 |
| 100A | Areas used for general storage and filing purposes in offices of loading class 50 and 70. | 100 | 800 | 6,400 |
|  | Note: Special consideration shall be given to the average and the localised floor landings Class 70, used for heavy filing and storage equipment (such as card cabinets and rolling storage units, and for centralised security and storage). |  |  |  |
| 150 | Floors of warehouses, workshops, factories and other buildings or parts of buildings of similar categories for light weight loads, floors of garages for vehicles not exceeding 4 tons gross weight, stages and armouries. | 150 | – | – |
| 200 | Floors of warehouses, workshops, factories, other buildings or part of buildings of similar categories for heavy weight loads (unless actual loading is greater than 200 lbs per sq. ft.), floors of book stores, museums. | 200 | – | – |

| TABLE XI-A(ii) |
| --- |
| Minimum Concentrated Loads |
| Location | Load (lb.) |
| Elevator machine room grating (on area of 4 sq. in.) | 300 |
| Finish Light Floor plate construction (on area of 1 sq. in) | 200 |
| Garages | (see 1201.5(g) |
| Office Floors | 2,000 |
| Accessible ceilings | 200 |
| Sidewalks | 8,000 |
| Stair treads (on area of 4 sq. ins at centre of tread) | 300 |
| Note.—Table XI-A(ii) taken from ANSI A 58.1 1982 |

| TABLE XI-B |
| --- |
| Class of Floor Served | Live Loads (lb/sq. ft.) |
| 30 | 30 |
| 40, 50, 60, 70 | 60 |
| Other classes | 100 |
| Consideration shall be given to increasing the design loading where there is a possibility of heavy equipment being transported on stairs or landings. |
| The following minimum concentrated loads shall be considered on stairs and landings at the most unfavourable positions for bending moment and shear— |
| Loading Class 30: | 400 lb. |  |
| Class 40, 50 and 60: | 600 lb. |  |
| Class 70: | 600 lb. |  |
| Class 80, 100, 150 and 200: | 1,000 lb. |  |

| TABLE XI-C |
| --- |
| Roof Live Loads, Designs Loading lb/sq. ft. of Plan Area |
| Slope of Roof | With Access | No Access |
| Up to 10 degrees | 30 | 15 |
| Over 10 degrees up to 30 degrees | 15 | Nil |
| Over 75 degrees | Nil | Nil |
| For slopes between 30 degrees and 75 degrees the imposed load to be allowed for shall be obtained by linear interpolation between 15 lb. per sq. ft. for a 30 degree slope and nil for a 75 degree slope. |
| Note.— |
| “With access” means access in addition to that necessary for cleaning and repair; |
| “No access” means no access other than that necessary for cleaning and repair; |
| The design loading in this Table does not include wind or earthquake loads. |

| TABLE XI-D |
| --- |
| Reductions of Total Live Floor Loads on Columns |
| Number of floors carried by member under consideration | Per cent reduction of live load on all floors above the member under consideration |
| Roof | 0 |
| Roof and two floors | 0 |
| Roof and three floors | 10 |
| Roof and four floors | 30 |
| Roof and five floors | 40 |

| TABLE XI-E |
| --- |
| Main Differences between Wind and Earthquakes |
| Item | Wind | Earthquakes |
| Source of loading | External forces due to wind pressure | Applied movements from ground vibration |
| Type and duration of loading | Wind storm of several hour’s duration, loads fluctuate, but predominantly in one direction | Transient cyclic loads of at most a few minutes’ duration; loads change direction repeatedly. |
| Predictability of loads | Usually good, by extrapolation from records or by analysis of site and wind patterns | Poor, little statistical certainty of magnitude of vibrations or their effects. |
| Influence of local soil conditions on response | Unimportant | Can be important |
| Main factors affecting building response | External shape and size of building, dynamic properties unimportant except for very slender structures | Response governed by building dynamic properties, fundamental period, damping and mass |
| Normal design basis for maximum credible event | Elastic response required | Inelastic response permitted, but ductility must be provided, design is for small fraction of the loads corresponding to elastic response |
| Design of non-structural elements | Loading confined to external cladding | Entire building contents shaken and must be designed appropriately. |

PART XII

Excavations and Foundations

119.   Excavations

(1)  Until provisions for permanent support have been made all excavations shall be properly guarded and protected so as to prevent the same from being dangerous to life and property. Such protection is to be provided by the person causing the excavation to be made. Excavations, for any purpose, shall not extend within one foot of the plane of the natural slope of the soil under any existing footing or foundation, unless such footing or foundation is first properly underpinned or protected against settlement.

(2)  No permanent excavations shall be made nor shall any construction excavations be left on any lot or lots which will endanger adjoining property or buildings or be a menace to public health or safety. Any such excavations made or maintained shall be properly drained and such drainage shall function properly as long as the excavation exists.

Permanent excavations shall have retaining walls of steel, masonry, concrete or similar approved material of sufficient strength to retain the lateral thrust of the surrounding material together with any surcharged loads.

(3)  Where, in the opinion of the Planning Board, an unsafe condition may result or damage may occur as the result of an excavation, the Planning Board may order the work stopped or may approve the work of excavation subject to such limitations as he may deem necessary.

120.   Bearing capacity of soil

(1)  Plans for new buildings or additions shall bear a statement as to the nature and character of the soil under the structure. Where the bearing capacity of the soil is not known or is in question, the design engineer shall arrange for an examination of subsoil conditions such as by borings and other tests. Plate load tests shall be used only to supplement other subsoil investigations. The design capacity of the soil should be substantiated by recognised tests, analyses and procedures. For the purposes of conceptual design only, Table XII-A may be used as a guide in estimating the allowable bearing capacities of supporting soils.

| TABLE XII-A |
| --- |
| Maximum Safe Bearing Capacities for Horizontal Foundations at Depth 2 ft. under Vertical Static Loading. (Materials not listed in this Table shall be tested for bearing capacity). |
| Types of Rocks and Soils | Maximum Safe bearing Capacity – tons per sq. ft. | Remarks |
| 1. Massively-bedded limestones and hard sandstones | 40 |  |
| 2. Clay shales |  | To be determined |
| 3. Thinly-bedded limestones and sandstones | 10 |  |
| 4. Compact well-graded sands and gravel sand mixtures | 4 | 2 |
| 5. Loose well graded sands mixtures | 2 | 1 |
| 6. Compact uniform sands | 2 | 1 |
| 7. Loose uniform sands | 1 | ½ |
| 8. Stiff clays and sandy clays | 2 | To be determined |
| 9. Firm clays and sandy clays | 1 | 1 |
| 10. Soft clays and silts | ½ | ½ |
| 11. Very soft clays and silts | – | – |
| 12. Made ground | – | To be determined after investigation |

(2)  All allowable soil-bearing values specified in Table XII-A may be increased by one-third in calculations for wind or earthquake loading when combined with vertical loads. No increase shall be allowed for vertical loads acting alone. Wind and earthquake loads need not be assumed to act simultaneously.

(3)  It should be noted that in certain types of soils, for example salty water-logged soils, liquefaction might occur under certain earthquake conditions. The possibility of the occurrence of liquefaction should be investigated.

121.   Soil bearing foundations

(1)  Footings shall be so designed that the soil pressure should be reasonably uniform to minimise differential settlement. The preferred material for the construction of footings is concrete.

(2)  (a)  Footings under walls shall be continuous or continuity otherwise provided and shall not be less than required to keep the soil pressure within that set forth in Table XII-A nor less than the minimum sizes set forth in Table XII-B.

(b)  All concrete footings shall be adequately reinforced, the minimum allowable amount of steel reinforcement being 0.15 per cent of the gross cross-sectional area of the concrete in both horizontal directions. Reinforcing bars shall be provided with a minimum of 2 inches of concrete cover. (See Table XV-C(i).

(c)  Excavations for continuous footings shall be cut true to line and level and the sides of footings shall be shuttered, except where soil conditions are such that the sides of the excavation stand firm and square. Excavations shall be made to firm bearing.

(d)  Continuous footings shall be placed level and any changes in the level of such footings shall be made with a vertical tie of the same cross-section and design as the footings.

(e)  Continuous footings on which the centre of gravity of the loads falls outside of the middle one-third shall be considered eccentric, and provision shall be made to limit the soil pressure at the edges to allowable values by means of counter-balancing or by other approved methods.

(3)  (a)  Isolated footings in soils having low lateral restraint shall be provided with adequate bracing to resist movement.

(b)  An isolated footing on which the centre of gravity of the load falls outside the middle one-third of any line passing through the centre of gravity of the footing shall be considered eccentric, and provision shall be made to limit the soil pressure at the edges by means of straps or other approved methods.

(c)  Where isolated footings support reinforced concrete columns, starter bars equivalent in number and area to the column reinforcement, and having lengths not less than 30 diameters above and below the joints, shall be provided in the footing. Where the footing depth does not allow straight bars, standard bends will be allowed. Such starter bars, or anchor bolts as are required for steel columns, shall be held to proper level and location during the concreting of the footing by templates or by other approved methods.

| TABLE XII-B |
| --- |
| Minimum Dimensions for Continuous Footings |
| Allowable bearing capacity (Tons per sq. ft.) | Number of storeys | Depth and width (ins) |
| Up to ½ | 1 | 12 × 30 |
|  | 2 | 12 × 36 |
| Over ½ but less than 1 | 1 | 9 × 24 |
|  | 2 | 12 × 24 |
| 1 or more | 1 | 9 × 16 |
|  | 2 | 9 × 24 |
| Note.— The sizes given in the Table are to be used with caution as the characteristics of soils vary considerably and all soils should be analysed before designing the foundation. |
| Based on soil investigations as set forth in regulation 120(1) the footing sizes may be changed when the allowable bearing values and loads are taken into account, but the minimum width of a footing under the main wall of a building shall not be less than 24 inches nor less than 8 inches more than the width of the foundation wall whichever is greater. |

122.   Concrete slabs on fill

(1)  Where it is proposed to place concrete slabs directly on the supporting soil, a subgrade shall have first been prepared by removing all top soil, organic matter and debris, and the subgrade and fill shall be thoroughly compacted by approved mechanical methods. All fill placed under slabs shall be clean, free of debris and other deleterious materials. The maximum size of rock in compacted fill shall be 4 inches in diameter. For cases of heavy loading, special compaction tests may be required.

(2)  Concrete floor slabs placed directly on the supporting soil shall be of an appropriate thickness for the loads intended but in any case not less than 4 inches, and shall be reinforced with steel reinforcement not less than 0.15 per cent of the gross cross-sectional area of the concrete in the slab. The reinforcement shall be placed in the upper half of the slab.

123.   Piled foundations

(1)  (a)  Piled foundations shall be designed and supervised by a professionally qualified engineer approved by the Planning Board and suitably qualified and experienced in such design.

(b)  Piles used for the support of any building or structure shall be driven to a resistance and penetration in accordance with the plans or specifications and as set forth herein.

(c)  Piles may be jetted only if permitted by the engineer. Immediately after completetion of jetting, the pile shall be driven below the depth jetted to the required resistance but not less than 1 foot 0 inches. No jetting will be permitted that may be detrimental to existing adjacent structures or to piles that have been driven.

(2)  (a)  Column action.—All piles standing unbraced in air, water or in material not capable of providing lateral support, shall be designed as columns. Such piles driven into firm ground may be considered fixed and laterally supported at 5 feet 0 inches below the ground surface unless otherwise prescribed by the design engineer after a foundation investigation by a competent agency approved by the Planning Board.

(b)  When isolated columns and other loads are supported on piles, a minimum of three piles shall be used for such support unless lateral bracing is provided at the pile cap to ensure stability. Should a pile be loaded eccentrically so as to produce an overload on any pile more than ten per cent of the allowable load, footing straps or other approved methods shall be required to counteract the effect of eccentric loading.

(c)  The minimum centre to centre spacing of friction piles shall be not less than 3 feet 6 inches or the perimeter of the piles, whichever is greater. For piles deriving their resistance from end bearing, the minimum centre spacing of the piles shall be not less than 2 feet 6 inches or twice the least width, whichever is greater. The spacing of piles shall be such that in no case may the average load on the supporting stratum exceed the safe bearing value of that stratum.

(d)  It is advisable that piles shall not be driven closer than 4 feet 0 inches to an existing building or structure, unless special consideration is given to the properties of the soil and to the structure of the existing building.

(e)  Group action.—Consideration shall be given to the reduction of allowable pile load when piles are placed in groups. Where soil considerations make such load reductions advisable or necessary, the allowable axial load determined for a single pile shall be reduced by any rational method or formula.

(3)  (a)  Piles in subsiding areas.—Where piles are driven through subsiding fills or other subsiding strata and derive support from underlying firmer materials, consideration shall be given to the downward frictional forces which may be imposed on the piles by the subsiding upper strata.

(b)  The engineer or other competent person approved by the Planning Board supervising the pile-driving operations shall be required to keep an accurate record of the material and the principal dimensions of each pile, the weight and fall of the hammer, if a single-acting or drop hammer, the size and make, operating pressure, length of hose, number of blows per minute and energy per blow, if a double acting hammer, together with the average penetration of each pile for at least the last five blows, and the levels at tip and cut-off. A copy of these records shall be filed and kept with the plans.

(c)  All piles shall be designed so that lifting and handling stresses shall not exceed allowable working stresses, as specified. Stresses during driving may exceed these stresses by not more than one hundred per cent.

(4)  (a)  The allowable axial and lateral loads on piles shall be determined by an approved formula, by load tests, or by a foundation investigation by a competent agency.

(b)  Where a dynamic pile formula is used, the ultimate resistance shall be calculated in accordance with the method given in BS 8004 or such other formula as the engineer shall consider suitable.

(c)  When the allowable axial load of a single pile is determined by a load test, one of the following methods shall be used to determine the ultimate resistance.

(d)  The ultimate resistance shall be defined as—

(i)	the load at which an increase in load produces a dramatic increase in settlement, or

(ii)	the maximum load which during a forty-eight hour period of continuous load application causes settlements at a rate not exceeding 0.01 in/hr.

In any event, the maximum settlement should not exceed 0.01 in/ton gross settlement or 0.025 in net settlement, where net settlement is the difference between gross and recovery.

(e)  Where the ultimate resistance of a friction pile is determined by soil tests, the soil investigation and laboratory tests shall be carried out by a competent agency.

(f)  Table XII-C shall be used to determine the minimum factor of safety to be used in calculating the allowable axial load on a pile.

| TABLE XII-C |
| --- |
| Minimum Factor of Safety for Piles |
| Type of Ground | Test Load | Dynamic Formula Resistance not Reduced on Driving | Dynamic Formula Resistance Reduced on Redriving | Soil Investigation and Soil tests |
| Rock | 2.0 | 1.5 | – | 2.0 |
| Non-cohesive soil | 2.0 | 2.0 | 2.5 | 2.0 |
| Hard cohesive soil | 2.0 | 2.0 | 2.0 or more | 2.0 |
| Soft cohesive soil | 2.0 | N/A | N/A | 2.0 |
| * Test load should be used in the circumstances. |

(5)  (a)  Timber piles shall be of one piece of approved timber containing no evidence of decay, free from short kinks or reverse bends and having uniform taper from butt to tip. A straight line drawn from the centre of the butt to the centre of the tip shall lie wholly within the body of the pile. The diameter of round piles shall be not less than 6 inches at the tip and not less than 10 inches 3 feet from the butt, for piles which are 25 feet or less in length. For piles which exceed 25 feet in length, the diameter at the tip shall be not less than 8 inches, and at 3 feet from the butt, the diameter shall not be less than 12 inches.

(b)  No piles which have a spiral grain exceeding one complete turn in 40 feet 0 inches shall be used. Squared timber piles less than 8 inches square shall not be used.

(c)  Untreated wood piles shall not be used, except piles made of timber which has been shown to be resistant to termites and wood borers. The approval of the Planning Board shall be sought for the use of all timbers for piling.

(d)  All other piles shall be pressure-treated in accordance with the requirements of Part XIII.

(e)  The allowable stress in compression parallel to the grain under maximum working load shall not exceed sixty per cent of the basic stress as determined by the U.S. National Forest Products Association or any other agency approved by the Planning Board, and in no case shall stress exceed 700 pounds per square inch.

(6)  (a)  The manufacture of pre-cast concrete piles shall conform in all respects to Part XV, concrete shall conform to not less than the requirements of standard mix ST4* for normal or easy driving and of mix ST5 for hard driving and for all piles used in marine work.

(b)  All piles shall be reinforced with not less than four longitudinal steel bars having an area of not less than 1.25 per cent and not more than four per cent of the gross cross-sectional area of the pile. All the main longitudinal bars shall be of uniform size and length. Joints in longitudinal bars, if unavoidable, shall be made by full-strength butt-welding.

(c)  Lateral reinforcement in the form of hoops or links shall be not less than 3/16 inch diameter. In the body of the pile, the lateral reinforcement shall be not less than two per cent of the gross volume spaced at not more than half the least width of the pile. For length of three times the least width of the pile at each end of the pile the volume of lateral reinforcement shall be not less than six per cent of the gross volume. The transition between the close spacing at the ends and the maximum spacing shall be made gradually over a length of three times the least width.

(d)  All reinforcement, including binding wire, shall be protected by at least 1½ inches of concrete cover except that for piles subjected to the action of open water, waves or other severe exposure 2½ inches cover shall be provided.

(e)  The compressive stress imposed on driven piles shall not exceed 750 pounds per square inch on the nominal minimum cross-sectional area of the pile.

(f)  Pre-cast concrete piles shall be not less than 10 inches × 10 inches in section.

(g)  All pre-cast concrete piles shall have their date of manufacture and the lifting points clearly marked on the pile. Concrete piles shall not be driven until they have attained their specified twenty-eight day strength as verified by tests, nor shall the piles be removed from the forms until fifty per cent of the specified twenty-eight day strength has been attained. Piles shall not be transported nor driven until they have been cured not less than seven days.

(7)  (a)  Pre-stressed concrete piles shall conform to regulation 153 except as specifically detailed in this regulation.

(b)  Longitudinal pre-stressing tendons shall have not less than 2 inches of cover except that for piles subject to open water or wave action, or other severe exposure the cover shall be 3 inches.

(c)  Lateral reinforcement shall be as specified in regulation 123(6)(c) for the pre-cast concrete piles.

(d)  Piles shall have a minimum pre-stress of 600 pounds per square inch at time of driving.

(e)  No tension shall be allowed in the concrete under working load conditions.

(f)  The compressive stress-in the pile under working load combined with the pre-stress in the pile at the time of loading shall not exceed one-third of the compressive strength of the pile.

(8)  (a)  Concrete piles cast in place against earth in drilled or bored holes shall be made in such a manner as to ensure the exclusion of any foreign matter and to secure a full-sized shaft.

(b)  Allowable stresses.—The allowable compressive stress in the concrete shall not exceed 0.225 times the specified twenty-eight day cube strength. The reinforcing steel shall conform to ASTM A706-82a – “Standard Specification for Low Alloy Steel Deformed Bars for Concrete Reinforcement” or to the equivalent British standard.

(c)  Cased cast-in-place concrete piles may consist of a steel or concrete shell driven in intimate contact with the surrounding soil and left in place and filled with concrete. Steel shells may be uniformly tapered, step-tapered, cylindrical or a combination of such shapes and may be laterally corrugated, spirally corrugated, longitudinally fluted or plain.

(d)  Pile shells and end closures shall be of sufficient strength and rigidity to permit their driving in keeping with the driving method used, and to prevent harmful distortion caused by soil pressure or the driving of adjacent piles until filled with concrete. A reduction of cross-sectional area in excess of fifteen per cent shall be cause for rejection. The shells shall also be sufficiently water-tight to exclude water during the placing of concrete. The minimum diameter shall be 8 inches.

(e)  Concrete for cast-in-place piles shall conform to not less than the requirements of Grade ST4, Table XV-B.

(f)  Reinforcement including binding wire shall have not less than 2 inches of concrete cover in uncased piles and 1 inch where piles are completely encased.

(g)  Where the shell has a thickness of 0.12 inches or more the shell may be considered as carrying part of the load.

(h)  Adequate allowance for corrosion shall be considered in the design but not less than the outer 1/16 inch of a steel shell shall be deducted before computing the area of the shell considered as carrying load. The load carried by the shell shall not exceed 9,000 pounds per square inch based on the net steel area deducting the allowance for corrosion.

(9)  (a)  The quality of the steel in joints, tubes, box piles and other plain or built-up sections shall comply with the specification for structural steel in conformance with the relevant ASTM or British standard.

(b)  No section shall have a nominal thickness of metal of less than ⅜ inch.

(c)  The allowable stress under working load shall not exceed twenty-five per cent of the minimum guaranteed yield stress of the steel.

(d)  Where adequate corrosion prevention is not provided, 1/16 inch shall be deducted from each surface in determining the area of the piles section.

(10)  The use of types of piles or conditions not specifically covered herein may be considered upon examination of acceptable test data, calculations or other information relating to the properties and load-carrying capacity of such piles.

124.   Foundation beams

(1)  Foundation beams, supporting loads between piles, shall be reinforced concrete or structural steel protected by at least 2 inches of concrete cover.

(2)  The width of foundation beams shall be at least equal to the thickness of the wall they support but never less than 8 inches.

(3)  Foundation beams shall be suitably designed and reinforced around access openings and vents.

125.   Sea walls and bulkheads

(1)  Sea walls, bulkheads, groynes and other retaining walls along an ocean front, bay, creek, canal, or waterway shall be designed by a professionally qualified and approved engineer.

(2)  (a)  The structure shall retain the adjoining earth from the surface of the ground to a point sufficiently deep to retain the base against surcharge pressures, with due design considerations for wave action and currents.

(b)  Timber shall not be used, other than where located below mean low water, except that bore resistant or appropriately treated woods may be approved by the Planning Board.

(c)  Structures shall be classed as gravity types when the resultant of the acting forces falls within the middle third of the base. Boulder-type walls shall be considered as gravity type where the base width equals or exceeds the height of the wall. Structures which are not of gravity or cantilever type shall be secured to properly designed anchors.

(d)  Where structures are constructed of a combination of lime rock boulders and concrete, the minimum percentage of cross-section area of the concrete to the total cross-section area of the structure shall be forty per cent, not including concrete used for copings or decorative purposes.

126.   Caissons

(1)  The footings of any structure may be carried down to a firm foundation by isolated piers of reinforced concrete or by open or pneumatic caissons either with or without enlarged base or bell at the bottom.

(2)  (a)  The safe-carrying capacity of such shafts or caissons shall not exceed the allowable unit bearing capacity of the soil multiplied by the area of the base or bell at the bottom, provided such bell shall have at least a 12 inches thickness of concrete at its edge and the sides shall slope at an angle of not less than sixty degrees with the horizontal.

(b)  In no case shall such piers or caissons be of less than 2 feet minimum horizontal dimension.

PART XIII

Timber Construction

127.   General

Timber members used for structural purposes shall be designed by methods admitting of rational analysis according to established principles of mechanics.

128.   Standards

(a)	  Standards of construction shall be at least equal to standards in the latest edition of CUBiC Part 2 section 8 – Structural Timber, or the American Institute of Timber Construction – AITC 100; or BS 5268 – Structural Use of Timber, or other Standard approved by the Planning Board for environmental conditions in Saint Vincent and the Grenadines.

(b)	  CUBiC Part 2 section 8, is hereby adopted as being part of these Regulations and supplements, but does not supersede the specific requirements set forth herein.

129.   Quality of timber products

(1)  (a)  Wood used for structural purposes shall be pressure treated or have natural resistance to termites. The approval of the Planning Board is required for the use of any timber for structural purposes that has not been pressure treated.

(b)  Approved wood having natural resistance to termites include greenheart, redwood or red cedar.

(c)  The standard of the American Wood Pressures Bureau or the American Wood Pressure Association shall be deemed as approved in respect of pressure treated wood.

(d)  The soil should be treated against termites as a protection against the termite infestation in the area in which the building is being constructed. This treatment should be carried out by experienced contractors using methods and materials approved by the Planning Board.

(e)  The developer shall confirm the natural resistance of the timber to be used by providing test certificates or other relevant information for the approval of the Planning Board.

(2)  (a)  All lumber, including end-jointed lumber, used for load supporting purposes shall be identified by grade mark of a Lumber Grading or Inspection Bureau or Agency approved by the Planning Board.

(b)  Structural glued laminated timber shall be manufactured in accordance with AITC 117 “Standard Specification for Structural Glued Laminated Timbers of Softwood Species, Manufacture and Design or BS 5268 Part 2, Structural Use of Timber”.

(c)  All plywood when used structurally, including among others, used for siding, roof and wall sheathing, sub-flooring, diaphragms and built-up members, shall conform to the performance standards for its type as determined by the American Plywood Design Specifications for Plywood Lumber Components or other standards approved by the Planning Board.

(d)  Plywood components shall be designed and fabricated in accordance with the applicable standards and identified by the trade marks of a testing and inspection agency approved by the Planning Board and indicating conformance with the applicable standard. In addition, all plywood when permanently exposed in outdoor applications, shall be of exterior type.

(e)  Wood shingles or shakes shall be identified by the grade mark of a grading or inspection bureau or agency recognised by the Planning Board as being competent.

(f)  Fibreboard for its various uses shall conform to “Voluntary Product Standard, Cellulose Fibre Insulating Planning Board PS-57”. Fibreboard sheathing when used structurally shall be so identified by an approved agency conforming to the product standard. Fibreboard should not be used for exterior structural purposes without specific approval of the Planning Board.

(g)  Hardboard shall conform to the applicable product standard, “PS-58 Basic Hardboard”, “PS-59 Pre-finished Hardboard Panelling” or “PS-60 Hardboard Siding”, and shall be identified as to classification. Hardboard siding when used structurally shall be identified by an agency approved by the Planning Board as conforming to the product standard.

(h)  Particle board shall conform to American National Standard for Mat-Formed Wood Particle board – ANSI A208.1. Particle board shall be identified by the grade mark or Certificate of Inspection issued by an agency approved by the Planning Board.

(i)  Particle board sub-floor or combination sub-floor-underlayment shall conform to one of the grades in Table XIII-D.

(j)  Particle board should be used with caution. Particle board used for sub-flooring or roof decking or for wall sheathing should be moisture and termite resistant.

(k)  All lumber and plywood required to be treated shall bear an approved AWPB quality mark or that of an inspection agency approved by the Planning Board that maintains continuing control, testing and inspection over the quality of the products.

(l)  Wood flooring of the various types shall be manufactured and identified as required in an appropriate standard such as—

(i)	Laminated Hardwood Block Flooring – Interim Industry Standard HPMA-LF 1971,

(ii)	Flooring Grading Rules (Oak, Pecan Beech, Birch, Hard Maple) – National Oak Flooring Manufacturers Association,

(iii)	Hard Maple Flooring Standard Specification (Hard Maple, Beech and Birch) – Maple Flooring Manufacturers Association.

(m)  It is recommended that where rainwater is collected from a shingled roof a filter be installed at the inlet pipe to the storage tank.

130.   Sizes of lumber

(1)  All timber structural members shall be of sufficient size to carry the dead and required live loads without exceeding the allowable deflections or working stresses specified. Adequate bracing and bridging to resist wind and other forces shall be provided.

(2)  Sizes of timber members referred to by these Regulations are nominal sizes. The minimum acceptable net sizes conforming to normal sizes shall be within two per cent of the minimum net sizes specified in AITC 100 at nineteen per cent moisture content. Computations to determine the required sizes of members shall be based on the net sizes contained in the standard.

131.   Allowable unit stresses

(1)  (a)  Timber joists and rafters shall be designed using the allowable unit stresses in AITC 100.

(b)  Timber members supporting plastered ceilings shall be so proportioned that their deflection under full live load shall not exceed 1/360 of the span, and timber members, not supporting plastered ceilings, shall be so proportioned that their deflection under full live load shall not exceed 1/240 of the span.

(c)  The span of roof rafters shall be measured horizontally from bearing to bearing.

(d)  Where there is an accessible space having a clear vertical height of 30 inches or more, ceiling joists shall be designed as having usable attic space.

(2)  (a)  Working stresses of plywood other than those covered by the American Plywood Association Standard shall be determined according to the (APA) species.

(b)  All plywood permanently exposed in outdoor locations shall be of exterior type, and where used for roof or exterior wall sheathing shall meet the performance standards for exterior type plywood in the APA standard.

(c)  Walls or roofs sheathed with plywood may be considered as diaphragms to distribute horizontal forces, based on structural analysis or tests, and where so used plywood shall be bonded with approved exterior adhesive.

(d) All plywood used structurally shall bear the identification of an approved agency as to type and grade, species of veneer used and conformance with the appropriate standard.

(3)  (a)  The Planning Board may require tests to determine the strength, permanence, effect of moisture and insect resistance of adhesives, and only approved adhesives may be used.

(b)  The Planning Board may limit or otherwise regulate the use of glued laminated members after consideration of the manufacture, location and service.

(4)  (a)  Trusses shall be designed by methods admitting of rational analysis.

(b)  Where metal is used for connecting wood members such metal shall be not less than 18 gauge and shall be galvanised.

(c)  The allowable deflection under live load, for trusses shall be 1/360 of the span for plastered ceilings, 1/240 for unplastered finished ceilings and 1/180 for trusses without a ceiling.

(d)  The design of metal plate connected wood trusses shall comply with the “Design Specifications for Light Metal Plate Connected Wood Roof Trusses” – Truss Plate Institute, 2400 East Devon, Des Plaines, Illinois 60018, or other Standard approved by the Planning Board.

(e)  Where trusses are to support mechanical or other equipment, the trusses shall be designed for such additional load.

132.   Construction details

(1)  (a)  Maximum spans for roof joists and rafters shall be in accordance with “Span Tables for Joists and Rafters”, as published by the National Forest Products Association, or other acceptable design method.

(b)  Joists shall be supported laterally at the ends by solid blocks or diagonal struts. Such bridging may be omitted where ends of joists are nailed to a header, band joist or to an adjoining stud.

(c)  Notches on the ends of joists shall not exceed one-fourth (¼) the depth. Holes bored for pipes or cable shall be on the neutral axis and at least 2 inches from the top or bottom of the joist. The diameter of any such hole shall not exceed one-third (⅓) the depth of the joist. Holes shall not be less than three diameters apart. Notches for pipes in the top or bottom of joists shall not exceed one-sixth (1/6) the depth and shall not be located in the middle one-third (⅓) of the span.

(2)  (a)  All rafters and roof joists shall be covered with sheathing such as—

(i)	Lumber—

Solid sheathing – Wood boards of three quarter (¾) inch (net) minimum thickness,

(ii)	Plywood—

Applied in accordance with the provisions of Table XIII-A(i),

(iii)	Insulating Roof Deck—

Fibreboard insulating roof deck not less than one (1) inch nominal thickness.

(b)  Joints in lumber sheathing shall occur over supports unless end-notched lumber or approved clips are used, in which case each piece shall bear on at least two rafters.

(3)  (a)  Maximum spans for floor joists shall be in accordance with the “Span Tables for Joists and Rafters”, as provided by the National Forest Products Association, or may be designed in accordance with other standard criteria.

(b)  Spans for field-glued plywood lumber floor systems using adhesives shall be as set forth in “APA Glued System”, as published by the America Plywood Association. Adhesives for the APA Glued Floor System shall be those meeting the requirements of AFG-01, “Adhesives for Field Gluing Plywood to Wood Framing”, as published by the American Plywood Association.

(c)  Except where supported on a one by four inch (1 inch x 4 inches) ribbon strip and nailed to the adjoining stud, the ends of each joist shall have not less than one and one and a half (1½) inches of bearing on wood or metal nor less than three (3) inches of masonry.

(d)  Floor joists having a depth to thickness ratio exceeding six and the design live load is in excess of forty (40) pounds per square foot, shall be supported laterally by bridging or blocking installed at intervals not exceeding eight (8) feet.

(e)  Joists shall be supported laterally at the ends by solid blocks or diagonal struts except where the ends of joists are nailed to a beam (wood or steel with an attached nailer) header, band joists or to an adjoining stud.

(f)  Notches on the ends of joists shall not exceed one-fourth (¼) the depth. Holes bored for pipes or cables shall not be within two (2) inches of the top or bottom of the joist and the diameter of any such hole shall not exceed one-third (⅓) the depth of the joist Notches for pipes in the top or bottom of joists shall not exceed one-sixth (1/6) the depth and shall not be located in the middle one-third (⅓) of the span.

(g)  Joists framing from opposite sides of a beam, girder or partition shall be lapped at least 4 inches and fastened, or the opposing joists shall be tied together in an approved manner.

(h)  Joists framing into the side of a wood girder shall be supported by framing anchors, on ledger strips not less than 2 inches × 2 inches, or by other approved methods.

| TABLE XIII-A(i) |
| --- |
| Spans of Plywood Sub-floor |
| Continuous over Two or More Supports |
| Panel Identification Index | Maximum Span (in.) |
| 32/16, 36/16 | 16 |
| 42/20 | 20 |
| 48/24 | 24 |

| TABLE XIII-A(ii) |
| --- |
| Allowable Spans for Plywood Roof Sheathing Continuous over two or more Supports (in.) |
| Panel Identification Index | Maximum span if block or other edge support (in.) | Maximum span without edge support (in.) |
| 24/0 (½″ only) | 24 | 20 |
| 30/12 | 30 | 26 |
| 32/16 | 30 | 28 |
| 36/16 | 32 | 30 |
| 42/20 | 36 | 32 |
| 48/24 | 42 | 36 |
| Notes.— |
| (1) These values apply for Structural 1 and 11, C-D Sheathing and C-C grades only. Spans shall be limited to values shown because of possible effect of concentrated loads. |
| Edges may be blocked with lumber or other approved type of edge support. |
| (2) Identification Index appears on all panels in the construction grades listed in footnote (1). |
| (3) For roof live load of 40 psf, decrease span by thirteen per cent or use panel with next greater identification index. |
| (4) Plywood edges shall have approved tongue and groove joints or shall be supported with blocking, unless one-fourth (¼) inch minimum thickness underlayment is installed, or finished floor is 25/32 inch wood strip. Allowable uniform load based on deflection of 1/360 of span is 165 psf. |
| (5) For joists spaced 24 inches on plywood sheathing with Identification Index numbers 42/20 or greater can be used for sub-floors when supporting 1½ inches lightweight concrete. |

| TABLE XIII-B |
| --- |
| Allowable Spans for Plywood Combination Subfloor-Underlayment |
| Plywood Continuous over two or more Spans and Face Grain Perpendicular to Supports –Thickness in inches |
| Species Groups | Maximum Spacing of Joists (inches) |
| 1 | 16 | 20 | 24 |
|  | ½ | ⅝ | ¾ |
| 2,3 | ⅝ | ¾ | ⅞ |
| 4 | ¾ | ⅞ | 1 |
| Notes.— |  |  |  |
| (1) Applicable to Underlayment grade, C-C (Plugged) and all grades of sanded exterior type plywood. Spam limited to values shown because of possible effect of concentrated loads. Allowable uniform load based on deflection of 1/360 of span is 125 psf. Plywood edges shall have approved tongue and groove joints or shall be supported with blocking, unless one-fourth (¼) inch minimum thickness underlayment is installed, or finish floor is 25/32 inch wood strip. |
| (2) If wood strips are perpendicular to supports, thickness shown for 16 inches and 20 inches spans may be used on 24 inches spans. Except for ½ inch. |
| (3) Underlayment Grade and C-C (plugged) panels may be of nominal thickness 1/32 inch less than the nominal thickness shown when marked with the reduced thickness. |

| TABLE XIII-C |
| --- |
| Minimum Thickness of Lumber Sub-flooring |
| Joist spacing (in.)* | Minimum net thickness for lumber placed (in.) |
|  | Perpendicular to joists | Diagonally to joists |
| 24 | 11/16 | ¾ |
| 16 | ⅝ | ⅝ |
| 12 | ⅝ | ⅝ |
| Note.—*Joists in sub-flooring shall occur over supports unless end-matched lumber is used, in which case each piece shall bear on at least two (2) joists. |

(4)  (a)  All floor joists shall be covered with sub-flooring such as lumber, plywood or particle board. Sub-flooring may be omitted when tongue and groove boards are used as per paragraph (d).

(b)  The minimum thickness of lumber used as sub-flooring shall be in accordance with Table XIII-C.

(c)  Plywood shall be applied in accordance with the provisions of Table XII-B.

(d)  Sub-flooring may be omitted when joist spacing does not exceed sixteen (16) inches and nominal one (1) inch tongue and grooved wood strip flooring is applied perpendicular to the joists.

(e)  When resilient flooring is applied directly to plywood sub-floor, it shall be applied in accordance with the provisions of Table XIII-C and fastened in accordance with a standard fastening system.

(f)  Particle board should be applied in accordance with an acceptable fastening system in accordance with NPA – 1969 “How to Install Particle board Underlayment”. When resilient flooring is applied directly to the particle board sub-floor, it shall be applied in accordance with the provisions of Table XIII-D and fastened in accordance with a standard fastening system.

| TABLE XIII-D |
| --- |
| Allowable Spans for Particleboard Subfloor and Combined Subfloor underlayment |
| Grade | Thickness (in.) | Maximum spacing of supports (2), (3) |
|  |  | Subfloor (in.) | Combined subfloor underlayment (in.) |
| 2 - M - W | ⅝ | 16 | 16 |
| 2 - M - W | 21/32 | 16 | 16 |
|  | ¾ | 19 | 19 |
| 2 - M - F | ¾ | 19 | 19 |
| 2 - M - F | ¾ | 19 | 19 |
| Notes.— |
| (1) All panels continuous over two (2) or more supports and the tongue and groove panels are installed with the long dimension perpendicular to supports. |
| (2) Uniform deflection limitation: l/360th of the span under 100 psf minimum load. |
| (3) Edges shall have tongue and groove joints or shall be supported with blocking unless ¼ inch minimum thickness underlayment is installed or finish floor is 25/32 inch wood strip. |
| (4) Floor sheathing conforming with this Table shall be deemed to meet the design criteria of 132(4). |

(5)  (a)  Where post and beam framing is used in lieu of stud and joist construction, the posts shall be located to support the beams above and shall be designed in accordance with sound engineering principles.

(b)  Intermediate framing shall be attached to the posts and braced so that the frame is capable of accepting lateral loads in addition to loads transferred by the sheeting.

(6)  (a)  Stair framing shall be supported adequately on floor framing or on walls or partitions.

(b)  Except in public stairs where the number and size of stringers shall be determined by engineering analysis, two (2) rough stringers shall be provided for each set of stairs, cut to receive finish treads and risers of uniform width and height.

(c)  Unless stringers are supported on partitions, and except for open staircases, the minimum effective depth at each notch shall be not less than three and one-half (3½) inches.

(7)  Bearing partitions parallel to joists shall be supported on beams, girders, walls or other bearing partitions. Bearing partitions perpendicular to joists shall not be offset from supporting girders, wall or partitions more than the joist depth, unless such joists are of sufficient size to carry the additional load.

(8)  Stud size and spacing of studs in one and two storey buildings shall be not less than 2 inches × 4 inches with the wide face perpendicular to the wall. In three storey buildings, studs in the first storey shall be not less than 3 inches × 4 inches or 2 inches × 6 inches. Studs shall be spaced not more than as shown in Table XIII-E. However, the walls shall be designed to resist the dead and live loads as per Part XI.

| TABLE XIII-E |
| --- |
| Maximum Spacing of Studs (inches) |
| Stud size (in.) | Supporting roof and ceiling only | Supporting 1 floor, roof and ceiling | Supporting 2 floors, roof and ceiling |
| 2 x 4 | 24 | 16 | 16 |
| 3 x 4 | 24 | 24 | 16 |
| 4 x 4 | 24 | 24 | 16 |
| 2 x 6 | 24 | 24 | 16 |

(9)  (a)  Not less than three (3) studs shall be installed at every corner of an exterior wall, except that a third stud may be omitted through the use of continuous wood spacer or backup cleat of ⅜ inch thick plywood, 1 inch thick lumber or other approved devices which will serve as an adequate backing for the attachment of facing materials.

(b)  Stud walls shall be braced by one of the following methods—

(i)	nominal 1 inches × 4 inches continuous diagonal strips set into the face of the studs and top and bottom plates at each corner of the building,

(ii)	wood boards of five-eighths (⅝) inch (net) minimum thickness, applied diagonally,

(iii)	wood sheathing panels 2 × 8 feet of five-eighths (⅝) inch minimum thickness applied horizontally,

(iv)	plywood sheathing panels not less than forty-eight (48) inches wide and ninety six (96) inches long applied vertically or horizontally.

(c)  Sheathing shall be applied on the exterior walls of all type 5 buildings (Table II-B), more than one (1) storey in height except when back plastered stucco construction is used. However, where sheathing is not being used the method of applying the waterproof wall finish shall be carried out to the approval of the Planning Board.

(d)  Sheathing, where required for exterior walls, shall be applied solidly over the wall surface and shall be one or more of the following materials and shall be installed in accordance with the manufacturers’ recommendations—

(i)	wood and sheathing panels five-eighths (⅝) inch minimum thickness,

(ii)	plywood complying with Table XIII-E shall be not less than five-sixteenths (5/16) inch thick for 16 inch stud spacing or not less than three eighths (⅜) inch for 24 inch stud spacing. Plywood of exterior type complying with regulation 132(8) may also serve as siding.

| TABLE XIII-F |
| --- |
| Allowable Spans for Plywood wall Sheathing |
| Panel identification | Maximum stud spacing and construction (in.) Exterior covering nailed to— |
|  | Stud | Sheathing |
| 5/16 | 16 | 16 |
| ⅜ and ½ | 24 | 16 |
| 3 ply | 24 | 24 |
| ½ (4 and 5 ply) | 24 | 24 |
| Notes.— |
| (a) When plywood sheathing is used, building paper and diagonal wall bracing can be omitted. |
| (b) When siding such as shingles is nailed only to the plywood sheathing, apply plywood with face grain across studs. |

(10)  (a)  Studs in one (1) and two (2) storey buildings shall be not less than two (2) x four (4) inches with the wide face perpendicular to the partitions. In three (3) storey buildings, studs in the first storey shall not be less than three (3) by four (4) inch or two (2) by six (6) inches.

(b)  Studs shall be spaced not more than shown in Table XIII-E.

(c)  Headers shall be provided over each opening in interior bearing partitions.

(d)  Studs shall be capped with double top plates installed to provide overlapping at corners and at intersections with exterior walls. End joints in double top plates shall be offset at least twenty-four (24) inches. For platform frame construction, studs shall rest on a single bottom plate except that a single top plate may be installed but must be designed so as to provide continuity of the capping.

(11)  Exterior wall coverings of other than the following shall be of material approved for exterior use and shall be applied in accordance with the manufacturers’ recommendations when not otherwise covered in these Regulations. Exterior wall coverings shall provide weather protection for the building at the walls.

(a)	Weather-boarding.—Wood siding patterns known as rustic drop siding or shiplap shall have an average thickness in place of not less than nineteen-thirty seconds (19/32) inch and shall have a minimum thickness of not less than three-eighths (⅜) inch. Bevel siding shall have a minimum thickness measured at the butt section of not less than seven-sixteenths (7/16) 	inch and a tip thickness of not less man three-sixteenths (3/16) inch. Siding of lesser dimensions may be used provided such wall covering is placed over sheathing which conforms to regulation 132(9).

(b)	Wood Shingles or Shakes.—Wood shingles or shakes attached to sheathing other than wood or plywood shall be secured with approved mechanically bonding nails or by corrosive resisting common nails on shingle nailing boards securely nailed to each stud with two 8d nails. Wood shingles or shakes may be applied over fibreboard shingle backer and fibreboard sheathing with approved non-corrosion annular grooved nails or may be nailed directly to fibreboard sheathing with non-corrosion annular grooved nails. The minimum thickness of wood shingles or shakes between nailing boards shall be not less than three-eighths (⅜) inch.

(c)	Plywood.—Plywood shall be of the exterior type and shall have a minimum thickness of three-eighths (⅜) inch. All plywood joints shall be backed solidly with nailing pieces not less than two (2) inches in width, unless wood or plywood sheathing is used, or joints are lapped horizontally, or otherwise made waterproof.

(d)	Stucco.—Stucco or exterior plaster shall conform to requirements of Part XIV.

(e)	Metal.—Exterior wall coverings may be of formed metal not less than 18 gauge in thickness. For aluminium siding, the instructions of the manufacturers are to be followed.

(f)	Flashing shall be provided as necessary to prevent the entrance of water at openings or projections through exterior walls, at intersections of exterior wall coverings of different materials, unless such materials are provided with self-flashing joints, at other points subject to the entrance of water. Caulking shall be provided where such flashing is determined by the Planning Board to be impractical.

(12)  (a)  Any roof covering permitted in these Regulations may be applied to dwellings. Whenever composition roofing is used, solid sheathing shall be applied.

(b)  Flashings shall be placed around openings and extensions of mechanical appliances or equipment through the roof and otherwise as necessary to provide adequate drainage.

(c)  All roof coverings shall be installed in accordance with standard approved practices and in accordance with manufacturer’s instructions.

(d)  The fire resistive rating of the roof covering shall be approved by the Planning Board for the specific application desired.

133.   Ventilation

(1)  The space between ceiling joists and roof rafters shall be effectively ventilated. Openings shall be located to provide effective cross-ventilation and such openings shall be covered with a corrosion-resistant mesh.

(2)  The space between the bottom of wood-floor joists and the ground of any building, except such space as is occupied by a basement or cellar, shall have ventilating openings through foundation walls, and such openings shall be covered with a corrosion-resistant wire mesh. Where practicable, ventilating openings shall be arranged on three sides. The minimum total area of ventilating openings shall be 2 square feet for each 15 feet of exterior wall. Such openings need not be placed in the front of the building.

(3)  Where wood-floor joists are used, there shall be not less than 18 inches distance between the bottom of such floor joists and the ground beneath.

PART XIV

Concrete Block and Masonry Construction

134.   Scope of Part XIV

(1)  All masonry construction shall conform to the provisions of this Part and other applicable Parts of these Regulations. The principal reference codes and standards are CUBiC Part 2, section 4 – Structural Requirements – Block Masonry and ACI530-92 – Building Code Requirements for Masonry Structures.

(2)  In all cases masonry shall be of adequate thickness, strength and proportions to support all superimposed loads within the allowable working stresses prescribed.

(3)  All masonry materials are required to meet the specifications as outlined in regulation 135. If the Planning Board has reason to doubt that the materials meet the applicable specifications it may require tests on the materials.

(4)  Masonry units may be reused when clean, whole and conforming to the other requirements of this Part, except that the allowable working stresses shall be fifty per cent of those permitted for new masonry units.

(5)  Masonry units to be reused as structural units in areas subject to the action of the weather or soil shall not be permitted unless representative samples are tested for compliance with the applicable requirements of regulation 135.

(6)  The wall thickness and other specified dimensions are nominal dimensions. The actual masonry or wall dimensions may vary from the nominal dimensions by not more than one-half (½) inch.

(7)  Where masonry units are used as veneer, weepholes shall be provided at four (4) feet on centres by omitting mortar in the vertical joints at the bottom course of the veneer or at the lintels in multistorey buildings. A shield or insect barrier shall be provided having openings or louvers one-sixteenth (1/16) inch or less which drains and dries the inner cavity but will retain poured insulation.

(8)  All brick masonry units, except hollow clay and shale brick, shall be laid with full head and bed joints and all interior vertical joints that are designed to receive mortar shall be filled. The average thickness of head and bed joints shall not exceed one-half (½) inch.

135.   Quality, tests and approval

(1)  (a)  The quality of materials assembled into masonry and the method and manner of their assembly shall conform to the requirements of this regulation.

(b)  Other material of masonry, other than set forth herein, which is incombustible and otherwise sufficiently embodies the characteristics and satisfies the requirements of one of the materials herein may be specified by the designer of the building, but the use of such material shall be subject to the approval of the Planning Board.

(2)  The structural use of brick shall be avoided except where special provision can be made for reinforcement or for composite behaviour with other members of materials such as steel or reinforcement or for composite behaviour with other members of materials such as steel or reinforced concrete.

(3)  (a)  Hollow concrete masonry units shall be of a quality at least equal to that required by “Specifications for Hollow Load-Bearing Concrete Masonry Units, ASTM C90”, or “Specifications for Solid Load-Bearing Concrete Masonry Units, ASTM C145”, when used for bearing walls or piers or when in contact with the ground or exposed to the weather, or equal to “Specifications for Hollow Non-Load-Bearing Concrete Masonry Units ASTM C129” when used for non-load bearing purposes and not exposed to the weather.

(b)  Structural concrete filler-block or floor tile when included in strength calculations in ribbed floor construction shall have webs and shells not less than 1 inch thick, unless otherwise designed, and shall develop an average compressive strength on the net area not less than that of the rib concrete.

(c)  Concrete in-fill shall be in accordance with Table XIV-C(ii) or with CUBiC Table 2.405.1.

(4)  (a)  Mortar and its ingredients shall be of a quality at least equal to that required by “Standard Specifications for Mortar for Units Masonry, ASTM C270”, or “Standard Specifications for Mortar and Grout for Reinforced Masonry, ASTM C476” or the relevant British standard.

(b)  Masonry cement shall be of a quality at least equal to that required by “Masonry Cement, ASTM C91”.

(c)  The type of mortar used for any specific job shall be as required in Table XIV-B.

(d)  Grout for non-reinforced and reinforced masonry shall conform to “Standard Specifications for Mortar and Grout for Reinforced Masonry, ASTM C476”.

(e)  Where mortar type is determined in accordance with Table XIV-A the volume of aggregate in mortar shall be not less than two and one-fourth (2¼) times but not more than three times the volume of cementitious material. When mortar type is determined by proportions, the aggregate ratio shall comply with Table XIV-C(i).

136.   Working stresses

(1)  (a)  In determining the stresses in masonry, the effects of all loads and conditions of loading and the influence of all forces affecting the design and strength of the several parts shall be taken into account.

(b)  The thickness of masonry walls shall be sufficient at all points to withstand all vertical and horizontal loads as specified in Part XI.

(c)  Stresses shall be calculated on actual rather than nominal dimensions.

(d)  The maximum allowable stresses in masonry shall not exceed those set out in this section, unless it can be determined by accepted engineering analysis that the design meets all safety requirements.

(2)  Except as may be permitted by the Physical Planner on the basis of a rational engineering design, the compressive stresses in un-reinforced masonry shall not exceed the values given in Table XIV-D.

(3)  Higher stresses than herein specified may be used, but only if it is clearly established to the satisfaction of the Planning Board, by tests, or other approved evidence, that material of a higher grade or a superior workmanship than is generally provided in accepted practice will be employed under approved inspection. Higher stresses, however, shall not be used unless approval is given by the Planning Board in writing.

(4)  In composite walls or other structural members composed of different kinds or grade of masonry units or mortars, the maximum stress shall not exceed the allowable stress for the weakest of the units and mortars of which the wall or member is composed.

(5)  Unless designed in accordance with the provisions of Part XV, structural members of plain concrete shall be proportioned for allowable stresses not to exceed twenty-five per cent for compression and three per cent for tension in extreme fiber in flexure of the compressive strength of the concrete. When the ratio of height to thickness exceeds ten (10), the percentages for compression stress shall be reduced proportionately to eighteen per cent for a ratio of height to the thickness of 20.

(6)  The shear in unit masonry shall not exceed one tenth the allowable compressive stress.

(7)  Un-reinforced unit masonry shall be assumed to have no value in resisting tension.

(8)  Walls of hollow masonry units shall not directly support concentrated loads. Such loads shall be carried by concrete padstones or capping beams.

137.   Construction details

(1)  (a)  Masonry walls of hollow or solid units or plain concrete shall be constructed as specified in Part 2, section 2.400 of CUBiC, or in accordance with alternative rational design and detailing based on the fundamental principles of structural engineering.

(b)  Reinforced concrete shall comply with the requirements of Part XV.

(c)  Part 2, section 2.445 of CUBiC is applicable for the construction of single or two storey buildings to resist seismic and hurricane loads.

(2)  (a)  Load bearing walls of unit masonry shall have a minimum thickness of 6 inches except as otherwise approved by the Planning Board on the basis of engineering calculations showing that the wall can resist adequately the calculated vertical and horizontal forces.

(b)  No roof or other members shall be so placed that they will develop direct horizontal thrust on walls unless such walls are specifically designed to withstand such thrust.

(c)  The maximum area of wall panels of 6 inches or 8 inches thick unit masonry, as measured between the concrete members which frame the panel such as the beams and its columns shall not exceed 256 square feet unless otherwise approved by the Planning Board on the basis of engineering calculations provided by the design engineer.

(d)  For resistance to seismic and lateral forces, walls of hollow concrete block shall be designed in accordance with CUBiC Part 2, section 4 – Structural Design Requirements Block Masonry, or in accordance with any other code approved by the Planning Board.

(e)  Wall reinforcement shall be as required by Seismic Performance Category C for buildings in seismic zones with peak accelerations of 0.2g to 0.3g. Police stations and buildings housing emergency medical facilities and other buildings as required by the Planning Board shall be designed in accordance with Seismic Performance Category D. (See CUBiC 2.424).

(f)  A check shall be made to establish if the minimum reinforcement in block walls is adequate for walls under wind or earthquake loads.

(3)  (a)  Concrete stiffener columns shall be required in walls of unit masonry as follows—

(i)	the maximum area of wall panels of 6 inches or 8 inches thick concrete block as measured between the concrete members which frame the panels, such as the beams and stiffener columns shall be 256 square feet,

(ii)	at intervals not exceeding 20 feet between columns,

(iii)	at corners and junctions of load bearing walls, unless the walls are properly bonded into one another and no opening occurs within 1 foot 4 inches of the nearest wall face at the corner,

(iv)	at the end of load bearing walls,

(v)	notwithstanding the above, concrete stiffener columns shall also be required adjacent to any wall opening if the omission of the columns would result in stresses in the block work greater than that permitted under regulation 136(4) at the ends of free standing walls.

(b)  Structurally designed columns may be substituted for the stiffener columns herein required. When interior crosswalls are properly bonded into the external wall, these may be assumed to act as ties to the columns, provided no openings occur in either the exterior walls or the interior cross walls within 1 foot 4 inches of the nearest wall face.

(c)  A corner or junction shall be considered to be properly bonded if all holes in all hollow blocks forming the junction are filled with concrete as per CUBiC Part 2, section 4, Table 2.405.1 and reinforced with No. 4 bars. Concreting of the cavities shall be in accordance with CUBiC 2.409.17.

(d)  Stiffener columns shall not be less than 12 inches in width unless otherwise approved by the Planning Board. Stiffener columns having an unbraced height exceeding 15 feet shall be not less in thickness than the wall and not less than 9 inches. The column shall be designed to resist applicable lateral loads based on rational analysis. The unbraced height shall be taken at the point of positive lateral support.

(e)  Stiffener columns shall be reinforced in accordance with Part 2, section 4 of CUBiC (2.413) and with not less than 0.010 times the gross cross-sectional area of the concrete, nor less than four ½ inch diameter bars, with ¼ inch diameter links spaced at 12 inch centres generally and in accordance with 2.413.8 of CUBiC. Vertical reinforcing shall be tied to the footing and splices shall be lapped 30 bar diameters. The cover to the reinforcement, including links, shall be not less than 1 inch.

(f)  The concrete stiffener columns set forth herein are a minimum to limit masonry panel areas and provide an integrated framework for masonry. The spacing of concrete columns for skeleton frame construction may exceed the spacing herein set forth provided the masonry panels have an area of less than 256 square feet, and the structural system is designed to transmit horizontal wind loads to the columns.

(g)  Concrete stiffener columns designed to limit masonry panel areas may be offset at tie beams or other horizontal members to avoid openings, but the maximum spacing shall not be exceeded.

(h)  Concrete stiffener columns in load bearing walls shall normally be poured only after the masonry units are in place. Where masonry walls in skeleton frame construction are laid up after the frame has been erected they shall be properly tied to the frame with vertical bars at 16 inch centres and horizontal bars at 24 inch centres. Where structural steel members are fire-protected with masonry units the panel walls shall be bonded into such units.

(i)  For small masonry buildings, the requirements set forth in CUBiC Part 2, section 4 or those set forth in the Building Guidelines apply.

(4)  (a)  Tie beams of reinforced concrete shall be placed in all walls of unit masonry, at each floor or roof level and at such intermediate levels as may be required to limit the vertical heights of the masonry units to 12 feet. For external walls of 6 inches concrete block the vertical height shall be no greater than 9 feet.

(b)  A tie beam shall be not less in dimension than required for the conditions of loading nor less than the following minimums, the width of a tie beam shall be not less than the width of the wall supporting it, the depth of such a beam shall be not less than 8 inches.

(c)  The tie beam shall be continuous. Continuity of the reinforcing in straight runs shall be provided by lapping splices not less than 30 diameters for deformed bars. Continuity shall be ensured at corners by providing positive anchorage to the main reinforcement. Continuity at columns shall be provided by continuing horizontal reinforcing through columns or by bending horizontal reinforcing in the columns a distance of 30 diameters.

(d)  Changes in level of tie beams shall be made at columns.

(e)  A tie beam may follow the rake of a gable or shed end.

(f)  The concrete in tie beams shall be bonded to the masonry units immediately below and shall not be separated therefrom by wood, felt or any other material which may prevent bond.

(5)  (a)  Masonry parapet walls shall be reinforced with minimum stiffener columns as previously specified and shall be coped with a concrete beam not less than 24 square inch in cross-section, reinforced with two ⅜ inch diameter reinforcing bars.

(b)  A parapet wall exceeding 5 feet in height above a tie beam or other point of lateral support shall be specifically designed to resist horizontal wind and other loads.

(6)  (a)  In any section of a load bearing masonry wall where openings are arranged to leave a load bearing section of wall less than 16 inches wide, such section shall be of steel or reinforced concrete.

(b)  Isolated masonry piers shall be so constructed that the height of any such pier shall not exceed ten times the least dimension.

(7)  Load bearing walls of brick and stone shall be laterally supported by stiffener columns and tie beams, or the equivalent thereof, as detailed in this regulation and shall meet these additional requirements—

(1)	In all brick walls at least every sixth course on both sides of the wall shall be a header course or there shall be at least one full header in every 72 square inch of each wall surface. In walls more than 12 inches thick, the inner joints of header courses shall be covered with another header course which shall break joints with the course below.

(2)	Rubble stone walls shall be 4 inches thicker than is required for solid brick or concrete walls of the same respective heights but no part shall be less than 16 inches thick.

(8)  (a)  The requirements specified herein shall apply to non-load bearing partitions, other than fire walls, of unit masonry construction.

(b)  The lateral distance between vertical supports of non-load bearing interior partitions of unit masonry shall not exceed 36 times the actual thickness of the partition, excluding plaster and the height shall not exceed the length.

(c)  A partition which does not extend to full storey height shall be capped with a concrete beam at least 4 inches high and of width at least equal to the width of the partition. The beam shall be reinforced with a single ⅜ inch diameter bar to which all vertical reinforcing bars shall be anchored.

(9)  Decorative grills or screens constructed of masonry laid with cells through the wall shall be non-load bearing and shall have units so bonded and reinforced as to resist all over turning moments.

138.   Change in wall thickness

Except for permissible chases and recesses, walls shall not vary in thickness between their lateral supports. Where cavity walls or walls of hollow masonry units are decreased in thickness, a course of solid masonry not less than four (4) inches in thickness shall be interposed between the wall below and the thinner wall above, or the hollow units in the top course of the thicker wall shall be filled solidly with concrete, of 1:3:6 mix, or with Type S mortar or grout in accordance with ASTM 476C.

139.   Chases

Chases in masonry walls shall be in accordance with 2.409.24 to 2.409.26 of CUBiC.

140.   Supported structural members

When combustible structural members frame into walls of thickness not greater than twelve (12) inches, they shall project not more than four (4) inches into the wall and shall be so spaced that the distance between embedded ends is not less than four (4) inches. The space above, below and between such members shall be filled solidly with mortar, grout, concrete or equivalent fire-resistive material to a depth of not less than four (4) inches on all sides of the members.

141.   Support on wood

(1)  Masonry shall not be supported on combustible construction, except that prefabricated partitions weighing not more than thirty (30) pounds per square foot, properly strapped or reinforced and provided with proper nailing devices for attachment, may be supported on combustible construction, provided the supporting construction has been designed to carry such loads.

(2)  Concrete decks for roofs or floors may be supported on timber columns provided such decks and their supporting members have been designed in accordance with accepted engineering practices and that special provision is made to provide resistance to wind and earthquake forces.

(3)  When exposed to the weather, the wood supporting members shall be of approved wood of natural decay resistance and pressure treated against termites and shall be separated from the concrete by the use of a membrane covering.

142.   Arches and lintels

The masonry above openings shall be supported by well buttressed arches or lintels of non-combustible materials which shall bear on the wall at each end for not less than 4 inches. In addition, the bearing area shall be sufficient to prevent a concentration of compressive stresses greater than those allowed in Table XIV-D.

143.   Construction precautions

(1)  Except when carried independently by girders at each floor, a masonry wall shall not be built-up more than twenty-five (25) feet in height in advance of other walls of the building. Walls shall be adequately braced during erection.

(2)  Masonry walls in locations where they may be exposed to high winds during erection shall not be built higher than ten times their thickness unless adequately braced or until provision is made for the prompt installation of permanent bracing at the floor or roof level immediately above the story under construction.

(3)  Back fill shall not be placed against foundations walls until they have been braced to withstand the horizontal pressure.

144.   Grouted and filled masonry

Grouted and filled masonry blocks is a form of construction made with clay, or concrete units in which the interior vertical spaces are filled with grout. The interior vertical spaces shall consist of continuous cavity space between unobstructed vertical cells of hollow units. Grouted masonry shall conform to all requirements of these Regulations.

145.   Mortar and grout

(1)  Mortar shall conform to “Specification for Mortar for Unit Masonry ASTM C270”. Grout shall conform to the applicable requirements of “Specifications for Mortar and Grout for Reinforced Masonry – ASTM C476,” or shall be Type M or Type S mortar to which sufficient water has been added to produce pouring consistency. Mortar and grout for reinforced masonry shall be in accordance with ASTM C476.

(2)  Where the minimum continuous clear opening of a grout space exceeds six (6) inches, it may be filled and treated as unreinforced monolithic concrete. Masonry shall be laid in mortar of the types specified in Tables XIV- B and XIV-C(i).

| TABLE XIV-A |
| --- |
| Minimum Compressive Strength of Mortar |
| Type | Minimum Compressive Strength at 28 days (psi.) |
| M | 2,500 |
| S | 1,800 |
| N | 750 |
| O | 550 |
| Note.—Average of three 2 inch cubes of laboratory prepared mixed mortar, in accordance with ASTM C270. “Standard Specifications for Mortar for Unit Masonry”. |

| TABLE XIV-B |
| --- |
| Types of Mortar Required |
| Type of Masonry | Type of mortar permitted |
| Foundations: (below grade masonry) |  |
| Footings | M or S |
| Walls of Solid Units | M, S or N |
| Walls of Hollow Units | M or S |
| Hollow Walls | M or S |
| Masonry: Other than Foundation Masonry |  |
| Piers of Solid Masonry | M, S or N |
| Piers of Hollow Units | M or S |
| Walls of Solid Masonry | M, S, N or O |
| Walls of Hollow Masonry | M, S or N |
| Hollow Walls and Cavity Walls |  |
| (a) Design Wind Pressure exceeds 20 psf. | M or S |
| (b) Design Wind Pressure 20 psf or less | M, S or N |
| Glass Block Masonry | M, S or N |
| Non-Loading Bearing Partition | M, S, N, O |
| Fire Brick | Refractory air setting mortar |
| Masonry other than above | M, S or N |
| Note.—Type S mortar is to be preferred whenever Type M mortar is not required in order to meet the structural requirements. |

| TABLE XIV-C (i) |
| --- |
| Mortar Proportions by Volume |
| Minimum Compressive Strength of concrete block on Gross Cross Sectional Area. (psi.) | Mortar Mix (Cement, lime, sand) | Minimum Compressive Strength of mortar (psi.) |
| 1,500 | 1:0 - ½:3 | 2,500 |
| 1,000 | 1:0 - ½:4 | 1,800 |
| *700 | 1:0 - ½:4 | 750 |
| Notes.— |
| (a) The compressive strengths used have been converted from SI units. Tables 2.403.1 and 2.404.1 of Part 2 Section 4 of CUBiC should read for the compressive strengths based on test results. |
| *(b) This grade of concrete blocks to be used for non-loading bearing walls only. |
| (c) For the purpose of these specifications, the weight of one (1) cubic foot of the respective materials used shall be considered to be as follows: |
| Portland Cement | 94 pounds |
| Hydrated Lime | 40 pounds |

| TABLE XIV-C (ii) |
| --- |
| Properties of In-fill Concrete |
| Minimum Compressive Strength on 6 inch cubes at 28 days | Concrete Mix for Cavity In-fill (cement, sand, coarse aggregate) | Minimum Compressive strength of Concrete Block |
| 2,300 | 1:3:6 | 1,000 |
| 3,300 | 1:2:4 | 1,800 |
| Note.—Aggregate size should not be greater than ¾ inch. See CUBiC Part 2, section 4. |

| TABLE XIV-D |
| --- |
| Allowable Compressive Stresses for Empirical Design of Masonry* |
| Construction: Compressive Strength of Unit, gross area, (psi.) | Allowable compressive stresses gross cross section area (psi.) |
|  | Type M or S Mortar | Type N Mortar |
| Solid masonry of brick and other solid units of clay or shale, sand lime or concrete brick |  |  |
| 8,000 or greater | 350 | 300 |
| 4,500 | 225 | 200 |
| 2,500 | 160 | 140 |
| 1,500 | 115 | 100 |
| Grouted solid masonry of clay or shale, sand lime or concrete |  |  |
| 4,500 or greater | 225 | 200 |
| 2,500 | 160 | 140 |
| 1,500 | 115 | 100 |
| Masonry of solid concrete masonry units |  |  |
| 3,000 or greater | 225 | 200 |
| 2,000 | 160 | 140 |
| 1,200 | 115 | 100 |
| Masonry of hollow load bearing units |  |  |
| 2,000 or greater | 140 | 120 |
| 1,500 | 115 | 100 |
| 1,000 | 75 | 70 |
| 700 | 60 | 55 |
| Piers of hollow units, cellular spaces filled as in section 15. | 95 | 90 |
| Hollow walls (non-composite masonry bonded) |  |  |
| Solid units |  |  |
| 2,500 or greater | 160 | 140 |
| 1,500 | 115 | 100 |
| Hollow units | 75 | 70 |
| *Masonry Structures Building Code (ACI530-92/ASCE 5-92/TMS 402-92) |
| Notes.— |
| Linear interpolation for determining allowable stresses for masonry units having compressive strengths which are intermediate between those given in the Table. |
| The allowable shear and tension working stresses are given in Table A102-2 Part 2, section 4 Appendix 1 of CUBiC. |

| TABLE XIV-E |
| --- |
| Specified Compressive Strength of Masonry based on Specifying the Compressive Strength of Masonry Units* |
| Compressive Strength of Concrete Masonry Units (psi) | Specified Compressive Strength of Masonry |
|  | Type M or S Mortar | Type N Mortar |
| 4,800 or more | 3,000 | 2,800 |
| 3,750 | 2,500 | 2,350 |
| 2,800 | 2,000 | 1,850 |
| 1,900 | 1,500 | 1,350 |
| 1,250 | 1,000 | 950 |
| *See ACI 530-92 Masonry Structures Building Code |

PART XV

Plain and Re-inforced Concrete

146.   General

(1)  Reinforced and plain concrete shall be of materials, proportions, strength and consistency as set forth in this Part and shall be designed by methods admitting of rational analysis according to established principles of mechanics.

(2)  Standards of design and construction for reinforced concrete shall be in accordance with the provisions of the “Building Code Requirements for Reinforced Concrete, ACI 318.1 M-89” or in accordance with “BS 5328 Concrete” and for plain concrete in accordance with the “Building Code Requirements for Structural Plain Concrete ACI 322.”

(3)  All members to be constructed of plain or reinforced concrete shall be designed to resist effectively the loads imposed in accordance with Part XI.

147.   Concrete quality

(1)  Concrete mixes shall conform generally to those set out in Table XV-A. Where required by these Regulations, tests of concrete to determine suitable proportions of fine and coarse aggregates shall be carried out under the supervision of a qualified engineer. Where laboratory tests show that the required strengths may be obtained using higher water/cement ratios, the ratios given in Table XV-A may be varied accordingly subject to the approval of the Planning Board.

(2)  The Planning Board may accept concrete mixed by volume provided the use of the concrete so mixed is limited to minor building works.

(3)  The Planning Board may request that all plans submitted for approval or used for construction of a building or other works show clearly the class of concrete used in the design of all parts of the structure.

(4)  For grading of concrete mixes in accordance with BS 5328: “Concrete”, see Table XV-B.

148.   Trials and tests

(1)  (a)  The Planning Board shall have the right to order testing of any materials used in concrete construction to determine if the materials are of the quality specified.

(b)  Tests of materials and of concrete shall be made in accordance with standards of the American Society for Testing and Materials. All tests are at the expense of the owner.

(c)  A complete record of tests of materials and of concrete placed shall be available for inspection by the Planning Board during progress of work and for two years after completion of the project, and shall be preserved by the inspecting engineer or architect or owner, where no professionally qualified architect or engineer has been employed, for that purpose.

(2)  (a)  Cement shall conform to one of the following specifications for portland cement—

(i)	“Specification for Portland Cement ASTM C150”,

(ii)	“Specification for Blended Hydraulic Cements ASTM C595”, excluding Types S and SA which are not intended as principal cementing constituents of structural concrete or to any other equivalent standard approved by the Planning Board.

(b)  Cement used in the work shall correspond to that on which selection of concrete proportions was based.

(3)  (a)  The use of aggregates for normal structural concrete shall be in accordance with <JL:Jump,"Chapter 334 - Subsidiary Legislation 7 Appendix F">Appendix F<EL> of CUBiC Part 2 Section 6 and with—

(i)	“ASTM C33 Specification for Concrete Aggregates”, or

(ii)	“BS 882 Part 1 Coarse and Fine Aggregates from Natural Sources”.

(b)  Aggregates failing to meet the specifications listed in paragraph (a), but which have been shown by special tests or actual service to produce concrete of adequate strength and durability may be used where authorised by the Planning Board.

(c)  Nominal maximum size of coarse aggregate shall be not larger than—

(i)	1/5 the narrowest dimension between sides of forms, nor

(ii)	⅓ the depth of slabs, nor

(iii)	¾ the minimum clear spacing between individual pre-stressing tendons or ducts.

(d)  The limitations prescribed at paragraph (c) may be waived if, in the judgement of the Planning Board, workability and methods of consolidation are such that concrete can be placed without honeycombs or voids.

(4)  (a)  Water used in mixing concrete shall be clean and free from injurious amounts of oils, acids, alkalis, salts, organic materials or other substances that may be deleterious to concrete or reinforcement.

(b)  Mixing water for pre-stressed concrete or for concrete that will contain any aluminium embedmets, including that portion of mixing water contributed in the form of free moisture on aggregates shall not contain deleterious amount of chloride ions.

(c)  Non-potable water shall not be used in concrete unless the following are satisfied—

(i)	selection of concrete proportions shall be based on concrete mixes using water from the same source,

(ii)	mortar test cubes made with non-potable mixing water shall have seven day and twenty-eight day strengths equal to at least ninety per cent of strengths of similar specimens made with potable water. Strength test comparisons shall be made on mortars, identical except for the mixing water, prepared and tested in accordance with ASTM C109 - “Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2 inch or 50 mm Cube Specimens)”.

(5)  (a)  Deformed reinforcement shall conform to one of the specifications of the relevant ASTM standard except as provided in ACI 318. Reinforcement conforming to other standards may be permitted by the Planning Board provided that tests carried out by a laboratory approved by the Planning Board show that the reinforcement to be used is at least equal in quality to that specified in ACI 318.

(b)  Pre-stressing tendons shall conform to the relevant ASTM standard. Wire strands and bars not specifically listed in ASTM A421, A416, or A722 may be used provided they conform to minimum requirements of these specifications and do not have properties that make them less satisfactory than those listed in ASTM A416, A421, or A722.

(c)  Reinforcement consisting of structural steel, steel pipe, or steel tubing may be used as specified in ACI 318.

(d)  All welding of reinforcement shall conform to the “Structural Welding Code Reinforcing Steel, AWSD1.4” of the American Welding Society or equivalent standard approved by the Planning Board.

Reinforcement to be welded shall be indicated on the drawings and welding procedures to be used shall be specified. The Planning Board may require the owner to provide a report, with appropriate tests, on the welding carried out.

(e)  The designation of reinforcing bars is in conformance with US standards unless otherwise stated.

(6)  (a)  The Planning Board may require tests to be made during progress of the work, or may specify and set forth in writing such rules for requiring tests to be made by an approved agency as the Planning Board may consider necessary to ensure compliance with these Regulations. Not fewer than three specimens shall be made for each standard test, nor fewer than one test for each 50 cubic yards of concrete or for each day’s pour of concrete used at any job site, where pours may be less than 50 cubic yards. Tests shall be carried out in accordance with ASTM C172 or other approved standard. All tests will be carried out at the expense of the owner.

(b)  Three test cubes or cylinders should be made for each stage at which tests are required. The cube or cylinder strength should be calculated from the maximum load sustained by the cube or cylinder at failure. The appropriate strength requirement may be considered to be satisfied if none of the strengths of the three cubes or cylinders are below the specified strength or if the average strength of the cubes or cylinders is not less than the specified strength and the difference between the greatest and the least strengths is not more than twenty per cent of that average.

(c)  In addition, where there is question as to the quality of the concrete in the structure, the Planning Board may order load tests for that portion of the structure where the questionable concrete has been placed.

(d)  The maximum allowable slump of concrete shall be 4 inches. This may be varied by the Planning Board provided the design engineer can demonstrate that concrete of greater slump will produce an acceptable result.

(e)  No water shall be added at the job site to concrete delivered by truck as ready for use except under the control of a supervising engineer or an equally qualified professional acceptable to the Planning Board, and only when slump tests are made and the concrete so delivered is found to have less than the maximum slump required.

149.   Allowable unit stresses

(1)  (a)  The allowable working stresses in concrete shall not exceed those set forth in ACI 318 (or equivalent standard) for the value of compressive strength of concrete used.

The normal minimum quality of structural concrete recognised by these Regulations shall be concrete having a design strength of 3,000 per square inch after twenty-eight days based on 6 inches x 12 inches cylinder tests or 3,750 pounds per square inch at twenty-eight days based on 6 inches cubes.

(b)  The determination of the proportions of cement, aggregate and water to attain strengths shall be made by one of the following methods—

(i)	Method 1 – Without preliminary tests

Where preliminary test data on the materials to be used in the concrete have not been obtained, the water to cement ratio for a given strength of concrete shall be based on those shown in Table XV-A. The designer and builder shall take every care to ensure that the water to cement ratio is kept at a minimum consistent with the type of aggregate being used. When tests have been carried out on the local aggregates, the relevant water to cement ratios shall be specified.

(ii)	Method 2 – For combinations of materials previously evaluated or to be established by trial mixtures

Water to cement ratios greater than those shown in the Table XV-A may be used provided that the relationship between strength and water to cement ratio for the materials to be used has been previously established by reliable test data and the resulting concrete satisfies the strength requirements.

(d)  When the structural design is based on a twenty-eight day compressive strength in excess of 3,000 per square inch (by 6 inches x 12 inches cylinder test), proportioning, mixing and placing of concrete shall be under the supervision of a competent engineer, architect or concrete technician, approved by the Planning Board.

(e)  Concrete that will be exposed to sulfate containing other chemically aggressive solutions shall contain cements specially formulated to resist chemical action and be proportioned in accordance with the concrete proportions given in the standards and codes listed in Appendices A and B. Care shall be taken in using water containing hydrogen sulphide.

150.   Mixing and placing

(1)  (a)  Before placing concrete, all equipment for mixing and transporting the concrete shall be cleaned, all debris removed from the spaces to be occupied by the concrete, forms shall be thoroughly wetted or oiled, masonry filler units that will be in contact with concrete shall be well drenched and the reinforcement shall be thoroughly cleaned.

(b)  Water shall be removed from place of deposit before concrete is placed unless otherwise permitted by the Planning Board.

(2)  (a)  Unless otherwise allowed by the Planning Board, the mixing of concrete shall be done in a batch mixer of approved type.

(b)  All concrete shall be mixed until there is a uniform distribution of the materials and shall be discharged completely before the mixer is recharged.

(c)  For job mixed concrete, the mixer shall be rotated at a speed recommended by the manufacturer and mixing shall be continued for at least 1½ minutes after all materials are in the drum. For batches larger than 1 cubic yard, mixing time shall be increased fifteen seconds for each additional cubic yard or fraction thereof.

(d)  Ready mixed concrete shall be mixed and delivered in accordance with the requirements set forth in the standards adopted in the Appendices to these Regulations.

(e)  Retempering concrete with the addition of water after the concrete has taken an initial set shall not be permitted.

(f)  No concrete shall be deposited in forms or used more than a maximum of one and one-half hours after the mixing of that particular batch has commenced, or after water has been added to the batch. The Planning Board has the right to reject all such concrete or order any such mobile equipment off the job site, if in its opinion, mixing has taken place longer than can be allowed to ensure the appropriate concrete strength. The Planning Board may approve the use of a suitable concrete retarder to delay the setting action provided that the builder can prove by tests that the retarder used will not affect the strength of the concrete.

(g)  In cases where there is a delay in the completion of placing of concrete which is in progress, the builder must make suitable arrangements for completion of the pour or for the removal of the concrete already placed.

(3)  (a)  Concrete shall be conveyed from the mixer to the place of final deposit by methods which will prevent separation or loss of the materials.

(b)  Equipment for chuting, pumping and pneumatically conveying concrete shall be of such size and design as to ensure a practically continuous flow of concrete at the delivery end without separation of the materials.

(4)  (a)  Concrete shall be deposited as nearly as practicable in its final position to avoid segregation due to rehandling or flowing. The concreting shall be carried on at such a rate that the concrete is at all times plastic and flows readily into the spaces between the bars. No concrete that has been contaminated by foreign materials shall be deposited in the structure.

(b)  When concreting is once started it shall be carried on as a continuous operation until the placing of the panel or section is completed.

(c)  All concrete shall be thoroughly consolidated by suitable means during placement, and shall be thoroughly worked around the reinforcement and embedded fixtures and into the corners of the forms. Where concrete is placed in columns or walls, the placing shall be so conducted that the concrete will not be placed in lifts greater than 8 feet. Separate lifts shall be thoroughly compacted.

(d)  Vibrators may be used to aid in the placement of the concrete, provided that the forms are designed to withstand their action, and that the vibrators do not touch the reinforcement. Vibrators should not be used to transport concrete within the forms.

(e)  Where conditions make consolidation difficult or where reinforcement is congested, the Planning Board upon application of the builder, may approve alternative methods of placing of the concrete or redesigning the steel in the member affected.

(f)  Special care shall be taken in depositing concrete from heights greater than 4 feet to avoid segregation or separation.

(5)  In all concrete structures, concrete made with normal portland cement shall be maintained above 10 degrees Celsius. and in a moist condition for at least the first seven days after placing. High early strength concrete shall be so maintained for at least the first three days. Other curing periods or methods of curing may be used if the specified strengths are obtained. (See CUBiC Part 2 section 6 Article 5.5).

(6)  Before new concrete is deposited on or against concrete which has set, the forms shall be retightened, the surface of the set concrete shall be cleaned of all foreign matter and washed before the new concrete is placed.

(7)  During hot weather (temperature in excess of 85 degrees Fahrenheit), steps shall be taken to reduce concrete temperature and water evaporation by proper attention to ingredients, production methods, handling, placing, protection and curing.

151.   Forms and details of construction

(1)  (a)  Forms shall conform to the shape, lines and dimensions of the members as called for on the plans, and shall be substantial and sufficiently tight to prevent leakage of mortar. Forms shall be properly braced or tied together so as to maintain position and shape. Temporary openings at the bottom of columns shall be provided to facilitate cleaning and inspection before depositing concrete.

When the concrete has attained sufficient strength, forms shall be removed from at least two faces of all reinforced members, other than where placed in contact with the soil.

(b)  Design of formwork shall include consideration of the following factors—

(i)	rate and method of placing concrete,

(ii)	loads, including live, dead, lateral and impact,

(iii)	selection of materials and stresses,

(iv)	deflection, camber, eccentricity and uplift,

(v)	horizontal and diagonal shear bracing,

(vi)	splices,

(vii)	cross grain compression,

(viii)	loads on ground or on previously placed structure.

(2)  The removal of forms shall be carried out in such a manner as to ensure complete safety of the structure. Vertical forms may be removed in twenty-four hours, provided that the concrete has hardened sufficiently so that it is not injured. Bottom forms and shoring for slabs, beams and girders shall not be removed in less than fourteen days. Where tests indicate that the concrete has attained sufficient strength to safely support itself and any imposed loads in less time, adjustments in the above waiting periods may be approved by the Planning Board in conformity with the results obtained.

(3)  (a)  Skeletal reinforcement and welded wire fabric shall be accurately placed and adequately secured in position by concrete or metal chairs or spacers, or by other acceptable methods. The minimum clear distance between parallel bars, except in columns, shall be equal to the nominal diameter of the bars. In no case shall the clear distance between bars be less than 1 inch, nor less than one and one-third times the maximum size of the coarse aggregate.

(b)  When reinforcement in beams or girders is placed in two or more layers, the clear distance between layers shall not be less than 1 inch nor less than the diameter of the bars, and the bars in the upper layers shall be placed directly above those in the bottom layer.

(c)  Groups of parallel reinforcing bars bundled in contact to act as a unit are permitted but shall be limited to four bars in any one unit. Bars larger than 11 inches can not be bundled in beams. Individual bars within a bundle terminated within the span of flexural members shall terminate at different points with stagger at least 40 bar diameters. Bundled bars shall be enclosed within stirrups or ties.

(4)  In slabs, beams, and girders, splices in reinforcement at points of maximum stress shall be welded, lapped or otherwise fully developed, but in any case, shall transfer the entire stress from the bar without exceeding the allowable bond and shear stresses. The minimum overlap for a lapped splice shall be calculated in accordance with ACI 318-55, but in no case shall the overlap be less than 35 bar diameters. The clear distance between bars shall also apply to clear distance from a contact splice and adjacent splices or bars.

(5)  (a)  The reinforcement of footings and other principal structural members in which the concrete is deposited against the ground shall have not less than 3 inches of concrete between it and the ground contact surface. If concrete surfaces after removal of the forms are to be exposed to the weather or be in contact with the ground, the reinforcement shall be protected with not less than 2 inches of concrete.

(b)  The concrete protective covering for reinforcement at surfaces not exposed directly to the ground or weather shall be not less than 1 inch for slabs and walls; and not less than 1½ inches for beams, girders and columns. In concrete ribbed or joist floors in which the clear distance between ribs or joists is not more than 30 inches, the reinforcement shall be at least 1 inch.

(c)  Exposed reinforcement bars intended for bonding with future extensions shall be protected from corrosion by concrete or other adequate covering.

(d)  The above protective coverings are minimums but protection shall not be less than elsewhere set forth for required fire resistive ratings and for insurance against corrosion.

(e)  In extremely corrosive atmospheres, such as in locations near the sea, or other severe exposures, the amount of protection (concrete cover) shall be suitably increased but not so much as to allow excessive crack widths at the surface.

(6)  (a)  Joints not indicated on the plans shall be so made and located as to least impair the strength of the structure. Where a joint is to be made, the surface of the concrete shall be thoroughly cleaned and all laitance removed. Vertical joints shall be thoroughly wetted before placing of new concrete.

(b)  A delay of at least one day must occur in columns or walls before concreting beams, girders or slabs supported thereon. Beams, girders, brackets, column capitals and haunches shall be considered as part of the floor system and shall be placed monolithically therewith.

(c)  Construction joints shall be located in areas of minimum shear. Provision shall be made for transfer of shear and other forces through the construction joint.

(7)  (a)  The design of concrete walls subject to axial loads with or without flexure shall be carried out in accordance with Part 2, section 6, subsection (14) of CUBiC.

(b)  The minimum vertical and horizontal reinforcement required for walls shall be in accordance with Part 2, section 6, subsection (14)(3) of CUBiC, unless a greater amount of reinforcement is required for shear or other loads.

(c)  The minimum ratio of the area of vertical reinforcement to the gross concrete the area shall be—

(i)	0.0012 for deformed bars not larger than No. 15 with a specified yield strength of not less than 400 MPa, or

(ii)	0.0015 for other deformed bars, or

(iii)	0.0012 for welded wire fabric not larger than W31 or D31.

(d)  The minimum ratio of the area of horizontal reinforcement area to the gross concrete are shall be—

(i)	0.0020 for deformed bars no larger than No. 15 with a specified yield strength not less than 400 MPa, or

(ii)	0.0025 for other deformed bars, or

(iii)	0.0020 for welded wire fabric not larger than W31 or D31.

(e)  Vertical and horizontal reinforcement shall not be spaced further than three times the wall thickness, nor 500 mm. (20 inches).

(f)  In addition to the minimum reinforcement required by paragraph (d) and (e), not less than two No. 4 bars shall be provided around all window and door openings. Such bars shall be extended to develop the bar beyond the corners of the openings by not less than 24 inches.

152.   Pre-cast concrete floor and roof units

(1)  (a)  Pre-cast concrete units shall comply with the minimum requirements set forth in this Part and the standards set forth in the Appendices.

(b)  All pre-cast structural items shall be designed by an engineer approved by the Planning Board.

(c)  Only the material cast monolithically with the units at the time of manufacture shall be used in computing stresses unless adequate and approved mechanical shear transfer is provided.

(d)  The Planning Board may require tests to be made by an approved testing laboratory if the Planning Board considers it necessary to ensure compliance with these Regulations or uniformity of the products produced. The quantity of tests shall be based on consideration of safety or volume of output.

(e)  The Planning Board shall have free access to the plant of any producer at all hours of normal operation and failure to permit such access shall be cause for revocation of approval.

(f)  Failure of any product to satisfy in every respect the quality prescribed or failure to conform with plans and specifications, shall be cause for rejection of the products.

(2)  Concrete for pre-cast structural units made of crushed stone or other heavy aggregate shall have a compressive strength of not less than 3,000 per square inch at twenty-eight days based on standard 6 inches cylinder test.

(3)  (a)  The mix, the gradation of the aggregate and the workability shall be such as to ensure complete filling of the form and continuous intimate bond between the concrete and all steel.

(b)  The use of pre-cast structural units not complying with the relevant standards and codes listed in the Appendices, or having visible cracks, honeycomb, exposed reinforcing except at ends or, with a compressive section more than ⅛ inch less than specified dimension shall not be permitted.

(4)  All joists, beams and girders, and other units shall show some mark plainly indicating the top of the unit and its location and orientation in the structure. Identification marks shall be reproduced from the placing plans. This mark or symbol shall also indicate the manufacturer, the date of the manufacture and the lengths, size and type of reinforcing.

(5)  No openings not provided for in the structural design shall be made on the job without the specific approval of the engineer and the Planning Board and in accordance with the engineer’s written detailed instructions covering such work.

(6)  Anchorage of all pre-cast concrete units shall be designed based on rational analysis to transmit loads and other forces to the structural frame.

(7)  Joists shall be secured against lateral displacement by cast in place bridging, and such bridging shall be spaced not to exceed thirty-two times the width of the compression flange of the joist; except that for roof systems, cast in place Portland cement concrete slabs embedding the top flanges not less than ½ inch, or steel decks which are welded, shall be accepted in lieu of bridging.

(8)  (a)  All joints and connections shall perform their function at all stages of loading without over stress and with proper safety factors against failure due to overload.

(b)  Loading conditions to be considered in the design of joints and connections are service loads, including wind and earthquake forces, volume changes due to shrinkage, creep, and temperature change, erection loads, and loading encountered in stripping forms, shoring and removal of shores, storage and transportation of members.

(9)  (a)  Units shall be so stored, transported and placed that they will not be overstressed or damaged.

(b)  Pre-cast concrete units shall be adequately braced and supported during erection to ensure proper alignment and safety and such bracing or support shall be maintained until there are adequate permanent connections.

153.   Pre-stressed concrete

(1)  (a)  The term “pre-stressed concrete” refers to pre-tensioned concrete in which the reinforcing is tensioned before hardening of the concrete, or to post tensioned concrete in which the reinforcing is tensioned after hardening of the concrete or combinations of both pre-tensioning and post tensioning.

(b)  All pre-stressed structural items shall be designed by an engineer approved by the Planning Board. Openings not provided for in the structural design shall not be made on the job without the specific approval of the engineer and the Planning Board.

(c)  Allowable stresses, temporary and at design loads, shall not exceed the allowable stresses set forth in the relevant Standards and Codes of Practice listed in Appendices A and B. Stresses and ultimate strength shall be investigated at service conditions and at all load stages that may be critical during the life of the structure from the time pre-stress is first applied.

(d)  The Planning Board may require tests to be made by an approved testing laboratory as considered necessary to ensure compliance with these standards or uniformity of the product.

(e)  The Planning Board shall have free access to the plant of any producer at all hours of normal operation and failure to permit such access shall be cause for revocation of approval.

(f)  Failure of any product to satisfy the quality prescribed or failure to conform with plans and specifications shall be cause for rejection of the product.

(2)  (a)  Deflection under live load shall not exceed L/240 and where plaster ceilings are to be applied shall not exceed L/360, where L = the span length of the member.

(b)  Calcium chloride shall not be used in concrete for pre-stressed members.

(3)  Pre-stressed members must be maintained in an upright position at all times and must be picked up from points as shown on the approved plans or as approved by the engineer and the Planning Board. (Note: Disregarding this requirement may lead to collapse of the member).

154.   Fibre re-inforced concrete

(1)  (a)  The development of reinforced concrete using fibre glass materials has led to the construction of structural panels and other primary non-load bearing members. The principal ingredients of glass re-inforced cement (GRC) are ordinary Portland cement, silica sand and water, mixed with alkali resistant glass fibres to produce the inorganic GRC composite. Glass fibres constitute five per cent by weight.

(b)  The advantage of GRC is its ability to produce elements which are much thinner and lighter than can be made with ordinary concrete reinforced with steel. GRC elements of ½ inch in thickness are possible while with steel reinforced concrete, the thickness of any slab must be at least 1½ inch to provide cover for the reinforcement. In the OECS, where the cover should be at least 1 inch for exposed elements, the minimum thickness of a slab will be 2½ inch.

(2)  Some of the physical properties of typical spray de-watered GRC with a density of 2.0 tonnes per square metre are—

| Property | At completion of cure |
| --- | --- |
| Impact strength | 15 – 20 Nmm/mm2 |
| Compressive Strength | 60 – 100 N/mm2 |
| Young’s Module | 20 – 25 KN/mm2 |
| Bending - elastic limit | 14 – 17 N/mm2 |
| Bending - ultimate strength | 35 – 40 N/mm2 |
| Tension - elastic limit | 9 – 10 N/mm2 |
| Tension - ultimate strength | 14 – 17 N/mm2 |
| Note.—IN = 0.224809 lbf |
| N/mm2 = .00689476 lb/in2 x 10 |

(3)  GRC technology has been used in the production of semi-structural units and complex shapes such as claddin panels, roofing, fire doors and partitions, bus shelters, storage tanks and other units such as corrugated sheeting which can be produced by the spray method.

Other smaller units are constructed by premix GRC such as sewer pipes, manhole covers, etc.

(4)  GRC members are manufactured under licence. Information on the manufacture, properties and uses of GRC can be obtained from the Building Research Establishment, Wallingford, England.

| TABLE XV-A |
| --- |
| Maximum Permissible Water Cement Ratios (1) for Concrete (Without Preliminary Tests) |
| Maximum Permissible Water Cement Ratio - Non Air Entrained Concrete (2) |
| Specified Compressive strength at 28 days, (psi-6″ cube test) | Specified Compressive Strength at 28 days, (psi 6″x 12″ cylinder) | U.S. gals per 94 lb. bag of cement | Absolute ratio by weight |
| 3,125 | 2,500 | 7-¼ | 0.67 |
| 3,750 | 3,000 | 6-½ | 0.58 |
| 4,375 | 3,500 | 5-¾ | 0.51 |
| 5,000 | 4,000 | 5 | 0.44 |
| Notes.— (1) The Minimum cement content shall be not less than five bags per cubic yard (a bag weighing not less than 94 pounds) unless the mix is designed specifically for the project. |
| (2) Including free surface moisture on aggregates. |
| (3) Results shown in this table are based on the use of aggregates with equivalent specification of BS 882 Part 1. For local limestone aggregates tests are required to arrive at the appropriate water cement ratio. |

| TABLE XV-B |
| --- |
| Grading of Concrete Mixes in accordance with BS 5328 |
| Grade | Approx. minimum compressive strength at 28 days (psi) |
| ST 1 | 1,090 |
| ST 2 | 1,490 |
| ST 3 | 2,175 |
| ST 4 | 2,900 |
| ST 5 | 3,625 |

| TABLE XV-C(i) |
| --- |
| Minimum Cover to be provided to concrete |
| A. Cast in Place Concrete (Non-pressed) |
| Description | Minimum Cover (ins) |
| Concrete cast against and permanently exposed to earth | 3 |
| Concrete exposed to earth and weather | 2 |
| Concrete not exposed to weather or in contract with |  |
| the ground— |  |
| Slabs, Walls, Joists | 1½ |
| Beams, Columns | 1½ |
| Shells, Folded plate members | ¾ |
| B. Pre-cast Concrete Manufactured under Plant Control Conditions |
| Concrete exposed to earth or weather— |  |
| Wall Panels: |  |
| No. 14 and No. 18 bars* | 1½ |
| No. 11 bar and smaller | 1 |
| Other members: |  |
| No. 14 and No. 18 bars | 2 |
| No.6 through No.35 bars | 1½ |
| No.5 bar, W31 and D31 wire and smaller | 1½ |
| Concrete not exposed to weather or in contact with the ground— |  |
| Slabs, Walls, Joists: |  |
| No. 14 and No. 18 bars | 1¼ |
| No. 11 bar and smaller | ¾ |
| Beams, Columns |  |
| Primary Re-inforcement: | Bar diameter, but not less than ¾ and not more than 1¾ |
| Ties, Stirrups, Spirals | ½ |
| Shells, Folded Plate members: |  |
| No.6 bar and larger | ¾ |
| No.5 bar, W31 and D31 wire and smaller | ½ |
| C. Pre-stressed Concrete |
| Concrete cast against and permanently exposed to earth | 3 |
| Concrete exposed to earth or weather— |  |
| Wall Panels, Slabs, Joists | 1¼ |
| Other Members | 1½ |
| Concrete not exposed to weather or in contact with ground— | 1 |
| Slabs, Walls, Joists |  |
| Beams, Columns | 1½ |
| Primary Re-inforcement | 1 |
| Ties, Stirrups, Spirals |  |
| Note.—See Table XV-C(ii) for equivalent SI bar designations. |
| Shells, Folded plate members | ½ |
| No.5 bar, W31 or D31 wire and smaller | Bar diameter but not less than 1 |
| Other Re-inforcement |  |
| Note.—See Table XV-C(ii) for bar designations. |  |

| TABLE XV-C(ii) |
| --- |
| Bar Designations |
| SI Units | U.S. Standard Units |
| Bar Designation | Diameter (mm) | Bar Designation | Diameter (ins) |
| 10 | 11.3 | 3 | 0.375 |
| 15 | 16.0 | 4 | 0.500 |
| 20 | 19.5 | 5 | 0.625 |
| 25 | 25.2 | 6 | 0.750 |
| 30 | 29.9 | 7 | 0.875 |
| 35 | 35.7 | 8 | 1.000 |
| 45 | 43.7 | 9 | 1.128 |
| 55 | 56.4 | 10 | 1.270 |
|  |  | 11 | 1.410 |
|  |  | 14 | 1.693 |
|  |  | 18 | 2.257 |

| TABLE XV-D |
| --- |
| Requirements for Special Exposure Conditions |
| Exposure condition | Maximum Water-cement Ratio Normal Density Aggregate Concrete | Minimum Specified Compressive Strength, Low Density Aggregate (Mpa) |
| Concrete intended to be water-tight: |  |  |
| (a) Concrete exposed to fresh water | 0.50 | 25 |
| (b) Concrete exposed to sea water | 0.45 | 30 |
| For corrosion protection for reinforced concrete exposed to brackish water, seawater, or spray from these sources | 0.40 | 33 |
| If minimum concrete cover required by Table XV-C(i) is increased by 10 mm, water-cement ratio may be increased to 0.45 for normal density concrete, or specified compressive strength reduced to 30 MPa for low density concrete. |
| Note.—1 Megapascal (MPa) equals 145.038 lbs force per square inch. |

PART XVI

Structural Steel

155.   Scope of Part XVI

(1)  This Part deals with the design and construction of steel buildings which must be carried out in accordance with Part 2 section 7B “Structural Design Requirements - Structural Steel” of the Caribbean Uniform Building Code, CUBiC.

(2)  The construction of small steel framed buildings using standard steel sections is dealt with in Part XVII, regulation 175.

(3)  The general requirements for construction of light gauge steel framed structures are given in regulation 170, while the requirements for the construction of small houses using light steel frame construction are given in section F of the Building Guidelines.

156.   Basis of design

(1)  Steel and iron members shall be designed by methods admitting of rational analysis according to established principles of mechanics.

(2)  The quality, design, fabrication and erection of steel and iron used structurally in buildings or structures shall conform to the provisions of these Regulations and to Part 2 section 7 “Structural Design Requirements–Structural Steel” Caribbean Uniform Building Code (CUBiC) or to any other relevant standard approved by the Planning Board.

157.   Application

The requirements set forth in regulations 155 to 167 inclusive, herein, are applicable to structures and do not apply to members formed of flat rolled sheet or strip steel, light gauge steel construction, (except structural frames) or other miscellaneous light steel construction.

158.   Material standards

Steel for structural applications in buildings shall conform to the “Standard Specification for General Requirements for Rolled Steel Plates, Shapes, Sheet Piling, and Bars for Structural Use” by the American Society for Testing and Materials, ANSI/ASTM A6.

159.   Cold formed stainless steel construction

The design, fabrication and erection of cold formed stainless steel construction shall conform to the “Specification for the Design of Cold-Formed Stainless Structural Members” of American Iron and Steel Institute.

160.   Cold formed steel structural members

(1)  The design and construction of cold formed steel structural members shall be in accordance with Part 2 section 7B subsection 14 of CUBiC. These Regulations provide information on the working stress design for structural members formed from the shaping of flat rolled steel at ambient temperature to form a structural section.

(2)  The developer may utilise any other method of design provided the material used, and the design developed, will lead to a building which is resistant to hurricane and earthquake forces and to the corrosive environment of Saint Vincent and the Grenadines. The materials used and design adopted must be approved by the Planning Board.

(3)  Other references are—

(a)	ANSI/ASTMA446-76—

Steel Sheet, Zinc Coated (Galvanised) by the Hot-Dip Process, Structural (Physical) Quality (Grades A, B, C, D and F).

(b)	ANSI/ASTMA525-79—

Steel Sheet, Zinc Coated (Galvanised) by the Hot Dip Process, General Requirements.

(c)	ANSI/ASTMA606-75—

Steel Sheet and Strip, Hot Rolled and Cold Rolled, High Strength, Low Alloy, with Improved Corrosion Resistance.

(d)	AISI—

Cold-Formed Steel Design Manual, 1986.

161.   Open web steel joist construction

The design, fabrication and erection of open web steel joist construction shall comply with the following specifications: “Standard Specifications for Open Web Steel Joists, H-Series” adopted by American Institute of Steel Construction and Steel Joist Institute or to Part 2 section 7B subsection 17 of CUBiC.

162.   Welding

Details of design, workmanship and technique for, welding, inspection of welding, and qualification of welding operators shall conform to the following specifications—

(a)	“Structural Welding Code” by American Welding Society;

(b)	“Specifications for Welding Sheet in Buildings” by American Welding Society.

163.   High tension bolts

The design and assembly of structural joints and connections using high strength steel bolts shall conform to the “Specifications for Structural Joints Using ASTMA325 or ASTM A490 Bolts” approved by the Research Council or Riveted and Bolted Structural Joints of the Engineering Foundation.

164.   Tests

The owner shall provide the Planning Board with test results or mill records to determine the quality of materials and assemblies.

165.   Design loads

Designs shall be based on the dead, live, wind and other loads set forth in Part XI and the additional stress considerations set forth in Part XV.

166.   Minimum thickness of material

(1)  The minimum thickness of steel and iron used in buildings or other structures or to resist wind forces, shall be not less than as set forth in BS 5950 “Structural Use of Steelwork in Buildings” or equivalent American standard and where structural members are exposed to industrial fumes, salt water, salt water spray and other corrosive agents, such members shall have a minimum web thickness of 0.25 inches unless the steel used is an atmospheric corrosion resistant grade approved by the Planning Board. It is recommended that in the corrosive atmosphere of Saint Vincent and the Grenadines, all steel members be protected against corrosion by encasing the steel in concrete or by other approved forms of protection.

(2)  In the main structural framework of buildings primary members shall be construed to include any steel member used as a column, beam or to support walls or partitions including trusses, isolated lintels spanning openings of 8 feet or more and any member required to brace a column or a truss or to support 200 or more square feet of floor or roof area.

(3)  Secondary members shall be construed to include all other steel members, including filling-in beams of floor systems which individually support less than 200 square feet of floor or roof area.

(4)  For primary members of the structural frame all steel used shall be at least 0.20 inches in thickness for interior work. All steel in exterior walls of structures except lintels spanning an opening of less than 8 feet shall be at least 0.20 inch in thickness when protected as required in regulation 166 and at least 0.25 inch thick when not so protected.

(5)  Unless otherwise determined by tests, the thickness of fire-resistive members shall be assumed to have the resistance ratings detailed in Table XVI-A.

| TABLE XVI-A |
| --- |
| Fire resistance of Concrete Members |
| Inches of | 1 Hr. | 2 Hr. | 3 Hr. | 4 Hr. |
| Cement concrete over 2,000 psi | 1 | 1½ | 2 | 2 |
| Cement concrete 1,600 – 2,000 psi | 1½ | 2 | 3 | 4 |
| Cement concrete 1,000 – 2,000 psi with wire fabric | 1½ | 2 | 2 | 3 |
| Concrete block (nominal dimensions) | – | – | 4 | 4 |

167.   Connections

(1)  Any suitable mechanical fastener, special device or other means may be used to join component parts provided that the type of fastening device is compatible with the service connections.

(2)  High strength steel bolts may be used in lieu of rivets.

(3)  Welded connections shall be in accordance with BS 2642 “General Requirements for the Arc Welding of Steel” and/or CSA Standard W59, “Welded Steel Construction (Metal-Arc Welding)”.

(4)  A competent welding supervisor, who shall be approved by the Director or by the design engineer where employed by the owner, shall be present at all times when welding is in progress.

(5)  It shall be permissible to use ribbed or spliced bolts in place of rivets or ordinary bolts. The diameter of the bolt shall be identical to that of the rivet.

168.   Pipe columns

(1)  (a)  Steel or wrought iron pipes may be used as compression members. The pipes shall be new material, the shell shall be straight and the wall thickness shall be not less than 3/16 inch.

(b)  Where pipe columns support loads in excess of 1,000 pounds or are required to be fire resistive, the pipe shall be filled with 1:3:6 concrete.

(2)  (a)  Only the load bearing capacity of the shell shall be considered in determining the allowable load on a pipe compression member when filled with concrete.

(b)  Load bearing pipe columns shall be provided with steel bearing plates so designed that the bearing stresses of the material on which the column is to be placed shall not be exceeded and so that the bending stresses in the steel plate shall not exceed those permitted.

169.   Composite beams

(1)  (a)  Composite beams shall be the term used to apply to any rolled or fabricated steel floor beam entirely encased in a poured concrete haunch supporting a concrete slab on either side. At its narrowest point the concrete haunch shall be at least 4 inches wider than the flange of the beam. The top of the beam shall be at least 2 inches above the bottom of the slab and at least 1½ inches below the top of the slab. There should be no openings in the slab adjacent to the beam. The concrete casing shall be adequately provided with mesh or other reinforcement throughout its depth and across its soffit.

(b)  Uncased beams may be designed as composite beams provided that this is based on the requirements of BS 5950 or equivalent standard approved by the Planning Board.

(2)  The design of composite beams shall be carried out by a professionally qualified engineer using a method acceptable to the Planning Board. Particular attention shall be paid to the design of shear connectors, and to the provision of adequate resistance to end shear forces.

(3)  All field rivets and bolts and abrasions to the shop coat shall be spot painted. Buildings or structures not encased in concrete shall be field painted, in addition to the shop coats, with not less than 1 coat of lead, graphite, asphalt paint or other approved paint which will not act as a solvent for the shop coat.

170.   Light gauge steel construction

(1)  (a)  Light gauge steel construction shall include structural decks or members formed of sheet or strip steel less than 3/16 inch thick, and used for load bearing purposes.

(b)  The use of light gauge steel construction shall be reserved for single or two storey buildings in Group E Occupancy or in Group D(b) Occupancy provided the building is not greater than 2,000 square feet in floor area.

(c)  Part XVII provides information on the framing requirements for small steel structures using standard sections, and section D of the Building Guidelines provides outline performance specifications for small single storey buildings.

(2)  (a)  For the design, fabrication and erection of prefabricated steel buildings composed of light gauge steel members, the developer shall file with the Planning Board duplicate copies of a certificate from a recognised testing laboratory to the effect that tests have been made on this particular type of prefabricated construction. The test results should show the dead loads, live loads and wind loads sustained by the construction in pounds per square feet together with a physical description of the building and a description of the tests.

(b)  Panels and other elements tested for loads shall sustain without failure a superimposed load equal to two times the live load. Recovery within twenty-four hours after removal of the full test load, shall be not less than seventy-five per cent of the observed deflection. The measured deflection for any panel or element under full live load shall not be greater than 1/360 of the span for panels that will be plastered or 1/240 of the span for other panels and 1/180 of the span for roof decks without ceilings.

(c)  All tests must be carried out in accordance with the applicable standard of the ASTM or the relevant British Standard.

(d)  It is the responsibility of the developer to prove by calculations or test results that the design proposed will provide a building that is resistant to the wind and earthquake forces and other loads given in Part XI, and that the corrosion protection of the steel members will be adequate over the projected life of the building. The building must have the fire resistance required for the class of use.

(e)  It is expected that the developer will supply the following information when applying for a building permit—

(i)	complete structural drawings of the building. The drawings and written information must give the sizes and thickness of all members, the connections used, and methods of field assembly,

(ii)	test results required under paragraph (a),

(iii)	test data and specifications of the corrosion method to be used,

(iv)	other standard information required by the Planning Board as per Part I.

(3)  The design and construction of light gauge steel structures shall be carried out in accordance with the relevant standards set forth by the American Iron and Steel Institute or the British Standard or other relevant standard or Code approved by the Planning Board. The design requirements given in this subregulation may be varied by the developer, provided that tests on the materials and assemblies show that the structure can accommodate the imposed loads safely and can resist the wind and earthquake forces in accordance with the requirements of Part XI.

(4)  Design and fabrication shall be as set forth in subregulation (2). Special attention shall be paid to the following—

(a)	All primary and secondary members must be designed in accordance with the standards given in subregulation (1) and (2) or in accordance with any other standard approved by the Planning Board Except that the minimum thickness of steel of primary members shall be 16 gauge, and the spacing of studs shall be no greater than 24 inches on centres and provision shall be made to resist horizontal wind forces by diagonal members or diaphragm panels attached to the studs.

(b)	Light gauge steel for the treads, risers, stringers and landings of stairways shall have a minimum thickness of 12 gauge.

(c)	Light gauge steel studs for non-bearing partitions shall have a minimum thickness of 18 gauge.

(d)	Light gauge steel joists or rafters shall be designed with due consideration for wind pressure and suction at the relevant level.

(e)	Unless otherwise provided for in the design, the joist or rafter members shall have not less than 4 inches of bearing on reinforced concrete nor less than 2 inches on steel supports, except that where opposite joists butt over a steel support and positive, approved means of attachment to the steel is furnished, a shorter bearing length may be used. Each end of each member shall be anchored. Resistance to diaphragm action shall be provided by the deck or by diagonal members. Bridging shall be provided, spaced not further apart than 32 times the flange width. Such bridging shall be so lid sections of the joist material or be cross bridging formed from approved open welded joists.

(f)	Light gauge steel used in sandwich construction for wall panels for the exterior or enclosing walls of buildings shall have a minimum thickness of 24 gauge for the sheeting. The minimum thickness for secondary members supporting exterior panel construction shall be 18 gauge.

(g)	Light gauge steel members resisting lateral stresses in interior partitions of buildings two storeys or more in height shall be not less than 16 gauge.

(h)	Light gauge steel structural members shall not be used in locations subject to corrosive agents or continuous dampness.

171.   Structural sheets

Structural sheet metal sections may be used for floor decks, roof decks and wall cladding to span between supports; provided the design is based on rational analysis, and design and fabrication comply with the standard set forth in these Regulations or with any other standard approved by the Planning Board and as follows—

(a)	Sheet-metal sections shall have a minimum thickness of 18 gauge for floors, or 24 gauge for roof and walls and shall be protected as set forth in this regulation.

(b)	The span of sheet-metal sections used for floor systems shall not exceed forty times the overall depth of the section.

(c)	No structural value shall be allowed for any fill material used with deck systems except in the case of composite floor systems which shall be designed to the approval of the Physical Planner.

(d)	The shape of the sections as placed in buildings shall be such as to eliminate any possibility of lateral displacement for compression area.

(e)	Where large openings occur, the perimeter of the openings shall be framed with adequate supports for the floor panels. Small openings shall be reinforced so that the allowable stresses in adjoining materials are not exceeded.

(f)	Positive anchorage for sheet metal roofs or decks shall be provided by proven mechanical connectors. The anchorage must be capable of resisting the uplift forces caused by hurricane winds and other loads described in Part XI.

(g)	Bolts and rivets shall be not less than 3/16 inch in diameter. Lead, neoprene, or other approved washers not less than ½ inch in diameter shall be provided under the heads of all bolts and rivets.

(h)	Roofing sheets and other structural sheet metal sections spanning between supports shall be designed to support the live load without deflecting more than 1/180 of the span and without permanent deformation.

(i)	All members formed of light gauge strip or sheet metal shall be treated with protective paint coatings or shall be galvanised. The anti-corrosion treatment must be approved by the Physical Planner.

(j)	Valley fixings for corrugated roof sheets are stronger than ridge fixings, and are recommended provided that measures are taken to avoid leaks, such as the use of suitable washers and the use of self aligning tools for the installation of fixing screws in accordance with the manufacturer’s instructions.

Note.—United States Standard Gauge used throughout.

PART XVII

Small Buildings

172.   Scope of Part XVII

(a)	Small buildings are defined as buildings of less than 3,000 square feet in floor area in Occupancy Group E(a) Residential Buildings and Occupancy Group D(b) General Merchandise Stores and of not more than two storeys.* 	This Part provides information on the design and construction of small wood framed and steel framed buildings using traditional methods of design.

(b)	The latest edition of the Building Guidelines is hereby adopted as an addendum to these Regulations for the design and construction of buildings falling within the scope of this part. The Guidelines contain graphical illustrations of the construction principles recommended in this Part. It is intended that the Guidelines be completely prescriptive and can be used for construction of simple buildings. However, where it may be necessary to deviate from the prescriptions given in the Guidelines, reference must be made to this Part and to the other relevant Parts of these Regulations.

(c)	Part XVI provides information on the requirements for the design and construction of light gauge steel structures while outline specifications for the design and construction of small light gauge steel framed buildings (systems) is dealt with in the Section F of the Building Guidelines.

(d)	This Part is to be read with the following where appropriate—

(i)	These Regulations—

Part XVIII – Timber Construction

Part XIV – Concrete Block and Masonry Construction

Part XV – Plain and Re-inforced Concrete

Part XVI – Structural Steel

(ii)	Caribbean Uniform Building Code (CUBiC)—

Part 2 section 8 – Structural Timber

Part 5 section 1 – Small Buildings (Draft only)

(iii)	The Building Guidelines.

(e)	Information on pre-cast concrete construction is given in Part 2, section 6 subsection 16 of CUBiC. Information is provided in that section on the design of pre-cast wall panels, details of construction, identification and marking, and transportation, storage and erection.

(f)	All materials and systems used shall be based on the requirement to resist the dead and live loads imposed, especially wind and earthquake loads as provided for in Part XI – Dead and Live Loads. Materials shall also be chosen for their resistance to corrosion and to rot. It is therefore necessary that current methods of corrosion resistance for steel members and wood preservatives for timber be employed. The developer must provide information on the standards being used for corrosion resistance and wood preservation for the approval of the Physical Planner.

(g)	Sizes of timber members given in this Part are the recommended minimum sizes. It is the responsibility of the designer to determine the appropriate sizes to be used in any situation based on rational calculations. The sizes of timber members given in this Part are nominal sizes.

(h)	The Planning Board reserves the right to ensure that the design and construction of all buildings conform to all of the relevant Parts of these Regulations, and developers and designers shall design and construct all buildings accordingly.

173.   Wood-frame construction

(1)  The requirements for wood-frame construction shall conform to the provisions of Part XIII – Timber Construction and to Part 2 section 8 of CUBiC and to this Part.

(2)  (a)  Nails specified shall be common steel wire nails or common spiral nails. All nails shall be long enough so that they penetrate the second member a distance equal to the thickness of the member being nailed thereto. Splitting of wood members shall be minimised by staggering the nails in the direction of the grain and by keeping nails well in from the edges.

(b)  Nailing of framing and wood members shall conform to Part 2 section 8 of CUBiC.

(3)  The spans for wood joists, rafters and beams shall conform to the spans shown in Table E-1 of the Building Guidelines, and in Table 2.825.1 in Part 2 section 8 of CUBiC for the uniform live loads shown in the Table.

(4)  (a)  Holes drilled in roof, floor or ceiling framing members shall be not larger than ¼ of the depth of the member and shall be located not less than 2 inches from the edges, unless the depth of the member is increased by the size of the hole.

(b)  Floor, roof and ceiling framing members may be notched provided the notch is located on the top of the member within ½ of the joist depth from the edge of bearing and is not deeper than ⅓ the joist depth, unless the depth of the member is increased by the size of the notch.

(c)  Wall studs shall not be notched, drilled or otherwise damaged so that the undamaged portion of the stud is less than ⅔ the depth of the stud if the stud is loadbearing, or 1½ inches if the stud is non loadbearing, unless the weakened studs are suitably re-inforced.

(d)  The top plates in loadbearing walls and partitions shall not be notched, drilled or otherwise weakened to reduce the undamaged width to less than 2 inches unless the weakened plates are suitably re-inforced.

(e)  Roof truss members shall not be notched, drilled or otherwise weakened unless such notching or drilling is allowed for in the design of the truss.

(f)  Bird mouth connections (rafter to roof plate) are not recommended as the timber rafters are reduced in section and the remaining section may not be adequate to prevent failure by shear.

(5)  (a)  Building frames shall be suitably anchored to the foundation walls to resist wind and earthquake forces, unless a structural analysis shows that such anchoring is not necessary.

(b)  Anchorage shall be provided in conformance with the subregulation 14 and Part 2 section 8 of CUBiC.

(6)  (a)  Where sill plates provide bearing for the floor system they shall be not less than 2 inches by 4 inches material.

(b)  Sill plates shall be levelled by setting them on a full bed of mortar.

(7)  (a)  Beams shall have even and level bearing and the length of bearing at end supports shall not be less than 4 inches.

(b)  Steel beams shall be shop primed.

(c)  Where a beam is made up of individual pieces of lumber that are nailed or otherwise permanently fixed together, the individual members shall be 1½ inches or greater in thickness and installed on edge.

(d)  Where the individual members of a beam described in paragraph (c) are butted together to form a joint, each joint shall occur over a support, except that where the beams are continuous over more than one span, the joints may be located at or within 6 inches of the end quarter points of the clear span of the beam.

(e)  Joints in individual members of beams that are located at or near the end quarter points described in paragraph (d) shall not occur in adjacent members at the same quarter point and shall not reduce the effective beam width by more than half. Members joined at quarter points shall be continuous over the adjacent supports.

(f)  Except as provided in paragraph (g), where 1½ inches members are laid on edge to form a built-up beam, individual members shall be nailed together with a double row of nails at least 2½ inches in length, spaced not more man 18 inches apart in each row with the end nails located 4 inches to 6 inches from the end of each piece.

(g)  Where 1½ inches members in built-up wood beams are not nailed together as provided in paragraph (f), they shall be bolted together with at least ½ inch diameter bolts equipped with washers and spaced not more than 4 feet on centres, with the end bolts located not more than 2 feet from the ends of the members.

(8)  (a)  Except when supported on ribbon boards, or when supported by appropriate joist hangers as in paragraph (c).

Floor joists shall have not less than 4 inches length of end bearing. Ribbon boards shall be not less than 1 inch by 4 inches lumber let into the studs.

(b)  Floor joists may be supported on the top of beams or may be framed into the sides of beams.

(c)  When framed into the side of a wood beam, the joists shall preferably be supported on joist hangers or other acceptable mechanical connectors, or on ledger strips of minimum dimensions of 1½ inches by 3 inches nailed to the side of the supporting beam.

(d)  When framed into the side of steel beams, the joists may be supported on the bottom flange of the beam or on not less than 1½ inches by 2 inches lumber bolted to the web with not less than ¼ inch diameter bolts spaced not more than 2 feet apart.

(e)  Unless ceiling furring or plywood cladding is installed on the underside of floor joists, floor joists shall be restrained from twisting at the end supports and at intervals between the supports not exceeding 7 feet End restraint should be provided by a suitably designed steel connection to the support. Restraint at intermediate locations shall be obtained by 1½ inches by 2 inches cross bridging.

Blocking tightly fitted between joists and securely nailed in place is also acceptable for restraining joist twisting.

(f)  Header joists around floor openings shall be doubled when they exceed 4 feet in length. The size of header joists exceeding 10 feet in length shall be determined by calculations.

(g)  Trimmer joists around floor openings shall be doubled when the length of the header joist exceeds 32 inches. When the header joist exceeds 6 feet 6 inches in length the size of the trimmer joists shall be determined by calculations.

(h)  When tail joists and header joists are supported by the floor framing, they shall be supported by suitable joist hangers or nailing.

(i)  Non load bearing partitions parallel to floor joists shall be supported on beams, loadbearing walls or doubled joists where the partition is over 6 feet in length and contains openings that are not full ceiling height. Where such partitions contain no openings or openings that are full height, the joists need not be doubled. Non loadbearing partitions less than 6 feet in length need not be supported on framing but may be supported by the subfloor.

(j)  Doubled joists may be separated not more than 8 inches by blocking, if the blocking is not less than 1½ inches by 4 inches lumber spaced not more than 4 feet apart.

(k)  Non loadbearing partitions at right angles to the floor joists are not restricted as to location.

(l)  Loadbearing interior walls parallel to floor joists shall be supported by beams or walls of sufficient strength to transfer safely the design loads to the vertical supports.

(m)  Loadbearing interior walls at right angles to floor joists shall be located not more than 3 feet from the joist support when the wall does not support a floor, and not more than 2 feet from the joist support when the wall supports one or more floors, unless the joist size is designed to support such loads.

(n)  Floor joists supporting roof loads shall not be cantilevered more than 10 inches beyond their supports where 2 inches by 8 inches joists are used, and not more than 2 feet 6 inches beyond their supports where 2 inches by 10 inches or larger joists are used. The cantilevered portions shall not support floor loads from other storeys unless calculations are provided to show that the allowable design stresses of the cantilevered joists are not exceeded.

(o)  Table E-l in section E of the Building Guidelines gives the recommended joist sizes for various spans of domestic loading using standard pitch pine lumber. Table 2.825.1 of CUBiC should be read for more precise information on recommended spans for various loadings and spans.

(p)  While minimum dimensions are given in paragraph (n), the designer is responsible for calculating the length of cantilever that can be accommodated safely with various sizes of joists, taking into account the wind loads and other loads on the building.

(9)  (a)  Studs shall be not less than 2 inches by 4 inches and where supporting more than one floor and a roof shall be not less than 2 inches by 6 inches or 3 inches by 4 inches.

(b)  Maximum allowable height of 2 inches by 4 inches and 3 inches by 4 inches stud framing shall be 14 feet, and of 2 inches by 6 inches stud framing shall be 20 feet unless the wall is otherwise laterally supported. Solid wood bridging shall be placed at intervals of not over 8 feet.

(c)  No studding shall be spaced more than 2 feet on centres unless vertical supporting members in the walls are designed as columns.

(d)  Studs in exterior and bearing walls shall be placed with the longer dimension perpendicular to the wall.

(e)  Wall studs shall preferably be continuous for the full storey height except at openings.

(f)  Corners and intersections shall be designed to provide support for the vertical edges of interior and exterior cladding materials and in no instance shall exterior corners be framed with less than the equivalent of two studs. Where the vertical edges of interior cladding at wall intersections are supported at vertical intervals backing or other acceptable method, the vertical distance between such supports shall not exceed the maximum distance between supports.

(g)  Studs shall be doubled on each side of openings so that the inner studs extend from the lintel to the bottom wall plate and the outer studs extend from the top wall plates to the bottom wall plate.

(h)  Single studs may be used on either side of openings in non loadbearing partitions not required to be fire separations with fire resistance ratings provided the studs extend from the top wall plate to the bottom wall plate.

(i)  Recommended sizes of studs are given in Table XVII-A.

| TABLE XVII-A |
| --- |
| Recommended Sizes of Studs |
| Size (in.) | Spacing (in.) | Maximum Height (ft-in.) |
| 2x4 | 16 | 7-6 |
| 3x4 | 16 | 8-0 |
| 3x6 | 16 | 9-0 |
| 2x4 | 24 | 7-0 |
| 3x4 | 24 | 7-6 |
| 3x6 | 24 | 9-0 |
| The recommended sizes and heights given are for standard lumber normally available in the organisation of Eastern Caribbean States. It is recommended that designers ensure that the specifications of the lumber being used are such that the bending and shear stresses of the lumber can meet the conditions given in the table above. |

(10)  (a)  Base plates for wall studs shall conform to the requirements of Part 2 section 8 of CUBiC.

(b)  The following provisions must be made—

(i)	In stud bearing walls—

double plates must be used around the entire exterior walls;

the top plate must be doubled or lapped at each intersection with walls and partitions;

joints in the upper or lower members of the top plates must be lapped not less than 4 inches.

(ii)	Plates on masonry or concrete walls—

Plates or sills resting on masonry or concrete walls must be treated with a suitable preservative and must not be less than 3 inches by 6 inches, bolted to the masonry or concrete at the corners and at not more than 4 feet intervals with 18 inches long ½ inch bolts.

(iii)	Base plates on concrete or masonry must have a suitable damp proof course under the plate.

(11)  (a)  Openings in non loadbearing walls shall be framed with not less than 2 inches thick material the same width as the studs and securely nailed to adjacent studs.

(b)  Openings for doors in non loadbearing walls required to be fire separations with a fire resistance rating shall be framed with the equivalent of at least two 2 inches thick members that are the same width as the wall plates.

(c)  All openings in loadbearing walls shall be provided with headers or lintels of not less than 2 inches nominal thickness placed on edge. Such headers or lintels shall have not less than 2 inches solid bearing at each end.

(12)  (a)  Figures 14 and 18 in the Building Guidelines show typical roof framing for small buildings. Such rafters are generally placed at intervals of 2 feet depending on the size of purlins and sizes of rafters. Roof framing shall be doubled on each side of openings greater than two rafters or joist spacings.

(b)  Rafters shall be located directly opposite each other and tied together at the peak, or may be offset by their own thickness if nailed to a ridge board not less than ¾ inch thick.

(c)  Framing members shall be connected by gusset plates or suitable steel connectors, except that where the roof framing on opposite sides of the peak is assembled separately, such as in the case of factory built houses, the manufacturer shall supply adequate fixings made up of 18 gauge steel plate with bolts or screws to ensure that both sides of the roof structure are firmly attached to each other. The design of the fixings and the procedure for installation of the roof must be approved by the Planning Board.

(d)  Hip and valley rafters shall be not less than 2 inches greater in depth than the common rafters and not less than 2 inches thick, actual dimension.

(e)  Dwarf walls and struts may be used to provide intermediate support to reduce the span for rafters and joists. When struts are used they shall be not less than 2 inches by 4 inches material extending from each rafter to a loadbearing wall at an angle of not less than 45 degrees to the horizontal.

(f)  When dwarf walls are used for rafter support, they shall be framed in the same manner as loadbearing walls and securely fastened top and bottom to the roof and ceiling framing to prevent over all movement. Solid blocking shall be installed between floor joists beneath dwarf walls that enclose finished rooms.

(g)  Except as provided in paragraph (h), the ridge of the roof shall be supported by a loadbearing wall extending from the ridge to suitable bearing or by a ridge beam of not less than 1½ inches by 6 inches material. Such ridge beam shall be supported at intervals not exceeding 4 feet by not less than 1½ inches by 4 inches members extending vertically from the ridge to suitable bearing.

(h)  When the roof slope is 1 in 3 or more, the ridge support may be omitted provided the lower ends of the rafters are adequately tied to prevent outward movement. These may consist of tie rods or ceiling joists forming a continuous tie for opposing rafters and nailed in accordance with Part 2 section 8 of CUBiC.

(i)  Roof trusses shall be designed by an experienced engineer or architect in accordance with the appropriate requirements in Part 2 section 8 of CUBiC.

(j)  Roof joists supporting a finished ceiling other than plywood shall be restrained from twisting along the bottom edges by means of furring, blocking, cross bridging or strapping conforming with subregulation 8(e).

(k)  Ceiling joists support the loads of the ceiling and should not be made to support rafter loads. In general practice, joists supporting a plaster ceiling shall be spaced not more than 16 inches on centres. They shall be not less than 2 inches x 2 inches lumber spanning not more than 24 inches for ceilings of ½ inch plaster board. Where the ceiling joists are used to support fibre board or plywood ceilings the spacing and size of joist shall be as follows—

| TABLE XVII-B |
| --- |
| Spans and Sizes of Ceiling Joists |
| Maximum Span (ft.in.) | Maximum Spacing (in.) | Width &Depth (in.) |
| 7-0 | 16 | 2 x 4 |
| 6-0 | 24 | 2 x 4 |
| 11-6 | 16 | 2 x 6 |
| 10-0 | 24 | 2 x 8 |

(13)  Joists and rafters shall bear on wood plates and shall have not less than 4 inches of bearing except as provided in Part 2 section 8 of CUBiC.

(14)  Anchorage for joists and rafters shall conform with the requirements of Part 2 section 8 of CUBiC. Anchorage must be continuous from the foundations to the roof, to ensure that all parts of the building are securely fastened to the foundations.

The anchorage systems recommended are shown in Figures E-l, E-2 and E-3, of the Building Guidelines. The anchorage for the base plates consist of bolts fixed into the concrete or masonry as in paragraph (10). The anchorage for the roof structure consists of galvanised hurricane straps or steel plates bolted to the rafters and to the plates. The steel plates or patented galvanised hurricane anchors must not be less than 18 gauge thick.

(15)  (a)  Floor sheathing requirements shall conform with regulation 132(4).

(b)  Roof sheathing requirements shall conform with the regulation 132(2).

(c)  Storm sheathing of exterior stud walls shall conform with the requirements of regulation 132(9)(c) and (d) and to Part 2 section 8 of CUBiC.

174.   Post, beam and plank construction

(1)  (a)  The size and spacing of posts and beams and the span and thickness of floor and roof decking shall be calculated in conformance with Part 2 section 8 of CUBiC except when specific dimensions are provided in this regulation.

(b)  Requirements for nails, lumber, notching and drilling, anchorage and sill plates shall conform to regulation 173.

(2)  (a)  Floor and roof decking shall consist of not less than 1 inch lumber laid on the flat or on edge.

(b)  Plank floor decking laid on the flat shall be not more than 8 inches wide and shall be tongued and grooved or splined, unless a separate underlay is installed or the flooring consists of wood strips at right angles to the decking.

(3)  (a)  Loadbearing beams shall be solid, built-up, glued-laminated or plywood web beams. Where glued assemblies extend to the exterior waterproof glue shall be used, except that where the exposed portion is adequately protected against wetting water resistant glue may be used.

(b)  Loadbearing roof beams shall be securely connected to the exterior wall framing and the centre loadbearing wall or centre beams to resist adequately the uplift forces due to wind.

(c)  The length of end bearings for loadbearing beams shall not be less than 4 inches.

(d)  When loadbearing beams are supported by mechanical connectors, the connectors shall be capable of supporting the design loads.

(e)  Joints in loadbearing beams occurring not over solid supports shall be designed in accordance with the provisions of CUBiC Part 2 section 8.

(f)  Opposing loadbearing beams shall be tied together at the joints by means of splices or suitable mechanical connectors.

(4)  (a)  Posts shall be solid, built-up or laminated.

(b)  Where wall sheathing does not provide suitable anchorage, exterior wall columns shall be anchored to the wall plate by suitably engineered anchors of not less than 16 gauge thick steel angles.

(c)  Solid posts and individual members in built-up posts shall extend in one piece to the full height of the wall storey.

(d)  Intermediate studs or blocking shall be provided between posts in post and beam walls for the support of exterior and interior cladding.

(5)  (a)  Thickness of plank framing in plank frame walls shall conform to Table XVII-A. The unsupported height of 1½ inches vertical plank non loadbearing partitions shall not exceed 12 feet.

(b)  Vertical framing in plank frame walls shall consist of not less than 10 inches wide planks spaced not more than 8 feet on centres.

(c)  Vertical framing in plank frame walls shall not bear on wood members with the grain at right angles to the vertical framing except where bearing on sills.

| TABLE XVII-C |
| --- |
| Nominal Thickness of Plank Framing |
| Supported Load (Including dead load and ceiling) | Minimum plank Thickness (in.) |
| Roof with or without attic storage | 1½ |
| Roof with or without attic storage plus 1 floor | 1¾ |
| Roof with or without attic storage plus 2 floors | 2½ |

(d)  Corners of plank frame walls shall be formed by butting and fastening together the face and edges of two planks.

(e)  Vertical framing in plank frame wall shall be provided on each side of every opening, except that a window opening not more than 20 feet 6 inches in width may be supported on one side only by a vertical member. In such cases the opposite jamb of the window or short upright to which it is attached shall bear on the filler wall plank immediately below, which in turn shall be notched into the vertical structural members on each side.

(f)  Where horizontal planks act as loadbearing lintels or headers they shall be framed into vertical members by dovetailing so that not less than a 2 inches length of bearing is provided.

(g)  Openings in load bearing plank frame wall shall be bridged with lintels designed to carry superimposed loads to adjacent vertical members.

(h)  In buildings of residential occupancy where spans of supported joists do not exceed 16 feet and the spans of trusses do not exceed 32 feet the spans for wood lintels shown in Table XVII-B may be used for plank frame walls.

(i)  Planks laid diagonal will reduce the tendency of the building to be pushed out of shape by lateral forces. Such planking shall be trimmed at the edges to fit the wall or floor plate or vertical edge framing members and nails should not be closer to the edge of the plank than 1 inch.

(j)  Non load bearing horizontal members (fillers) in plank frame walls shall be securely fastened to the vertical framing.

| TABLE XVII-D |
| --- |
| Lintel Spans |
| Lintel Size (in.) (nominal) | Maximum Span (ft.) |
| 2 x 6 | 5.0 |
| 2 x 8 | 6.0 |
| 2 x 10 | 7.0 |
| 3 x 8 | 7.0 |
| 3 x 10 | 9.0 |

175.   Sheet steel stud wall framing

(1)  This regulation applies to sheet steel studs for use in non load bearing exterior walls and interior partitions. Information on the design and construction of steel framed structures using cold formed steel sections can also be found in the Cold Formed Steel Design Manual, August 1986 Edition, with December 11,1989, Addendum, published by the American Iron and Steel Institute.

(2)  (a)  Where loadbearing steel studs are used they shall be designed in conformance with Part 2 section 7 of CUBiC.

(b)  Steel studs and runners shall conform to ASTM C645-76, “Non-load (Axial) Bearing Steel studs, Runners (Track), and Rigid Furring Channels for Screws”, or equivalent standard.

(c)  Screws for the application of cladding materials to steel studs, runners and furring channels shall conform to ASTM C 646 78a, “Steel Drill Screws for the Application of Gypsum Sheet Material to Light Gauge Steel Studs”, or equivalent standard.

(d)  Steel stud framing shall be clad on both sides with lath and plaster or sheet type material, fastened with screws or other acceptable fasteners at the appropriate spacing as required for interior finishes. Screws used for attaching wall finishes shall penetrate at least ⅜ inch through the metal.

(e)  Except as required in paragraph (g), steel studs in non load bearing partitions shall have a metal thickness of not less than 24 gauge.

(f)  Runners for interior and exterior non loadbearing walls shall have a thickness of at least 24 gauge exclusive of coatings and shall have at least 1 inch flanges. Note that except otherwise approved by the Planning Board, where the runners and other members are required to resist lateral loads the minimum thickness of the material shall be as set forth in Part XVI.

(g)  Where openings for doors in non loadbearing fire separations required to have fire resistance rating do not exceed 4 feet in width, the width of steel studs shall be at least 2½ inches. Where openings exceed 4 feet in width, the stud width shall be at least 3½ inches. The metal thickness of the studs must be adequate for the size of stud being used.

(h)  The distance of the first stud beyond the jamb of any door opening in a fire separation required to have a fire resistance rating shall not exceed 16 inches. Where the distance between the framing over the opening at the top runner exceeds 16 inches in such walls, intermediate support shall be installed at intervals of not more than 16 inches above the opening.

(i)  The size of spacing of non loadbearing steel studs for exterior walls shall conform to Tabl XVII-F.

| Table XVII-E |
| --- |
| Steel Studs for Non-Load bearing Partitions |
| Minimum Stud Size(in.) | Maximum Stud Spacing (in.) | Maximum Wall Height (ft-in) |
| 1-¼ x 1-½ | 16 | 9-6 |
|  | 24 | 8-6 |
| 1-¼ x 2-½ | 16 | 13-0 |
|  | 24 | 11-6 |
| 1-½ x 3-½ | 16 | 17-0 |
|  | 24 | 16-0 |

(3)  Except as required in subregulation (2)(f) and (h) the size and spacing of steel studs for non loadbearing partitions shall conform to Table XVII-E.

(4)  (a)  Runners shall be provided at the top and bottom of walls and partitions. Such runners shall be securely attached to the building at approximately 2 inches from the end of the runners, and at intervals of not more than 2 feet on centres for interior studs and 12 inches for exterior studs. Such fasteners shall consist of the equivalent of 2½ inches nails or 1 inch screws.

(b)  Studs at openings which are not full wall height shall be supported by a runner at the ends of the studs, securely fastened to the full length studs at the sides of the opening.

(c)  Steel studs used in walls required to have a fire resistance rating shall be installed so that there is at least a ½ inch clearance between the top of the stud and the top of the runner to allow for expansion in the event of fire. Except as provided in subregulation (2), studs in such walls shall not be attached to the runners in a manner that will prevent such expansion.

(d)  Door openings in non loadbearing fire separations required to have a fire resistance rating shall be framed with two runner sections back to back.

(e)  Steel studs shall be installed with webs at right angles to the wall face and except at openings shall be continuous for the full wall height.

(f)  Corners and intersections of walls and partitions shall be constructed to provide support for cladding materials.

(g)  Studs shall be doubled on each side of every opening where such openings involve more than one stud piece, and shall be tripled where the openings in exterior walls exceed 7 feet 9 inches in width. Such studs shall be suitably tied together to act as a single structural unit in resisting transverse loads.

(h)  Studs shall be attached to runners by screws, crimping, welding or other suitable method around wall openings, and elsewhere where necessary to keep the studs in alignment during construction.

| Table XVII-F |
| --- |
| Steel Studs for Non-loadbearing Exterior Wall |
| Minimum Stud Dimensions (in.) (Nominal) | Minimum Metal Thickness (excluding coatings) (in) | Minimum Stud Length (ft-in) |
|  |  | Spacing of Studs (in) - centre to centre |
|  |  | 12 | 16 | 24 |
| 1-¼ x 4 | 0.021 | 9-6 | 8-0 | - |
| 1-¼ x 4 | 0.027 | 11-0 | 8-10 | 7-10 |
| 1-¼ x 4 | 0.033 | 11-6 | 10-0 | 8-10 |
| 1-¼ x 4 | 0.039 | 13-0 | 10-10 | 10-0 |

Appendix A

British Standards and Codes Applicable

| Item | Code No. or Standard | Description |
| --- | --- | --- |
| Al | BS 144 | Wood preservation using coal and tar creosotes |
| A2 | BS 373 | Testing small clear specimens of timber |
| A3 | BS 405 | Expanded metal (steel) for general purposes |
| A4 | BS 497 | Manhole covers, road gully gratings and frames for drainage purposes |
| A5 | BS 5911 | Pre-cast concrete pipes, fittings and ancillary products |
| A6 | BS 648 | Schedule of weights of buildings materials |
| A7 | BS 690 | Asbestos-cement slates and sheets |
| A8 | BS 8004:1986 | Code of practice for foundations |
| A9 | BS 915 | High alumina cement |
| A10 | BS 6925 | Mastic asphalt (limestone aggregate) |
| A11 | BS 1187 | Wood blocks for floors |
| A12 | BS 1191 | Gypsum building plaster |
| A13 | BS 1200 | Sands for mortar for plain and reinforced brickwork, block walling and masonry |
| A14 | BS 1230 | Gypsum plasterboard |
| A15 | BS 1282 | Guide to the choice, use and application of wood preservatives |
| A16 | BS 1297 | Grading and sizing of softwood flooring |
| A17 | BS 1369 | Metal lathing (steel) for plastering |
| A18 | BS 1370 | Low heat Portland cement |
| A19 | BS 1521 | Waterproof building papers |
| A20 | BS 1579 | Timber connectors |
| A21 | BS 6323 | Seamless and welded steel tubes |
| A22 | BS 1876 | Automatic flushing for urinals |
| A23 | BS 1881 | Methods of testing concrete |
| A24 | BS 5135 | Arc welding of steels |
| A25 | BS 2994 | Cold rolled steel sections |
| A26 | BS 3260 | PVC (vinyl) asbestos floor tiles |
| A27 | BS 3261 | Unbacked flexible PVC flooring |
| A28 | BS 3284 | Polythene pipe (type 50) for cold water services |
| A29 | BS 3921 | Clay brick and blocks |
| A30 | BS 4360 | Specification for weldable structural steels |
| A31 | BS 4482 | Hard drawn steel wire for the reinforcement of concrete |
| A32 | BS 4483 | Steel fabric for the reinforcement of concrete |
| A33 | BS 8000 | Code of practice for masonry |
|  | Part3 |  |
| A34 | BS 5268 | Structural use of timber |
| A35 | BS 5628 | Structural recommendations for load bearing walls |
| A36 | BS 5655 | Lifts and service lifts |
| A37 | BS 5950 | Structural use of steelwork in building |
| A38 | BS 8110 | The structural use of concrete in buildings |
| A39 | BS 8214:1990 | Code of practice for fire door assemblies with non-metallic leaves |
| A40 | BS 6399 | Dead and imposed loads |
|  | Part 1 |  |
| A41 | BS 8000 | Code of practice for masonry |
|  | Part 3 |  |
| A42 | BS 8000 | Code of practice for concrete work |
|  | Part 2 |  |
| A43 | BS 8005 | Guide to new sewerage construction |
|  | Part 1: |  |
|  | 1987 |  |

Appendix B

U.S. Agencies

| Designation | Institution |
| --- | --- |
| ACI: | American Concrete Institute, 818 Connecticut Ave. N.W. Washington, D.C. 20006 |
| AITC: | American Institute of Timber Construction Inc. 333 West Hampden Ave, Englewood, Colorado 80110 |
| AISC: | American Institute of Steel Construction Inc. Wrigley Building 44 N. Michigan Ave., Chicago, Illinois 60611 |
| ANSI: | American National Standards Institute 1430 Broadway, New York, New York 10018 |
| AISI: | American Iron and Steel Institute 100 16th St. N.W., Washington, D.C. 20036 |
| APA: | American Plywood Association 1119 A St., Tacoma, Washington 98401 |
| ASTM: | American Society for Testing and Materials 1916 Race St. Philadelphia, Pennysylvania 19103 |
| AWS: | American Welding Society, Inc. 2501 N.W. 7th St. Miami, Florida 33125 |
| NBS: | National Bureau of Standards U.S Dept. of Commerce Washington D.C. 20402 |
| NFiPA: | National Fire Protection Association 470 Atlantic, Ave., Boston, Massachusetts 02210 |
| NPA: | National Particleboard Association 2306 Perkins Place, Silver Springs, Maryland |
| SJI: | Steel Joists Institute 1703 Parham Rd, Richmond, Virginia 23229 |
| TPI: | Truss Plate Institute 2400 East Devon, Des Plaines, Illinois 60018, USA |
| AWPB: | American Wood Preserves Bureau, PO Box 6085, Arlington, Virginia 22206, USA |

APPENDIX B(1)

U.S. Standards and Codes Quoted

| Item | Code No. | Description |
| --- | --- | --- |
| B1 | ACI318 | Building code requirements for re-inforced concrete |
| B2 | ACI315 | Manual of standard practice for detailing reinforced concrete structures |
| B3 | ACI 530-92 | Building code requirements for concrete masonry structures |
| B4 | ASTM C90 | Specifications for hollow-load bearing concrete masonry units |
| B5 | ANSI A41.1 | Standard requirements for re-inforced masonry |
| B6 | ATTC 101 to 115 | Timber construction standards |
| B7 | NLMA | National design specification for stress grade lumber and its fastenings |
| B8 | NBS R16 | American lumber standards for softwood lumber |
| B9 | NBS-CS | Douglas fir plywood, commercial standard |
| B10 | AISC-SJI | Standard specification for open web long span steel joist construction |
| B11 | AISC | Specifications for design, fabrication and erection of structural steel for buildings |
| B12 | ANSI A59.1 | Specifications for re-inforced gypsum concrete |
| B13 | SJIAISC | Specifications and load tables for J series and H series joists |
| B14 | AWS Dl .1 | Structural Welding Code |
| B15 | AWS D1.3 78 | Specifications for Welding Sheet Steel in Buildings |
| B16 | AISC | Specifications for Structural Joists using ASTM A325 or ASTM A490 Bolts |
| B17 | ANSI/ASTM A6 | Standard Specification for General Requirements for Rolled Steel Plates, Shapes, Sheet Piling, and Bars for Structural Use. |
| B18 | AISI | Specification for the Design of Cold-Formed Stainless Steel Members |
| B19 | AISIAl51 | Structural Specifications for the Design of Light Gauge Structural Members |
| B20 | TPI. 1978 | Design Specifications for Light Metal Plate Connected Wood Trusses |

APPENDIX B(2)

Other Codes

| C1 | Caribbean Uniform Building Code (CUBiC) CARICOM Community Secretariat, Georgetown, Guyana |
| --- | --- |
| C2 | National Building Code of Jamaica Ministry of Finance and Planning, Kingston, Jamaica |
| C3 | Standard Building Code Southern Building Code Congress International Birmingham, Alabama, USA. |
| C4 | South Florida Building Code Board of County Commissioners, Metropolitan Dade County, Florida, USA |
| C5 | Bahamas Building Code Ministry of Works, Nassau, Bahamas |
| C6 | National Building Code of Canada National Research Council of Canada, Montreal, Ottawa, Ontario, Canada |

Appendix C

Steel Sheet Metal Gauges

British Imperial or Us Standard Gauge (Uncoated Steel Sheets)

| Wire Gauge | British Standard Thickness (inches) | US Standard Thickness (inches) |
| --- | --- | --- |
| 4 | 0.2242 | 0.232 |
| 6 | 0.1943 | 0.192 |
| 8 | 0.1644 | 0.160 |
| 10 | 0.1345 | 0.128 |
| 12 | 0.1046 | 0.104 |
| 14 | 0.0747 | 0.080 |
| 16 | 0.0598 | 0.064 |
| 18 | 0.0478 | 0.048 |
| 20 | 0.0359 | 0.036 |
| 22 | 0.0299 | 0.028 |
| 24 | 0.0239 | 0.022 |
| 26 | 0.0179 | 0.018 |
| 28 | 0.0149 | 0.0148 |
| 30 | 0.0120 | 0.124 |

Appendix D

Hazard Materials

APPENDIX D(1)

High Hazard Materials

1.	Acetylene gas and gases under pressure and in quantities of greater than 70 cubic metres including hydrogen, natural ammonia, carbon monoxide, chlorine, methy1 oxide and all gases subject to explosion, fume or toxic hazard.

2.	Ammunition, explosives and fireworks manufacture.

3.	Apparel manufacture.

4.	Artificial flowers and synthetic learner manufacture.

5.	Celluloid and celluloid products.

6.	Cereal, feed, flour and grist mills.

7.	Cotton, batting and cotton waste processes.

8.	Dry cleaning establishments.

9.	Fruit ripening processes.

10.	Grain elevators.

11.	Industries employing substances which ignite or produce flammable gases on contact with water.

12.	Kerosene, fuel, lubricating or any soil storage with a flash point under 80 degrees C.

13.	Match manufacturing or storage.

14.	Metal enamelling.

15.	Nitro-cellulose film exchanges and laboratories.

16.	Paint and varnish manufacture or spraying or dipping.

17.	Petroleum manufacture.

18.	Processing of paper or cardboard in loose form.

19.	refrigerating systems using high hazard refrigerants.

20.	Shoe polish manufacture.

21.	Smoke houses (industrial).

22.	Straw goods manufacture or broom storage.

23.	Sugar and starch pulverising mills.

24.	Tar, pitch or resin processing.

25.	Tyre storage warehouses.

26.	Waste paper sorting or shredding, storage or baling.

APPENDIX D(2)

Moderate Hazard Materials

1.	Bags, cloth and paper.

2.	Bamboo and rattan baskets.

3.	Belting, canvas and leather.

4.	Books and paper in rolls or packs.

5.	Boots and shoes.

6.	Buttons, including cloth covered, pearl and bone.

7.	Cardboard and cardboard boxes.

8.	Clothing.

9.	Cordage.

10.	Fibre board.

11.	Furniture.

12.	Glue, mucilage and paste.

13.	Linoleum.

14.	Livestock shelters.

15.	Lumber yards.

16.	Motor vehicle repair shops.

17.	Petroleum warehouses for storage of lubricating oils with a flash point of 150 degrees C or higher.

18.	Photo engraving.

19.	Soap.

20.	Sugar.

21.	Tobacco, cigars, cigarettes.

22.	Upholstering and mattress manufacturing.

23.	Wax candles.

Appendix E

Weights of Building Material

| Material | Weight, lb/sq. ft. |
| --- | --- |
| Ceilings |  |
| Plasterboard, unplastered | 3 |
| Plaster, ¾ inch, and wood lath | 8 |
| Plaster on tile or concrete | 5 |
| Suspended, metal lath and plaster | 10 |
| Floors |  |
| Hardwood flooring, ⅞ inch thick | 4 |
| Sheathing, yellow pine 1 inch thick | 4 |
| Spruce | 2-½ |
| Wood block, creosoted 3 inch thick | 15 |
| Cement finish per inch thick | 12 |
| Terrazzo tile per inch thick including base | 12 |
| Gypsum slab, per inch thick | 5 |
| Roofs |  |
| Corrugated metal, galvanised: |  |
| 20 gauge | 1.66 |
| 24 gauge | 1.16 |
| 28 gauge | 0.78 |
| Roofing felt, 3 ply and gravel | 5-½ |
| Roofing felt, 5 ply and gravel | 6 -½ |
| 3 ply ready roofing | 1 |
| Shingles, wood | 3 |
| Tile or slate | 5 to 20 |
| Partitions |  |
| Channel Studs, metal lath, cement plaster, solid 2″ thick | 17.5 |
| Studs, 2″ x 4″ wood or metal lath, ¾ inch plaster both sides | 18 |
| Studs, 2″ x 4″ plaster board, ½″ plaster both sides | 18 |
| Plaster, ½″ on clay tile (one side) | 4 |
| Mortar Rubble Masonry |  |
| Limestone | 150 |
| Dry Rubble Masonry |  |
| Limestone | 125 |
| Earth, etc., Excavated |  |
| Sand, gravel, dry, loose | 90 to 105 |
| Sand, gravel, packed | 100 to 120 |
| Clay, dry | 63 |
| Clay, damp, plastic | 110 |
| Clay and gravel, dry | 100 |
| Earth, dry, loose | 76 |
| Earth, dry, packed | 95 |
| Earth, moist, packed | 96 |
| Earth, mud packed | 115 |
| Riprap, limestone | 80 to 115 |
| Excavations in Water |  |
| Sand or gravel | 60 |
| Sand or gravel and clay | 65 |
| Clay | 80 |
| River mud | 90 |
| Soil | 70 |
| Stone riprap | 65 |
| Concrete Block |  |
| 8″ x 8″ x 16″ (from the US) | 35 to 40 lbs per block |
| 8″ x 8″ x 16″ (from the Dominican Republic or other areas with igneous or extrusive rock) | 45 to 50 lbs per block |
| Concrete |  |
| With aggregate (basalt or other extrusive rocks) e.g. from Haiti, Dominican Republic | 155 to 160 lbs/cu. ft |
| With aggregate (sedimentary rock), from Jamaica, Bahamas and other quarries | 145 to 150 lbs/cu. ft |
| With aggregate from limestone (local sources) | 140 to 145 lbs/cu. ft |

Appendix F

Accessibility Guidelines for Persons with Disability

1.   Scope

1.1  The following guidelines are intended to introduce designers and builders to the minimum provisions required for safe access for persons with disability to building facilities. The guidelines should be used in conjunction with these Regulations and in conjunction with the specific recommendations of the bodies and institutions engaged in assisting such persons with the minimum provisions needed for access to all facilities.

1.2  Designers should also be aware of the United States Legislation, Americans with Disabilities Act (ADA) which was signed into law in July, 1990, and which determines the minimum provisions for disabled persons in public institutions.

The Act includes—

(a)	Title I: Employment

(b)	Title II: State and Local Government services, regardless of the receipt of federal funds

(c)	Title III: Public Accommodation – hotels, retail establishments, etc.

(d)	Title IV: Telecommunications

(e)	Title V: Miscellaneous Provisions – includes attorney’s fees.

1.3  Designers of public buildings in Groups A and B(a) would therefore be expected to consult the relevant bodies such as the local chapter of the institutes for the blind for specific information based on the research being carried out by these bodies. In accordance with these Regulations, the Planning Board will examine the plans for new public facilities to ensure that adequate provisions have been made for the physically disabled.

1.4  The following should be considered as minimum provisions for facilities for handicapped persons in wheel chairs using public buildings—

(a)	All public buildings – post offices, hospitals, asylums, sanatoria, airport terminals, and sea port terminals – and all other buildings in Group B(a) shall have provisions for the physically disabled including those persons in wheel chairs.

(b)	It is desirable that other public buildings such as banks, theatres, assembly halls, hotels and cinemas, have some provisions which would allow ease of access by persons in wheel chairs.

(c)	Hotels and other establishments offering accommodation to the public should have at least one bedroom for every twenty-five bedrooms, or a fraction thereof, made accessible for persons with disability.

(d)	In new housing developments consideration should be given to constructing at least one dwelling unit in every twenty-five units (or a fraction thereof) to be accessible to persons with disability.

2.   Relevant Guidelines

2.1  The following Guidelines and Codes provide detailed information on the design of barrier free facilities—

(a)	BS 5588 Means of Escape for disabled persons.

(b)	Caribbean Uniform Building Code, sections 3.125 and 3.126.

(c)	Barrier Free Designs – A National Standard for Canada, Canadian Standards Association, June, 1990.

(d)	Access Needs of Blind and Visually Impaired Travellers in Transportation Terminals; A Study and Design Guidelines, Canadian Institute of the Blind, December, 1998.

(e)	National Building Code of Canada – section 3.7 – Barrier Free Design; National Research Council of Canada, Ottawa.

2.2  It is suggested that designers also read the following—

“Building without barriers for the disabled” – Sarah P. Harkness and James N. Groom Jr.; Hitney Library of Design, 1515 Broadway, New York, New York 10036.

3.   Building Approaches and Entrances

(a)	In every building, at least one primary entrance at ground floor level shall be accessible from the street entrance or parking lot by means of a walkway or ramp with a gradient of not more than one in twenty. There shall be no steps or abrupt changes in grade of the access way.

(b)	At every entrance there should be a level platform at least 3 feet 0 inches by 4 feet 0 inches to afford the opening and closing of doors by persons in wheel chairs. (Figure 26 in TCI Building Guidelines). Such platforms should also be constructed at every change of grade or direction of the ramp and at 30 foot intervals on a long ramp.

(c)	A clear space of 4 feet 0 inches x 4 feet 0 inches would allow access for both forward and side approaches to doors. A clear space of 5 feet 0 inches x 5 feet 0 inches is required for a wheel chair to pivot 180 degrees.

(d)	Kerbs intended to be crossed by handicapped persons in wheelchairs should be cut to provide a passage of not more than 4 inches high at the kerb at least 4 feet wide. The lip of the kerb should not be greater than 1 inch high. Such ramps should be of contrasting colour and texture.

(e)	Access ramps should be provided with handrails on both sides at a height of 2 feet 8 inches measured from the ramp surface to the top of the rail.

(f)	Gratings across entrances and walkways must be avoided. Where gratings are absolutely necessary for drainage the apertures of the gratings should not be greater than ¾ inch and the bars at least ½ inch wide set at right angles to the direction of travel. Gratings and manholes covers should fit securely and be flush with the walk way or street.

(g)	Catch basins should be constructed outside of pedestrian crossings.

4.   Walkways and Sidewalks

(a)	The surfaces of walkways should be constructed of non-slip covering.

(b)	Walkways in passages and courtyards should be 4 feet 6 inches to 6 feet 6 inches wide with shoulders about 4 feet 0 inches wide.

(c)	Slopes should be no greater than five per cent.

(d)	Cross slopes no greater than two per cent.

(e)	Walkway widths for persons using crutches or service dogs should be a minimum of 3 inches wide.

(f)	Sidewalks should be 5 feet 0 inches wide.

(g)	Slopes for sidewalks should be two and a half per cent to five per cent maximum.

5.   Doors and Corridors

(a)	Doors should open in a single motion with one hand and with a force no greater than 5 pounds, and should have a clear swing of at least 90 degrees. For sliding doors the force required to operate the door should not be greater than 8.5 pounds.

(b)	Doorways should be a minimum of 32 inches clear.

(c)	Door latches, handles and pull bars should be easy to grasp and between 2 feet 0 inches and 4 feet 0 inches high. Knobsets should not be used.

(d)	Corridors should be at least 4 feet 0 inches wide and be equipped with an easy to grasp hand rail along one side. The handrail should be at a height of 2 feet 8 inches to 2 feet 11 inches and be 1½ inches clear of the wall.

(e)	Except in confined spaces and except for doors to toilets and washrooms, all doors in corridors should open into rooms.

(f)	The minimum clear floor space or ground area for wheel chairs is 3 feet 6 inches x 4 feet 0 inches. An area 4 feet 0 inches x 4 feet 0 inches allows access to doors for both forward and side approaches.

(g)	The space required for manoeuvring wheel chairs at doorways is given in Table F-l.

| TABLE F-l |
| --- |
| Applicable Dimensions for Wheel Chair Space at Doorways |
| Description | Floor depth (ft. - in.) | Space width (ft. - in.) | Required space beside latch (ft. - in.) |
| Front Approach Side hinged Pull Push | 5 - 0 | 4 - 0 | 2 -0 |
|  | 4 - 0 | 4 - 0 | 1 - 0 |
| Latch Side Approach |  |  |  |
| Pull Side | 4 - 0 | 5 - 0 | 2 - 0 |
| Push Side | 3 - 6 | 5 - 0 | 2 - 0 |
| Hinged Side Approach |  |  |  |
| Pull Side | 5- 0 | 5 - 0 | 2 - 0 |
| Push Side | 3 - 6 | 4 - 6 | 1 - 5 |
| Sliding Door |  |  |  |
| Front Approach | 4 - 0 | 3 - 0 | 1 - 9 |
| Side Approach | 3 - 6 | 4 - 6 | 1 - 10 |

6.   Elevators

Where elevators are required to access upper floors at least one elevator should be constructed to meet the requirements given below—

(a)	Elevators should be accessible from the ground floor entrance.

(b)	The elevator cab shall have a clear area of not less than 20 square feet, with a minimum dimension of 4.5 feet.

(c)	The elevator door should be at least 32 inches in clear width.

(d)	Elevators should be self levelling with a maximum tolerance of 1 inch.

(e)	Control buttons should be located not more than 4.5 feet above the floor.

(f)	Handrails should be provided at a height of between 2 feet 8 inches and 2 feet 11 inches.

7.   Theatres, cinemas and auditoria

(a)	There should be accommodation for persons in wheel chairs attending functions at the public buildings as follows—

| Table F-2 |
| --- |
| Spaces Required For Wheel Chairs |
| Number of Fixed Seating | Number of Spaces Required for Wheel Chairs |
| Up to 200 | 2 |
| 201 to 300 | 3 |
| 301 to 400 | 4 |
| 401 to 500 | 5 |
| 501 to 600 | 6 |
| Over 600 | 6 plus 1 for each additional increment of 500 seats to a maximum of 12. |

(b)	Wheel chair spaces should be not less than 4 feet 4 inches deep by 2 feet 6 inches wide and should preferably be integrated into the regular seating.

(c)	Each space should be on an aisle and should be on the same level and near to an exit.

(d)	Where public address communication systems is installed, headphones outlets should be provided for persons in wheel chairs at a ratio of one such outlet for every one hundred seats with a minimum of two.

8.   Ground and Floor Surfaces

(a)	The surfaces of the ground and floor on which disabled persons must walk should be firm, slip resistant and free of glare. Any change in level should be treated as per Table F-3.

(b)	The floor surface of detectable warning surfaces should be about 3 feet 0 inches and be of contrasting colour.

(c)	Floor surfaces should be slip resistant as far as possible. The slip resistance of common surfaces is given in Table F-4.

| TABLE F-3 |
| --- |
| Changes in Level |
| Vertical Rise (in.) | Edge Treatment |
| 0 - ¼ | May be vertical |
| ¼ - ½ | Should be levelled. Max slope 1:2 |
| over ½ | Treat as ramp |

| TABLE F-4 |
| --- |
| Slip Resistance of Floor Finishes |
| Surface | Dry and Unpolished | Wet |
| Clay tiles | Very good | Very good |
| Carpet* | Very good | Good |
| Clay tiles (textured) | Very good | Good (External) |
| Cork tiles | Very good |  |
| PVC with non-slip granules | Very good | Good |
| Mastic asphalt | Good | Good |
| Concrete** | Good | Poor to fair |
| Terrazoa | Good | Poor to fair |
| Notes.—*The soft weave of the carpet may make travel in a straight line difficult |
| ** Textured finish to concrete improves its resistance when wet. |

9.   Protruding Objects

It is recommended that designers consult section 3 of the National Building Code of Canada for the proper placing of protruding objects. Objects protruding from walls with their leading edges between 2 feet 6 inches and 6 feet 6 inches, shall protrude not more than 4 inches into pedestrian areas such as sidewalks, halls, corridors, etc.

10.   Walls

(a)	Wall surfaces should not be rough or uneven and should have contrasting colours.

(b)	Mirrored walls should not be used as they may be confusing to the visually impaired.

(c)	Glass panels may be confused as egress routes.

11.   Detectable Objects

The following guide should be considered in the placing of objects on walls or in rooms to be traversed or used by the physically disabled—

(a)	Objects with their leading edges 2 feet 4 inches from the floor may protrude to any amount.

(b)	Objects between 2 feet 4 inches and 6 feet 8 inches from the floor shall not overhang more than 12 inches.

(c)	The maximum height of the bottom edge of an object with a space or more than 12 inches between supports shall be 2 feet 3 inches from the floor.

(d)	Freestanding objects shall not overhang more than 1 foot between 2 feet 3 inches and 6 feet 5 inches.

12.   Headroom

The minimum headroom – clear height from the floor to ceiling (or any supporting beam or member) – is 7 feet.

13.   Bathroom and Toilet Facilities

(a)	All public buildings shall have at least one toilet specially constructed for use by persons with disability. Such toilet compartments shall carry on the door to the compartment the international sign indicating that such a compartment has been specially constructed for use by persons with disability.

(b)	Toilet fixtures should be so placed as to facilitate the turning of a wheelchair.

(c)	Handrails of not less than 1 inch and not more than 1½ inches O.D. shall be provided on both sides of the water closet, and mounted 34 inches above and parallel to the floor. The handrail should be placed with the front end about 2 feet in front of the water closet.

(d)	Toilet seats should be 18 inches to 24 inches off the floor. They should be equipped with—

(i)	hand operated flushing controls that can be reached by persons in a wheel chair, and

(ii)	a back support.

(e)	Wash basins should be placed a maximum of 2 feet 10 inches high with a clear space of at least 2 feet 3 inches high by 3 feet 0 inches under the basin. The wash basin should be equipped with faucet handles of the lever type without spring loading. The soap and towel dispensers should be located not more than 4 feet above the floor and be accessible to persons on a wheel chair.

(f)	The bottom edge of a mirror should not be more than 3 feet 0 inches above the floor.

(g)	Where showers are provided in public assembly buildings at least one shower for each sex should be constructed for use by persons with disability. Such showers should not be less than 5 feet 0 inches by 3 feet 0 inches with a threshold no higher than ½ inch and a curtain hung 3 feet 0 inches from the back wall.

(h)	Doors to toilet facilities should always open outwards and be equipped with self closing hinges or door closers.

(i)	Vertical and horizontal grip rails should be installed and readily accessible from the toilet and shower.

14.   Parking Lots

(a)	Any parking lot servicing an entrance described in these Regulations shall have a number of level parking spaces identified by the appropriate international signs as reserved for persons with disability. Each reserved parking space shall not be less than 12 feet 0 inches wide.

(b)	Table F-5 gives the suggested number of reserved parking spaces for persons with disability. Such parking spaces shall be within easy reach of an exit, and shall be so placed that the person using the space would not be compelled to pass behind other parked vehicles to access the building entrance, ramp or walkway.

| TABLE F-5 |
| --- |
| Accessible Parking Spaces for the Physically Disabled. |
| Total Number of Parking Spaces in Lot | Required Number of Spaces Reserved for Persons with disability |
| 1 – 50 | l |
| 51 – 75 | 2 |
| 76 – 100 | 3 |
| 101 – 200 | 4 |
| 201 – 500 | 5 |
| above, 500 | 1 per cent of the total umber of spaces |

15.   Illumination

All spaces to be used by visually impaired persons should be provided with at least the lighting level of 100 lux.

16.   Signs

For adequate recognition of signs by the visually impaired the signs should be constructed and placed in accordance with the following Table F-6.

| TABLE F-6 |
| --- |
| Placing of Signs |
| Minimum Character Height (in.) | Maximum Viewing Distance (ft. - in.) |
| 8 | 20 - 0 |
| 5 | 15 – 0 |
| 4 | 8 – 0 |
| 3 | 7 – 10 |
| 2 | 5 – 0 |
| 1 | 2 – 6 |

17.   Provisions for Access to Service in Supermarkets, Banks and Other Public Places

(a)	Aisles

The minimum width of aisles for persons to allow safe manoeuvring by persons in wheel chairs should be 3 feet 4 inches for travel in a straight line and 5 feet 0 inches to provide for a 180 degree turn. In supermarkets and other public places such as assembly halls, banks and theatres it is recommended that provision be made for two persons in wheel chairs to pass, and for persons in wheel chairs to make a 180 degree turn. The recommended minimum width for aisles is therefore 5 feet 0 inches.

(b)	Counters

It is recommended that special seating arrangements be made at banks, work places and lunch counters for persons in wheel chairs. Adequate room must be provided for safe manoeuvring to approach the counter.

Seating spaces at counters should have a clear floor space of not less than 2 feet 6 inches by 4 feet 0 inches. Where a forward approach is possible there should be a clear knee space at least 2 feet 6 inches wide by 1 foot 8 inches deep by 2 feet 4 inches high.

At lunch counters and at places where it is necessary to stand or sit to be served, there should be at least one such special seat available for every thirty places. There should be at least one special counter available in banks for persons in wheel chairs.

(c)	Shopping Malls

The design of shopping malls should be in accordance with BS 5588 Part 10: 1991 Code of Practice for shopping complexes.

18.   Public Telephones

(a)	Wherever public telephones are installed provision shall be made for at least one telephone to be accessible by persons in wheel chairs.

(b)	The maximum height of the telephones controls should be 4 feet 6 inches and a clear floor space of not less than 3 feet 0 inches by 4 feet 0 inches shall be provided in front of the telephone. If a clear height of 2 feet 6 inches is available for knee space, then the allowable floor space can extend into the knee area a maximum of 4 feet 0 inches.

(c)	The minimum cord length should be 3 feet 4 inches.

(d)	The telephone assembly including the enclosures shall not reduce the minimum width required for safe passage in corridors, aisles or walkways.

Appendix G

General Guidelines for Fire Resistive Construction

1.   Scope

This appendix is designed to assist in the coordination of design requirements for ensuring the safety of occupants of all classes of buildings in the event of a fire. Information on the fire resistance of materials and assemblies used in construction is provided in Part III of these Regulations and in Section G of the Building Guidelines. Regulation 36, 38 and 39 also provide information on the design of building components for fire safety and on the fire safety equipment required.

The main objective in the design of buildings must be to limit the spread of fire so that occupants can escape safely and so that the fire will not be spread to adjacent buildings before fire fighting efforts to contain the fire can be effective. The design on buildings must also take into account the need for access to the buildings by fire fighting apparatus and in the cases of buildings with their own water supply to the nearest suitable water connection.

2.   Code

This Appendix does not repeat the standards given in other Codes of practice as it is recommended that designers of institutional buildings and all buildings in Groups A, B, C, D, E(b) and (c), and F consult the Codes listed in this paragraph. Where a conflict arises in the interpretation of the Codes, Part 3, section 7 of the Caribbean Uniform Building Code takes precedence.

The reference codes are—

| – | Caribbean Uniform Building Code (CUBiC) – Part 3 Section 7 |
| --- | --- |
| – | BS 5588 |
|  | Part 1 | Code of Practice for residential buildings |
|  | Part 2 | Code of Practice for shops |
|  | Part 3 | Code of Practice for office buildings |
|  | Part 6 | Code of Practice for places of assembly |
|  | Part 8 | Code of Practice for means of escape for disabled people |
|  | Part 10 | Code of Practice for shopping complexes |
| – | National Building Code of Canada |
|  | Section 2.5 | Fire Department Access to Building |
|  | Section 2.7 | Safety to Life |
|  | Section 2.8 | Emergency Planning |
|  | Section 2.10 | Day Care Centres |
|  | Section 2.11 | Boarding and Lodging Houses |
|  | Section 2.15 | Construction Sites |

3.   Fire-Resisting Construction for Important Buildings

Table G-l gives the fire resistant periods required for institutional buildings, for shops and supermarkets, for assembly halls, theatres and stadiums, and for other public buildings such as post offices, general office buildings and banks.

| TABLE G-l |
| --- |
| Required Fire Resistant Periods |
| Buildings | Periods in Hours |
| Assembly Halls | 1½ |
| Hospitals | 1½ |
| Infirmaries | 2 |
| Prisons | 1 |
| Theatres | 1½ |
| Office Buildings | ½ |
| Banks | ½ |
| Shops and Shopping Centres | ¾ |

The fire resistant periods given are based in the need of occupants to exit the buildings safely under the conditions which obtain in Saint Vincent and the Grenadines. It is important to recognise that while it may be possible to exit buildings in much less time than indicated in the Table, yet the conditions for safe exit may not be in place, and caution must be used in the design of hospitals and infirmaries where the occupants will not be completely mobile and staff may not be available to offer assistance to the immobile or bedridden occupants.

4.   Fire Protection Requirements for Storage and Maintenance Facilities

Table G-2 gives the type of construction required for the construction of buildings or rooms housing maintenance and storage facilities. This Table must be read with Tables III-A to III-C and with Part 3 section 3 of the CUBiC for the design of buildings storing flammable materials, to provide the material types that can be used for the construction of the facilities.

| TABLE G-2 |
| --- |
| Structural Fire Protection of Certain Facilities |
| Facility | The facility should be separated from other parts of the complex by: |
| 1. Storage areas not greater than 450 sq. m (other than refuse storage areas) 2. Engineering services installations rooms (other than those covered in items 6, 7 and 8) | Robust construction having a minimum standards of fire resistance of 60 min. |
| 3. Repair and Maintenance workshops 4. Storage areas greater than 450 sq. m. (other than refuse storage areas) | Robust solid non-combustile construction having a minimum standard of fire resistance of 120 min. |
| 5. Refuse Storage Areas 6. Rooms housing fixed internal combustion engines 7. Boiler and fuel storage spaces 8. Transformer and switchgear rooms 9. Central control room, fire control centre, enclosed car parks and enclosed servicing areas | Robust solid non-combustible construction having a minimum standard of fire resistance equivalent to the required for the elements of construction of the complex, and in no case less than 120 min. |

5.   Storage of Flammable Liquids and Gases

Section 3 Part 3 of the Caribbean Uniform Building Code (CUBiC) provides details for the construction and occupancy of facilities with hazardous and volatile materials such as petroleum (gasoline), liquefied petroleum gases, flammable film, and conbustible fibres.

CUBiC gives limiting distances from buildings for the location of facilities such as paint spraying booths, private and public garages, and motor fuel service stations depending on the capacity of the storage facility and the type of serive proposed. Designers are advised to consult CUBiC and other Codes such as NFiPA 30 - Flammable and Combustible Liquids to ensure that the design of the facility conforms to the safety standards approved by the Board.

6.  General

It is emphasised that building designers must examine the fire resistance periods of materials and assemblies as given in Tables III A, B and C of these Regulations and Tables H-1, H-2, H-3, H-4 and H-5 of Section H of the Building Guidelines to determine the component assembly and materials appropriate for the building to be constructed.

For example the use of ½ inch fibreboard for cladding of partitions or ceiling in institutional buildings would be inappropriate as Table H-4 of Section H of the Building Guidelines assigns a fire resistance period of 5 minutes to ½ inch fibreboard. The minimum timber assembly for one hour fire resistive period is given in Table III-B. This assembly is described as 2 inches x 4 inches wood studs 16 inches on centre with two layers of ⅜ inch regular gypsum wallboard on each side. This assembly must be 5¼ inches thick.

The Planning Board shall not approve the design and construction of any building which does not comply with the minimum requirements for fire safety as given in these Regulations.

Appendix H

APPENDIX H(1)

Requirements of Group A Occupancies

1.   Definition

Group A occupancy is defined in Part II and includes assembly uses such as theatres, auditoria, motion-picture houses, exhibition halls, skating rinks, gymnasiums, bowling alleys, pool rooms, restaurants, churches, dance halls, night clubs, meeting rooms, passenger rooms, recreation facilities, and similar uses, having an occupant content of fifty or more persons.

2.   Construction, Height and Area Allowable

Buildings or parts of buildings, classed in Group A because of use or Occupancy shall be Type 1 construction. Exterior walls shall have fire resistance and opening protection, determined by location on property, as set forth for the Type of Construction in Tables II-D to II-G.

Buildings in this Group shall not be limited as to occupant content, height or area except as may be required by the Planning Board.

3.   Location on Property

See applicable Development Plan for location.

The main floor shall be located at or near grade.

4.   Exit Facilities

Exit facilities for Group A Occupancy shall be as set forth in Part IV and in Table IV-B.

5.   Occupancy Content (See Part II Table III-A)

For places of public assembly with fixed seats, a space of 7 square feet shall be allowed per person. For places of assembly with moveable seats, a space of 10 square feet shall be allowed per person. For night clubs and restaurants with tables, a space of 12 square feet shall be allowed per person. Aisles or gangways shall not be included in these areas.

Notwithstanding the above areas required, the occupant content shall be taken as not more than one person per 15 square feet of aggregate gross area of all floors or parts of the building used for assembly purposes including lobbies, corridors, dressing rooms, toilets, and other commonly used connecting rooms and service areas used in conjunction with the assembly occupancy.

Such areas as swimming pools, bowling alleys, may be excluded or other uses separately considered.

6.   Width of Exits

Every place of assembly and every individual room used as a place of assembly shall have exits of a number and width sufficient to provide for the total occupancy as given in Tables IV-B and IV-D. The widths can be calculated by the following—

(a)	Areas served by doors or horizontal exits leading to the outside of the building or 22 inch unit of exit width for each one hundred persons or fraction thereof.

(b)	Areas served by stairs or other type of exit not as set forth in (a) above, one 2 inch unit of exit width for each seventy-five persons or the fraction thereof. The minimum exit width shall be 36 inches in all cases.

However, the number and widths of exit shall not be less than those set out in Tables IV-B and IV-D.

7.   Main Floor Exits

(a)	Not less than half of the required main floor exit widths shall be to a main entrance and exit, and the remainder shall be proportioned to the side exits. All required exits of Group A Occupancy shall serve no other Occupancy.

(b)	Exits no less in width than the full width of the aisles or gangway leading thereof shall be provided at the rear of the main floor assembly and such exits hall lead into a foyer or into a passage way to the outside of the building. Any change in elevation from a public footpath to the back of the main floor assembly or foyer shall be made by ramps having a slope of not more than one in ten. The most obvious and direct exit to the public street shall remain unobstructed.

(c)	The width of the foyer at any point shall not be less than the combined width of the aisles, gangways, stairways and passageways leading thereto. The foyer shall be separated from the assembly spaces with partitions having a fire rating of not less than two hours. There shall be not less than two remote exits from any Group A Occupancy.

(d)	Half of the required main floor exit widths shall be proportioned to the side exits and when more than one side exit is required, shall be equally divided in full units of unit width each side. The number of side exits shall be as in regulation 38.

(e)	Exits shall be so arranged that the maximum distance as measured along the line of travel to the nearest floor exit from any point shall not exceed 150 feet. (See Table IV-C).

8.   Balcony Exits

Exits from a balcony shall be as specified for main-floor exits except that balconies having an occupancy content of less than thirty persons may be served by one 44 inch stair, and for thirty persons or more at least two exits shall be provided.

9.   Exit Doors

All doors in the paths of egress, normally closed and latched, shall be equipped with full sets of panic hardware No single door shall be more than 3 feet 8 inches in width and no double doorways shall be less than 3 feet 9 inches in width.

10.   Marking of Exit Doors

Above every exit door there shall be a lighted sign marked EXIT in letters at least 4 inches high lit normally by an electric bulb and in addition fitted with an emergency battery or power source to give light in the event of power failure. The letters shall be green and the background white. Doors which may be confused as leading to exits, shall clearly be marked “PRIVATE”.

11.   Aisles and Seatings

(a)	Part IV provides information on fixed seating in places of public assembly.

(b)	Fixed seats shall be securely fastened to the floor; moveable or folding seats for the assembly of five hundred (500) persons or more shall be fastened together in banks of six or more.

(c)	Where seating is at tables as in restaurants and night clubs, aisles or gangways shall be so located so that there is not more than 28 feet between aisle or gangways nor more than 14 feet between an aisle or gangway and a wall. At each side exit there shall be a cross aisle or gangway leading to the centre of the width of the building. Aisle or gangway widths shall be rigorously maintained.

12.   Light and Ventilation

(a)	General

All portions of Groups A Occupancies customarily used by human beings and all dressing rooms shall be provided with light and ventilation by means of windows or skylights with an area of not less than one-eighth of the total floor area, one-half of which shall be openable, or shall be provided with electric light and a mechanically operated ventilating system as set forth in Part X.

Ducts for the mechanical ventilation system shall serve no other Group of Occupancy.

(b)	Artificial lighting

Auditorium light shall be as set forth in accordance with the requirements of Part X, and emergency lighting shall be provided in all paths of egress to the approval of the Planning Board.

13.   Hazards

Registers or vents supplying air back stage, supplying a projection booth or passing through a fire wall shall be equipped with automatic closing devices activated by smoke detectors located in the registers or vents, and supplying air fans shall be controlled with a smoke sensing device.

14.   Enclosure of Vertical Openings

(a)	Vertical openings shall be enclosed as set forth in Part 3 section 3.612 of CUBiC.

(b)	Elevators which serve dressing rooms, gridiron and fly galleries need not be enclosed above the stage level.

15.   Stages

Stages, platforms and accessory features thereof shall be designed and constructed as set forth herein.

(a)	Stage construction

All parts of the stage shall be designed to support not less than 125 pounds per square foot and shall be of Type 1 construction or fire retardant timber. The room directly under the stage shall not be used for any purpose other than the working of traps and mechanical apparatus necessary for a performance on the stage.

Openings through stage floors shall be equipped with tight-fitting trap doors or non-combustile materials or of wood not less than 2 inches thick.

(b)	Gridirons

Gridirons, fly galleries and pin rails shall be constructed of non-combustile materials, but fireproofing of metal shall not be required.

(c)	Accessory rooms

Dressing rooms, workshops and store rooms shall be located on the stage side of the proscenium wall and shall be separated from each other and from the stage by two-hour resistive construction.

(d)	Proscenium walls

The proscenium wall separating the stage portion from the auditorium shall be not less than four hours fire-resistive construction and shall extend not less than 4 feet above the roof. The proscenium wall shall not be finished or covered with combustible materials.

Proscenium walls may have in addition to the main proscenium opening, one opening at the orchestra pit level and not more than two openings at the stage room level, each of which shall be not more than 25 square feet in area. Such openings shall be equipped with self closing fire-resistive doors.

(e)	Proscenium curtains

The main proscenium opening shall be provided with self-closing, tight-fitting, dirt-resistive curtain composed largely of heat-resistive material with no more than ten per cent of weight of cotton or other combustible materials.

Such curtain shall be of one-ply thickness and shall weigh not less than 3 pounds per square yard and shall be painted with a material paint so brushed into the cloth that no light or smoke can come through. Proscenium curtains of non-combustible materials other than fabric may be used, with the approval of the Planning Board.

Proscenium curtains, 35 feet or less in width, shall have a rigid metal member, not less than the equivalent of a two-inch standard steel pipe, at the top and bottom edges, protected by the fabric on both the stage and auditorium sides. Curtains over 35 feet in width shall have a rigid metal frame, protected on both sides against fire and such frame shall be designed for a wind pressure of not less than 15 pounds per square foot.

The proscenium curtain shall extend into non-combustible and smoke-proof guides at the sides, a distance of not less than 12 inches. The curtain shall overlap at the top of the proscenium opening not less than 24 inches, and the bottom edge shall have a yielding pad of non-combustible materials not less than 4 inches deep to form a seal against the floor.

The proscenium curtain shall be rigged and counter-balanced with not less than six ⅜ inch flexible steel cables and six safety stop chains of ¼ inch straight link-welded chain and shall be so arranged that it can be quickly released to descend by gravity and completely close the opening.

The releasing device and its location shall be approved by the Planning Board.

(f)	Stage ventilators

There shall be one or more ventilators constructed of metal or other non-combustible materials near the centre and above the highest point of any permanent stage, raised above the roof and having a total ventilating area equal to at least five per cent of the floor area within the stage walls, doors or covers for ventilators shall open by gravity and shall be held closed and manually operated by means of cords extending to each side of the stage.

These cords shall be equipped with three fusible links, one of which shall be placed in the ventilator above the mains roof level and the other two at approved points, not affected by sprinkler heads. Such links shall fuse and separate at 160 degrees Fahrenheit. Glass, if used in such ventilators, shall be wire glass.

(g)	Flame-retarding requirements

No combustible scenery, drops, decorations, or other combustible effects shall be placed on any stage or enclosed platform unless it is treated with an effective fire-retardant solution and maintained in a non-flammable condition as approved by Department of Government responsible for fire protection and control.

(h)	Stage exits

At least one exit 2 feet 6 inches wide shall be provided from each side of the stage opening, directly or by means of a passageway not less than 3 feet in width, to a street or exit court. An exit stair not less than 2 feet 6 inches wide shall be provided for egress from each fly gallery.

Each tier of dressing rooms shall be provided with two remote paths of egress, each not less than 2 feet 6 inches wide, and where dressing rooms are provided more than one tier above the stage floor, stairways to all tiers shall be enclosed.

Stage exits shall be as set forth in these Regulations except as otherwise required in this paragraph.

(i)	Other requirements

There shall be no enclosed structure for human occupancy located above a stage.

16.   Platforms

(a)	Platform construction

The platform shall be constructed entirely of non-combustible materials except that where the auditorium floor extends under the full area of such platform, construction may be of Type 2, omitting the fire-proofing on the beams and girders.

(b)	Size of platform

The platform shall not extend from the rear wall a distance greater than 18 feet, measured to the greatest projection of the platform, nor shall the ceiling over any platform be more than 5 feet above the screen except that platforms for schools and churches may extend from the rear wall a distance not greater than 25 feet.

(c)	Accessory rooms

No dressing or other rooms for human occupancy shall be located on, under or above such platform unless such rooms shall be completely separated therefrom by not less than two-hour fire-resistive construction.

(d)	Screen

The screen shall be rigidly attached to the platform and to the rear wall, and a clear passageway, not less than 20 inches wide, shall be provided between the screen or sound equipment and the rear wall.

17.   Motion Picture Machine Booths

All boots constructed for the projection or showing of motion picture films shall be as set forth herein—

(a)	Every motion-picture machine, using nitro-cellulose or other inflammable films together with all electrical devices, rheostats and sewing machines used in connection therewith, and all such films, shall be enclosed in a booth large enough to permit the operator to walk freely on either side or back of the machine, and such room shall be not less than 7 feet high and shall have a floor area of not less than 50 square feet for each motion picture machine in such booth.

(b)	The floors, walls and ceiling of such books shall be of non-combustible materials of not less than two-hour fire-resistive construction as specified in Part III.

(c)	The entrance to the booths shall be equipped with tight-fitting, self-closing doors of fire-resistive construction. Such door shall open outward and shall not be equipped with any latch. Booths exceeding 200 square feet in area shall have two means of exit therefrom, and doors shall be remotely located. Any required exit doors from the motion picture booth shall be not less than 2 feet 6 inches in width.

(d)	Machine and observation ports in machine booth walls shall be of three kinds: projection ports, observation ports and combined observation and spotlights ports. These ports shall be limited in size and number as follows: there shall be not more than one projection port for each machine head, having an area of not more than 120 square inches.

(e)	There shall be not more than three combination observation and spotlight ports, and they shall not exceed 30 inches by 24 inches.

(f)	There shall be not less than one foot of wall space between openings. Each port in the projection booth wall shall be completely covered with a single pane of plate glass; and each such opening, together with all fresh air inlets, shall be provided with automatic shutters of not less than 10 U.S. gauge sheet metal and enough to overlap at least one inch on all sides and arranged to slide shut by gravity without binding.

(g)	These shutters shall be held normally open by means of chains equipped with approved 160 degree Fahrenheit fusible links, all so arranged that the shutters may be easily released by hand or automatically by the fusible links and close smoothly without noise.

(h)	Every booth shall be equipped with a ventilating inlet not less than 30 inches square in area, placed near the floor and protected by two layers of copper gauze, one of 18 meshed per inch and the other of ten meshed per inch, in addition to the shutter specified above.

(i)	At the top of every booth, there shall be at least a 10 inch diameter vent for each motion-picture machine. Such vent shall be constructed of not less than #4 U.S. gauge sheet metal and shall connect into a masonry flue or go directly through the roof and 12 inches above, and shall be provided with an exhaust fan which will produce a complete change of air in the booth every two minutes.

(j)	No wood or other combustible materials shall be allowed closer than 4 inches to such vent, and there shall be not more than one elbow or change of direction of this metal vent in any attic space. No such vent shall pass through any occupied room unless encased in not less than 4 inches of solid masonry.

(k)	Every motion-picture machine shall be securely fastened to the floor to prevent overturning.

(l)	The rewinding machine shall be located in a fire-proof compartment within the booth, and all films not in actual use shall be kept in individual metal boxes with tight-fitting covers and must be stored, each in its individual box, in a fire-proof cabinet, which cabinet shall be divided into compartments having a capacity of not more than ten such films boxes on each compartment.

(m)	Each compartment shall have a separate tight-fitting, self-closing cover of not less than 10 U.S. gauge sheet metal, arranged to close automatically.

No solder shall be used in the construction of such metal boxes, compartments or cabinets.

18.   Fire Protection and Hazards

The installation of fire alarm and fire suppression systems shall be in accordance with Part IV.

19.   Plumbing and Toilet Facilities

The installation of plumbing and toilet facilities shall be in accordance with Part II and Part VIII.

20.   Exceptions and Deviations

Existing buildings not fully complying with the requirements of the Appendix may be used for Groups A Occupancies, if they meet the requirements of—

(a)	the construction type, height and area as per Tables II-A, II-B and II-C;

(b)	exit facilities as per these Regulations;

(c)	fire and safety requirements as per Part IV; and

(d)	plumbing and sanitation as per Part VIII,

and providing that there is not less than a two-hour fire separation between such buildings and any other occupancies.

21.   Schools and Churches

(a)	Special provisions—

(i)	A fire-resistive ceiling shall not be required in the assembly space of churches and gymnasiums in one-storey buildings, every part of the roof structure of which is 18 feet or more above any floor or above any balcony or gallery seating fifty or more persons.

(ii)	Rooms having an occupancy content of more than one hundred persons and rooms used for kindergarden, first, and second grade pupils, shall not be located above the first storey above grade except in buildings of Type 1 construction.

(iii)	Where there is useable space under the first floor of two storey Type 3 buildings, basements, including the first floor shall be of Type 1 construction.

(b)	Occupancy content—

For determining exit requirements of Group A, schools and churches, the occupant content shall be the area within the perimeter of the building, or fire division at any floor level, with no deduction for corridors, divided by the area per person as specified below—

| Occupancy | Area Sq. ft. Per Person |
| --- | --- |
| Auditoriums |  | 7 |
| Dining Rooms |  | 10 |
| Gymnasium seating areas |  | 6 |
| Classrooms |  | 16 |
| School Libraries |  | 40 |
| Other uses |  | 40 |

(c)	Widths of exits—

Exits shall be provided as per Part IV.

(d)	Arrangement of exits—

(i)	Classrooms and similar small rooms occupied by less than forty persons may have one door thereof, provided such door is not less than 36 inches in width and located at the teacher end of the room.

(ii)	Classroom, shops and similar rooms occupied by forty-one or more persons shall have not less than two exits doors, not less than 36 inches in width, the combined width shall be not less than one 20 inch unit of exit width for each one hundred persons or fraction thereof, which doors shall be remote from each other.

(iii)	Rooms with occupant content exceeding three hundred persons shall have exits as specified for Group A Occupancies and as shown in Part IV.

(iv)	Classroom exits may be to corridors.

(v)	Rooms in basements shall have not less than fifty per cent of the required paths of egress therefrom opening directly to the exterior.

(e)	Corridors—

(i)	Classrooms, assemblies to less than three hundred persons, and other subdivisions shall open directly to floor exits or shall connect thereto by means of corridors.

(ii)	Corridors shall have a width of not less than 6 feet nor less than 4 inches for every 300 square feet, or major fraction thereof, of floor area served.

(iii)	Room doors or locker doors swinging into corridors shall not at any point in their swing reduce the clear effective width of the corridor to less than 6 feet, nor shall drinking fountains or other equipment fixed or movable, be placed to obstruct the required minimum 6 feet width.

(f)	Balconies—

Used as exits shall not be less than 5 feet in width at any point.

(g)	Floors—

(i)	There shall be not less than two remote paths of egress from each floor.

(ii)	Floor exits shall be by means of stairways, ramps, horizontal exits, passageways or by doors at or near grade, directly to the exterior.

(iii)	The upper floors of two storey buildings may have enclosed interior stairways or open exterior stairways.

(iv)	The upper floors of three storey buildings shall have enclosed interior stairways for not less than one-half of the required floor exits. Other upper floors exits may be open exterior stairways or enclosed interior stairways.

(v)	The upper floor of building exceeding three stories shall have smoke-proof towers for not less than one half the required floor exits. Other upper floor exits shall be enclosed interior stairways.

(h)	Doors—

(i)	Doors in paths of egress, normally closed and latched, shall be equipped with panic hardware except that doors leading from classrooms directly to the outside of the building may be equipped with the same knob-operated schoolhouse type lock as is used on classroom doors leading to corridor with no provision whatsoever for locking against egress from the classroom.

(ii)	The minimum width of any required door in a path of egress shall be 36 inches.

(iii)	Doors of classrooms serving as required exits may swing against the direction of exit travel when serving an occupant load of less than forty persons.

(iv)	Travel Distance—

The exits shall be arranged that the maximum travel distance from any point or from the door of the separated spaces less than 800 square feet, to the nearest floor exits shall not exceed 100 feet except that the distance in any room where one exit door is permitted shall not exceed 40 feet.

(i)	Fire protection and hazards—

Automatic sprinkler systems, fire extinguishers, fire alarm systems and standpipes shall be as set forth in Part IV.

(j)	Plumbing and toilet facilities—

(i)	Plumbing shall be installed as set forth in Part VIII.

(ii)	The number of toilet units shall be provided as in Part II.

(k)	Exception and deviations—

Except in buildings of Type 1 Construction, school classrooms used for kindergarden, first and second-grade pupils shall be located on the ground floor.

22.   Mixed Occupancies

Separation of Group A Occupancies or division thereof from all other Occupancies or Divisions of Occupants shall be as set forth in Table 3.208 of Part 3 section 3 of CUBiC.

APPENDIX H(2)

Requirements of Group B Occupancies

1.   Definition

Group B occupancy is defined as Institutional Buildings in which persons are incapacitated or their movements are physically restrained. The buildings under this classification are listed in Part II, regulation 22(3).

2.   Type of Construction

Buildings in this Group can be of Type 1, 2, 3 or 4 construction. Construction in wood frames (Type 5) is not permitted.

The permissible heights and areas under each classification are given in Table II-C.

3.   Location

The limiting location of such buildings is given in Tables II-D to II-G. The location with respect to the boundaries or to adjacent buildings depend on the fire resistance ratings of the structure.

4.   Exit Facilities

(a)	Exit capacity

The number of persons per unit (22 inches of exit width) from a sprinkled or non-sprinkled building shall be as per Table IV-C(ii).

(b)	Travel Distance

The maximum permitted travel distance shall be as per Table IV-C(i), except that for a sprinkled building the maximum travel distance may be increased to 150 feet.

5.   Fire Protection and Hazards

(a)	Buildings in this Group may be either sprinkled or non-sprinkled. To qualify for the sprinkler option, buildings must be protected in accordance with NFiPA 13 and the system must be supervised in accordance with NFiPA 71.

(b)	Buildings such as hospitals and nursing homes must be—

(i)	divided into areas not exceeding 750 square metres by one hour fire rated construction, and

(ii)	further subdivided into areas not exceeding 375 square metres by construction which is smoke proof.

(c)	For prison institutional buildings, each cell must be bounded with separating construction of block masonry or concrete with a fire rating of at least one hour and doorways to cells and other openings in construction bounding cells must be protected with one hour fire doors.

(d)	Institutional buildings not equipped throughout with complete automatic sprinkler system shall have an approved automatic smoke detection system installed in all corridors in accordance with NFiPA 72E. All automatic smoke detection systems shall be connected electronically to the fire alarm system.

6.   Plumbing and Toilet Facilities

The installation of plumbing and toilet facilities shall be in accordance with Part II and Part VIII.

7.   Electricity and Air Conditioning Services

Part X provides guidance on the installation of electricity and air-conditioning services. Designers are advised to consult the specialist handbooks for the provision of these services to institutional buildings.

APPENDIX H(3)

Requirements of Group C Occupancy

1.   Definition

Group C Occupancy shall include buildings used for storage and industrial purposes as listed in Part II, regulation 22(4).

2.   Construction, Height and Area Allowable

General—

(a)	Buildings, or parts of buildings classed in Group C because of use or occupancy shall be limited in height and area as shown in Table II-C.

(b)	Motor vehicle service stations shall be Type 1, 2 or 3 (Protected) or 4 Construction. The canopies over the pumps may, at the discretion of the Planning Board, be of exposed steel columns and fire treated timber roofing. Motor vehicle service stations shall not be of Type 5 Construction.

(c)	Aircraft hangars shall be of Type Construction as approved by the Director and shall comply with the requirements of the Ministry responsible for Civil Aviation.

(d)	Parking garages used exclusively for parking and storing of passenger motor vehicles shall be of Type 1 construction, except that garages not exceeding four stories may have framework and floors unprotected and exterior walls of not less than two-hour fire resistive construction.

(e)	Floors in motor service stations, garages and aircraft hangars shall be non-combustible materials protected against saturation.

(f)	Where ramps are used for the transfer of vehicles or materials from one floor to another, such ramps shall meet the ground floor level at a point not less than 25 feet from the exit of such buildings.

3.   Location on property

(a)	Buildings with Group C Occupancy shall comply with the requirements of the applicable Development Plan or as determined by the Planning Board.

(b)	Exterior walls of Group C Occupancy buildings shall have fire-resistive and opening protection, determined by location on property, as set forth for Type of Construction in Tables II-D to II-G.

4.   Exit facilities

(a)	General

Exit facilities for Group C Occupancies shall be as set forth section 5, except that exit facilities for parking garages where no persons other than parking attendants are permitted on upper floors there shall not be less than one stairway for each 10,000 square feet or fraction thereof. (See 4(g) below.)

(b)	Occupant content

For determining exit requirements of Group C Occupancy, the occupant content shall be the area within the perimeter of the building, or fire division, at any floor level with no deduction for corridors, divided by an area of 100 square feet per person.

(c)	Width of exits

Exits shall be provided as follows—

Street floors exits shall be provided based on one 22 inch of exit width for each 100 persons or fraction thereof on the street floor plus one and one-half units for each two units of stairway or ramp from upper or lower floor where such floors discharge through the street floor.

(d)	Arrangements of exits—

(i)	Interior spaces: Rooms or spaces shall have not less than two remote exits except that where having an occupant content of less than five persons having direct exit to public space and with travel distance not exceeding 50 feet a single exit may be provided.

(ii)	Floors: There shall be not less than two remote paths of egress from each floor except that floors or mezzanines of buildings not exceeding two stories and having an occupant content of not more than twenty-five persons, may have a single door, or an enclosed stairway, exiting directly to the exterior.

(iii)	Floor exits shall be by means of stairways, ramps, horizontal exits, passageways, as specified in Part IV, or by doors, at or near grade, directly to the exterior.

(iv)	Dead ends in exit corridors, beyond a floor exit or other corridor having two remote exits, shall not exceed 20 feet.

(v)	The upper floor of two-storey buildings may have interior stairways, enclosed where required under Types of Construction, or open exterior stairways.

(vi)	The upper floors of three-storey buildings shall have enclosed interior stairways for not less than one-half of the required floors exit. Other upper exits may be open exterior stairways or enclosed interior stairways.

(vii)	The upper floors of buildings which exceed three stories shall have enclosed interior stairways, except that buildings which exceed five stories shall have not less than one-half of the required floors exits by smoke proof towers.

(viii)	Where floors are divided in fire divisions, one exit from each such division may be a horizontal exit.

(e)	Doors

Doors in paths of egress, normally closed and latched, and serving more than fifty persons, shall be equipped with panic hardware.

(f)	Travel distance

The exits shall be so arranged that the maximum travel distance from any point, or from the door of separated spaces having and occupant content of less than fifty persons, to the nearest floor exit shall not exceed 150 feet.

(g)	Parking garages—

(i)	Where persons other than parking attendants are permitted, stairs and exits shall be as otherwise set forth herein.

(ii)	Where no persons other than parking attendants are permitted, and a ramp for transporting vehicles is constructed, or where cars are mechanically lifted and parked without attendants or passengers, there shall be not less than one stairway for each 10,000 square feet or fraction thereof.

(iii)	Where cars are mechanically lifted and parked by attendants, one additional exit shall be provided where such ramp is omitted. Such ramps shall be considered an exit, and exit shall be remotely located so that the maximum travel distance from any point to a floor exit shall not exceed 100 feet.

(iv)	Stairs shall be not less than 3 feet wide and shall be enclosed of more than fifty per cent of the periphery of the building is enclosed or if the structure exceed three stories in height.

5.   Light and Ventilation

All portions of Group C Occupancies customarily used by humans beings shall have light and venilation as set forth in Part X. All portions of buildings where flammable liquids are used or stored or where automobiles are stored or handled shall be provided with mechanical ventilation, except that the Planning Board may waive this requirement when the building is provided with unobstructed openings and/or cross ventilation.

6.   Fire Protection and Hazards

(a)	Automatic-sprinkler systems, fire extinguishers and standpipes shall be as set forth in these Regulations.

(b)	The storage of flammable material shall be as set out in Part 3 subsection 3.303 of CUBiC.

(c)	The service of hazardous utilities shall be as set forth in section 5 and in Part 3 subsection 3.300 of CUBiC.

7.   Plumbing and Toilet Fixtures

(a)	Plumbing shall be installed as set forth in Part VIII.

(b)	Toilet accommodation shall be as set forth in these Regulations.

APPENDIX H(4)

Requirements of Group D Occupancies

1.   Group D Definition

Group D Occupancy is defined in regulation 22(5) as being buildings used for business or professional transactions or for the display of materials or finished products. This Group is divided into two divisions in which markets and shops are separated from the other office buildings and small restaurants.

2.   Construction, Height and Area Allowable

General—

Buildings, or parts of buildings classed in Group D because of use or occupancy, shall be limited in height and area as given in Table II-C.

Special provisions—

(a)	Basements shall be of Type 1 construction.

(b)	Buildings on open lots, if used for the dispensing of gasoline, shall be as set forth in Appendix H(2) paragraph 2(b).

3.   Location on Property

Buildings with Group D Occupancy shall comply with the requirements of the applicable Development Plan, or as determined by the Planning Board and with Tables II-D to II-G.

4.   Exit Facilities

Exit facilities for Group D Occupancies shall be as set forth in this Appendix and in Part IV.

(a)	Occupancy content

For determining exit requirements of Group F Occupancy, the occupant content shall be the area within the perimeter of the building, or fire division, any floor level with no deduction for corridors, divided by the specified area per person as given in Table II-A.

The occupancy content of floors or spaces used for assembly purposes shall be computed as set forth in Table II-A. The occupant content shall be the reasonable maximum capacity based on the intended use as determined by the Planning Board.

(b)	Widths of exits

Street floor exits shall be provided based on 22 inch of exit width for each one hundred persons or fraction thereof on the street floor plus one and one-half units for each two units of stairway or ramp from upper or lower floors where such floors discharge through the street floors.

(c)	Arrangement of exits—

(i)	Interior spaces

Rooms or spaces shall have not less than two remote exits except where having an occupant content of less than twenty-five persons, having direct exit to public space and with travel distance not exceeding 50 feet a single exit may be provided.

In self-service stores, no check out stand or association raling turnstile or barrier shall obstruct exits, aisles or approaches thereto.

Not less than one half of the required exits from the first or ground floor of a mercantile occupancy shall be to the main entrance and exit.

In self-service stores where wheeled carts or buggies are used by customers, adequate provision shall be made for the transit and parking of such carts to minimise the possibility that they may obstruct exits.

(ii)	Floors

There shall be not less than two remote paths of egress from each floor except that floors of buildings not exceeding two stories and having an occupant content of not more than twenty-five persons may have a single door, or an enclosed stairway, exiting directly to the exterior.

Floor exits shall be by means of stairways, ramps, horizontal exits, passageways as specified in Part IV or by doors at or near grade, directly to the exterior. Dead ends in exit corridors beyond a floor exit or other corridor having two remote exits shall not exceed 20 feet.

The upper floor of two-storey buildings shall have enclosed interior stairways for not less than one-half of the required exits by smoke-proof towers.

Where floors are divided in fire divisions, one exit from each such division may be a horizontal exit.

(iii)	Doors

Doors in paths of egress, normally closed and latched, and serving more than fifty persons, shall be equipped with panic hardware.

(d)	Travel distance

The exits shall be so arranged that the maximum travel distance from any point or from the door of separated spaces having an occupant content of less than fifty persons, to the nearest floor exits shall not exceed 150 feet except that if high hazard commodities are displayed or handled without protective wrappings or containers the travel distance shall not exceed 75 feet.

(e)	Special restrictions

Smokeproof towers and enclosed interior stairways shall not be taken down to basement level. Basement exits shall be separate.

5.   Light and Ventilation

All portions of Group D Occupancies customarily used by humans beings shall have light and ventilation as provided in Part X.

6.   Fire Protection and Hazards

(a)	Automatic sprinkler systems, fire extinguishers and standpipes shall be as set forth in these Regulations.

(b)	The service of hazardous utilities shall be as set forth in section 3 Part 3 of CUBiC.

(c)	Electrical installations shall be as required herein and as specified in section 11.

(d)	The storage of flammable materials shall be as set forth in Part 3 section 3 of CUBiC.

7.   Plumbing and Toilet Facilities

(a)	Plumbing shall be installed as set forth in Part VIII.

(b)	Toilet accommodation shall be as set out in these Regulations.

APPENDIX H(5)

Requirements of Group E Occupancies

1.   Definition

Group E Occupancy shall include multiple-residential uses such as private residences, hotels, motels and other buildings as listed in regulation 22(5).

2.   Construction, Height and Area Allowable

(a)	Buildings, or parts of buildings classed in Group E because of use or occupancy shall be limited in height and area as given in Table II-A.

(b)	Exception: Type 3 (Protected) buildings may be three stories in height if the floor level of the third floor is not more man 20 feet above the grade adjacent thereto, but where this exception is use, load bearing walls shall be of non-combustible materials.

(c)	Basement shall be of Type 1 construction.

3.   Location on Property

(a)	Buildings with Group E Occupancy shall comply with the requirements of the applicable Development Plan, or as determined by the Planning Board and the requirements herein stated, whichever is the more restrictive.

(b)	Exterior walls of buildings of Group E Occupancy shall have fire resistance and opening protection, determined by location on property as set forth for the Type of Construction given in Table II-C.

4.   Exit Facilities

(a)	General

Exit facilities for Group E Occupancies shall be as set forth in this Appendix and in Part IV.

(b)	Occupant content

For determining exit requirements of Group E Occupancy, the occupant content shall be the area within the perimeter of the building, or fire division, any floor level, including all floors of residential apartments, with no deduction for corridors, divided by an area of 125 square feet per person except that dormitory room shall be computed at 30 square feet per person.

(c)	Widths of exits—

(i)	Exits from street or ground floors shall be provided on the basis of one unit (22-inches) of exit width for each fifty persons or fraction thereof on the ground floor plus one unit for each unit of exit width exiting through the ground floor from other floors.

(ii)	Exits from upper or lower floors other than the ground floor shall be provided on the basis of one 22-inch unit of exit width for each thirty persons or fraction thereof.

(iii)	All required paths of egress from floors shall be not less than 44 inches in width, except that where serving floors having not more than four apartment units or eight hotel rooms, one such required path of egress may be no less than 36 inches in width.

(iv)	The minimum width of exit doors from dwelling units or hotel rooms shall be not less than as given in Table IV-B.

(v)	Residential apartment units in multiple apartment buildings, having a second floor or balcony contained wholly within the unit not exceeding 1,000 square feet and an additional exit not less than 30 inches in width from upper areas exceeding 1,000 square feet. Width of exits from main floors of residential apartments units shall be as otherwise set forth in this Appendix.

(vi)	Exit courts on lot lines shall have a clear width, not less than required by the Planning Board but not less than 44 inches, and inner courts shall have a clear width of not less than 10 feet.

(d)	Arrangement of exits—

(i)	Unit exits

Dwelling units and hotel rooms, 800 square feet or more in area, shall have not less than two remote exits, except as otherwise provided for the upper floors of residential-type apartment.

The landing on the upper floor of residential apartment units shall be directly accessible from all rooms on such upper floors, and the stairway shall discharge on the main floor of the unit in close proximity to a path of egress from the unit. Where the upper floor of such unit has a gross floor area in excess of 1,000 square feet, not less than two exits shall be provided, one of which shall be enclosed and shall discharge directly to a path of egress from the floor.

(ii)	Floors

There shall be not less than two remote paths of egress from each floor except for two floor building containing only three apartments.

Floor exits shall be by means of stairways, ramps, horizontal exits and passageways as specified in section 5 or by doors at or near grade, directly to the exterior.

Dead ends in exit corridors beyond a floor exit or other corridor having two remote exits shall not exceed 20 feet.

The upper floor of two-storey buildings may have enclosed interior stairways for not less than one-half of the required floor exits. Other upper floor exits may be open exterior stairways or enclosed interior stairways.

The upper floors of three-storey buildings shall have enclosed interior stairways for not less than one-half the required floor exits. Other upper floor exits may be open exterior stairways or enclosed interior stairways.

Exception

Where the floor level of the third floor does not exceed 220 feet above grade, all floor exits may be open exterior stairways.

The upper floors of buildings which exceed three stories shall have enclosed interior stairways, except hat buildings which exceed five stories shall have not less than one-half of the required exits by smoke proof towers.

Where floors are divided in fire divisions, one exit from each such division may be a horizontal exit.

(iii)	Doors

Door in paths of egress, normally closed and latched, and serving more than fifty persons, shall be equipped with panic hardware.

(e)	Travel distance—

(i)	General

The exits shall be so arranged that the maximum travel distance from any point or from the door of separated spaces less than 1,000 square feet to the nearest floor exit shall not exceed 100 feet except that the travel distance in any room where one exit is permitted shall not exceed 50 feet.

(ii)	Apartments

Exits and means of access thereto shall be so located that it will not be necessary to travel more than 50 feet nor traverse more than one flight of stairs, within any individual living unit to reach the nearest exit, or to reach an entrance of the apartment.

(iii)	Doors and windows

–	Every sleeping room below the eighth floor in Group E Occupancies shall have at least one openable window or exterior door to permit emergency exit or rescue.

–	Where such windows are provided, such windows shall have a sill height of not less than 48 inches above the floor and shall provide not less than 5 square feet of openable area with no dimension less than 22 inches.

(iv)	Transoms and ventilating openings

Buildings more than one storey in height shall have no transoms or ventilating openings from guest rooms to enclosed public corridors.

(f)	Special provisions

Where Group D Occupancy buildings exceed three stories in height and where the distance between floor exits exceeds 100 feet, smoke doors shall be provided in the corridors. These smoke doors shall be centrally located between the exits and shall take the form of doors hung in recesses in the corridor walls. The doors, when in the open position, shall be flush with the wall of the corridor.

Smoke doors shall be kept in an open position at all times, when not in use, by means of magnetic catches. These catches shall be connected to the fire alarm system in such a manner that the doors will be released when the alarm is activated. When the doors are in a closed position they shall not be secured by any means that impede easy passage through the doorway. The doors shall be of such size or framed in such a manner that when closed they efficiently control the spread of smoke in the corridor.

The doors shall be a minimum of 6 feet 8 inches in height and shall be of a width deemed necessary to meet the exit requirements and shall be of 1⅜ inches solid construction with a 10 inches wire glass panel. These doors shall be tested in the presence of the Physical Planner or his nominee at six months intervals.

(g)	Special restrictions

Smoke proof towers and enclosed interior stairways shall not be taken down to basement level. Basement exits shall be separate.

5.   Light and Ventilation

(a)	General—

(i)	Rooms used for sleeping or living purposes shall be provided with light and ventilation by means of windows in exterior walls with an area not less than one eighth of the floor area of such rooms and not less than one-half of the required windows area shall be openable.

(ii)	Other spaces for human occupancy such as lobbies, locker rooms, dining rooms, kitchens, and toilet rooms shall be provided with light by means of windows as herein set forth or shall be provided with electric light and a mechanically operated ventilating system.

(iii)	Rooms used for sleeping and living purposes where located as the first occupied space below a roof, shall be protected from extreme temperatures. The overall coefficient of heat transmission or “U” factor of such roof construction shall not be greater than 0.22.

(iv)	The floor area for an apartment shall be in accordance with the minimum floor space requirements established by these Regulations or the Building Guidelines.

(b)	Rooms—

(i)	Sleeping rooms

Rooms used for sleeping shall have a minimum width of 8 feet and a minimum floor area with the immediate enclosing walls, exclusive of closet and toilets, as required by the Minister of Health.

Rooms, the floor of which is more than 3 feet below grade and which depend of natural ventilation, shall not be used for sleeping purposes. The minimum average height of each sleeping room shall be 7 feet 6 inches, and least height of the WC and bath shall be 7 feet.

(ii)	Living and dining rooms

Living and dining rooms shall have a minimum average height of 8 feet. Where fans are being used the minimum height should be 9 feet.

(iii)	Kitchens and corridors

Kitchens and corridors shall have a minimum height of 7 feet 6 inches.

(iv)	Toilet rooms

Toilet rooms shall have a minimum height of 7 feet, a minimum width as given in Table IV-A.

6.   Fire Protection and Hazards

(a)	Automatic sprinkler systems, fire extinguishers and standpipes shall be as set forth in Part IV.

(b)	The service of hazardous utilities shall be as set forth in Part IV and Part 3 subsection 3.300 of CUBiC.

(c)	The storage of flammable materials shall be as set forth in Part 3 subsection 3.303 of CUBiC.

7.   Plumbing and Toilet Facilities

(a)	Plumbing and toilet facilities shall be as provided in Part VIII and Part II.

(b)	Toilet rooms serving one-family unit shall have outside openings screened with 18-mesh wire screening. The minimum openable area shall be 2 square feet.

(c)	For occupancies with an occupant content of ten or more persons, separate facilities shall be provided for employees.

(d)	Separate facilities consisting of water closet, a lavatory, and a bath or shower shall be contiguous thereto and directly accessible from each hotel room.

(e)	Lavatories may be located in rooms provided there is no conflict with minimum requirements otherwise set forth in Part II.

APPENDIX H(6)

Requirements of Group F Occupancies

1.   Definition

Group F Occupancy is defined in regulation 22(7) and shall include buildings used for hazardous purposes such as storage and the use of highly combustible materials or explosives as is listed in Appendices D(1), D(2) and D(3) of these Regulations.

2.   Construction, Height and Area Allowable

(a)	General

Buildings, or parts of buildings classed in Group F because of use or occupancy shall be limited in height and area as given in Tables II-A and II-C.

(b)	Other Laws

Developers must consult other applicable laws of Saint Vincent and the Grenadines which apply to the manufacture and/or storage of flammable or hazardous material.

(c)	Special provisions

Floors shall be of non-combustible materials protected against saturation and basements shall be Type 1 construction.

3.   Location on Property

Buildings with Group F Occupancy shall comply with the applicable Development Plan or the requirements for the Planning Board and be in accordance with Tables II-D to II-G.

4.   Exit Facilities

Exit facilities for Group F Occupancies shall be as set forth in Part IV and the following—

(a)	Occupant content

For determining the exit requirements of Group F Occupancies, the occupant content shall be calculated in accordance with Table II-A. The area within the perimeter of the building, or fire division at any floor level, with no deductions for corridors shall be used as the basis for the calculations.

(b)	Width of exits

Exits shall be provided as follows: (a) Street floor exits shall be provided based on one 22 inch of exit width for each one hundred persons or fraction thereof on the street floor plus one and one half units for each two units of stairways or ramp from upper floors where such floors discharge through the street floor.

Upper or lower floors other than street shall have one 22 inch of exit width for each sixty persons or fraction thereof except that horizontal exits and smoke towers may serve one hundred persons for each 22 units of exit width.

(c)	Arrangement of exits—

(i)	Interior spaces

Occupied rooms, including mezzanines, shall have paths of egress so located that travel from such rooms to a floor exit is not subjected to hazardous exposure.

Rooms including mezzanines, 400 square feet or more in area, shall have not less than two remote exits.

(ii)	Floors

There shall be not less than two remote paths of egress from each floor.

Floor exits shall be by means of stairways, ramps, horizontal exits, passageways as specified in these Regulations, or by doors, at or near grade, directly to the exterior.

The upper floors of two storey buildings may have enclosed interior stairways or exterior open stairways.

The upper floors of three storey buildings shall have enclosed interior stairways for not less than one half the required floor exits.

Other upper floor exits may be open exterior stairways or enclosed interior stairways.

The upper floors of buildings which exceed three stories shall have smokeproof towers for not less than one half the required floor exits. Other upper floor exits shall have enclosed interior stairways.

Where floors are divided in fire divisions, one exit from each such division may be a horizontal exit.

(iii)	Doors

Doors in paths of egress, normally closed and latched, and serving more than 50 persons, shall be equipped with panic hardware.

(d)	Travel distance

Exits shall be so arranged that the maximum travel distance from any point to the nearest floor exit shall be not more than 75 feet.

Exception: The travel distance in any room, including mezzanines, where one exit doors is permitted, shall not exceed 25 feet.

5.   Light and Ventilation

(a)	All portions of Group F Occupancies customarily used by human beings shall have light and ventilation as set forth in Part X. All portions of buildings where flammable liquids are used or stored shall be provided with mechanical ventilation.

(b)	In all buildings where flammable liquids are used or stored, mechanical exhaust ventilation shall be provided, sufficient to produce one complete change of air every ten minutes, Such exhaust ventilation shall be taken from a point at or near floor level and shall be in operation when the building is occupied by human beings.

6.   Enclosure of Vertical Openings

Vertical openings shall be enclosed and shall be of non-combustible materials of not less than one hour fire resistive materials. Walls adjacent to open interior stairways and the soffits thereof shall be constructed of not less than one hour fire resistive materials specified in Part III.

7.   Fire Protection and Hazards

(a)	Automatic sprinkler systems, fire extinguishers, and standpipes shall be as set forth in Part IV.

(b)	Electrical installations shall be as required herein and as specified in Part X.

(c)	The storage or use of flammable materials shall be as set forth in Part 3 section 3 of CUBiC or any other Code approved by the Board.

(d)	No combustion heater shall be installed in Group F Occupancies.

(e)	Each machine in dry cleaning plants which use a flammable liquid shall have an adequate steam line connected to it, so arranged as to automatically fill the machine with steam in case of fire.

(f)	Paint spraying and dipping shall comply with the requirements set forth in CUBiC Part 3 subsection 3.312.

8.   Plumbing and Toilet Facilities

(a)	Plumbing shall be installed as set forth in Part VIII.

(b)	Toilet accommodation shall be as set forth in these Regulations.

Appendix I

APPENDIX I(1)

Classification by Types of Construction

Type 1 Buildings (Fire Resistive)

1.   Definition

The structural frame of Type 1 building or structures shall be of steel or re-inforced concrete or masonry as noted below. Walls, permanent partitions, roofs and floors shall be of combustible fire-resistive construction, except as otherwise set forth herein.

2.   General

(a)	Allowable height and area shall be as specified in these Regulations.

(b)	Loads and material stresses shall be as specified in these Regulations.

3.   Structural Framework

(a)	The primary structural framework shall be of not less than the following fire-resistive construction: exterior frame four hours; interior frame three hours as per Table II-D, Part II.

(b)	Unless specifically designed as a structural frame, the walls shall be considered as load-bearing and shall be constructed of masonry or reinforced concrete except that 8 inch masonry block walls shall be limited to 20 feet in height and 12 inch masonry block walls shall be limited to 30 feet in height. Bearing walls shall be of fire-resistive construction as set forth in Tables II-D to II-G.

4.   Walls and Partitions

(a)	Distance separations shall be measured at right angles from the wall or opening to the building line of continuous lot or any building on the same lot. The building line of a continuous lot shall be taken as that for the use of the contiguous lot which requires the least set back from the property line, and in no case shall this setback be taken as more than 5 feet from and parallel to the common line.

(b)	Main exterior walls shall be of non-combustible four hour fire resistive construction as per Tables II-D to II-G.

(c)	Openings in main exterior walls shall be as follows—

(i)	Walls having a distance separation of less than 5 feet, or walls, except on street fronts, which are less than 5 feet from the building line of continuous lot, shall have no openings.

(ii)	Openings in walls and buildings having a distance separation of 5 to 10 feet shall be protected by fire-resistant doors or windows. The total area of openings in any storey shall be limited to thirty per cent with no single opening more than ten per cent of such wall area. Walls having a distance separation of more than 10 feet but less than 30 feet shall be protected by ordinary doors or windows not exceeding fifty per cent of the wall area in any storey.

(d)	Buildings having exterior walls without openings shall be provided with access panels along street fronts or walls otherwise accessible for fire-fighting entrance to the building as follows—

(i)	The access openings in each accessible side of a building not over 65 feet in height shall be not less than one suitably marked access opening not less than 32 inches wide and 48 inches high with still not over 32 inches above the floor space not more than 50 apart on each floor side.

(ii)	The access openings in each accessible side of a building over 65 feet in height shall be not less than—

–	windows spaced not more than 50 feet apart and equivalent to ten per cent or more of the wall area, on each floor of each such side, or

–	Smoke-proof towers spaced not over 100 feet apart on each such accessible side. The smoke-proof towers may serve as a required exit way.

(e)	Fire walls shall be of the fire-resistive rating as required in Part III.

(f)	Interior bearing walls shall be of three-hour fire-resistive construction as per Tables II-D to II-G, except that—

(i)	Corridor partitions shall also comply with Part IV, regulation 38 Means of Escape.

(ii)	Partitions subdividing offices, stores, apartments and similar uses within the area occupied by a single tenant may be constructed without a fire-resistive rating provided the materials of construction are—

–	Non combustible, or

–	Fire-retardant wood, or

–	Of other wood provided a space of not less than 18 inches, as measured down from the ceiling, shall be open or of transparent non-combustible material.

(g)	(i)	Underground structures exceeding 2,500 square feet in area shall be provided with at least two means of access so located and of such size as to permit their use by firemen at the time of fire.

(ii)	Where ten or more occupants use the underground structure and the required exits involve upward travel, a smoke proof tower shall be provided.

5.   Floors

(a)	Material—

(i)	Floor systems shall be of non-combustible materials. Poured in place concrete slab shall be not less than 2½ inches thick where removable forms are used nor less than 2 inches thick where tile, metal decking or similar structural form element is to remain as a permanent component of the structure.

(ii)	Where wood floors are laid over concrete slabs, the space between the floor slab and the underside of the finish floor shall be filled with non-combustible materials.

(b)	Fireproofing

Floors for buildings more than eight stories or more than 100 feet in height shall be of not less than three-hour fire-resistive construction; floors for buildings eight storeys or less or 100 feet or less in height shall be of not less than two hour fire-resistive construction. The use of bar joists shall be limited to buildings for four storeys.

6.   Roofs

(a)	Materials

Roof systems shall be of non-combustible materials. Poured in place concrete slabs shall be not less than 2½ thick where removable forms are used nor less than 2 inches thick where tile, metal decking or similar structural form element is to remain as a permanent component of the structure—

(i)	Where wood floors are laid over concrete slabs, the space between the floor slab and the underside of the finish floor shall be filled with non-combustible materials.

(b)	Fireproofing

Roofs for buildings more than eight storeys or more than 100 feet in height shall be of not less than three hour fire-resistive construction; roofs for buildings eight storeys or less or 100 feet or less in height shall be of not less than two hour fire-resistive construction.

(c)	Roof Coverings

Roof coverings shall be fire retardant in accordance with the test procedure of the BSI or ASTM. (See Part 3 subsection 3.605.4 of CUBiC)

(d)	Roof Drainage

Roof drainage and the disposal of rainwater shall be as specified in Part VIII - Plumbing. In general, roof systems not designed to support accumulated water shall be sloped for drainage. Rain water drains or leaders where required shall be used and sized in conformance with Part VIII. (Chapter 36).

(e)	Furred Spaces above a Ceiling

Access trap doors, not less than 16 inches by 30 inches, shall be provided to all spaces above a furred ceiling having a minimum vertical distance of 36 inches. Such access trap doors shall be from common spaces such as corridors and no part of such furred space shall be more than 100 feet froman access trap door. Walkways shall be provided in such furred spaces above the ceiling.

7.   Enclosure of Vertical Openings

Enclosure of vertical openings shall be of non-combustible materials and not less than one hour fire-resistive construction, and where such openings exceed 8 square feet in area shall be of not less than two-hour fire-resistive construction, with fire-resistive doors and/or windows.

8.   Stairways

(a)	Stairways shall be as required in these Regulations.

(b)	Stairs, stair platforms, treads and riser shall be constructed of non-combustible materials. Unprotected steel or iron stairways may be used only when enclosed.

9.   Doors and Windows

(a)	Doors, windows and similar openings in exterior walls, fire walls and enclosure walls shall be protected or entirely prohibited. Part III provides information on the requirements for fire doors and fire windows assemblies.

(b)	Doors and windows shall not project over public property or restricted areas.

10.   Projections from the Building

(a)	Cantilevering projections outside of the main exterior walls of the building shall be of non-combustible materials and of not less than one-hour fire-resistive construction.

(b)	Canopies, awnings and marquees forming part of the construction but outside of the main exterior walls of the building but not cantilevered from the building shall be constructed of non-combustible materials but need not have fire-resistive protection.

11.   Roof Structures and Skylights

(a)	Towers, pylons, masts, signs and similar structures above a roof, when not enclosed, shall be of non-combustible materials.

(b)	Roof structures, including bulkhead area, shall be limited in total combined area to thirty per cent of the area of the roof, shall extend not more than 50 feet above the roof and any enclosure having a floor area of more than 15 square feet, shall be constructed as required for the main portion of the building.

(c)	Minor roof structures having an area of 15 square feet or less, housing ventilating shafts or similar openings shall be constructed of non-combustible materials.

(d)	Storage tanks, having a capacity of over 500 gallons, shall not be located over stairways or elevators.

(e)	Skylights shall be constructed of non-combustible materials and transparent or translucent materials shall be fire-resistive.

(f)	Where required to control rain water runoff, a curb not less than 8 inches in height shall be provided.

(g)	Where the public has access to roof areas, a guard rail not less than 36 inches above the roof shall be provided around all open wells or shafts and at all exterior walls.

(h)	Skylights placed over shafts, vent shafts, stair enclosures, and exit ways, shall be glazed with glass or other approved non-combustible material which may be easily pierced by fire-fighting personnel.

12.   COMBUSTIBLE MATERIALS

Combustible materials shall be permitted for the following uses unless otherwise specifically prohibited—

(a)	Show window bulkheads shall be of non-combustible materials, but show cases and other moveable appurtenances of stores or other buildings may be of wood.

(b)	Trim, picture moulding, furniture and permanent seats, chair rails, waincotting, baseboards, furring strips and blocking, handrails, show window backing, temporary partitions, floor finishes and sleeper may be of combustible materials. Wood doors or windows or frames may be used except where fire-resistive protection is required.

(c)	Loading platforms and roofs overloading platforms, for warehouses, freight depots and buildings of similar use may be of heavy timber construction provided such heavy timber construction does not penetrate the exterior walls.

(d)	All materials used or interior finishes shall be in accordance with Part 3 section 6 subsection 3.6060.2 of CUBiC.

(e)	In places of public assembly, all draperies, hanging and other decorative materials suspended from walls or ceilings shall be non-combustible or flame-resistant meeting the requirements of these Regulations as herein specified—

| Non-combustible: | The permissible amount of non-combustible decorative handings shall not be limited. |
| --- | --- |
| Flame-resistant: | The permissible amount of flame-resistant decorative hangings shall not exceed ten per cent of the total wall and ceiling area. |

APPENDIX I(2)

Type 2 Buildings (Semi-Fire-Resistive)

1.   Definition

(a)	The structural frame of Type 2 buildings or structures shall be of steel or re-inforced concrete or masonry as noted below.

(b)	Walls, permanent partitions, roofs and floors shall be of non-combustible fire-resistive construction, except that permanent non-load-bearing partitions of one-hour fire resistive construction may use fire-retardant treated wood within the assembly.

2.   General

(a)	Allowable height and area shall be as specified in these Regulations.

(b)	Loads and materials stresses shall be as specified in these Regulations.

(c)	Required fireproofing shall be as set forth in Part III.

3.   Structural Framework

(a)	The primary structural framework shall be of not less than three-hour fire-resistive construction for members in exterior walls and of not less than one hour fire-resistive construction for members in the interior frame as per Tables II-D to II-G.

(b)	Unless specifically designed as a structural frame, the walls shall be considered as load-bearing and shall be constructed of masonry or reinforced concrete except that 8 inch masonry block walls shall be limited to 30 feet in height. Bearing walls shall be of fire-resistive construction as set forth in Table II-B.

4.   Walls and Partitions

(a)	Exterior walls shall be as set forth in Tables II-D to II-G.

(b)	Fire walls shall be of the fire-resistive rating as required in Tables II-B and II-D.

(c)	Interior bearing walls shall be of non-combustible one hour fire-resistive construction as per Tables II-D to II-G.

(d)	Partitions shall be of not less than one hour fire resistive construction except as provided in Tables II-D to II-G.

5.   Floors

(a)	Material—

(i)	Floor systems shall be of non-combustible material or fire-retardant treated wood.

Exception: Fire retardant treated wood may not be used in buildings exceeding two stories in height.

(ii)	Wood joists shall not be used to support concrete and cement base tile or terrazzo floor surfaces other than for bathrooms or less than 100 square feet in area.

(iii)	Spaces under a ground floor shall have the clearance and ventilation as set forth in Part XIII. Openings shall be provided to all pace under the building.

(b)	Fireproofing

Floor and all parts thereof shall be of not less than two hour fire-resistive construction as per Tables II-D to II-G, except that where the space under a ground floor has clearance of less than 3 feet, such fire protection for the ground floor may be omitted.

6.   Roofs

(a)	Materials

Roof systems shall be of non-combustible materials or of fire retardant treated wood.

(b)	Fireproofing

Roofs and all parts thereof shall be of not less than one-hour fire-resistive construction as per Tables II-D to II-G, except as follows—

(i)	Roofs, where every part of the structural framework is 20 feet or more above or any part of the floor, balcony or gallery, may be on unprotected non-combustible materials or fire-retardant treated wood.

(ii)	Roofs of one-storey open sheds not more than seventy-five per cent enclosed by walls, in which the travel distance to the nearest exit does not exceed 40 feet, may be of unprotected non-combustible materials.

(c)	Roof Coverings

Roof coverings shall be fire-retardant and as specified in Part 3 section 6 of CUBIC.

(d)	Roof Drainage

Roof drainage and the disposal of rainwater shall be as specified in Part VIII. In general, roof systems not designed to support accumulated water shall be sloped for drainage.

(e)	Attic Spaces

Attic spaces shall not be required, but where attic spaces are provided such spaces shall have a minimum vertical dimension of 18 inches clear distance and where unprotected combustible material is exposed, shall be divided, by fire-stops, into areas not exceeding 2,500 square feet, or less depending on individual occupancy. Access trap doors, not less than 16 inches by 30 inches, shall be provided to all attic spaces. Such access trap doors shall be from common spaces such as corridors, and no part of an attic space shall be more than 100 feet from an access trap door.

7.   Enclosure of Vertical Openings

(a)	Enclosure of vertical openings shall be of non-combustible materials and where such openings exceed 8 square feet in area shall be not less than one hour fire-resistive construction, with fire-resistive doors or windows.

(b)	Where the enclosure of vertical openings is required to be of not less than one-hour fire-resistive construction the materials of construction shall be non-combustible or fire-retardant treated wood.

8.   Stairways

(a)	Stairways shall be as required in these Regulations.

(b)	Stairs, stair platforms, treads and riser shall be constructed of non-combustible materials. Unprotected steel or iron stairways may be used only when enclosed.

9.   Doors and Windows

(a)	Doors, windows and similar openings in exterior walls, fire walls and enclosure walls shall be protected or entirely prohibited as set forth in these Regulations.

(b)	Doors and windows shall not project over public property or restricted areas.

10.   Projections from the Building

(a)	Cantilevering projections outside of the main exterior walls of the building shall be of non-combustible construction or fire-retardant treated wood, and shall be of not less than one-hour fire-resistive construction.

(b)	Canopies, awnings and marquees forming part of the construction but outside of the main exterior walls of the buildings but not cantilevered from the building shall be constructed of non-combustible materials but need not have fire-resistive protection.

11.   Roof Structures and Skylights

(a)	Towers, pylons, masts, signs and similar structures above a roof, when not enclosed, shall be of non-combustible materials. Roof structure extending more than 25 feet above the roof or signs more than 100 square feet in area shall be supported to the ground by a non-combustible frame, unless already incorporated into the building frame design.

(b)	Roof structures, including bulkheaded areas, shall be limited in total combined areas to thirty per cent of the area of the roof, shall extend not more than 20 feet above the allowable height and any enclosure having a floor area of more than 15 square feet shall be constructed as required for the main portion of the building.

(c)	Minor roof structures having an area of 15 square feet or less, housing ventilating shafts or similar openings shall be constructed of non-combustible materials.

(d)	Storage tanks, having a capacity of over 500 gallons, shall not be located over stairways or elevators.

(e)	Skylights shall be constructed of non-combustible materials and transparent or translucent materials which shall be fire-resistive.

(f)	(i)	Parapets shall be required on exterior walls except where the roof is of non-combustible, fire-resistive construction.

(ii)	Parapets shall be not less than 20 inches above the roof immediately adjacent thereto where located 20 feet or less to/from the building line of a contiguous lot or any building on the same lot, and shall be constructed as set forth in Part XIV.

(iii)	Where required to control rain water runoff, a curb not less than 8 inches in height shall be provided.

(g)	Where the public has access to roof areas, a guard rail not less than 36 inches above the roof shall be provided around all open wells or shafts and at all exterior walls.

12.   Combustible Materials

(a)	Combustible materials shall be permitted except where specifically prohibited in these Regulations.

(b)	Loading platforms for warehouses, freight depots and buildings may be of heavy timber construction with wood floors not less than one and ⅝ inch thick. Such wood construction shall not be carried through the exterior walls.

(c)	Interior finishes shall be as set form in Part III section 6 of CUBiC.

APPENDIX I(3)

Type 3 Buildings-Ordinary Masonry

1.   Definition

(a)	(i)	Type 3 buildings or structures shall have an exterior structural frame of steel or reinforced concrete or of fire-retardant treated wood, or shall have exterior load bearing walls of non-combustible, fire-resistive construction.

(ii)	Type 3 buildings or structures shall have an interior structural frame of steel, reinforced concrete, wood, or interior load bearing walls of non-combustible materials or wood.

(iii)	Partitions, floors and roof framing may be of wood.

(b)	Walls, permanent partitions, roofs and floors shall be of non-combustible fire-resistive construction, except that permanent non-load bearing partitions of one-hour fire resistive construction may use fire-retardant treated wood within the assembly.

2.   General

(a)	Allowable height and area shall be as specified in Part II.

(b)	Loads and materials stresses shall be as specified in Part XI.

(c)	Required fireproofing shall be as set fort in Part III.

3.   Structural Framework

(a)	Materials—

(i)	Unless specifically designed as a structural frame with panel walls, the exterior walls shall be considered as load-bearing and shall be constructed of masonry or re-inforced concrete, except that 8 inch masonry walls shall be limited to 20 feet in height and 12 inch masonry block walls shall be limited to 30 feet in height. Where designed as a structural frame, the materials shall be as specified in Parts XII, XIV, XV and XVI.

(ii)	The interior structural support shall be of steel, reinforced concrete, or interior bearing walls of non-combustible materials or wood studs. (Tables II-D to II-G.)

(b)	Fireproofing—

(i)	Fireproofing shall be as required in Parts II or Part III. Where required, or where otherwise referred to in these Regulations as being protected, the structural framework or supports shall be of not less than one-hour fire-resistive construction except that members in the exterior walls shall have the fire protection as set forth in Tables II-D to II-G.

(ii)	All steel members supporting masonry in buildings over one storey in height shall be fire-proofed with not less than one hour fire-resistive construction.

(iii)	Heavy timber structures, designed and constructed in accordance with Part XIII, shall be considered the equivalent of one hour fire-resistive protection.

(c)	Heavy Timber Construction—

(i)	General

Heavy timber construction is that type in which fire resistance is attained by placing limitations on minimum sizes of wood structural members including the thicknesses and compositions of wood floors and roofs and by the use of approved fastenings and construction details.

(ii)	Heavy Timber Framing

Heavy timber columns, floors sizes and framing, roof sizes and framing, and construction details shall be as specified in Part XIII.

(iii)	Heavy Timber Floors.

(iv)	Heavy Timber Roof decks.

Heavy timber roof decks shall be constructed as specified in Part XIII.

4.   Walls and Partitions

(a)	Exterior walls shall be as set forth in Tables II-D to II-G.

(b)	Fire walls shall be of the fire-resistive rating as required in Tables II-D to II-G.

(c)	Interior bearing walls shall be of non-combustible materials or of wood studs, and for Type 3 (protected) buildings, or for Type 3 (unprotected) buildings where supporting upper floors or where adjacent to common corridors shall be of one-hour fire-resistive construction.

5.   Floors

(a)	Materials—

(i)	Floors shall be of non-combustible material or woods.

(ii)	Wood joists shall not be used to support concrete and cement base tile or terrazzo floor surfaces other than for bathrooms or less than 100 square feet in area.

(iii)	Wood post and girder construction shall not be permitted for a ground floor of buildings used by the public, and spaces under ground floors shall have the clearance ventilation as set forth in Part XIII.

(b)	Fireproofing

Floors and all parts thereof of Type buildings shall not be constructed of materials and assemblies of less fire resistance than shown in Tables II-D to II-G, except that where a ground floor has clearance of less than 3 feet, such fire protection may be omitted.

6.   Roofs

(a)	Materials

Roof systems shall be of non-combustible materials or wood.

(b)	Fireproofing

Roofs and all parts thereof of unprotected Type 3 buildings and protected Type 3 buildings shall be of not less than one-hour fire-resistive construction, except as follows—

(i)	Roofs, where every part of the structural framework is 18 feet or more above any part of any floor, may be of unprotected non-combustible materials or protected combustible materials.

(ii)	Roofs of one-storey open sheds not more than seventy-five per cent enclosed by walls, in which the travel distance to the nearest exist does not exceed 40 feet, may be of unprotected non-combustible materials or protected combustible materials.

(c)	Roof coverings

Roof coverings shall be fire-retardant and as specified in CUBIC Part 3 section 6.

(d)	Roof Drainage

Roof drainage and the disposal of rainwater shall be as specified in Part VIII. In general, roof systems not designed to support accumulated water shall be sloped for drainage.

(e)	Attic Spaces

Attic spaces shall not be required, but where attic spaces are provided such spaces shall have a minimum vertical dimension of 18 inches clear distance and where unprotected combustible material is exposed, shall be divided by fire-stops, into areas not exceeding 2,500 square feet, or less depending on individual occupancy. Access trap doors shall be from common spaces such as corridors, and no part of an attic space shall be more than 100 feet from an access trap door.

7.   Enclosure for Vertical Openings

Enclosure of vertical openings shall be of non-combustible materials and where such openings exceed 8 square feet in area shall be not less than one hour fire-resistive construction. Walls adjacent to open interior stairways and the soffits thereof shall be of not less than one hour fire-resistive construction.

8.   Stairways

Stairways shall be as required in Part IV.

9.   Doors and Windows

(a)	Doors, windows and similar openings in exterior walls, fire walls and enclosure walls shall be protected as per Part IV.

(b)	Doors and windows shall not project over public property or restricted areas.

10.   Projections from the Building

Cantilevering projections outside of the main exterior walls of the building shall be of non-combustible construction and be fire-resistive as specified in this Appendix, except that the projection of wood roof rafters of residential occupancies over private property shall be permitted.

11.   Roof Structures and Skylights

(a)	Towers, pylons, masts, signs and similar structures above a roof, when not enclosed, shall be of non-combustible materials. Roof structures extending more than 25 feet above the roof or signs more than 100 square feet in area shall be supported to the ground by a incombustible frame, unless already incorporated into the building frame design.

(b)	Roof structures, including bulkheaded areas, shall be limited in total combined area to thirty per cent of the area of the roof, shall extend not more than 20 feet above the allowable height and any enclosure having a floor area of more than 15 square feet shall be constructed as required for the main portion of the building.

(c)	Minor roof structures having an area of 15 square feet or less, housing ventilating shafts or similar openings shall be constructed of non-combustible materials.

(d)	Storage tanks, having a capacity of over 500 gallons, shall not be located over stairways or elevators.

(e)	Skylights shall be constructed of non-combustible materials and transparent or translucent materials shall be of fire-resistive materials.

(f)	Parapets shall be required on exterior walls except—

(i)	Where the roof is of non-combustible, fire-resistive construction.

(ii)	Where the walls of buildings for other than residential occupancy are 20 feet from the building of a continuous lot or any building on the same lot.

(iii)	Where the building is of residential occupancy.

(g)	Parapets shall be not less than 20 inches above the roof immediately adjacent thereto and shall be constructed as set forth in Part XIV or XV.

(h)	Where required to control rain water runoff, a curb not less than 8 inches in height shall be provided.

12.   Combustible Materials

(a)	Combustible materials shall be permitted except where specifically prohibited in Part II or III.

(b)	Loading platforms for warehouses, freight depots and buildings may be of heavy timber construction with wood floors not less than 1¾ inches thick. Such wood construction shall not be carried through the exterior walls.

(c)	Interior finishes shall be as set forth in CUBiC Part III section 6.

APPENDIX I(4)

Type 4 Buildings-Non-Combustible

1.   Definition

All structural and other elements of Type 4 buildings shall be of non-combustible materials.

2.   General

(a)	Allowable heights and areas shall be as specified in Part II.

(b)	Loads and material stresses shall be as specified in Part XI.

(c)	Required fireproofing shall be as set forth in Parts II and III.

3.   Structural Framework

The structural framework shall be of steel, aluminium, or reinforced concrete, and fireproofing of structural members shall be required only when such members are a part of an exterior wall as set forth Tables II-D to II-G.

4.   Walls and Partitions

(a)	Distance separation shall be measured at right angles from the wall or opening to the building line or a continuous lot or any building on the same lot. The building line of a continuous lot shall be taken as that for the use of the continuous lot which requires the least set back from the property line, and in no case shall this set back be taken as more than 5 feet from and parallel to the common lot line.

(b)	The main exterior walls shall be of non-combustible materials and such walls shall be of fire-resistive construction with opening protection where located as follows—

(i)	Main exterior walls having a distance separation of from 5 to 10 feet shall be of not less than one hour fire resistive construction and openings therein shall be protected by fire-resistive doors and windows and shall be limited in area to thirty per cent of the wall area with no single openings or more than ten per cent of such wall area.

(c)	Fire walls shall be of non-combustible materials and shall be of the fire-resistive rating as required in Part II.

(d)	Interior bearing walls shall be of non-combustible materials.

5.   Floors

Floors shall be of non-combustible material, provided, however that a wood surface or finish may be applied over such non-combustible materials.

6.   Roofs

(a)	Roof systems shall be of non-combustible materials and fire-proofing shall not be required.

(b)	Roof coverings shall be as specified in the CUBiC Part III section 6.

(c)	Roof Drainage

Roof drainage and the disposal of rainwater shall be as specified in Part VIII. In general, roof systems not designed to support accumulated water shall be sloped for drainage.

7.   Doors and Windows

(a)	Doors, windows and similar openings in exterior walls, fire walls and enclosure walls shall be protected or entirely prohibited as set forth in Parts II and III.

(b)	Doors and windows shall not project over public property or restricted areas.

8.   Projections from the Building

Projections from the building shall be of non-combustible materials.

9.   Roof Structures and Skylights

(a)	Roof structures may extend above the allowable height not to exceed 20 feet and shall be of non combustible materials.

(b)	Skylights shall be constructed of non combustible materials and transparent or translucent materials shall be fire-resistive.

(c)	Where the public access to roof areas, a guard rail not less than 36 inches above the roof shall be provided around all open wells or shafts and at all exterior walls.

10.   Combustible Materials

A loading platform may be constructed of heavy timber with wood floors not less than 1¾ inches thick. A Type 4 building or structure erected over such platform shall be supported by non combustible materials to the foundation.

APPENDIX I(5)

Type 5 Buildings-Wood Frame

1.   Definition

All structural and other elements of Type 5 buildings shall be of non-combustible materials or wood or any materials allowed by these Regulations.

2.   General

(a)	Allowable height and area shall be as specified in Part II.

(b)	Loads and material stresses shall be as specified in Part XI.

(c)	Required fireproofing shall be as set forth in Parts II and III.

3.   Walls and Partitions

(a)	Distance separation shall be measured at right angles from the wall or opening to the building line or a continuous lot or any building on the same lot. The building line of a continuous lot shall be taken as that for the use of the continuous lot which requires the least set back from the property line, and in no case shall this set back be taken as more than 5 feet from and parallel to the common lot line.

(b)	The main exterior walls shall be of non combustible materials and such walls shall be of fire-resistive construction with opening protection where located as follows—

(i)	Main exterior walls having a distance separation of less than 5 feet, or walls except of street fronts which are less than 5 feet from the building of a contiguous lot, shall be of not less than two hour fire-resistive construction and have no openings therein.

(ii)	Main exterior walls having a distance separation of from 5 to 10 feet shall be of not less than one hour fire resistive construction and openings therein shall be protected by fire-resistive doors and windows and shall be limited in area to thirty per cent of the wall area with on single openings or more than ten per cent of such wall area.

(c)	Fire walls shall be of non combustible materials and shall be of the fire-resistive rating as required in Part II.

(d)	Interior bearing walls shall be of non combustible materials or wood.

4.   Floors

(a)	Floors shall be of steel, concrete or wood.

(b)	Wood posts shall not be permitted under a girder supporting a ground floor and spaces under ground floors shall have the clearance for ventilation.

(c)	Access openings shall be provided to all space under the building.

5.   Roofs

(a)	Roof systems shall be of non combustible materials or wood.

(b)	Roof coverings shall be as specified in CUBiC Part III section 6.

(c)	Roof drainage and the disposal of rainwater shall be as specified in Part VIII. In general, roof systems not designed to support accumulated water shall be sloped for drainage.

(d)	Attic spaces shall not be required, but where attic spaces are provided, such spaces shall have a minimum vertical dimension of 18 inches clear distance and, where unprotected combustible material is expose, shall be divided by fire stops into areas not exceeding 5,500 square feet or less depending on occupancy. Access trap doors shall be from common spaces such as corridors, and no part of an attic space shall be more than 100 feet from an access trap door. Minimum vertical dimension shall not be required for hip or gable roof construction.

6.   Fire Proofing

Bearing walls supporting floors shall not be less than one hour fire-resistive protection except that where a ground floor has clearance of less than 3 feet, such protection may be omitted.

7.   Stairways

(a)	Stairways shall be as required in these Regulations.

(b)	Stairways may be of non-combustible or combustible materials.

8.   Doors and Windows

(a)	Doors, windows and similar openings in exterior walls, fire walls and enclosure walls shall be protected or entirely prohibited as set forth in Part II or III.

(b)	Doors and windows shall not project over public property or restricted areas.

9.   Projections from the Building

Projections from the building may be of wood.

10.   Combustible Materials

No materials more combustible than wood shall be permitted in the construction of permanent portions of Type 5 buildings.

# Footnotes

*	Note.—Concrete grades are defined in Part XV.

*	Note.—The Physical Planning and Development Board of Saint Vincent and the Grenadines restricts the size of building of which the Guidelines can be used to 2,500 square feet.